Olerup SSP® DRB5*01:08N

Product number:	101.812-12 – including Taq polymerase

101.812-12u – without Taq polymerase

Lot number:	6E5

Expiry date:	2019-06-01

Number of tests:	12

Number of wells per test:	2+1

The DRB5*01:08N primer set is unchanged compared to the previous lot.

The number of wells is unchanged.

Allele coverage:

The DRB5*01:08N allele will give rise to a unique amplification pattern by the primers in the DRB5*01:08N kit; www.ebi.ac.uk/imgt/hla, 2016-July-14, release 3.25.0.

Resolution in DRB5*01:08N homozygotes:

Excellent.

Influence on the interpretation of DRB5*01:08N subtypings by non- DRB5*01:08N alleles:

None of importance.

Modifications made due to comments from customers:

No comments received.