Olerup SSP® HLA-C*03

Product number:	101.611-12 – including Taq polymerase

101.611-12u – without Taq polymerase

Lot number:	9K3

Expiry date:	2024-03-01

Number of tests:	12

Number of wells per test:	62+1

Changes compared to the previous HLA-C*03 Lot (1H4):

The HLA-C*03 primer set is unchanged compared to the previous Olerup SSP® HLA-C*03 lot (Lot No. 1H4).

The number of wells is unchanged.

Allele coverage:

C*03:02 to C*03:504, i.e. all the currently recognized HLA-C*03 alleles, will be amplified by the primers in the HLA-C*03 subtyping kit1,2; www.ebi.ac.uk/imgt/hla, 2019-October-17, release 3.38.0.

The HLA-C*03 kit enables separation of the confirmed HLA-C*03 alleles as listed in the IMGT/HLA database 3.25.0. An HLA allele is listed as confirmed by IMGT/HLA if it has been sequenced by more than a single laboratory or from multiple sources.

The HLA-C*03 kit also enables identification of many null and alternatively expressed alleles.

The following HLA-C*03 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*03:04:19, 03:265N | 12 | C*03:44, 03:123, 03:209 | 31 |
| C*03:06:01-03:06:02, 03:287:01-03:287:02 | 6 | C*03:49, 03:103 | 23 |
| C*03:23, 03:263:01-03:263:02 | 18 | C*03:50, 03:122 | 36 |
| C*03:24, 03:236 | 19 | C*03:62, 03:346 | 33 |
| C*03:28, 03:90 | 23 | C*03:68, 03:205 | 41 |
| C*03:31, 03:414 | 7, 11 | C*03:72, 03:219 | 36 |
| C*03:37:01-03:37:02, 03:208N | 27 | C*03:91:01, 03:465 | 44 |

1Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

2The following alleles give rise to identical amplification patterns with the HLA-C*03 subtyping kit. These alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C*15 subtyping kits.

Alleles

C*03:135, 03:154, 03:260, 03:286, 03:326, 03:412, 03:435, 03:464, 03:493, 15:43

Resolution in HLA-C*03 homo- and heterozygotes:

Good.

Influence on the interpretation of HLA-C*03 subtypings by non-HLA-C*03 alleles:

None frequently occurring.

Modifications made due to comments from customers:

No comments received.