PAGE  
[image: image3.emf]Well No. 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

ICB 800 800 1070 800 1070 800 1070 800 800 800 1070 800 107010701070107010701070 800 800 800 800 800 1070

120 175 205 190 160 135 175 165 75 80 80 125 175 80 90 240 140 200 340 210 240 85 75 360

145 215 235 335 200 205 200 240 175 190 225 115 135 380 180 390 375 240 375 240 155

225 255 505 500 200 205 240

365 240 495

415 470

Well No. 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Specific 

Reaction

AmpS

[image: image4.emf]Well No. 25 26 27 28 29 30 31 32 33 34 35 36 37 38 39 40 41 42 43 44 45 46 47 48

ICB 800 10701070 800 800 800 107010701070 800 107010701070107010701070 800 10701070 800 800 107010701070

110 215 140 130 185 190 290 165 165 180 100 280 195 105 115 80 150 140 55 210 170 110 395 160

235 265 235 225 190 195 395 150 245 425

285 390 435 390

330 415

Well No. 25 26 27 28 29 30 31 32 33 34 35 36 37 38 39 40 41 42 43 44 45 46 47 48

Specific 

Reaction

AmpS

[image: image5.emf]Well No. 49 50 51 52 53 54 55 56 57 58 59 60 61 62 63 64 65 66 67 68 69 70 71 72

ICB 107010701070 800 1070 800 800 107010701070 800 107010701070107010701070 800 10701070107010701070 800

180 290 105 325 80 215 130 90 90 145 120 430 145 300 160 180 180 90 90 95 115 360 350 285

465 115 270 410 175 430 210 370 210 205 240 150

160

195

225

260

Well No. 49 50 51 52 53 54 55 56 57 58 59 60 61 62 63 64 65 66 67 68 69 70 71 72

Specific 

Reaction

AmpS

 HLA-A-B-DR SSP Combi Tray
December 2016
101.701-24/06 – 24u/06u 
Rev. No: 02                                                                 73X    

Gel Documentation Form and Worksheet

HLA-A-B-DR SSP Combi Tray
Lot No: 73X
Expiry Date: 2017-May-01
(101.701-24/06 – 24u/06u)

Name:___________________

Sample ID:_______________ 

DNA Conc.(ng/ul):__________

Test  Date:_______________
 

Tested By: 

Review Date:_________________

Reviewed By:_________________
 

Interpretation:___________
Failed lanes: ___________                                Comments:_________________      
Gel Picture
	PHOTO DOCUMENT


HLA-A low  resolution
[image: image6.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324

HLA-A allele

1,2

ser

3

*01:01:01:01-01:01:22, 01:01:24-01:01:47, 01:01:49-

01:01:55, 01:01:57-01:04N, 01:06-01:07, 01:09-01:11N, 

01:16N-01:18N, 01:20, 01:22N-01:27N, 01:29, 01:31N-01:33, 

01:35-01:42, 01:44-01:50, 01:52N-01:78, 01:80-01:94, 01:96-

01:98, 01:100-01:120, 01:122-01:125, 01:127-01:135, 

01:137-01:144, 01:146

A1, Null, -

1 4

*01:01:23, 01:01:48, 01:08, 01:14-01:15N, 01:30, 01:79, 

01:99, 01:145

A1, Null, -

1

*01:01:56 - 1 4 w

*01:12, 01:19 A1, - 1 3

*01:13 A1 1 4 11 13 15

*01:21, 01:126 A1, - 1 3 4

*01:28 - 1 4 11 15

*01:43 - 1 4 10

*01:51 - 1 4 8 10

*01:95 - 1 4 17

*01:121 - 1 4 19

*01:136, 11:94, 11:112

4 -

1 4 11

*02:01:01:01-02:01:15, 02:01:17-02:01:19, 02:01:21-

02:01:81, 02:01:83-02:16, 02:18-02:22:02, 02:24:01-02:33, 

02:36-02:45, 02:47, 02:49-02:54, 02:57-02:61, 02:63-02:64, 

02:66-02:69, 02:71-02:77, 02:79:01-02:97:02, 02:99, 

02:101:01-02:102, 02:104-02:128, 02:130-02:134, 02:136-

02:148, 02:150-02:168, 02:170-02:236, 02:238-02:242, 

02:244-02:308, 02:310-02:337, 02:339-02:406, 02:408-

02:448, 02:450-02:453, 02:455-02:478

A2, Low 

A2, 

A203/A2, 

A210/A2, 

A2/blan

k, Null, -

2

*02:17:01-02:17:03 A2, - 2 w

*02:34-02:35:01, 02:35:03, 02:56:01-02:56:02, 02:62, 02:103A2

2 13 20 22

*02:35:02 A2 13 20 22

*02:46, 02:70 A2 2 20 22

*02:48, 02:129 A2, - 20 22

*02:55 A2/A28 2 8 21 23

*02:65, 02:407, 02:449 A2/A19, - 2 19

*02:78 - w 4 20 22

*02:135 - 2 13 24

*02:149 - 2 21

*02:169 - 2 4

*02:237 - 2 14 16 23

*02:243:01-02:243:02 - 2 18 21

*02:309 - 2 12 14 21 24

*02:338 - 2 3

*02:454 - 2 12 14 24

*03:01:01:01-03:01:18, 03:01:20-03:01:22, 03:01:24-03:07, 

03:09-03:11N, 03:13-03:14, 03:16-03:17:02, 03:20-03:23:02, 

03:25-03:29, 03:31, 03:33-03:35, 03:37-03:40, 03:42, 03:44-

03:49, 03:51-03:56, 03:58, 03:60-03:62, 03:64-03:71, 03:73-

03:74, 03:76-03:81, 03:83-03:87, 03:90-03:94, 03:96-03:106, 

03:109-03:110, 03:112-03:134, 03:136-03:141, 03:143-

03:151, 03:153-03:171, 03:174-03:175, 03:179-03:182

A3, 

A3/blan

k, Null, -

3 13

*03:01:19 - 3 1213 24

*03:01:23, 03:08, 03:32, 03:36N, 03:57, 03:59, 03:72, 03:89, 

03:107-03:108, 03:111, 03:142, 03:172-03:173, 03:176, 

03:178N

A3, Null, -

3

*03:12 A3 3 4

*03:15, 03:19, 03:30 A3 3 5 13

*03:18, 03:135 - 1 4 13

*03:24, 03:50 A3, - 3 8 13

*03:41 - 3 23

*03:43, 03:82 - 3 13 15 17

*03:63 - 3 11 13 23

*03:75, 03:177 - 13 23

*03:88, 11:130

5 -

3 4 11 23

*03:95 - 1314 16 23

*03:152, 24:92

5 -

3 5

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324


HLA-B low  resolution

[image: image7.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324

*11:01:01-11:02:06, 11:04-11:09, 11:12-11:16, 11:18-11:19, 

11:21N-11:24:02, 11:26-11:27, 11:29-11:39, 11:41-11:52Q, 

11:54-11:59, 11:61-11:93, 11:95-11:111, 11:114-11:129, 

11:131-11:138, 11:140-11:154, 11:156-11:157, 11:159-

11:161, 11:163-11:165, 11:167-11:174, 11:176

A11, 

Null, -

4 11

*11:03, 11:20, 11:25, 11:60, 11:158, 11:175 A11, - 3 4 11

*11:10 A11 4 8 11

*11:11 - 4 1112

*11:17, 11:40 - 4 1011

*11:113, 11:162 - 4 11 15

*11:139 - 4 5 7 11

*11:155 - 4 11 22

*11:166 - 4 6 11

*23:01:01-23:01:12, 23:02-23:13, 23:15-23:56, 23:58-23:60 A23, 

Null, -

5 6

*23:01:13 - 5 6 20 22

*23:14:01-23:14:02, 24:24, 24:71

5 A23, A9, 

A24, -

5 6 7

*23:57 - 5 21

*24:02:01:01-24:11N, 24:13:01-24:13:02, 24:17, 24:20-

24:23, 24:25-24:43, 24:45N-24:50, 24:54-24:56, 24:58-24:63, 

24:66-24:70, 24:72-24:81, 24:83N-24:91, 24:93, 24:95-

24:113, 24:115-24:137, 24:139-24:187, 24:189-24:203, 

24:205-24:210, 24:212, 24:214-24:221, 24:223-24:227, 

24:229-24:242, 24:244-24:270

A24, 

Low 

A24, 

A2403/A

24, A9, 

A24/A9, 

Null, -

5 7

*24:14-24:15, 24:51-24:53, 24:57, 24:64, 24:94, 24:114, 

24:138, 24:188, 24:222N, 24:228, C*04:01:03

4

A24, 

Cw4, 

Null, -

5

*24:18, 24:204, 24:213 A24/A3, - 5 7 23

*24:19, 24:44 A9 5 7 11

*24:82 - 5 7 21

*24:243 - 5 7 17

*25:01:01-25:04, 25:07-25:12N, 25:14-25:16, 25:18-25:24 A25, 

Null, -

8 9 13

*25:05 A25 8 9 1213 20

*25:06 A25 8 9 12

*25:13 - 8 9 13 24

*25:17 - 9 13

*26:01:01-26:01:20, 26:01:22-26:01:31, 26:08, 26:10-26:15, 

26:17-26:18, 26:20, 26:23-26:28, 26:31-26:33, 26:35-

26:43:02, 26:45-26:48, 26:50-26:53, 26:55-26:63, 26:66-

26:71N, 26:74-26:77, 26:79-26:88, 26:90, 26:93-26:98

A26, 

A10, 

Null, -

8 10 13

*26:01:21, 26:04, 26:34, 26:73 A26 8 10

*26:02:01-26:02:02, 26:29, 26:49 A26, - 8 10 w

*26:03:01-26:03:02, 26:06, 26:21 A26, - 8 11 13 23

*26:05 A26 8 13 23

*26:07:01-26:07:02, 26:64, 26:89 A26, - 10 13

*26:09, 26:91 A26, - 8 10 12

*26:16 A26 7 10 13

*26:19 - 4 10 1314

*26:22 A26 8 10 1314 21

*26:30 A26 8 13 2324

*26:54 - 8 10 1213 20

*26:65 - 8 10 13 24

*26:72 - 4 10 13

*26:78 - 8 11 23

*26:92 - 11 13

*29:01:01:01-29:06, 29:08N-29:12, 29:15-29:27, 29:29-

29:38, 29:40-29:47, 29:50-29:58

A29, 

Null, -

14

*29:07, 29:49 A29, - 5 6 14

*29:13, 29:39 - 14 17

*29:14 - 14 16

*29:28 - 8 14

*29:48 - 14 18

*30:01:01-30:04:02, 30:06-30:07, 30:09-30:20, 30:22-30:54, 

30:56-30:80

A30, 

Null, -

15

*30:08 A30 4 15

*30:55 - 13 15

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324

[image: image8.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324

*31:01:02-31:02, 31:05-31:07, 31:09-31:28, 31:30-31:34, 

31:36-31:40, 31:42-31:61, 31:63-31:82

A31, 

Null, -

16

*31:03 A31 12 14 16

*31:04 A31 12 14 16 24

*31:08, 33:53

5 A31/A24, 

-

5 16

*31:29 - 5 6 16

*31:35 - 151617

*31:41 - 16 21

*31:62 - 16 22

*32:01:01-32:01:13, 32:01:15-32:02, 32:07-32:14, 32:16-

32:37, 32:39-32:41, 32:43-32:59, 32:61

A32, 

Null, -

9 17

*32:01:14, 32:03, 32:38, 32:60 A32, - 17

*32:04 A32/A3 3 9

*32:05 A32 5 1617

*32:06 A32 9 17 21

*32:15 A32 8 9 1718

*32:42 - 9 14 17

*33:01:01-33:01:07, 33:03:01-33:12, 33:14-33:18:02, 33:20-

33:21, 33:23, 33:25-33:37, 33:39-33:47, 33:49-33:50, 33:52, 

33:54-33:85

A33, 

Null, -

18

*33:13, 33:48 - 10 18

*33:19 - 5 7 18

*33:22 - 18 21

*33:24 - 18 23

*33:51 - 8 18

*34:01:01-34:01:02, 34:05-34:06, 34:11 A34, 

A10, -

8 1112

*34:02:01-34:03, 34:07, 34:10N A34, 

Null, -

3 8 1112

*34:04 A34 3 8 1112 14

*34:08 A34 3 8 111213

*34:09 - 3 8 12 24

*36:01, 36:03, 36:05 A36, - 1 22

*36:02 A36 1 3 2223

*36:04 A36 1 4 22

*43:01 A43 10 1213

*66:01:01, 66:04-66:05, 66:07-66:08, 66:11, 66:13-66:14, 

66:17-66:19

A66, 

A26, -

8 11 13

*66:01:02 - 8 11

*66:02-66:03, 66:16 A66, 

A10, -

8 12 24

*66:06 A66 8 11 13 21

*66:09 - 8 11 1314 21

*66:10 - 8 11 w

*66:12 - 8 13 24

*66:15 - 8 13

*68:01:01:01-68:04, 68:06-68:12, 68:13:02-68:14, 68:16-

68:19, 68:21:01-68:24, 68:26-68:28, 68:30-68:44, 68:46-

68:65, 68:67-68:70, 68:72-68:83, 68:85-68:104, 68:106-

68:107

A68, 

A28, -

8 20

*68:05, 68:15, 68:20 A68 8 20 23

*68:13:01, 68:66 A68, - 4 8 20

*68:25 A68 8 1920

*68:29 A68 8 18 2021

*68:45 - 7 8 20

*68:71 - 8 13 20

*68:84 - 8 10 20

*68:105 - 8 2021

*69:01 A69 8 21

*69:02 - 8 11 21

*74:01-74:03, 74:05-74:06, 74:08-74:12N, 74:14N-74:18, 

74:20

A74, 

Null, -

19

*74:04 A74 1819

*74:07 A74 17 19

*74:13 - 13 19

*74:19 - 4 19

*80:01:01:01-80:01:01:02, 80:03 A80, - 6 23

*80:02 - 6 11

B*07:81, B*08:52, B*18:67, B*38:41, B*53:05, B*53:16 B53, - 9

B*18:27 - 6

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324




DR low  resolution
[image: image1.emf]Well No. 73 74 75 76 77 78 79 80 81 82 83 84 85 86 87 88 89 90 91 92 93 94 95 96

ICB 515 430 430 430 430 430 430 430 430 515 430 430 430 430 430 430 430 430 430 430 430 430 430

210 200 210 210 120 75 85 100 210 170 90 180 100 90 220 200 175 100 120 110 160 215 175

235 230 220 210 210 175 235 215 135 170 110 225 240 150 150 150 240

260 250 190 175 180

220

Well No. 73 74 75 76 77 78 79 80 81 82 83 84 85 86 87 88 89 90 91 92 93 94 95 96

Specific 

Reaction

NC

AmpS


‘ICB’ Internal Control Band, 
‘AmpS’ Amplicon Size
Notes:
Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-A low resolution primer setPRIVATE 
 
HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.
The primer pairs in wells 1, 2, 11, 14 and 15 will in many samples give rise to two or three HLA-specific PCR fragments.

Primer mix 3 may faintly amplify the A*30:04:01-30:04:02, 30:06, 30:17, 30:29, 30:46 and 30:77 alleles. 

Primer mix 6 may give rise to a lower yield of A*23 alleles than the other A low primer mixes.

Primer mix 9 may weakly amplify the A*34 alleles.

Primer mix 22 might faintly amplify most A*11 alleles.

Primer mixes 6, 10, 14, 20 and 23 may have a tendency of giving rise to primer oligomer formation.

Primer mixes 6, 15 and 24 may give rise to a lower yield of HLA-specific PCR product than the other HLA-A low primer mixes.

Primer mixes 15, 20 may have tendencies of unspecific amplifications.

HLA-B low resolution primer set
HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.
Primer mix 28 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B low resolution primer mixes in B*40, B*41, B*45, B*49 and B*50 alleles.

Primer mixes 28, 29, 33, 42, 53 and 63 may give rise to a lower yield of HLA-specific PCR product than the other HLA-B low resolution primer mixes.

Primer mix 33 has pronounced tendencies of unspecific amplifications.

Primer mixes 25, 43, 44, 50, 53 and 69 have a tendency to giving rise to primer oligomer formation, most pronounced in primer mix 53 

The B*57 and B*58 alleles might be faintly amplified by primer mix 33.

The C*17:01 to C*17:04 alleles might be faintly amplified by primer mix 49.

Primer mixes 56 and 67 may generate a false positive band of about 800 base pairs. This band should be disregarded when interpreting HLA-B low resolution typings.

Primer mix 63 may give rise to a lower yield of B*54 alleles than the other B low primer mixes.

The Bw4-associated HLA-A specificities A9, A23, A24, A2403, A25 and A32 are not amplified by the primer pair in primer mix 70.

DR low resolution primer set
HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.
Individual alleles can give to rise to two differently sized specific PCR fragments in primer mixes 73, 75, 77 to 83, 85, 86, 88 and 90 to 93.

Primer mix 73, 80, 87, 88 and 91 to 94 may have a tendency to giving rise to primer oligomer formation.

Primer mix 91 has a tendency of primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.
Due to sharing of sequence motifs in codon 38, DRB3*01:14 will also be amplified in primer mixes 77, 78 and 89 in addition to primer mix 93.
The DRB4*01:03:01:02N allele is amplified by primer mix 94, whereas the DRB4*02:01N and DRB4*03:01N null alleles are not amplified by this primer mix.

Primer mixes 75, 76, 80, 81 and 92 may have tendencies of unspecific amplifications.
Due to sharing of sequence motifs in codon 38 and 47, DRB3*01:14 will also be amplified in primer mixes 77, 78 and 89 and DRB3*01:23 in primer mix 77, in addition to primer mix 93.

Primer mix 96 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.
HLA-A low resolution Interpretation Table
[image: image9.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

HLA-B allele

1,2

ser.

3

*07:02:01-07:02:31, 07:02:33-

07:02:38, 07:02:40-07:02:41, 

07:05:01-07:06, 07:10, 07:12-

07:15, 07:18:01-07:18:02, 

07:21-07:23, 07:26, 07:30-

07:31, 07:34-07:35, 07:39, 

07:41-07:46, 07:49N, 07:52, 

07:55-07:59, 07:61-07:64, 

07:66-07:68:03, 07:70-07:72, 

07:74-07:76, 07:79-07:80, 

07:82-07:83, 07:86-07:99, 

07:101-07:121, 07:124-

07:130, 07:132, 07:135N-

07:138, 07:140-07:145, 07:147-

07:148, 07:150-07:154, 07:156-

07:161N, 07:163, 07:166-

07:173, 07:175-07:178, 

07:181N, 07:183-07:185, 

07:187-07:191, 07:194, 07:199-

07:201N, 07:203-07:205, 

07:208, 07:210

B7, 

B7/blan

k, 

B7/B42, 

Null, -

25 48 52 7172

*07:02:32 - 25 29 48 52 7172

*07:02:39, 07:07, 07:77, 

07:193, 07:196, 07:198

B7, -

25 48 52 71

*07:03, 07:08, 07:16, 07:32, 

07:37, 07:207

B703/B7

, 

B7/blan

k, -

25 48 7172

*07:04, 07:25, 07:146 B7, - 25 38 48 5152 7172

*07:09, 07:11, 07:17, 07:162 B7, - 25 36 48 52 7172

*07:19, 07:33:01-07:33:02, 

07:40, 07:53, 07:122, 07:139, 

07:165

B7/42, -

48 52 71

*07:20, 07:24, 07:131 B7/blan

k, -

25 27 48 52 7172

*07:27 - 25 35 44 70 72

*07:28 B7 25 30 48 52 7172

*07:29, 07:186 B7, - 25 48 52 65 7172

*07:36, 07:81, 07:149 B7, - 25 52 70 72

*07:38 - 25 70 72

*07:47 B7 25 48 w 7172

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image10.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*07:48, 07:51, 07:155, 07:164, 

07:209

B7, -

48 52 7172

*07:50 - 25 35 48 7172

*07:54, 07:123 B7, - 25 48 52 62 7172

*07:60 - 27 48 52 71

*07:65 - 25 42 52 56 64 w 7172

*07:69, 07:85 - 25 4748 7172

*07:73 - 25 40 48 52 7172

*07:78 - 25 34 48 52 59 71

*07:84 - 25 48 52 59 71

*07:100 - 27 48 52 69 71

*07:133 - 25 48 52 61 7172

*07:134 - 25 42 48 52 w 7172

*07:174 - 25 48 52 57 7172

*07:179, 07:195 - 25 52 7172

*07:180 - 25 47 70 72

*07:182N Null 25 48 52 67 7172

*07:192 - 25 52 72

*07:197 - 25 29 48 52 71

*07:202, 81:02

4 B81, -

48 52 57 7172

*07:206 - 25 48 52 64 7172

*08:01:01-08:01:20, 08:01:22, 

08:05, 08:08N, 08:10-08:11, 

08:15, 08:18-08:19N, 08:22-

08:24, 08:27, 08:29-08:31, 

08:33-08:34, 08:39, 08:41-

08:48, 08:51, 08:53:01-

08:53:02, 08:56:01-08:59:02, 

08:61, 08:63-08:64, 08:66-

08:69, 08:71-08:73, 08:75, 

08:80-08:83, 08:86N, 08:90-

08:93, 08:95-08:100, 08:104-

08:106, 08:109, 08:112, 

08:114-08:115

B8, Null, 

-

26 32 48 51 7172

*08:01:21, 08:12:01-08:12:03, 

08:16

B8, -

26 32 48 51 71

*08:01:23, 08:07, 08:14, 08:74, 

08:77, 08:108, 08:111

B8, -

26 48 51 7172

*08:02-08:03, 08:52, 08:78 B8, - 26 32 51 70 72

*08:04, 08:110 B8/blan

k, -

26 32 35 48 51 7172

*08:09, 08:84 B8, - 26 32 48 51 54 71

*08:13, 08:20, 08:40, 08:70 B8, - 26 32 48 7172

*08:17, 08:54 - 26 32 35 48 51 62 7172

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image11.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*08:21 B8 2627 32 48 51 7172

*08:25 B8 2627 32 48 7172

*08:26, 08:50, 08:62, 08:85, 

08:94, 42:07

4

B8, -

32 48 51 7172

*08:28, 08:37 B8, - 26 36 48 51 7172

*08:32 B8 26 32 42 48 51 68 7172

*08:35 - 26 32 36 48 51 7172

*08:36 - 26 32 51 7172

*08:38, 08:101 - 26 32 48 51 62 7172

*08:49 - 26 41 44 48 51 53 7172

*08:55 - 26 32 45 48 7172

*08:60, 08:76 - 26 32 48 51 53 7172

*08:65 - 32 4748 51 7172

*08:79 - 2526 48 7172

*08:87 - 26 30 48 51 53 63 7172

*08:88, 08:102 - 26 32 40 48 51 7172

*08:89, 08:107 - 26 36 48 51 71

*08:103, 08:113 - 26 32 48 71

*13:01:01-13:01:08, 13:17, 

13:20, 13:22:01-13:23, 13:25, 

13:28-13:29, 13:43, 13:50, 

13:52, 13:57, 13:60-13:61, 

13:63N, 13:73

B13, 

Null, -

2728 34 41 62 70

*13:02:01-13:02:05, 13:02:07-

13:02:16, 13:08, 13:15, 13:18-

13:19, 13:27, 13:30, 13:32-

13:34, 13:37-13:38, 13:40, 

13:42, 13:44-13:45, 13:47, 

13:49N, 13:54-13:56N, 13:64-

13:66, 13:68-13:70

B13, 

Null, -

2728 34 62 70

*13:02:06 B13 2728 34 50 62 70

*13:03 B49/B15

2728 62 65 70

*13:04, 13:10 B49/B15

, B13

2728 36 62 70

*13:06 B13 2728 41 62 64 70

*13:07N Null 2728 34 41 70

*13:09, 13:67 - 28 34 62 71

*13:11 B13 2728 34 62 67 70

*13:12:01-13:13, 13:51 B13, - 2728 41 62 70

*13:14 B13 27 34 62 70

*13:16 B13 2728 34 59 62 70

*13:21, 13:35, 13:59, 13:71, 

44:135, 44:158

4

-

2728 62 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172


1HLA-A, HLA-B and HLA-DRB alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all HLA-A alleles is not known. The grouping of not serologically defined alleles is taken from Tissue Antigens 73, 95-170, 2009.

4The A*01:136 and the A*11:94 and A*11:112 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mixes 1 and 11.
The A*24:14-24:15, 24:51-24:53, 24:57, 24:64, 24:94, 24:114, 24:138, 24:188, 24:222N and 24:228 and the C*04:01:03 alleles may be distinguished by the different sizes of the specific PCR products generated by primer mixes 5.
5The HLA-A alleles will be grouped into their corresponding serological specificities, except that following alleles give rise to identical amplification patterns.
These alleles can be separated by the respective high resolution SSP primer sets
	Alleles
	Alleles

	A*03:88, A*11:130
	A*23:14:01-23:14:02, A*24:24, 24:71

	A*03:152, A*24:92
	A*31:08, A*33:53


‘w’, might be weakly amplified.

[image: image12.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*13:26:01 - 2728 36 41 50 62 70

*13:26:02 - 2728 36 41 62 70

*13:31 - 2728 34 w 62 6970

*13:36 - 2728 34 41 57 70

*13:39 - 28 34 41 62 71

*13:41 - 2728 34 62 6970

*13:46 - 2728 32 54 62 70

*13:48 - 2728 59 62 65 70

*13:53 - 2728 62 64 70

*13:58 - 34 62 70

*13:62 - 2728 33 59 62 70

*13:72 - 2728 36 50 62 70

*14:01:01-14:01:04, 14:07N, 

14:12, 14:14, 14:19, 14:26, 

14:32

B64, 

Null, -

2829 4748 71

*14:02:01-14:02:02, 14:02:04, 

14:02:07, 14:02:10-14:04, 

14:09, 14:11, 14:15-14:18, 

14:20, 14:22-14:23, 14:25, 

14:27, 14:29, 14:31, 14:33-

14:36, 14:38

B65, 

B14, -

28 30 4748 71

*14:02:03, 14:02:06, 14:24, 

14:28

B65, -

28 4748 71

*14:02:05, 14:02:08, 14:30 B65, - 28 30 47 71

*14:02:09, 14:05-14:06:02, 

14:13

B14, -

30 4748 71

*14:08, 39:25N, 39:30, 39:32-

39:34, 39:47, 39:50, 39:74, 

39:82

4

B39, 

B16, 

Null, - 

29 4748 71

*14:10 - 29 41 4748 55 71

*14:21 - 28 48 52 71

*14:37 - 30 4748 59 64 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

HLA-B low resolution Interpretation Table 
[image: image13.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*15:01:01:01-15:01:01:02N, 

15:01:03, 15:01:06-15:01:16, 

15:01:18, 15:01:20-15:01:30, 

15:01:32-15:01:34, 15:26N-

15:27:03, 15:32:01, 15:34-

15:35, 15:38:01-15:38:02, 

15:50, 15:56, 15:60, 15:70-

15:71, 15:75, 15:79N, 15:81-

15:82, 15:92, 15:94N, 15:96-

15:97, 15:102, 15:104-15:105, 

15:109-15:111N, 15:113, 

15:117-15:118, 15:122, 

15:125, 15:128-15:129, 

15:135, 15:140, 15:145-

15:147, 15:152, 15:159-

15:160, 15:163-15:164, 15:166-

15:167, 15:169, 15:171-

15:172, 15:174-15:175, 

15:178, 15:181N-15:184, 

15:187, 15:190N, 15:192-

15:193, 15:201, 15:203, 

15:205-15:206, 15:211, 

15:217, 15:225, 15:227-

15:228, 15:231-15:232, 

15:234, 15:244-15:245Q, 

15:247, 15:251, 15:257-

15:258N, 15:260-15:262N, 

15:264, 15:267, 15:272N, 

15:276, 15:279-15:280, 

15:286, 15:296, 15:299

B62, 

Null, -

31 36 43 62 69 71

*15:01:02, 15:278 B62, - 31 33 36 43 62 69 71

*15:01:04 B62 36 43 62 69 71

*15:01:17, 15:01:31, 15:05:01-

15:06, 15:33, 15:39:01-15:40, 

15:65, 15:78:01-15:78:03, 

15:84, 15:107, 15:136, 15:141, 

15:155, 15:179, 15:185, 

15:195, 15:199, 15:218Q-

15:219, 15:237, 15:249, 

15:288, 15:295, 15:300

B62, 

B62/bla

nk, -

31 36 43 62 71

*15:01:19, 15:28, 15:120, 

15:149N, 15:246N, 15:285

B62, 

Null, -

31 36 43 69 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172


[image: image14.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*15:02:01-15:02:08, 15:88, 

15:112, 15:121, 15:139, 

15:170, 15:213-15:214, 

15:223, 15:265, 15:283, 

15:291, 15:301-15:302N

B75, 

Null, -

31 36 41 43 57 71

*15:03:01-15:03:02, 15:03:04, 

15:47:01-15:47:02, 15:49, 

15:61, 15:98, 15:103, 15:123, 

15:127, 15:132, 15:151, 

15:156, 15:158, 15:173, 

15:210, 15:220, 15:235, 

15:242, 15:266, 15:274, 

15:281-15:282

B72, 

B70/bla

nk, -

32 3536 43 62 71

*15:03:03 B72 3132 3536 43 62 71

*15:04 B62 31 36 43 w 62 69 71

*15:07:01-15:07:03, 15:126, 

15:207

B62, -

27 31 36 43 62 69 71

*15:08, 15:11:01-15:11:03, 

15:11:05-15:11:06, 15:15, 

15:148, 15:191, 15:209N, 

15:215, 15:284

B75/B62

, 

B75/62, 

Null, -

31 36 43 57 69 71

*15:09 B70 3233 38 43 71

*15:10:01, 15:37, 15:90, 15:99, 

15:133, 15:229, 15:252

B71, 

B70, -

32 38 43 71

*15:10:02 B71 3132 38 43 71

*15:11:04 B75 36 43 57 69 71

*15:12, 15:14, 15:19, 15:270, 

15:298, 15:304N

B76, 

Null, -

31 3637 43 62 69 71

*15:13:01-15:13:02 B77, - 31 36 38 41 43 57 70

*15:16:01-15:16:02, 15:67, 

15:95, 15:254

B63, -

33 36 38 43 59 70

*15:16:03 - 33 36 38 43 50 59 70

*15:17:01:01-15:17:02, 

15:162, 15:168, 15:177, 

15:196, 15:208, 15:216, 

15:273

B63, -

31 33 38 43 70

*15:18:01-15:18:02, 15:18:04-

15:18:06, 15:51-15:52, 15:72, 

15:93, 15:108, 15:114, 15:119, 

15:134, 15:153, 15:176, 

15:197-15:198, 15:200, 

15:221, 15:226N, 15:238, 

15:263, 15:275, 15:290, 

15:292, 15:294N

B71, 

B70, 

Null, -

32 36 38 43 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172


[image: image15.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*15:18:03 B71 32 36 38 43 67 71

*15:20 B62 31 36 41 43 50 62 71

*15:21, 15:44 B75 31 36 38 41 43 57 71

*15:23, 15:115 B70/B5/

blank

32 36 38 43 70

*15:24:01-15:24:02, 15:87, 

15:157

B62, 

B15, -

31 36 38 43 62 6970

*15:25:01-15:25:03, 15:204, 

15:240, 15:250, 15:271

B62, -

31 36 41 43 62 71

*15:29 B70 32 36 43 71

*15:30, 15:58, 15:63, 15:269 B62, - 31 43 62 69 71

*15:31 B75 31 36 43 57 71

*15:32:02 - 31 36 43 62 64 69 71

*15:36 - w 31 36 41 43 62 70

*15:42 B15 31 43 59 62 64 71

*15:43, 15:256 B15, - 31 36 43 62 6970

*15:45 B62 27 31 43 62 69 71

*15:46 - 28 3132 36 43 6162 69 71

*15:48, 15:150, 15:188, 

15:248, 15:287

B62, -

31 43 62 71

*15:53, 15:212 - 28 32 36 43 6162 69 71

*15:54 B72 32 3536 43 62 69 71

*15:55 B15 27 31 36 43 57 71

*15:57 B62 31 36 43 w 62 69 71

*15:62 - 32 3536 41 43 62 71

*15:64:01-15:64:02 B71, - 32 3536 43 71

*15:66 B62 31 36 38 43 62 69 71

*15:68 - 27 3536 62 69 71

*15:69 B72 32 3536 43 45 62 71

*15:73 B62 31 43 62 65 67 69 71

*15:74 B72 32 36 43 62 71

*15:76 - 31 36 38 43 52 w 69 71

*15:77 B62 3031 41 43 62 69 71

*15:80 B70 32 36 38 41 43 71

*15:83 B62 3132 43 54 62 71

*15:85 B62 31 36 41 43 50 62 69 71

*15:86 - 31 43 62 64 71

*15:89 B77 w 31 36 41 43 57 70

*15:91, 15:131 - 32 353637 43 62 71

*15:101 - 31 36 38 52 62 69 71

*15:106 - 28 3132 36 41 43 6162 71

*15:116 B62 31 36 43 49 62 71

*15:124 B71 32 36 38 43 49 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172


[image: image16.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*15:137 - 31 43 w 62 69 71

*15:138 - 25 31 36 43 62 71

*15:142 - 26 31 36 43 62 69 71

*15:143 - 28 3132 36 43 61 69 71

*15:144 - 31 36 41 43 57 69 71

*15:154, 15:165 - 31 36 41 43 62 69 71

*15:161 - 32 363738 43 71

*15:180 - 26 36 69 71

*15:186 - 32 36 38 43 45 71

*15:189 - 3031 36 38 43 57 69 71

*15:194 - 31 36 41 43 50 57 71

*15:202, 15:239 - 31 36 4243 62 69 71

*15:222 - 33 36 38 43 70

*15:224 - 31 43 62 64 67 71

*15:230 - 25 31 33 38 43 70

*15:233 - 3031 43 62 69 71

*15:236 - 31 36 62 69 71

*15:241 - 25 31 36 43 62 69 71

*15:243 - 3233 38 43 62 71

*15:253 - 32 35 43 62 71

*15:255 - 32 36 38 52 62 71

*15:259 - 3132 3536 43 62 69 71

*15:268 - 31 33 36 38 43 70

*15:277 - 31 33 36 43 62 69

*15:289 - 31 36 41 43 55 62 71

*15:293 - 32 36 38 43 59 71

*15:297 - 25 31 36 41 43 57 7172

*15:303 - 31 43 57 w 65 69 71

*18:01:01:01-18:03, 18:05-

18:08, 18:10-18:11, 18:13-

18:15, 18:17N-18:18, 18:20-

18:21, 18:23N-18:25, 18:27-

18:28, 18:30-18:36, 18:38-

18:40, 18:42-18:43, 18:45-

18:47, 18:50-18:53, 18:55, 

18:57-18:60, 18:62-18:65, 

18:68, 18:70-18:71, 18:73-

18:78, 18:80-18:91, 18:93-

18:96

B18, 

B18/bla

nk, 

Null, -

36 39 42 68 71

*18:04 B18 36 39 42 64 68 71

*18:09 B18 36 39 68 70

*18:12 B18 36 39 42 62 71

*18:19 B18 36 39 42 6869 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image17.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*18:22, 18:69 B18, - 36 39 4142 55 68 71

*18:26, 18:41, 18:61 B18, - 39 42 68 71

*18:29, 18:72, 18:92, 35:32:01-

35:32:02, 35:37, 35:53N, 

35:64:01-35:64:02, 35:68:01-

35:68:02, 35:99, 35:118-

35:119, 35:174

4

B35, 

Null, -

36 42 68 71

*18:37 - 3536 39 71

*18:44:01-18:44:02 - 28 36 39 42 68 71

*18:48 - 36 39 50 61 71

*18:49, 18:79 - 36 39 68 71

*18:54 - 3637 39 44 68 70

*18:56 - 3637 39 42 68 71

*18:66 - 36 39 71

*18:67 - 36 39 60 68 70

*27:01 B27 29 40 52 w 62 70

*27:02:01-27:02:02, 27:53, 

27:57, 27:65N, 27:83, 27:95, 

27:102

B27, 

Null, -

29 40 52 56 60 62 70

*27:03-27:05:15, 27:05:17-

27:05:19, 27:05:21-27:05:22, 

27:05:24-27:06, 27:09-27:10, 

27:13, 27:17, 27:20, 27:27, 

27:31, 27:35-27:37, 27:45-

27:46, 27:48-27:51, 27:54-

27:56, 27:58, 27:60-27:61, 

27:64N, 27:66N, 27:68-27:69, 

27:72-27:74, 27:78-27:80, 

27:82, 27:84-27:88, 27:90:01-

27:91, 27:93-27:94N, 27:96:01-

27:101, 27:103-27:106, 

27:108, 27:110-27:114, 27:117

B27, 

Null, -

29 40 52 56 62 70

*27:05:16, 27:05:20, 27:07:01-

27:07:03, 27:11, 27:15, 27:21, 

27:28, 27:32, 27:34, 27:38, 

27:43, 27:47, 27:63, 27:70-

27:71, 27:76

B27, -

40 52 56 62 70

*27:05:23, 27:52, 27:67 - 29 52 56 62 70

*27:07:04 - 29 40 46 52 56 62 70

*27:08, 27:26, 27:40, 27:42, 

27:44, 27:89

B2708/B

27/B7, -

29 40 52 56 62 71

*27:12 - 29 40 62 71

*27:14, 27:81 B27, - 40 48 52 56 62 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image18.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*27:16, 27:39, 27:59N B27, 

Null, -

29 40 62 70

*27:18 - 29 35 40 62 71

*27:19 B27 4041 52 56 62 70

*27:23, 27:92 - 29 40 70

*27:24 B27 40 52 5657 62 70

*27:25 B27 40 52 56 62 6970

*27:29 B27 29 35 40 62 70

*27:30 B27 4041 52 56 60 62 70

*27:33 - 40 52 56 62 71

*27:41, 27:107 - 29 36 40 52 56 62 70

*27:62 - 40 52 56 60 62 70

*27:75 - 29 52 56 60 62 6970

*27:77 - 29 40 60 62 70

*27:109 - 29 40 52 56 70

*27:115 - 29 40 52 56 62 6970

*27:116 - 29 40 52 56 62

*35:01:01:01-35:01:09, 

35:01:11-35:01:38, 35:07-

35:08:04, 35:08:06, 35:11:01-

35:11:03, 35:15, 35:20:01-

35:20:02, 35:23, 35:29:01-

35:29:02, 35:40N-35:42:01, 

35:48, 35:50, 35:52, 35:54, 

35:57, 35:61:01-35:61:02, 

35:77-35:78, 35:82, 35:90-

35:94, 35:100-35:101:02, 

35:103-35:105, 35:107-

35:108:02, 35:110-35:112, 

35:116, 35:120-35:124, 

35:126, 35:130N-35:134N, 

35:137-35:148, 35:158-

35:159, 35:161, 35:165N-

35:166, 35:168, 35:170-

35:171, 35:173N, 35:175-

35:178, 35:180, 35:187, 

35:189, 35:192, 35:194, 

35:196-35:197, 35:200, 

35:202, 35:206, 35:208-

35:209, 35:212, 35:215-

35:216N, 35:219, 35:224-

35:225, 35:227-35:228, 35:238-

35:241, 35:244-35:245, 35:247

B35, 

Null, -

36 4142 68 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image19.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*35:01:10 B35 33 36 4142 68 71

*35:01:39, 35:222, 35:248 - 36 4142 68

*35:02:01-35:04:01, 35:04:03, 

35:06, 35:12:01-35:12:03, 

35:33-35:34, 35:36, 35:39, 

35:55, 35:59, 35:65Q, 35:70, 

35:74, 35:83-35:85, 35:95, 

35:98, 35:106, 35:128-

35:129N, 35:136, 35:149-

35:150, 35:152-35:153, 35:155-

35:156, 35:160, 35:162, 

35:167, 35:172, 35:179, 

35:181-35:184, 35:193, 

35:195, 35:201, 35:204, 

35:211, 35:214, 35:220-

35:221, 35:223, 35:231, 

35:236-35:237, 35:243, 35:246

B35, 

Null, -

4142 68 71

*35:04:02 B35 33 4142 68 71

*35:05:01-35:05:03, 35:51, 

35:58, 35:72, 35:89, 35:97, 

35:114, 35:232

B35, -

27 36 42 68 71

*35:08:05 - 36 4142 64 71

*35:09:01-35:09:03, 35:18, 

35:31, 35:75, 35:88, 35:127, 

35:151, 35:205, 35:234-35:235

B35, -

42 68 71

*35:10, 35:28, 35:69, 35:80, 

35:226

B35, -

36 4142 62 71

*35:13 B35 4142 62 71

*35:14:01-35:14:02, 35:62 B35 36 4142 6869 71

*35:16 B35 27 36 4142 62 71

*35:17:01-35:17:02, 35:30, 

35:113, 35:125

B35, -

27 36 4142 68 71

*35:19, 35:47, 35:217 B35/bla

nk, -

28 36 41 61 71

*35:21, 35:24:01-35:24:02, 

35:188, 35:190

B35/B78

, -

36 4142 55 68 71

*35:22, 35:199 B35, - 27 42 68 71

*35:25, 35:49, 35:210 B35, - 36 41 71

*35:26 B35 30 36 41 71

*35:27, 35:203 B35, - 36 41 68 71

*35:35 B35 36 4142 45 68 71

*35:38, 35:169 B35, - 4142 53 68 71

*35:42:02 - 36 4142 64 68 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

 

[image: image20.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*35:43:01, 35:67, 35:79, 35:86, 

35:102, 35:117, 35:135

B35, -

36 42 6869 71

*35:44 - 42 6869 71

*35:45, 35:71 B35 3637 4142 53 68 71

*35:46 B35 28 36 41 50 57 71

*35:56 B35 41 68 71

*35:60 B35 42 64 68 71

*35:63 - 28 36 41 6162 71

*35:66 B35 36 42 68 7172

*35:76 B35/22 36 4142 52 56 w 71

*35:81, 35:96, 35:109, 35:157, 

35:233

-

4142 55 68 71

*35:87 - 32 42 51 68 7172

*35:115 - 36 4142 53 68 71

*35:154 - 28 41 61 71

*35:163, 35:213 - 4142 6869 71

*35:164, 35:242 - 27 4142 68 71

*35:185 - 36 42 64 6869 71

*35:186 - 36 4142 52 56 71

*35:191 - 36 4142 71

*35:198 - 41 71

*35:207 - 28 36 41 50 62 71

*35:218 - 26 36 4142 68 71

*35:229 - 36 4142 52 56 68 71

*35:230 - 42 49 68 71

*37:01:01-37:01:07, 37:01:09, 

37:03N, 37:13, 37:15-37:21, 

37:23-37:27, 37:30N-37:33N, 

37:36, 37:38, 37:41-37:43, 

37:45-37:47

B37, 

Null, -

37 41 44 53 62 70

*37:01:08, 37:09, 37:44 B37, - 37 44 62 70

*37:02 B37/B27

29 37 44 62 70

*37:04:01-37:04:02 B37, - 37 41 44 53 55 62 70

*37:05 Blank 37 41 44 53 62 71

*37:06:01-37:06:02 B37, - 37 41 44 50 53 62 70

*37:07 - 25 37 44 62 70 72

*37:08 B37 37 41 44 53 68 70

*37:10, 37:22, 37:29 B37, - 41 44 53 62 70

*37:11, 37:37 - 4142 44 53 62 71

*37:12 B37 32 37 44 53 62 70

*37:14 - 41 44 53 62 70w

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image21.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*37:28 - 35 37 41 44 53 62 70

*37:34 - 41 44 53 60 62 70

*37:35 - 3637 41 44 53 62 70

*37:39-37:40 - 37 41 44 62 70

*38:01:01-38:02:02, 38:02:04-

38:02:05, 38:02:07, 38:08-

38:09, 38:11-38:16, 38:18-

38:19, 38:21, 38:23-38:24, 

38:27-38:29, 38:31-38:32, 

38:34N, 38:38-38:44, 38:46-

38:49

B38, 

Null, -

29 454647 70

*38:02:03 - 45 47 70

*38:02:06, 38:10, 38:36-38:37, 

38:45, 38:50

B38, -

29 4647 70

*38:03 B38 29 35 4546 62 70

*38:04, 38:25 B38, - 45 47 62 70

*38:05, 38:33 B38, - 30 454647 70

*38:06 B38 45 68 70

*38:07 B38 29 45 68 70

*38:17 - 29 37 44454647 70

*38:20 - 29 41 454647 70

*38:22 - 29 40 4647 70

*38:26 - 29 4546 52 70

*38:30 - 29 32 4647 70

*38:35 - 29 45 47 70

*39:01:01:01-39:01:01:03, 

39:01:03-39:01:08, 39:01:10-

39:01:14, 39:01:16-39:01:17, 

39:03, 39:05:01-39:06:02, 

39:06:04, 39:09, 39:11, 39:14-

39:15, 39:24:01, 39:26-39:29, 

39:31, 39:35, 39:37-39:38Q, 

39:40:01N-39:41, 39:44, 39:46, 

39:48, 39:51-39:57, 39:59-

39:62, 39:64-39:68, 39:70-

39:71, 39:73, 39:75, 39:77, 

39:79-39:81, 39:84-39:87N

B3901/B

39, Low 

B39, 

Null, -

29 45 4748 71

*39:01:09, 39:06:03, 39:12, 

39:45, 39:72, 39:76, 39:78

B3901/B

39, -

45 4748 71

*39:01:15 - 29 45 4748

*39:02:01, 39:08 B3902/B

39

29 35 45 48 62 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image22.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*39:02:02, 39:13:01-39:13:02, 

39:23, 39:49

B3902/B

39, -

35 45 48 62 71

*39:04 B39 30 45 4748 71

*39:07 B16 29 36 45 4748 71

*39:10:01-39:10:02, 39:16, 

39:20, 39:83

B39, -

45 48 71

*39:17 B39 45 48 64 67 71

*39:18 B39 29 45 4748 69 71

*39:19:01 B39 42 45 4748 68 71

*39:19:02 B39 29 42 45 4748 68 71

*39:22 B39 29 45 4748 62 71

*39:24:02 - 29 45 47 71

*39:36 - 29 4748 69 71

*39:39:01 B39 29 35 45 48 71

*39:39:02 - 35 45 48 71

*39:42 B39 29 41 45 4748 71

*39:43 - 29 36 4748 71

*39:58 - 29 45 48 71

*39:63 - 45 48 64 71

*39:69 - 29 45 4748 61 71

*40:01:01-40:01:06, 40:01:08-

40:01:10, 40:01:12-40:01:17, 

40:01:19-40:01:37, 40:07, 

40:51, 40:66, 40:73, 40:79, 

40:124:01, 40:139-40:140, 

40:146-40:147, 40:150, 40:152-

40:153, 40:155N, 40:172, 

40:186, 40:250, 40:252-

40:253, 40:258-40:264

B60, 

Null, -

28 4849 6162 71

*40:01:07, 40:01:18, 40:72:01, 

40:77

B60, -

28 48 6162 71

*40:01:11 - 28 4849 6162 64 71

*40:02:01-40:02:19, 40:04, 

40:06:05, 40:39, 40:89, 40:94, 

40:97, 40:122, 40:142N-

40:144N, 40:214, 40:229, 

40:254-40:255, 40:266

B61, 

B61/B41

, Null, -

50 6162 71

*40:03, 40:20, 40:267 B61, - 36 50 6162 71

*40:05 B4005/B

50

27 50 6162 71

*40:06:01:01-40:06:04, 

40:06:06-40:06:08, 40:70:01-

40:70:02, 40:268-40:270

B61, -

48 50 6162 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

 

[image: image23.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*40:08 B61/bla

nk

50 61 71

*40:09, 40:11:01-40:11:02, 

40:18, 40:24, 40:27:01-

40:27:02, 40:29, 40:35, 40:37, 

40:50, 40:56-40:57, 40:64, 

40:78, 40:82, 40:85, 40:90-

40:91, 40:99, 40:104, 40:107, 

40:111, 40:115, 40:119-

40:120, 40:133Q, 40:145, 

40:169, 40:173, 40:176, 

40:180-40:181, 40:189, 

40:200, 40:202-40:203, 40:205-

40:206, 40:211, 40:220, 

40:224-40:226, 40:243, 

40:246, 40:248

B61, -

? ? 6162 71

*40:10:01 B60 28 49 6162 71

*40:10:02, 40:135 - 28 49? 6162 71

*40:12 B60/B48 32 35 43 49 62 71

*40:13 - 50 58 60 62 70

*40:14:01-40:14:03, 40:121, 

40:129, 40:164, 40:192, 

40:197, 40:219, 40:233

B60, -

28 ? ? 6162 71

*40:15 - 25 28 ? ? 6162 7172

*40:16 B61 25 28 48 6162 7172

*40:19 B61 ? 58 60 62 70

*40:21 B40/B15 ? 49 62 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image24.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*40:68, 40:232 - ? ? 61 71

*40:71 B61 27 ? ? 6162 65 67 71

*40:74, 40:149, 40:210 B60, - ? 49? 6162 71

*40:76 B60 28 49? 62

*40:83, 40:177 - 48 6162 71

*40:93 - 35 40 48 62 71

*40:95 - ? ? 59 6162 71

*40:96 - 48 ? 62 70

*40:98 - 25 ? ? 6162 7172

*40:105 - 36 ? ? 6162 71

*40:109 - 48 ? 58 60 62 70

*40:110 - 28 48 ? 62 70

*40:117 - 28 49? 58 60 62 70

*40:132, 40:178 - 28 ? 49? 53 6162 71

*40:136 - 25 28 32 38 ? ? 51 6162 71

*40:137 - ? 49 62 7172

*40:138, 40:251 - 4849 6162 71

*40:148, 40:161 - 48 ? 59 6162 71

*40:157, 40:201 - ? 62 70

*40:158 - 25 28 36 ? ? 6162 71

*40:159 - 36 48 ? 6162 71

*40:166 - 28 ? 49? 52 61 71

*40:174 - 27 ? ? 6162 71

*40:183, 40:198 - 25 28 ? 49? 6162 71

*40:184 - 45 ? ? 6162 71

*40:185 - 42 ? 49 62 71

*40:208 - 28 ? 49? 62 71

*40:209 - 42 ? 62 71

*40:231 - 25 28 32 38 ? 49? 51 53 6162 71

*40:237 - 28 ? 6162 71

*40:265N Null 4849 62 71

*41:01, 41:06-41:07, 41:12, 

41:14, 41:16-41:17, 41:20-

41:22, 41:25, 41:28

B41, -

28 32 48 51 54 6162 71

*41:02:01-41:02:05, 41:11, 

41:13, 41:19, 41:23, 41:27, 

41:31

B41, -

28 32 48 51 6162 7172

*41:03:01-41:03:02, 41:15 B41, - 28 32 48 51 6162 71

*41:04, 41:10, 41:18 B41, - 28 48 51 6162 7172

*41:05 B41 28 32 48 51 54 ? 62 71

*41:08 B41 25 28 32 38 48 51 6162 71

*41:09, 41:29, 45:02-45:03

4 B45, -

28 32 48 54 6162 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image25.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*41:24 - 28 32 36 48 51 6162 7172

*41:26 - 28 32 48 51 54 62

*41:30 - 28 32 36 48 51 54 6162 71

*42:01:01-42:02, 42:06, 42:10, 

42:12, 42:15, 42:17-42:18

B42, -

32 48 5152 7172

*42:04 B42 32 48 5152 54 71

*42:05:01-42:05:02 B42 25 32 38 48 5152 7172

*42:08 B42 32 48 52 71

*42:09 B42 36 48 5152 7172

*42:11 - 32 35 48 51 62 7172

*42:13 - 32 48 515253 7172

*42:14 - 32 48 5152 71

*42:16, 42:20 - 48 5152 7172

*42:19 - 32 48 52 7172

*44:02:01:01-44:02:21, 

44:02:23-44:02:29, 44:11, 

44:19N, 44:21-44:24, 44:27:01-

44:27:02, 44:33-44:34:02, 

44:48, 44:52N, 44:55, 44:59:01-

44:59:02, 44:63, 44:66-44:68, 

44:71-44:74, 44:80, 44:84:01-

44:84:02, 44:86-44:87, 44:89, 

44:93, 44:101-44:102, 44:104, 

44:112-44:113, 44:116, 44:118-

44:119, 44:121, 44:126:01-

44:126:02, 44:137, 44:142, 

44:148-44:149N, 44:151-

44:152, 44:162, 44:168, 

44:170, 44:172-44:173, 44:176-

44:177, 44:179, 44:185, 

44:187

B44, 

Null, -

28 41 53 6263 70

*44:02:22, 44:12, 44:171N B44, 

Null, -

28 41 53 63 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image26.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*44:03:01-44:03:06, 44:03:08-

44:03:15, 44:03:17-44:03:18, 

44:03:21-44:05:04, 44:07, 

44:13, 44:26, 44:28:01-44:30, 

44:32, 44:35-44:36, 44:38-

44:39, 44:42, 44:45, 44:50:02-

44:51, 44:56N, 44:58N, 

44:61N, 44:69-44:70, 44:76-

44:79:02, 44:82, 44:85, 44:88, 

44:92, 44:94, 44:96, 44:98, 

44:105, 44:107-44:109, 44:114-

44:115, 44:117, 44:120, 

44:122-44:125, 44:128, 

44:133, 44:136, 44:139, 

44:141, 44:143, 44:147, 

44:153-44:155, 44:157, 44:159-

44:161, 44:163-44:165, 

44:167, 44:174-44:175, 

44:178, 44:180-44:181, 

44:183, 44:186

B44, 

Null, -

28 41 53 62 70

*44:03:07, 44:03:16, 44:03:19-

44:03:20, 44:81, 44:103, 

44:111, 44:134

B44, -

41 53 62 70

*44:06 B44 41 5354 60 63 68 70

*44:08 B44 w 41 53 6263 70

*44:09 B45 28 41 53 616263 71

*44:10, 44:140 B44, - 28 35 41 53 62 65 70

*44:14 B44 28 32 41 53 62 70

*44:15 B12 28 32 35 54 62 65 70

*44:16, 44:91, 44:132 B47/B44

, -

28 30 41 53 6263 70

*44:17, 44:43:01-44:43:02, 

44:144

B44, -

28 3637 41 53 62 70

*44:18 B44 28 32 35 54 58 62 65 70

*44:20, 44:100 B44, - 28 32 5354 6263 70

*44:25, 44:50:01 B44 28 41 53 58 60 62 70

*44:31, 44:182 B44, - 28 49 53 62 70

*44:37:01-44:37:02, 44:64:01-

44:64:02

B44, -

28 30 41 62 70

*44:40, 44:130 B44, - 35 4041 53 62 70

*44:41:01-44:41:02, 44:53, 

44:99, 44:138Q

B44, -

28 53 6263 70

*44:44 B44 35 4041 53 6263 70

*44:46, 44:75, 44:129 B12, - 28 41 53 6162 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image2.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*40:22N, 40:33, 40:36, 40:42, 

40:49, 40:54-40:55, 40:61-

40:63, 40:65, 40:67, 40:81, 

40:84, 40:87:01-40:88, 40:92, 

40:100-40:102, 40:108, 40:112-

40:114, 40:116, 40:118N, 

40:123, 40:124:02-40:126, 

40:128, 40:130:01-40:130:02, 

40:134, 40:141, 40:151, 

40:154, 40:156, 40:163, 

40:168, 40:175, 40:179, 

40:182, 40:187, 40:191, 

40:193-40:196, 40:199, 

40:204, 40:207, 40:212-

40:213, 40:216N-40:218, 

40:221, 40:223, 40:227-

40:228, 40:234-40:236, 40:238-

40:242, 40:245, 40:247, 

40:257

Null, 

B60, -

28 ? 49? 6162 71

*40:23 B40 25 28 4849 6162 71

*40:25, 40:69, 40:106 B40, 

B60, -

28 ? 49? 61 71

*40:26 B21 33 ? ? 6162 71

*40:28 - 33 41 ? ? 55 6162 71

*40:30, 40:34, 40:160:01-

40:160:02

B60, -

28 ? 49? 6162 7172

*40:31, 40:45, 40:80 B60, - 28 ? ? 57 6162 7172

*40:32 B40 25 28 ? 6162 7172

*40:38, 40:52, 40:222 B60, - 28 36 ? 49? 6162 71

*40:40 B61 6162 71

*40:43, 40:170-40:171, 

40:215, 40:249

B60, -

28 ? 49 6162 71

*40:44, 40:75, 40:86, 40:103, 

40:127, 40:131, 40:162, 

40:165, 40:167, 40:190, 

40:230, 40:244, 40:256N

B61, 

Null, -

48 ? 6162 71

*40:46 B60 35 40 ? 49 62 71

*40:47, 40:188 B40, - 28 49? 62 70

*40:48 B60 28 34 ? 49? 6162 67 71

*40:53, 40:72:02 B61, 

B60

28 48 ? 6162 71

*40:58 B40 28 ? ? 6162 64 71

*40:59 B40 28 36 4849 6162 7172

*40:60 - 28 36 4849 6162 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image27.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*44:47, 44:65 B44, - 28 53 62 70

*44:49 B44 26 28 41 53 6263 70

*44:54 B44 2728 53 62 70

*44:57 - w 41 53 62 70

*44:60, 44:110 - 2728 41 53 62 70

*44:62 - 28 3233 41 53 62 70

*44:83, 44:145 - 41 53 6263 70

*44:90 - 28 41 5253 56 616263 71

*44:95 - 28 41 53 58 60 6263 70

*44:97 - 28 41 5253 56 6263 70

*44:106 - 2728 53 6263 70

*44:127 - 28 41 53 6263

*44:131 - 41 53 616263 71

*44:146 - 28 41 53 62 6970

*44:150 - 25 28 30 41 62 70 72

*44:156 - 26 35 41 53 62 70

*44:166 - 28 32 51 62 70 72

*44:169 - 28 41 49 53 6263 70

*45:01, 45:05, 45:07, 45:11-

45:14

B45, -

28 32 35 48 54 6162 65 71

*45:04 B21 28 32 48 54 6162 65 71

*45:06 B45 28 32 35 48 52 54 6162 65 71

*45:08 - 28 32 48 54 6162 64 71

*45:09 - 28 32 3637 48 54 6162 71

*45:10 - 28 32 34 48 54 6162 71

*46:01:01-46:01:06, 46:01:08-

46:01:15, 46:04-46:05, 46:07N, 

46:09-46:10, 46:14-46:16, 

46:20, 46:22-46:24, 46:26-

46:31, 46:34-46:39, 46:42, 

46:44, 46:46, 46:48, 46:51Q-

46:53, 46:55N-46:57

B46, 

Null, -

31 36 52 55 69 71

*46:01:07 - 31 36 50 52 55 69 71

*46:02 B46 31 36 w 55 69 71

*46:03, 46:08, 46:13:01-

46:13:03, 46:19, 46:21:01-

46:21:02, 46:25, 46:45, 46:54

B46, -

31 36 52 55 71

*46:06, 46:43 - 31 36 49 52 55 71

*46:11 B22 31 52 55 65 71

*46:12 - 27 31 36 52 55 69 71

*46:17 - 31 3637 52 55 69 71

*46:18 - 31 52 55 64 71

*46:32 - 31 36 52 55 w 69 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

 

[image: image28.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*46:33 - 31 36 41 50 52 55 71

*46:40 - 31 36 42 52 64 69 71

*46:41N, 46:49 Null, - 31 36 55 69 71

*46:47 - 31 36 52 69 71

*46:50 - 31 36 43 52 55 69 71

*47:01:01:01-47:01:02, 47:06-

47:09

B47, -

28 50 56 62 70

*47:02 B47 28 50 56 6162 71

*47:03 B47 28 50 56 w62 70w

*47:04-47:05 B17, - 2829 50 62 70

*48:01:01-48:01:06, 48:07, 

48:09, 48:11, 48:19-48:20, 

48:22, 48:27, 48:29-48:30, 

48:32-48:34

B48, -

35 48 57 62 7172

*48:02:01-48:02:03, 48:25 B48/B70

, -

3536 41 48 62 71

*48:03:01-48:03:02 B48 35 4849 62 71

*48:04, 48:24 B48, - 35 48 57 62 71

*48:05, 48:08 B48, - 25 35 48 62 7172

*48:06 - 48 57 7172

*48:10, 48:12 B48 35 48 62 7172

*48:13 - 35 48 62 71

*48:14 B48 3536 48 62 7172

*48:15 B48 25 35 48 57 62 7172

*48:16 B48 35 48 57 7172

*48:17 - 35 4849 62 7172

*48:18 B48 35 57 62 70 72

*48:21, 48:26 - 29 35 48 62 71

*48:23 - 3536 4849 62 71

*48:28 - 35 39 48 57 62 7172

*48:31 - 48 57 62 7172

*49:01:01, 49:01:03-49:01:04, 

49:06, 49:08-49:10, 49:12-

49:17, 49:19N, 49:22-49:24, 

49:27-49:28

B49, 

Null, -

28 5859 62 65 70

*49:01:02, 49:11 B49, - 28 58 62 65 70

*49:02 B49 28 59 62 65 70

*49:03 B49 59 62 65 70

*49:04-49:05 B49 28 36 5859 62 70

*49:07 - 28 34 5859 62 70

*49:18 - 28 33 5859 62 70

*49:20 - 28 35 5859 62 65 70

*49:21 - 28 5859 62 65

*49:25 - 26 5859 62 65 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image29.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*49:26 - 40 4647 59 65 70

*50:01:01-50:01:04, 50:04-

50:05, 50:07-50:08, 50:10-

50:11, 50:13, 50:16, 50:18-

50:19, 50:32, 50:35-50:37

B50, -

28 48 59 6162 65 71

*50:02 B45 28 35 48 59 6162 65 71

*50:06 - 28 48 59 62 65 71

*50:09, 50:20 - 28 48 59 6162 71

*50:12 - 28 48 6162 65 71

*50:14 - 28 33 48 59 6162 71

*50:15 - 28 48 59 61 65 71

*50:17 - 28 41 48 6162 65 71

*50:31 - 28 34 48 59 6162 71

*50:33 - 28 36 48 59 6162 71

*50:34 - 48 59 6162 65 71

*51:01:01, 51:01:03, 51:01:05-

51:01:08, 51:01:10-51:01:20, 

51:01:22-51:01:24, 51:01:26-

51:01:39, 51:01:41-51:02:01, 

51:02:03, 51:02:05-51:03, 

51:07:01, 51:09:01, 51:11N-

51:12, 51:13:02-51:14, 51:16-

51:19, 51:21-51:23, 51:24:05, 

51:26-51:33, 51:38-51:41N, 

51:43, 51:48-51:53, 51:55, 

51:57-51:58, 51:60, 51:65-

51:67, 51:69-51:77, 51:79-

51:80, 51:82-51:88, 51:90-

51:91, 51:94-51:96, 51:98N, 

51:100, 51:102, 51:105, 

51:107-51:111, 51:113-

51:115, 51:117, 51:120-

51:130, 51:133-51:134, 51:136-

51:138, 51:140, 51:142, 

51:145-51:146, 51:149N-

51:152, 51:154-51:156, 51:158-

51:166

B51, 

B5102/B

51, 

B5103/B

51, 

B51/bla

nk, 

Null, -

33 54 5960 68 70

*51:01:02, 51:02:02, 51:05, 

51:07:02, 51:09:02, 51:89, 

51:103, 51:116, 51:119, 

51:132

B51, 

B5102/B

51, -

33 5960 68 70

*51:01:04, 51:02:04, 51:13:01, 

51:24:01, 51:34-51:35, 51:92, 

51:99, 51:131, 51:143

B51, 

B5102/B

51, -

54 5960 68 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

 

[image: image30.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*51:01:09 B51 33 48 5960 68 70

*51:01:21, 51:01:25, 51:24:03-

51:24:04

B51, -

33 48 54 5960 68 70

*51:01:40, 51:54, 51:78:01-

51:78:02

-

33 59 68 70

*51:04, 51:46, 51:56:01-

51:56:02, 51:139

B51, -

33 41 5455 60 68 70

*51:06:01-51:06:02, 51:59, 

51:135

B51, -

33 54 60 68 70

*51:08, 51:20, 51:44N, 51:141, 

51:153

B51, 

Null, -

3233 54 5960 68 70

*51:10 B51 48 54 60 68 70

*51:15 - 60 65 68 70

*51:24:02 B51 48 54 5960 68 70

*51:36 B51 32 54 5960 68 70

*51:37, 51:63 B51, - 33 36 54 5960 68 70

*51:42 - 41 5354 60 68 70

*51:45 - 36 54 60 68 70

*51:61:01-51:61:02 - 33 54 5960 686970

*51:62 - 54 60 65 6768 70

*51:64 - 27 33 54 60 68 70

*51:68 - 26 33 54 5960 68 70

*51:81 - 54 60 68 70

*51:93, 51:144 - 5960 68 70

*51:97 - 3233 36 54 5960 68 70

*51:101 - 33 45 54 5960 68 70

*51:104, 51:118N, 51:147 Null, - 33 54 5960 70

*51:106 - 33 54 5960 65 68 70

*51:112 - 33 54 585960 70

*51:148 - 27 60 68 70

*51:157 - 54 60 64 68 70

*52:01:01:01-52:01:01:03, 

52:01:03, 52:01:06-52:01:08, 

52:01:11-52:01:14, 52:01:16-

52:01:20, 52:02:02, 52:04-

52:05, 52:07-52:08, 52:10:01-

52:10:02, 52:11-52:13, 52:15, 

52:17-52:18, 52:22-52:24, 

52:27-52:36

B52, -

33 5960 62 70

*52:01:02, 52:01:04, 52:01:09, 

52:02:01, 52:03, 52:06:01-

52:06:02, 52:09, 52:10:03

B52, -

33 54 5960 62 70

*52:01:05, 52:01:15, 52:14 B52, - 5960 62 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

 

[image: image31.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*52:01:10 - 33 46 5960 62 70

*52:16 - 33 35 5960 62 70

*52:19 - 3233 54 5960 62 70

*52:20 - 33 59 62 70

*52:21 - 33 54 5960 62 6970

*52:25 - 5960 62 65 70

*52:26 - 30 33 5960 62 70

*53:01:01-53:01:09, 53:05, 

53:08:01-53:08:02, 53:10, 

53:16, 53:18, 53:20-53:21, 

53:23-53:27, 53:29

B53, -

36 41 60 68 70

*53:02 B53 36 41 55 60 68 70

*53:03, 53:09, 53:11-53:13 B53/B35

36 41 68 70

*53:04, 53:07, 53:19 B53, - 41 60 68 70

*53:06 B53/B51

36 41 5455 60 68 70

*53:14 - 27 36 60 68 70

*53:15 - 36 41 60 68 70 72

*53:17:01-53:17:02 - 36 41 60 62 70

*53:22 - 3637 41 53 60 68 70

*53:28 - 33 36 41 55 60 62 70

*53:30, 57:45, 57:51, 57:69

4 -

28 36 41 58 60 70

*53:31 - 41 68 70

*54:01:01-54:02, 54:05N, 

54:07-54:08N, 54:10, 54:13, 

54:16-54:19, 54:21-54:25, 

54:27-54:29, 54:31-54:32

B54, 

Null, -

52 56 6364 71

*54:03 B22 52 56 63 65 71

*54:04, 54:15 B54, - 52 56 63 71

*54:06 - 36 52 56 63 69 71

*54:09, 54:14 - 36 52 56 63 71

*54:11 B54 48 52 56 63 71

*54:12 - 52 56 58 6364 70

*54:20 - 52 56 59 6364 71

*54:26 - 34 52 56 63 71

*54:30 - 6364 71

*55:01:01-55:01:06, 55:01:08-

55:01:11, 55:03, 55:05, 55:11, 

55:15, 55:25, 55:29, 55:31, 

55:33, 55:36, 55:38, 55:44-

55:45, 55:52-55:55N, 55:59-

55:60

B55, 

Null, -

52 56 59 64 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image32.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*55:01:07, 55:02:01-55:02:08, 

55:07, 55:10, 55:12, 55:16, 

55:19, 55:26, 55:30, 55:35, 

55:37, 55:39, 55:41-55:43, 

55:47-55:48, 55:50, 55:57, 

55:61-55:63

B55, 

B54, -

52 56 64 71

*55:04, 55:08, 55:13, 55:27, 

55:46, 55:49, 56:01:05, 56:15, 

56:19N, 56:22

4

B55, 

B56, 

Null, -

52 56 71

*55:09, 55:24 B22, 

B55

34 52 56 59 71

*55:14 - 36 41 52 56 66 71

*55:17, 55:28, 55:58 B55, - 52 56 59 71

*55:18 - 35 62 64 71

*55:20 B22 32 5152 54 56 71

*55:21 B55 52 56 w 64 69 71

*55:22 B22 34 52 56 71

*55:23, 55:32, 56:18, 56:31-

56:32

4

B55, 

Null, -

36 52 56 71

*55:34 - 52 56 62 64 71

*55:40 - 52 56 59 62 64 71

*55:51 - 27 52 56 71

*55:56 - 32 52 54 56 64 71

*56:01:01-56:01:04, 56:01:06-

56:01:07, 56:08, 56:14, 56:16, 

56:20:01, 56:24, 56:26-56:30, 

56:34-56:36, 56:38N, 56:40-

56:41

B56, 

Null, -

52 56 65 71

*56:02, 56:04 B56 52 56 65 67 71

*56:03 B22/15 36 52 56 69 71

*56:05:01 B56 33 52 56 59 64 71

*56:05:02 B56 33 52 56 59 71

*56:06 B78 33 42 52 56 59 64 w 71

*56:07 B56 52 56 65 70

*56:09 B56 36 41 52 56 71

*56:10 B55 52 56 64 67 71

*56:11-56:12 B56, 

B22

41 52 56 71

*56:13 B56 32 52 54 56 65 71

*56:17, 56:33, 56:42 B56, - 65 71

*56:20:02 - 48 52 56 65 71

*56:21 - 33 52 56 5859 70

*56:23 - 64 71

*56:25, 56:37 - 52 56 59 65 71

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image33.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*56:39 - 52 56w 65 71

*56:43 - 52 56 65 69 71

*57:01:01-57:01:04, 57:01:06-

57:01:17, 57:06, 57:08, 57:10, 

57:15-57:16, 57:18-57:20, 

57:22-57:23, 57:25-57:27, 

57:29-57:30, 57:33-57:38, 

57:40-57:41, 57:43-57:44, 

57:48-57:50, 57:52-57:56, 

57:58, 57:60-57:62, 57:64-

57:65, 57:68

B57, -

36 41 60 66 70

*57:01:05, 57:11, 57:13, 57:21, 

57:31, 57:47

B57, -

36 60 66 70

*57:02:01-57:03:02, 57:17, 

57:28N, 57:32, 57:39, 57:42, 

57:46, 57:57, 57:63, 57:66

B57, 

Null, -

41 60 66 70

*57:04 B57 30 41 60 66 70

*57:05 B57 41 50 60 66 70

*57:07 B57 41 53 60 66 70

*57:09 B57 32 41 53 60 66 70

*57:12 B57 41 66 71

*57:14 - 36 41 55 60 66 70

*57:24 - 36 41 53 60 66 70

*57:59 - 36 41 49 60 66 70

*57:67, 58:36

4 -

36 41 50 60 66 70

*58:01:01-58:01:02, 58:01:04-

58:01:13, 58:01:15, 58:04-

58:05, 58:10N-58:15, 58:19, 

58:21-58:24, 58:29, 58:31N-

58:33, 58:35, 58:37, 58:39N-

58:42, 58:45:01-58:45:02, 

58:47-58:58

B58, 

Null, -

36 41 60 67 70

*58:01:03, 58:02, 58:06, 

58:16:01-58:16:02, 58:25-

58:26, 58:38, 58:43, 58:46

B58, -

36 60 67 70

*58:01:14 - 36 41 60 70

*58:07 B58 3637 60 67 70

*58:08:01 B17/B5 33 54 5960 67 70

*58:08:02 - 33 5960 67 70

*58:09 B17 36 41 55 60 67 70

*58:17N Null 36 41 67 70

*58:18 - 27 36 60 67 70

*58:20 - 45 60 67 70

*58:27 - 60 67 70

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image34.emf]Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172

*58:28, 58:34 - 41 60 67 70

*58:44 - 3536 41 60 70

*59:01:01:01-59:01:01:02, 

59:05-59:06

B59, -

58 64 70

*59:02-59:03 B59, - 58 70

*59:04 - 58 65 70

*67:01:01, 67:03-67:04 B67, - 29 45 48 52 71

*67:01:02-67:02 B67, - 45 48 52 71

*73:01-73:02 B73, - 48 52 69 71

*78:01:01-78:01:02, 78:02:02-

78:03, 78:07

B78, -

33 42 59 64 68 71

*78:02:01, 78:04 B78, 

B35

33 42 59 68 71

*78:05 - 33 42 59 62 71

*78:06 - 33 59 62 71

*81:01 B81 52 5657 7172

*81:03-81:06 Null, - 52 57 7172

*82:01-82:03 B82, - 32 35 43 52 56 65 71

*83:01 - 41 5253 56 63 71

A*23:31, A*24:106, 

C*07:231, C*16:10

-

30

A*24:174 - 37

A*26:68, A*68:56, C*02:56, 

C*06:20, C*12:50

-

69

C*01:30, C*12:87 - 28

C*01:73 - 31 50 55

C*01:90, C*15:02:04 - 64

C*02:06, C*02:47 Cw2, - w

C*02:23, C*04:77 - 25

C*03:05, C*03:25, C*03:27, 

C*03:143, C*03:167

Cw3, 

Cw10, -

27

C*03:19 Cw3 65

C*03:102 - 41 65

C*03:129, C*03:234, C*17:16- 49

C*03:179 - 43

C*06:72 - 66

C*07:02:30, C*08:16:02 - 31

C*07:46 Cw7 32

C*07:302 - 44

C*07:335 - 38

C*14:61 - 37 43

C*15:25 - 53

C*15:39 - 55

C*15:51 - 45

Well No. 252627282930313233343536373839404142434445464748495051525354555657585960616263646566676869707172



[image: image35.emf]Well No. DR 737475767778798081828384858687888990919293949596

DRB1 allele

1,2

ser3

*01:01:01-01:02:09, 01:04-01:38, 01:40N-01:41, 01:43-

01:60

DR1, Null, 

-

73

*01:03, 01:39N DR103/DR

1, Null

74

*01:42 - 7374

*03:01:01:01-03:01:05, 03:01:07-03:01:08, 03:01:10-

03:01:22, 03:04:01-03:06, 03:09, 03:12-03:16, 03:18-

03:20, 03:22-03:23, 03:25-03:26, 03:28, 03:30-03:31, 

03:33-03:34, 03:36-03:37, 03:43-03:45, 03:47-03:48, 

03:50-03:52, 03:54-03:63, 03:66-03:68N, 03:70-03:73, 

03:75, 03:77-03:86, 03:89, 03:91, 03:93

DR17, 

DR3, Null, 

-

7778 89

*03:01:06, 03:01:09, 03:46, 03:64, 03:92 DR17, - 7778

*03:02:01-03:03, 03:27, 03:29, 03:38, 03:53, 03:74, 

03:88, 03:90

DR18, 

DR3, -

77 79 89

*03:07, 03:17, 03:21, 03:24, 03:32, 03:35, 03:39-

03:41, 03:49, 03:94

DR3, -

77 89

*03:08, 03:65 DR3, - 7778 83 85

*03:10 DR3 7778 9192

*03:11:01 DR3 78 89

*03:42, 03:69, 03:87 - 77

*03:76 - 78 84 87 89

*04:01:01-04:05:11, 04:05:13-04:61, 04:63-04:68, 

04:70-04:72:02, 04:74-04:104, 04:106-04:121, 04:123-

04:145, 04:147-04:172

DR4, 

DR4/DR3, 

Null, -

80

*04:62, 04:69, 04:73, 04:105:01-04:105:02, 04:122, 

04:146

DR4, -

80 90

*07:01:01:01-07:01:07, 07:03-07:29 DR7, Null, 

-

81

*08:01:01-08:02:04, 08:04:01-08:07, 08:11, 08:16-

08:17, 08:22, 08:24, 08:26, 08:28, 08:39, 08:42-08:44, 

08:50, 08:52, 08:54

DR8, -

82 88

*08:03:02-08:03:04, 08:10, 08:12-08:15, 08:18-08:19, 

08:23, 08:25, 08:27, 08:29-08:30:03, 08:33-08:34, 

08:36:01, 08:37-08:38, 08:45-08:49, 08:51

DR8, -

82

*08:08 DR8 82 88 90

*08:09 DR8 82 88 92

*08:20, 13:18, 13:47, 13:55, 13:158, 13:164

4 DR13, -

878889 92

*08:21 DR8 82 8788 92

*08:31, 08:41, 11:67

4 DR8/DR11

, -

82 85 88

*08:32, 08:53 - 82 86 92

*08:35, 08:36:02 - 82 92

*08:40 - 78 82

*09:01:02-09:01:05, 09:01:07-09:02:02, 09:04-09:22 DR9, - 83 91

*09:01:06, 09:03 DR9 83

*10:01:01-10:07 DR10, - 84

*11:01:01-11:01:17, 11:01:20-11:01:21, 11:04:01-

11:04:11, 11:06:01-11:06:03, 11:09-11:10:02, 

11:12:01-11:12:02, 11:15, 11:24, 11:27:01-11:30, 

11:32-11:33, 11:35, 11:37:01-11:39, 11:43-11:44, 

11:46:01-11:47, 11:49:01-11:51, 11:54:01-11:54:02, 

11:56, 11:58:01-11:58:02, 11:60-11:62, 11:66, 11:72, 

11:74:01-11:75, 11:77-11:78, 11:81, 11:84:01-

11:84:03, 11:88, 11:90-11:92, 11:94-11:95, 11:97, 

11:99-11:102:02, 11:106, 11:108-11:117, 11:120-

11:121, 11:123, 11:126, 11:128-11:129, 11:133-

11:134, 11:137, 11:140-11:141, 11:144-11:147, 

11:150, 11:152

DR11, -

85 8788

*11:01:18-11:01:19, 11:08:01-11:08:02, 11:18-

11:19:03, 11:42, 11:57, 11:130

DR11, -

85 87

*11:02:01-11:03, 11:11:01-11:11:02, 11:14:01-

11:14:02, 11:16, 11:20-11:21, 11:36, 11:40-11:41, 

11:48, 11:63, 11:65:01-11:65:02, 11:68, 11:70, 11:76, 

11:85-11:86, 11:93, 11:118, 11:122, 11:124, 11:127, 

11:138-11:139, 11:151

DR11, 

DR11/DR1

3, -

78 85 8788

Well No. DR 737475767778798081828384858687888990919293949596

Negative Control



[image: image36.emf]Well No. DR 737475767778798081828384858687888990919293949596

*11:05 DR11 85 88

*11:07, 11:103, 11:105, 11:107, 11:125 DR11, - 77 83 85

*11:13:01-11:13:02 DR11 w 85 89 9192

*11:17, 11:52 DR14, 

DR11

85 9192

*11:22, 11:98, 11:104, 11:136, 11:143 - 85

*11:23:01-11:23:02, 11:25, 11:96, 11:148 DR11, - 85 8788 92

*11:26, 11:34 DR11 79 85

*11:31, 11:45, 11:64, 11:119 DR11, - 85 87 92

*11:53  - 83 85

*11:55 DR11 85 88 92

*11:59, 11:80, 11:83, 11:87, 11:135, 11:142 DR11, - 78 8485 8788

*11:69, 11:82 - 85 88 90

*11:73, 11:79, 11:131-11:132, 11:153 - 78 85 87

*11:89 - 85 92

*11:149 - 85 878889

*12:01:01-12:01:05, 12:03:02-12:03:03, 12:05-12:12, 

12:14, 12:17, 12:24N-12:25, 12:28-12:30, 12:34-12:36, 

12:38, 12:40-12:41

DR12, 

Null, -

86

*12:02:01-12:02:05, 12:13, 12:15, 12:18-12:21, 12:23, 

12:26-12:27, 12:31N-12:33, 12:37, 12:42-12:44

DR12, 

Null, -

86 88

*12:04, 12:39 DR12, - 82 86

*12:16:01-12:16:03 - 82 86 88

*12:22 - 8182 86

*13:01:01-13:02:01, 13:02:03-13:02:09, 13:04, 13:08, 

13:16, 13:20, 13:22-13:24, 13:28-13:29, 13:31-13:32, 

13:34-13:36, 13:38-13:40, 13:48, 13:51-13:52, 13:54, 

13:59, 13:61:01-13:61:02, 13:63-13:65, 13:68-13:70, 

13:72-13:76, 13:78-13:80, 13:83-13:84, 13:87, 13:91-

13:93, 13:96:01-13:99, 13:102, 13:105-13:107, 

13:109, 13:111-13:114, 13:117, 13:121, 13:123-

13:128, 13:130-13:131, 13:135, 13:138-13:143, 

13:145, 13:147-13:149, 13:153, 13:155, 13:162, 

13:166, 13:168

DR13, 

DR11, 

DR14, 

Null, -

78 878889

*13:02:02, 13:167 DR13, - 78 89

*13:03:01-13:03:06, 13:10, 13:33:01-13:33:03, 13:37, 

13:66:01-13:66:02, 13:81, 13:88-13:90, 13:94:01-

13:95, 13:101, 13:115, 13:120, 13:133, 13:137N, 

13:151-13:152

DR13, 

Null, -

78 87 89

*13:05:01-13:05:02, 13:07:01-13:07:02, 13:11:01-

13:11:02, 13:14:01-13:14:03, 13:21:01-13:21:02, 

13:42, 13:46, 13:49-13:50:02, 13:62, 13:100, 13:108, 

13:132, 13:136, 13:150, 13:169

DR13, 

DR13/DR1

1, DR6, -

878889

*13:06, 13:12:01-13:12:03, 13:25, 13:30, 13:56, 13:58, 

13:60, 13:77, 13:82, 13:110, 13:118, 13:134, 13:157, 

13:161, 13:163

DR13, 

DR11, 

DR6, -

87 89

*13:09 DR13 8889

*13:13, 13:119, 13:154, 13:156, 14:84, 14:116, 

14:144

4

DR13, -

87 89 92

*13:15, 13:19, 13:53, 13:57, 13:104 DR13, - 7879 878889

*13:17, 13:116 DR13, - 78 81 88

*13:26:01-13:26:02 DR14, - 79 878889

*13:27, 13:41, 13:71 DR13 78 84 878889

*13:43, 13:159 DR13, - 78 8788 9192

*13:44, 13:86 - 79 89

*13:45 DR13 78 8788 90 92

*13:67, 13:103, 13:160 DR13, - 8788

*13:85 - 7879 87 89

*13:122 - 78 87

*13:129 - 78 84 8889

*13:144 - 78 878889 92

*13:146 - 8889 92

*13:165 - 78 8788

*14:01:01-14:01:02, 14:01:04, 14:04, 14:07:01-

14:07:02, 14:10, 14:54:01, 14:54:03, 14:57

DR14, 

DR1404/D

R14, 

DR4/DR6, -

89909192

Well No. DR 737475767778798081828384858687888990919293949596

Negative Control



[image: image37.emf]Well No. DR 737475767778798081828384858687888990919293949596

*14:01:03, 14:05:01-14:05:04, 14:08, 14:14, 14:23:01, 

14:23:03-14:23:04, 14:36, 14:43-14:45, 14:54:02, 

14:56, 14:59, 14:64, 14:91, 14:96, 14:100, 14:103, 

14:123, 14:127:01-14:127:02, 14:134

DR14, -

89 9192

*14:02, 14:06:01-14:06:03, 14:09, 14:13, 14:17, 14:20, 

14:29-14:30, 14:33, 14:41, 14:47-14:48, 14:51, 14:80, 

14:83, 14:94, 14:106, 14:108, 14:121

DR14, -, 

DR6

79 89 91

*14:03:01-14:03:02, 14:12:01-14:12:02, 14:40, 14:63, 

14:67, 14:77-14:78, 14:85, 14:102, 14:115, 14:135

DR1403/D

R14, DR6, -

79 87 89 92

*14:11 DR14 82 89 9192

*14:15 DR8 82 88? 92

*14:16 DR6 78 8788?909192

*14:18, 14:81 DR14, - 79 89 9192

*14:19, 14:21, 14:109 DR14, - 7879 87 89 w

*14:22, 14:105 DR14, - 8788?909192

*14:23:02, 14:34, 14:72, 14:92N, 14:97, 14:126, 

14:130, 14:133

DR14, 

Null, -

? 9192

*14:24 DR14 79 8889

*14:25, 14:53, 14:128 DR6, 

DR13/14, -

8788?90 92

*14:26, 14:28, 14:31, 14:32:03, 14:35, 14:38-14:39, 

14:55, 14:60-14:62, 14:70-14:71, 14:75-14:76, 14:79, 

14:86-14:88, 14:90, 14:99, 14:101, 14:104, 14:107, 

14:110-14:114, 14:117-14:118, 14:120, 14:122, 

14:124-14:125, 14:129, 14:131, 14:138-14:140, 

14:142-14:143

DR14, -

?909192

*14:27 DR14 79 878889 92

*14:32:01-14:32:02 DR14 w ?909192

*14:37 DR14 888990

*14:42, 14:136 - 89 92

*14:46 DR14 91

*14:49, 14:119 DR14, - 79 ?909192

*14:50 DR14 81 ?909192

*14:52 DR14 ? 91

*14:58 DR14 ?90 92

*14:65 DR6 w 89 9192

*14:68, 14:93 DR14, - 82 ?909192

*14:69 - 87 ?90 92

*14:73 - 88?909192

*14:74 - 87 ?909192

*14:82 - 78 89909192

*14:89 - 79 89 92

*14:95 - 78 89 9192

*14:98 - 79 87 89

*14:132 - 78 ? 9192

*14:137N Null 78 87 89909192

*14:141 - 89 93

*14:145 - 909192

*14:146 - 79 909192

*15:01:01:01-15:20, 15:22-15:24, 15:26, 15:28-15:33, 

15:35-15:65, 15:67-15:104

DR15, 

DR2, Null, 

-

75

*15:21 DR2 75 w

*15:25 - 75 77

*15:27, 15:34, 15:66 - 75 91

*16:01:01-16:03, 16:05:01-16:05:02, 16:07-16:17, 

16:19-16:24

DR16, 

Null, -

76

*16:04, 16:18 DR16, - 76 w

DRB3*01:01:02:01-01:15, DRB3*02:01-02:26, 

DRB3*02:28-02:29N, DRB3*03:01:01-03:03

DR52, 

Null, -

93

DRB3*02:27 - 87 93

DRB4*01:01:01:01-01:03:01:01, DRB4*01:03:01:03-

01:08

DR53, -

94

DRB4*01:03:01:02N Null 90 94

DRB5*01:01:01-01:14, DRB5*02:02-02:06 DR51, 

Null, -

95

Well No. DR 737475767778798081828384858687888990919293949596

Negative Control


1HLA-A, HLA-B and HLA-DRB alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all HLA-B alleles is not known. The grouping of not serologically defined alleles is taken from Tissue Antigens 73, 95-170, 2009.

page http://hla.alleles.org/alleles/deleted.html.

4The HLA-B alleles will be grouped into their corresponding serological specificities, except that following alleles give rise to identical amplification patterns.
These alleles can be separated by the respective high resolution SSP primer sets.
	Alleles
	Alleles

	B*07:202, B*81:02
	B*41:09, 41:29, B*45:02-45:03

	B*08:26, 08:50, 08:62, 08:85,  08:94, B*42:07
	B*53:30,B* 57:45, 57:51, 57:69

	B*13:21, 13:35, 13:59, 13:71, B*44:135, 44:158
	B*55:04, 55:08, 55:13, 55:27, 55:46, 55:49, B*56:01:05, 56:15, 56:19N, 56:22

	B*14:08:01, B*39:25N, 39:30, 39:32-39:34, 39:47, 39:50, 39:74, 39:82
	B*55:23, 55:32, B*56:18, 56:31-56:32

	B*18:29, 18:72, 18:92, B*35:32:01-35:32:02, 35:37, 35:53N, 35:64:01-35:64:02, 35:68:01-35:68:02, 35:99, 35:118-35:119, 35:174
	B*57:67, 58:36


‘?’, nucleotide sequence information not available for the primer matching sequence.
‘w’, might be weakly amplified.
DR low resolution Interpretation Table 
[image: image38.png]




 


1HLA-A, HLA-B, HLA-DRB alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.
The DRB4*02:01N and DRB4*03:01N null alleles will not be amplified by the DR low resolution primer set.
2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all DRB alleles is not known. The grouping of not serologically defined alleles is taken from Tissue Antigens 73, 95-170, 2009.
4The HLA-DRB1, -DRB3, -DRB4 and –DRB5  alleles will be grouped into their corresponding serological specificities, except that following alleles give rise to identical amplification patterns: 

	Alleles

	DRB1*08:20, DRB1*13:18, 13:47, 13:55, 13:158, 13:164

	DRB1*08:31, 08:41, DRB1*11:67

	DRB1*13:13, 13:119, 13:154, 13:156, DRB1*14:84, 14:116, 14:144


‘w’, might be weakly amplified.
Change in revision R01 compared to R00:

1. Primer mix 77 does not amplify the DRB1*03:11:01, *11:53 and *15:100 alleles. This has been corrected in the Specificity and Interpretation Tables.
Change in revision R02 compared to R01:

1. Due to sharing of sequence motifs in codon 38 and 47, DRB3*01:23 will also be amplified in primer mix 77, in addition to primer mix 93. A footnote has been changed in the Specificity Table.

Olerup SSP AB

For In Vitro Diagnostic Use 
Franzengatan 5


SE-112 51 Stockholm

Sweden


Page 1 of 41

