# Gel Documentation Form and Worksheet

# DPA1 (101.331-24/06 -24u/06u) 	Lot No: 6H1	Expiry Date: 2023-05-01

# Name:___________________

# Sample ID:_______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:________________

# Reviewed By:________________

Interpretation:___________	Failed lanes: ___________                                Comments:_________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 4 may faintly amplify the DPA1*04:01 allele.

Primer mixes 11 and 13 may have tendencies of unspecific amplifications.

Primer mix 5 may have tendencies to giving rise to primer oligomer formations.

Primer mix 22 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DPA1 alleles listed on the IMGT/HLA web page 2018-October-18, release 3.34.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DPA1 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DPA1 alleles |
| --- | --- | --- |
| 3 | 160 bp 205 bp | *02:11 *01:03:01:01-01:03:05, 01:06:01-01:07, 01:09-01:17, 03:01:01-03:02 |
| 6 | 160 bp 195 bp 255 bp | *01:10, 02:04 *01:06:01-01:06:02 *01:13 |
| 7 | 100 bp 150 bp | *01:06:01-01:06:02, 02:01:01:01-02:01:08:02, 02:08-02:09, 02:11 *01:16 |
| 11 | 90 bp 135 bp | *01:12, 03:01:01-03:01:02, 03:03 *01:07 |

Abbreviations

‘?’, nucleotide sequence of the primer matching sequence is not known.

Changes in revision R01 compared to R00:

1. The expiration date has been altered due to shelf-life extension.

Changes in revision R03 compared to R01:

1. Primer mix 19 does not amplify the DPA1*02:12 allele. The correction above has been implemented in the Specificity and Interpretation tables.