DPA1 (101.331-24/06 -24u/06u) 	Lot No: 5R1	Expiry Date: 2026-12-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________	Failed lanes: ___________                                Comments:_________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Primer mix 4 may faintly amplify the DPA1*04:01 allele.

Primer mixes 11 and 13 may have tendencies of unspecific amplifications.

Primer mix 5 may have tendencies to giving rise to primer oligomer formations.

Primer mixes 16 and 22 may give rise to a lower yield of HLA-specific PCR product than the other DPA1 primer mixes.

Primer mix 23 contains a negative control, which will amplify the majority of the HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DPA1 alleles listed on the IMGT/HLA web page 2022-October-12, release 3.50.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DPA1 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DPA1 alleles |
| --- | --- | --- |
| 3 | 160 bp 205 bp | *02:11 *01:03:01:01-01:03:44, 01:06:01-01:07, 01:09-01:57, 01:59-01:61, 01:63-01:135, 02:21:01-02:21:03, 02:27:01-02:27:03, 02:50, 03:01:01:01-03:02, 03:04-03:06:02, 03:09, 03:11N-03:12 |
| 6 | 160 bp 195 bp 255 bp | *01:10, 02:04 *01:06:01-01:06:02, 02:21:01-02:21:03, 02:27:01-02:27:03, 02:50, 03:06:01-03:06:02 *01:13 |
| 7 | 100 bp 150 bp | *01:06:01-01:06:02, 02:01:01:01-02:01:01:04, 02:01:01:06-02:01:23, 02:08-02:09:01:04, 02:11, 02:13N, 02:16, 02:18-02:19, 02:21:01-02:21:03, 02:24, 02:26:01:01-02:26:01:02, 02:29, 02:31-02:32N, 02:34:01:01-02:34:01:02, 02:36-02:37, 02:39-02:40, 02:43, 02:45:01-02:46, 02:49-02:50, 02:53, 02:55, 02:57, 02:59-02:61, 02:65-02:66:02N, 02:69:01-02:70, 02:74N-02:75, 02:77-02:80N, 02:82, 02:84, 02:86-02:87, 02:91, 02:93-02:94N *01:16 |
| 11 | 90 bp 135 bp | *01:12:01-01:12:02, 03:01:01:01-03:01:04, 03:03-03:06:02, 03:09-03:12 *01:07 |

Abbreviations

‘?’, nucleotide sequence of the primer matching sequence is not known.