Gel Documentation Form and Worksheet

DQ low resolution (101.201-48/12- 48u/12u)            	Lot No: 4E0	Expiry Date: 2019-04-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 5 to 8 and 12 may give a lower yield of HLA-specific PCR products than the other DQ low resolution primer mixes.

The primer pairs in wells 1, 2 and 8 will in some samples give rise to two HLA-specific PCR fragments.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-DQB1 alleles listed on the IMGT/HLA web page 2016-July-14, release 3.25.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological split of the DQB1*05:05 to 05:123, DQB1*06:06 to 06:07, 06:10, 06:13, 06:15 to 06:24 and 06:27 to 06:209, the DQB1*02:04 to 02:74 the DQB1*03:02:02 to 03:02:04, 03:03:03, 03:05:02,  03:07 to 03:09 and 03:11 to 03:230 and the DQB1*04:03:01 to 04:36N alleles is not known. The grouping of not serologically defined alleles is taken from the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170.

‘w’,  might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.