Gel Documentation Form and Worksheet

DQ low resolution	Lot No: 8K2	Expiry Date: 2024-02-01

(101.201-48/12- 48u/12u)

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band,

AmpS: Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 5, 6, 8, 11 and 12 may give a lower yield of HLA-specific PCR products than the other DQ low resolution primer mixes.

Primer mixes 7 and 13 may have tendencies of unspecific amplification.

Primer mix 16 contains a negative control, which will amplify the majority of the HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-DQB1 alleles listed on the IMGT/HLA web page 2019-October-17, release 3.38.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological split of the DQB1*05:05-05:243 alleles, the DQB1*06:06-06:07, DQB1*06:10, DQB1*06:13, DQB1*06:15-06:24 and DQB1*06:27-06:359 alleles, the DQB1*02:04-02:112 alleles, the DQB1*03:07-03:09 and DQB1*03:11 to 03:412, and the DQB1*04:03 to 04:77 alleles is not known. The grouping of not serologically defined alleles is taken from the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170.

4The DQ low alleles will be grouped into their corresponding serological specificities, except for the following alleles that will give rise to identical amplification patterns:

Alleles

*05:01:01:01-05:01:15, 05:01:17-05:03:23, 05:05:01-05:43:02, 05:45-05:51, 05:53, 05:55-05:59, 05:61-05:71, 05:73-05:76, 05:78-05:81, 05:84-05:97, 05:99-05:104, 05:106-05:113, 05:115, 05:117-05:127, 05:129-05:131, 05:133-05:145, 05:147-05:174, 05:177-05:206N, 05:208N-05:217, 05:219-05:243, 06:325

Abbreviations

w: might be weakly amplified.

?: nucleotide sequence information not available for the primer matching sequence.