Gel Documentation Form and Worksheet

DQA1 (101.231-24/04, -24u/04u) 	Lot No: 9D6	Expiry Date: 2018-11-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 7, 14 and 21 may have a tendency to giving rise to primer oligomer formation.

Primer mixes 22 and 27 may have tendencies of unspecific amplifications.

Primer mixes 1 and 24 may give rise to a lower yield of HLA-specific PCR product than the other DQA1 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DQA1 alleles listed on the IMGT/HLA web page 2016-January-19, release 3.23.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 21: Specific PCR product of 100 bp in the DQA1*05:02?, 05:04?, 05:05:01:01-05:05:01:03, 05:08-05:09, 05:10? and 05:11 alleles. Specific PCR product of 210 bp in the DQA1*01:09 allele.

Primer mix 22: Specific PCR product of 120 bp in the DQA1*06:01:01-06:02 alleles. Specific PCR product of 215 bp in the DQA1*01:10 allele.

Primer mix 25: Specific PCR product of 80 bp in the DQA1*05:09 allele. Specific PCR product of 175 bp in the DQA1*01:07Q and 01:13 alleles.

Primer mix 27: Specific PCR product of 90 bp in the DQA1*04:03N allele. Specific PCR product of 135 bp in the DQA1*01:11 allele.

Primer mix 29: Specific PCR product of 150 bp in the DQA1*01:08 and 06:02 alleles. Specific PCR product of 250 bp in the DQA1*01:12 allele.

Primer mix 30: Specific PCR product of 115 bp in the DQA1*05:11 allele. Specific PCR product of 215 bp in the DQA1*05:06 allele.

The DQA1 typing kit cannot distinguish the DQA1*01:01:01-01:01:03 alleles, the DQA1*01:02:01:01-01:02:03 alleles, the DQA1*01:03:01:01-01:03:01:02 alleles, the DQA1*01:04:01:01-01:04:02 alleles, the DQA1*01:05:01-01:05:02 alleles, the 03:01:01 and 03:01:03 alleles,  the DQA1*03:03:01-03:03:02 alleles, the DQA1*04:01:02:01-04:01:02:02, the DQA1*05:01:01:01-05:01:02 alleles, the DQA1*05:05:01:01-05:05:01:03 alleles and the DQA1*06:01:01-06:01:02 alleles.

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.