# Gel Documentation Form and Worksheet

# DQA1 (101.231-24/04, -24u/04u) 	Lot No: 7L8	Expiry Date: 2025-01-01

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:_______________

# Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 7, 14, 15, 21 and 32 may have a tendency to giving rise to primer oligomer formation.

Primer mix 22 has a tendency of unspecific amplifications.

Primer mixes 1 and 24 may give rise to a lower yield of HLA-specific PCR product than the other DQA1 primer mixes.

Primer mix 32 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DQA1 alleles in bold lettering are listed on the IMGT/HLA web page 2018-October-18, release 3.34.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DQA1 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DQA1 alleles |
| --- | --- | --- |
| 7 | 95 bp 135 bp | *01:06 *05:08 |
| 15 | 165 bp 190 bp | *05:01:01:01-05:01:02, 05:01:04-05:09, 05:11-05:29Q *01:10, 01:42 |
| 19 | 120 bp 205 bp | *01:15N *05:01:01:01-05:01:02, 05:01:04-05:03:02, 05:05:01:01-05:09, 05:11-05:29Q |
| 21 | 100 bp 210 bp | *05:02?, 05:04?, 05:05:01:01-05:05:05, 05:08-05:09, 05:10?, 05:11, 05:12?, 05:13-05:14, 05:15N?-05:17N?, 05:20, 05:21?-05:22?, 05:24, 05:25?-05:28?, 05:29Q *01:09 |
| 22 | 120 bp 215 bp | *06:01:01:01-06:02 *02:02N |
| 25 | 80 bp 175 bp | *05:09 *01:07Q, 01:13, 01:24, 01:43 |
| 26 | 105 bp 160 bp 250 bp | *01:16N *01:08, 04:02, 05:10, 06:02 *01:12 |
| 27 | 90 bp 135 bp | *04:03N *01:11 |
| 28 | 105 bp 200 bp | *04:04 *01:14 |
| 29 | 90 bp 120 bp | *05:02 *03:04 |
| 30 | 115 bp 215 bp | *05:11 *05:06:01:01-05:06:01:03 |

Abbreviations

w: may be weakly amplified.

?: nucleotide sequence information not available for the primer matching sequence.