DQB1 high resolution for frequent alleles

(101.221-12/12u) 	Lot No: 5L5	Expiry Date: 2024-10-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:_______________	                     Failed lanes: ____________                            Comments:________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 21, 26, 30, 37, 47, 55, 57, 59, 62, 72 and 81 may give rise to a lower yield of HLA-specific PCR product than the other DQB1 primer mixes, most pronounced for primer mix 55.

Primer mixes 3, 8, 13, 17, 18, 35, 38, 41, 42, 43, 49, 64 and 71 have a tendency to giving rise to primer oligomer formation.

Primer mixes 2, 8, 10, 12, 18, 20, 21, 31, 33, 35, 36, 39, 40, 42, 43, 51, 61, 64, 75, 79, 80 and 94 may have tendencies of unspecific amplifications, most pronounced for primer mix 75.

Primer mix 20 may give rise to a long unspecific amplification product. This band should be disregarded when interpreting the typing results.

Primer mix 96 contains a negative control, which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DQB1 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.27.0, January 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DQB1 high primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DQB1 alleles |
| --- | --- | --- |
| 4 | 140 bp 185 bp | *02:02:01:01-02:03:01, 02:06, 02:10-02:12, 02:26, 02:50, 02:62, 02:64-02:65, 02:80, 02:84, 02:89:01-02:89:02, 02:95, 02:97, 02:110, 02:113, 02:116-02:117, 02:120-02:122, 02:124, 02:126-02:127, 02:131, 02:137-02:138, 02:141-02:147, 02:150, 02:153, 02:156, 02:161-02:162N, 02:165, 02:167N, 02:169, 02:171Q *03:28, 03:50 |
| 5 | 155 bp 180 bp 210 bp 260 bp | *02:04, 02:108, 02:144, 03:22:01-03:22:02, 03:96, 03:251, 04:23, 05:103w, 05:226, 05:231w, 06:04:01:01w-06:05:02w, 06:06?, 06:07:01w-06:07:02w, 06:08:02?-06:08:03?, 06:09:01:01w-06:09:11w, 06:09:12?, 06:11:02?-06:11:03?, 06:12w, 06:13:02?-06:13:03?, 06:15:01?, 06:17?-06:18:01?, 06:18:02w, 06:19:01?, 06:21w, 06:22:01?-06:25?, 06:27:01?-06:27:02?, 06:29?-06:32:02?, 06:34w, 06:35?, 06:36w, 06:38w, 06:40?, 06:41w-06:42w, 06:45?, 06:50?, 06:51:02?, 06:52w, 06:53:01?-06:54N?, 06:56?-06:57?, 06:58w, 06:59?-06:61?, 06:63?-06:67?, 06:69:01?-06:76?, 06:79:02?-06:83?, 06:84w, 06:85?, 06:89?, 06:91?-06:92:01?, 06:93?-06:97?, 06:118:01w, 06:118:02?-06:124?, 06:126?, 06:128?, 06:129w, 06:131?-06:147?, 06:149?-06:153:01?, 06:154?-06:184?, 06:186w, 06:189w, 06:190:01?-06:199?, 06:201?-06:204?, 06:206:01?, 06:206:02w, 06:207?-06:208?, 06:210?-06:215?, 06:217w, 06:229?-06:236?, 06:238?, 06:241?, 06:244?, 06:246?-06:247?, 06:249?, 06:252N?, 06:254w, 06:260?, 06:261w, 06:263?, 06:265w-06:267w, 06:268?, 06:275w, 06:277?, 06:280w-06:283w, 06:287w-06:288w, 06:291w-06:292w, 06:299w, 06:301w, 06:303Nw, 06:313w, 06:318w-06:319w, 06:320?, 06:325w, 06:332w, 06:339w, 06:343w, 06:348w-06:349w, 06:351w, 06:353?, 06:358?, 06:361?, 06:368?-06:369? *05:06:01-05:06:02, 05:07, 05:50 *05:106 *05:03:02, 05:51, 05:119, 05:125, 06:06?, 06:129, 06:146:01, 06:241 |
| 8 | 135 bp 225 bp | *02:01:01:01-02:01:27, 02:01:29-02:01:37, 02:02:01:01-02:02:10, 02:02:12, 02:04-02:16, 02:18N-02:36, 02:38-02:76, 02:78-02:94, 02:96N-02:115, 02:117-02:146, 02:148-02:171Q, 03:02:01:01-03:02:32, 03:07-03:08, 03:11, 03:18, 03:32, 03:37, 03:45:01-03:45:02, 03:62-03:64, 03:66N-03:68, 03:70, 03:81, 03:85, 03:106-03:107, 03:125, 03:146, 03:153, 03:161, 03:174-03:175, 03:178-03:179, 03:184-03:185, 03:189-03:190, 03:199, 03:203-03:205, 03:210-03:211, 03:213N-03:215, 03:220-03:221, 03:223-03:225, 03:228-03:229, 03:233, 03:237N, 03:240, 03:245, 03:247, 03:251, 03:261, 03:263, 03:265, 03:269N, 03:273-03:274, 03:277-03:279, 03:287, 03:289, 03:295-03:296, 03:298-03:301, 03:308, 03:310N, 03:315, 03:320-03:324, 03:333-03:334N, 03:339N, 03:343-03:345, 03:348-03:349, 03:352, 03:362, 03:364, 03:367-03:369, 03:371, 03:379, 03:383, 03:386, 03:388, 03:392, 03:403N, 03:409-03:410, 03:412-03:413, 03:415-03:416, 03:422N, 06:03:13, 06:29, 06:63, 06:123, 06:139, 06:320, 06:337 *06:171 |
| 9 | 175 bp 220 bp | *03:02:01:01-03:02:31, 03:02:32?, 03:03:02:01-03:03:26, 03:05:01-03:05:05, 03:06?-03:07?, 03:08, 03:11?, 03:14:01?-03:15?, 03:17:01?-03:18?, 03:19:01:01-03:19:04, 03:20?, 03:23:01?, 03:23:02, 03:23:03?, 03:25:01, 03:25:02?-03:26?, 03:30-03:32, 03:33?-03:34?, 03:37?, 03:38:01-03:41, 03:43, 03:45:01-03:45:02, 03:48?, 03:52?-03:54?, 03:56?-03:71?, 03:72, 03:74?-03:78?, 03:79, 03:81?-03:82?, 03:85-03:91Q, 03:95N-03:100, 03:101?-03:104?, 03:105, 03:106?-03:112?, 03:117, 03:118N?, 03:120?-03:131?, 03:132, 03:133?-03:135?, 03:136, 03:137?, 03:138, 03:140?-03:149?, 03:150, 03:151?-03:163?, 03:165?-03:167?, 03:168, 03:170?-03:179?, 03:180-03:181, 03:183?, 03:184, 03:185?, 03:187?-03:189?, 03:190, 03:192?-03:194?, 03:195, 03:199-03:200, 03:201?-03:205?, 03:207?-03:210?, 03:211, 03:212?-03:221?, 03:222, 03:223?-03:230?, 03:232?-03:238?, 03:239, 03:240?, 03:244?, 03:245, 03:247-03:248, 03:250-03:251, 03:255?-03:262?, 03:263, 03:265, 03:267?-03:270?, 03:272, 03:273?-03:275?, 03:277, 03:278?, 03:279-03:280, 03:282N-03:283, 03:286-03:287, 03:289, 03:295-03:296, 03:298-03:301, 03:304, 03:308, 03:310N, 03:313, 03:315-03:316, 03:319-03:324, 03:332-03:337, 03:339N, 03:343-03:346, 03:348-03:349, 03:351?-03:353?, 03:356N?, 03:357N, 03:359?, 03:362-03:365, 03:367-03:369, 03:371, 03:374-03:376N, 03:379, 03:381-03:384, 03:386, 03:387?, 03:388, 03:392-03:395, 03:398, 03:401-03:403N, 03:405-03:406, 03:409-03:412, 03:413?-03:416?, 03:422N?, 03:425?, 04:01:01:01-04:02:01:01, 04:02:01:04-04:44, 04:46N-04:77 *02:01:01:01-02:01:27, 02:01:29-02:36, 02:38-02:94, 02:96N-02:115, 02:117-02:146, 02:148-02:171Q, 03:02:01:01-03:03:15, 03:03:17-03:03:26, 03:06-03:08, 03:11-03:12, 03:15, 03:18, 03:20, 03:23:01-03:23:03, 03:25:01-03:26, 03:30-03:34, 03:37-03:41, 03:43, 03:45:01-03:45:02, 03:62-03:68, 03:70, 03:74, 03:79, 03:81, 03:85-03:91Q, 03:95N-03:99Q, 03:106-03:107, 03:110-03:113, 03:117, 03:123-03:126, 03:136-03:137, 03:141, 03:145-03:146, 03:149, 03:153, 03:155-03:156, 03:161, 03:168, 03:174-03:179, 03:184-03:185, 03:190, 03:199-03:200, 03:203-03:205, 03:209-03:215, 03:217, 03:220-03:225, 03:227-03:230, 03:233-03:234, 03:237N-03:240, 03:245, 03:247-03:249, 03:251, 03:259, 03:261, 03:263, 03:265, 03:269N-03:270, 03:273-03:274, 03:277-03:280, 03:282N-03:283, 03:287, 03:289, 03:295-03:296, 03:298-03:301, 03:304, 03:308, 03:310N, 03:313, 03:315-03:316, 03:319-03:324, 03:332-03:334N, 03:336-03:337, 03:339N, 03:343-03:345, 03:348-03:349, 03:351-03:352, 03:356N-03:357N, 03:359, 03:362-03:365, 03:367-03:369, 03:371, 03:374-03:375N, 03:379, 03:382-03:384, 03:386, 03:388, 03:392-03:393, 03:395, 03:397-03:398, 03:402-03:403N, 03:405-03:406, 03:409-03:416, 03:422N, 04:03:01-04:03:03 |
| 10 | 120 bp 145 bp 175 bp | *02:11, 02:25 *02:26, 03:04:01-03:04:04, 03:14:01-03:14:02, 03:80, 03:138, 03:318, 03:327, 06:246 *03:58 |
| 11 | 95 bp 130 bp | *03:20 *03:05:01-03:05:05, 03:17:01-03:17:02, 03:53, 03:61-03:62 03:72, 03:100, 03:132, 03:181, 03:226, 03:244, 03:250, 03:262, 03:272, 03:346, 04:09, 04:63, 04:75, 05:131 |
| 12 | 65 bp 105 bp 140 bp 195 bp | *03:40, 03:353 *03:03:06, 03:06, 03:25:01-03:25:02, 03:234, 03:239, 04:01:03, 04:02:16, 04:03:03 *03:08, 03:119, 03:137, 03:194, 06:02:02, 06:03:02, 06:03:34, 06:210 *03:57 |
| 13 | 110 bp 145 bp 190 bp | *03:15 *02:62, 03:07, 03:16 *03:54, 03:162, 03:183, 03:204, 03:223, 03:233, 03:351, 04:35 |
| 14 | 135 bp 175 bp 260 bp | *03:09, 05:56 *03:55, 03:250 *03:11, 03:26, 03:244 |
| 15 | 140 bp 195 bp 245 bp | *03:10:01-03:10:02:02, 03:12, 03:14:01-03:14:02, 03:70, 03:179, 03:183, 03:195, 06:01:01:01-06:01:27, 06:06?, 06:43, 06:54N-06:58, 06:98, 06:99:02-06:105, 06:108, 06:120, 06:132, 06:140, 06:153:01-06:153:02, 06:157, 06:167-06:168, 06:177, 06:181, 06:194, 06:205, 06:209, 06:214, 06:229, 06:239, 06:243, 06:245-06:247, 06:251, 06:257-06:258, 06:260, 06:263, 06:268, 06:274, 06:277, 06:285, 06:302, 06:305, 06:307, 06:309-06:310, 06:312, 06:321, 06:323, 06:330N, 06:342, 06:359 *02:42, 02:78 *03:27, 03:82 |
| 17 | 110 bp 155 bp 175 bp 215 bp 300 bp | *05:03:12, 05:43:02, 06:23, 06:82, 06:99:01, 06:156, 06:162, 06:169, 06:233, 06:340 *02:10, 02:81, 03:13, 03:49, 03:286, 03:402, 04:32, 05:152, 06:359 *03:28, 03:232 *03:47 *02:154, 04:66, 06:34 |
| 18 | 80 bp 135 bp 185 bp 220 bp 260 bp | *03:188 *03:282N *03:60, 03:73, 03:112, 03:118N, 03:226, 03:237N, 03:371, 04:30, 05:73, 05:98, 05:116, 06:28, 06:56, 06:79:01-06:79:02, 06:144N *03:18 *02:36 |
| 21 | 125 bp 205 bp | *04:11 *04:01:01:01-04:01:05, 04:05-04:08, 04:14-04:17, 04:27, 04:38, 04:42, 04:61-04:62, 04:69, 04:71, 04:73N-04:74 |
| 22 | 140 bp 205 bp | *04:14 *03:132, 04:02:01:01, 04:02:01:04-04:02:01:10, 04:02:02-04:02:07, 04:02:09-04:03:01, 04:04, 04:09-04:13, 04:18-04:19, 04:21-04:37, 04:39-04:41N, 04:43-04:47, 04:49-04:60, 04:63-04:68N, 04:70, 04:72, 04:75-04:77 |
| 24 | 115 bp 215 bp | *05:02:01:01-05:02:23, 05:05:01-05:05:02, 05:14, 05:17, 05:19, 05:26, 05:33-05:37, 05:46-05:47, 05:53, 05:57, 05:59, 05:65, 05:79, 05:83, 05:86-05:88, 05:90N, 05:94, 05:100, 05:102, 05:106, 05:113, 05:116-05:118, 05:123, 05:125, 05:135-05:136, 05:142, 05:145, 05:153, 05:165, 05:170, 05:172, 05:174-05:175, 05:178-05:179, 05:181, 05:186, 05:189, 05:192, 05:196, 05:198-05:199, 05:222, 05:227, 05:229, 05:231, 05:238-05:239, 05:241, 05:247 *05:72 |
| 25 | 100 bp 125 bp 220 bp | *03:226, 03:272, 04:28, 05:01:09-05:01:10, 05:02:02, 05:02:18, 05:03:01:01-05:03:11, 05:03:13, 05:03:15-05:03:19, 05:03:21-05:03:23, 05:06:01-05:06:02, 05:08-05:10, 05:13, 05:15-05:16, 05:24, 05:28, 05:38-05:42, 05:50, 05:56, 05:58, 05:60, 05:64, 05:66:01-05:67, 05:78, 05:85, 05:91, 05:96, 05:98, 05:101, 05:108-05:109, 05:119, 05:121, 05:129-05:130, 05:140, 05:143, 05:147, 05:149, 05:161, 05:191, 05:200-05:206N, 05:208N-05:214, 05:218, 05:220-05:221, 05:224N, 05:233, 05:235N-05:236N, 05:240, 05:243, 05:245 *03:272, 05:03:01:01-05:03:01:04, 05:03:03-05:03:23, 05:06:01-05:06:02, 05:08-05:10, 05:13, 05:15-05:16, 05:23-05:24, 05:28, 05:38-05:43:01, 05:50, 05:56, 05:58, 05:60, 05:64, 05:66:01-05:67, 05:78, 05:85, 05:91, 05:96, 05:98, 05:101, 05:108-05:109, 05:119, 05:121, 05:129-05:131, 05:134, 05:140, 05:147, 05:149, 05:161, 05:191, 05:200-05:206N, 05:208N-05:214, 05:218, 05:220-05:221, 05:224N, 05:233, 05:235N-05:236N, 05:243, 05:245 *05:72, 05:128N |
| 27 | 170 bp 210 bp | *03:67, 03:311 *06:01:01:01-06:01:27, 06:02:01:01-06:02:44, 06:05:02?-06:06?, 06:10-06:11:04, 06:13:01-06:13:03, 06:16, 06:18:01-06:20, 06:24, 06:29, 06:33, 06:35, 06:37, 06:43, 06:45, 06:47-06:51:02, 06:53:01-06:57, 06:68, 06:70-06:84, 06:95-06:109, 06:111-06:117, 06:120, 06:122-06:127, 06:130-06:132, 06:136-06:140, 06:147, 06:150-06:153:02, 06:157, 06:159, 06:161, 06:163, 06:166-06:167, 06:173-06:179N, 06:181-06:183, 06:188, 06:192, 06:197-06:198, 06:200-06:201, 06:205, 06:208-06:209, 06:211, 06:213-06:216N, 06:219, 06:224-06:229, 06:232-06:233, 06:235-06:237, 06:240, 06:242-06:243, 06:245-06:247, 06:249, 06:251, 06:255-06:258, 06:260, 06:262-06:264, 06:268, 06:270:01-06:271, 06:273-06:274, 06:277, 06:284-06:286, 06:289-06:290, 06:293-06:298, 06:300, 06:302, 06:304N, 06:306N-06:312, 06:314-06:315, 06:317N, 06:319, 06:321-06:324, 06:326, 06:330N, 06:333, 06:335, 06:337-06:338, 06:340-06:341N, 06:344, 06:347, 06:354-06:357, 06:359, 06:363-06:364, 06:366, 06:370 |
| 30 | 65 bp 105 bp 150 bp 205 bp 235 bp | *02:67N *04:15, 04:16 *03:23:01, 05:03:12, 05:43:02, 06:03:01:01-06:03:03, 06:03:05-06:03:07, 06:03:11-06:03:25, 06:03:27-06:03:33, 06:03:35-06:03:39, 06:04:02, 06:07:01, 06:08:01, 06:09:02, 06:11:01-06:11:03, 06:26N, 06:28, 06:30-06:32:01, 06:40-06:41, 06:44, 06:59-06:62, 06:64-06:65, 06:67, 06:90-06:92:02, 06:94, 06:110, 06:118:01, 06:118:03, 06:128, 06:133-06:134, 06:141, 06:143-06:145, 06:148, 06:154, 06:161, 06:165, 06:169-06:170, 06:184-06:185, 06:187, 06:191, 06:195-06:196, 06:199, 06:203, 06:210, 06:218, 06:221-06:223, 06:230, 06:234, 06:238, 06:248, 06:250, 06:253, 06:259, 06:272, 06:276, 06:279, 06:316, 06:327-06:329, 06:331, 06:334, 06:336, 06:345N-06:346, 06:350, 06:352, 06:360, 06:362, 06:365, 06:367 *04:20, 04:27 *03:06, 03:25:01, 04:04-04:05, 04:18 |
| 33 | 110 bp 170 bp | *03:133, 03:199-03:200 *06:04:01:01-06:05:02, 06:06w, 06:07:01-06:07:02, 06:09:01:01-06:09:03, 06:09:05-06:09:12, 06:18:01-06:18:02, 06:22:02, 06:25, 06:27:01-06:27:02, 06:32:01-06:32:02, 06:34, 06:36, 06:38-06:39, 06:52, 06:58, 06:66, 06:69:01, 06:85-06:86, 06:88-06:89, 06:93-06:94, 06:118:01-06:118:02, 06:121, 06:129, 06:135, 06:142, 06:155, 06:158N, 06:160, 06:164, 06:168, 06:171-06:172, 06:180, 06:186, 06:189, 06:193N, 06:202, 06:204, 06:207, 06:217, 06:241, 06:252N, 06:254, 06:261, 06:265-06:267, 06:280-06:283, 06:287-06:288, 06:291-06:292, 06:299, 06:303N, 06:313, 06:318, 06:320, 06:339, 06:343, 06:348-06:349, 06:351, 06:353, 06:358, 06:361, 06:368-06:369 |
| 34 | 95 bp 120 bp 180 bp | *05:07 *03:259, 05.25, 05:75, 06:04:01:01-06:05:01, 06:06, 06:08:01-06:09:03, 06:09:04-06:09:12, 06:12-06:13:03, 06:17-06:18:02, 06:21-06:22:03, 06:27:01-06:27:02, 06:34, 06:36, 06:38-06:39, 06:42, 06:52, 06:58, 06:69:01-06:69:02, 06:85-06:86, 06:88-06:89, 06:93, 06:119, 06:121, 06:129, 06:135, 06:142, 06:149, 06:155, 06:158N, 06:160, 06:164, 06:171, 06:180, 06:186, 06:189, 06:193N, 06:202, 06:204, 06:206:01-06:207, 06:217, 06:231, 06:241, 06:252N, 06:254, 06:261, 06:265-06:267, 06:280-06:283, 06:287-06:288, 06:291-06:292, 06:299, 06:301, 06:313, 06:318-06:319, 06:339, 06:343, 06:348-06:349, 06:351, 06:353, 06:358, 06:361, 06:368-06:369 *05:112 |
| 35 | 85 bp 155 bp 215 bp 255 bp | *05:103, 05:231 *03:27, 03:48, 03:87, 06:35, 06:53:01-06:53:02, 06:145, 06:208 *05:101, 05:145, 06:151, 06:212, 06:260 *03:31, 05:73, 05:80, 05:98, 05:116, 06:05:01-06:06?, 06:20, 06:31, 06:45, 06:156 |
| 36 | 95 bp 155 bp 180 bp 210 bp | *03:90N *06:164 *03:68 *06:05:01, 06:05:02?-06:06?, 06:09:01:01-06:09:12, 06:12, 06:15:01-06:15:02, 06:22:01-06:22:03, 06:42, 06:46, 06:66, 06:88, 06:94, 06:118:01-06:119, 06:121, 06:142, 06:189, 06:207, 06:212w, 06:275, 06:281-06:282, 06:287, 06:299, 06:339, 06:348, 06:353, 06:358 |
| 37 | 130 bp 165 bp 185 bp | *02:152, 05:63 *05:39 *05:21, 06:06, 06:149, 06:276 |
| 38 | 100 bp 130 bp 185 bp 235 bp | *04:28, 05:38, 05:62, 05:79, 05:119-05:121, 05:156, 06:14:01-06:14:03, 06:69:01-06:69:02, 06:156, 06:162, 06:168, 06:194, 06:206:01-06:206:02, 06:244, 06:269, 06:278, 06:368 *05:04, 05:08, 05:18, 05:26, 05:52, 05:77, 05:132Q, 05:146, 06:221, 06:254w, 06:273 *04:33, 05:79, 06:10, 06:130, 06:188, 06:214 *04:33 |
| 39 | 115 bp 140 bp 180 bp | *03:88, 05:111 *03:165 *03:29-03:30, 03:52, 03:72, 03:100, 03:132, 03:179, 03:191, 03:215, 03:270, 04:09, 04:13, 04:63, 04:75, 05:62, 05:120, 06:13:01-06:13:03, 06:16, 06:22:01-06:22:03, 06:29, 06:55, 06:69:01-06:69:02, 06:96:01-06:96:02, 06:119, 06:139, 06:202, 06:206:01-06:206:02, 06:209, 06:247, 06:322, 06:337, 06:368 |
| 40 | 110 bp 150 bp 205 bp | *03:245, 05:45, 05:201, 06:40 *02:64, 02:79, 02:108, 02:144, 03:21-03:22:02, 03:96, 03:251, 04:23, 05:35, 05:103w, 05:182, 05:226, 05:231w, 06:04:01:01w-06:05:02w, 06:06?, 06:07:01w-06:07:02w, 06:08:02?-06:08:03?, 06:09:01:01w-06:09:11w, 06:09:12?, 06:11:02?-06:11:03?, 06:12w, 06:13:02?-06:13:03?, 06:15:01?, 06:17?-06:18:01?, 06:18:02w, 06:19:01?, 06:21w, 06:22:01?-06:25?, 06:27:01?-06:27:02?, 06:29?-06:32:02?, 06:34w, 06:35?, 06:36w, 06:38w, 06:40?, 06:41w-06:42w, 06:45?, 06:50?, 06:51:02?, 06:52w, 06:53:01?-06:54N?, 06:56?-06:57?, 06:58w, 06:59?-06:61?, 06:63?-06:67?, 06:69:01?-06:76?, 06:79:02?-06:83?, 06:84w, 06:85?, 06:89?, 06:91?-06:92:01?, 06:93?-06:97?, 06:118:01w, 06:118:02?-06:124?, 06:126?, 06:128?, 06:129w, 06:131?-06:147?, 06:149?-06:153:01?, 06:154?-06:184?, 06:186w, 06:189w, 06:190:01?-06:199?, 06:201?-06:204?, 06:206:01?, 06:206:02w, 06:207?-06:208?, 06:210?-06:215?, 06:217w, 06:229?-06:236?, 06:238?, 06:241?, 06:243, 06:244?, 06:246?-06:247?, 06:249?, 06:252N?, 06:254w, 06:255, 06:260?, 06:261w, 06:263?, 06:265w-06:267w, 06:268?, 06:275w, 06:277?, 06:280w-06:283w, 06:287w-06:288w, 06:291w-06:292w, 06:299w, 06:301w, 06:303Nw, 06:313w, 06:318w-06:319w, 06:320?, 06:325w, 06:332w, 06:339w, 06:343w, 06:348w-06:349w, 06:351w, 06:353?, 06:358?, 06:361?, 06:368?-06:369? *02:96N, 05:41N, 05:90N, 05:133 |
| 41 | 165 bp 190 bp 230 bp 265 bp 300 bp | *03:213N *03:45:01, 03:228, 06:17, 06:24, 06:30, 06:38, 06:42 *02:47, 03:212 *06:127 *06:52 |
| 42 | 105 bp 135 bp 160 bp 190 bp 230 bp | *03:41, 03:224, 04:06, 04:12, 04:16 *03:25:01-03:25:02, 03:66N, 03:234, 03:239, 04:03:01-04:03:03, 06:10, 06:25, 06:130, 06:193N *03:213N, 04:18 *02:08, 03:06, 03:25:01, 03:230, 04:03:01-04:03:03, 05:79 *04:18 |
| 43 | 85 bp 110 bp 155 bp 185 bp 215 bp 240 bp 270 bp | *03:59, 06:37 *06:37 *02:05, 03:204, 06:100 *06:26N, 06:100 *06:26N *03:71, 06:33, 06:143, 06:351 *06:33, 06:143 |
| 44 | 120 bp 165 bp | *03:42, 03:89, 03:164, 04:44 *03:94, 03:191, 04:02:07, 04:09, 05:62, 06:02:01:01-06:02:04, 06:02:06-06:02:44, 06:10, 06:13:01-06:16, 06:20, 06:22:01-06:24, 06:29, 06:33, 06:37, 06:46-06:51:02, 06:68-06:84, 06:96:01-06:97, 06:106-06:107, 06:109, 06:111-06:117, 06:119, 06:122, 06:124-06:127, 06:130, 06:136-06:138, 06:146:01-06:147, 06:150-06:151, 06:156, 06:159, 06:161-06:162, 06:166, 06:173-06:175, 06:178-06:179N, 06:182-06:183, 06:188, 06:192, 06:198, 06:200-06:201, 06:206:01-06:206:02, 06:208, 06:211, 06:213, 06:215-06:216N, 06:219, 06:224-06:228, 06:232, 06:235-06:237, 06:240, 06:242, 06:249, 06:255-06:256, 06:262, 06:264, 06:270:02-06:271, 06:273, 06:284, 06:286, 06:289-06:290, 06:293-06:298, 06:300, 06:304N, 06:306N, 06:308N, 06:311, 06:314-06:315, 06:317N, 06:324, 06:326, 06:333, 06:335, 06:338, 06:341N, 06:344, 06:347, 06:355-06:357, 06:363-06:364, 06:366, 06:368, 06:370 |
| 45 | 130 bp 155 bp 225 bp 260 bp | *06:07:01-06:07:02, 06:15:01-06:15:02, 06:36, 06:46, 06:66, 06:92:01-06:92:02, 06:118:01-06:118:03, 06:172, 06:216N, 06:224, 06:275 *06:164 *06:212 *06:85 |
| 46 | 160 bp 210 bp | *06:03:01:01-06:03:14, 06:03:16-06:03:18, 06:03:20-06:03:39, 06:08:01-06:08:03, 06:14:01-06:14:03, 06:21, 06:28, 06:31, 06:40-06:41, 06:44, 06:59, 06:61, 06:63-06:65, 06:67, 06:87, 06:90-06:92:02, 06:110, 06:128, 06:133-06:134, 06:141, 06:143-06:145, 06:148, 06:154, 06:170, 06:184-06:185, 06:187, 06:190:01-06:191, 06:195-06:196, 06:199, 06:203, 06:206:01-06:206:02, 06:210, 06:218, 06:221-06:223, 06:230, 06:234, 06:238, 06:244, 06:248, 06:250, 06:253, 06:259, 06:269, 06:272, 06:278-06:279, 06:316, 06:327-06:329, 06:331, 06:334, 06:336, 06:345N-06:346, 06:350, 06:352, 06:360, 06:362, 06:365, 06:367 *06:03:01:01-06:03:10, 06:03:12-06:03:39, 06:08:01-06:08:03, 06:14:01-06:14:03, 06:27:01-06:28, 06:30-06:32:02, 06:40-06:41, 06:44, 06:59-06:65, 06:67, 06:87, 06:90-06:91, 06:110, 06:128, 06:133-06:134, 06:141, 06:143-06:145, 06:148, 06:154, 06:168, 06:170, 06:184-06:185, 06:187, 06:190:01-06:191, 06:195-06:196, 06:206:01-06:206:02, 06:210, 06:218, 06:221-06:223, 06:230, 06:234, 06:238, 06:244, 06:248, 06:250, 06:253, 06:259, 06:269, 06:272, 06:276, 06:278-06:279, 06:316, 06:327-06:329, 06:331, 06:334, 06:336, 06:345N-06:346, 06:350, 06:352, 06:360, 06:362, 06:365, 06:367-06:368 |
| 47 | 110 bp 155 bp | *03:42 *03:30, 03:72, 03:84N, 03:98, 03:100, 03:132, 03:215, 04:01:01:01-04:02:01:01, 04:02:01:04-04:03:03, 04:06-04:10, 04:12-04:14, 04:16-04:36N, 04:38-04:72, 04:74-04:77, 05:38, 05:119, 06:02:05, 06:02:16, 06:13:02, 06:14:03, 06:19:01-06:19:02, 06:22:01-06:22:02, 06:69:01-06:69:02, 06:95, 06:119, 06:123w, 06:139, 06:152, 06:206:02, 06:322, 06:337, 06:368 |
| 48 | 170 bp 225 bp | *03:32, 03:43, 04:07 *03:85 |
| 49 | 105 bp 140 bp 165 bp 240 bp | *03:33, 03:328, 04:56, 05:32, 05:42, 05:45, 05:201, 06:228, 06:304N *05:14, 05:87Q, 05:132Q *02:33, 02:41, 03:35, 03:315, 03:322 *03:246, 06:310 |
| 50 | 130 bp 155 bp 190 bp 210 bp 240 bp | *03:130, 03:271, 03:282N *03:80, 03:139, 03:257 *03:37, 03:162, 03:183, 03:223, 03:233, 03:252, 03:351 *03:38:01-03:38:02, 03:46, 03:201, 03:277 *02:14:01-02:14:02, 03:34, 03:143, 04:67 |
| 51 | 125 bp 160 bp 185 bp 270 bp | *03:36, 03:39, 03:53, 03:62, 03:149 *02:10, 02:81, 03:49, 03:286, 03:402, 05:152, 06:359 *03:51, 03:287 *02:09, 03:330 |
| 52 | 95 bp 220 bp | *03:06?-03:07?, 03:11?, 03:14:01?-03:15?, 03:17:01?-03:18?, 03:19:01:01, 03:19:01:02Q?, 03:19:02-03:19:04, 03:20?, 03:23:01?, 03:23:03?, 03:25:02?-03:26?, 03:37?, 03:48?, 03:52?-03:54?, 03:56?-03:71?, 03:74?-03:78?, 03:81?-03:82?, 03:101?-03:104?, 03:106?-03:112?, 03:118N?, 03:120?-03:131?, 03:133?-03:135?, 03:137?, 03:140?-03:149?, 03:150, 03:151?-03:163?, 03:165?-03:167?, 03:170?-03:179?, 03:183?, 03:185?, 03:187?-03:189?, 03:192?-03:194?, 03:201?-03:205?, 03:207?-03:210?, 03:212?-03:221?, 03:223?-03:230?, 03:232?-03:238?, 03:240?, 03:244?, 03:255?-03:262?, 03:263, 03:267?-03:270?, 03:273?-03:275?, 03:278?, 03:286, 03:335, 03:351?-03:353?, 03:356N?, 03:359?, 03:360, 03:376N, 03:381, 03:387?, 03:394, 03:401, 03:425?, 04:08 *06:98, 06:126 |
| 53 | 130 bp 160 bp 195 bp | *03:162, 03:183, 03:223, 03:233, 03:351, 06:153:01-06:153:02, 06:247, 06:340 *02:51 *02:07:02, 05:09, 05:29-05:30, 06:252N |
| 54 | 110 bp 150 bp 190 bp 245 bp | *05:17, 05:23, 05:242 *02:106, 03:115, 03:368, 04:43, 05:246, 06:109-06:110, 06:269 *02:99, 03:249, 03:309, 03:312, 05:10, 05:12, 05:47, 05:71, 05:159, 06:105, 06:185, 06:225 *04:36N |
| 56 | 100 bp 140 bp 185 bp 220 bp 265 bp | *06:44, 06:47 *03:177, 06:224 *03:114, 03:197Q *06:43 *03:83 |
| 57 | 150 bp 185 bp | *02:54 *02:07:01, 03:01:01:01-03:01:01:12, 03:01:01:14-03:01:01:22, 03:01:01:23?-03:01:01:24?, 03:01:02-03:01:35, 03:01:37-03:01:48, 03:04:01-03:04:04, 03:06?-03:07?, 03:09-03:10:03, 03:12-03:13, 03:14:01?-03:15?, 03:16, 03:17:01?-03:18?, 03:20?, 03:21-03:22:02, 03:23:01?, 03:23:03?, 03:24, 03:25:02?-03:26?, 03:27-03:29, 03:33?-03:34?, 03:35-03:36, 03:37?, 03:42, 03:44, 03:46-03:47, 03:48?, 03:49-03:51, 03:52?-03:54?, 03:55, 03:56?-03:71?, 03:73, 03:74?-03:78?, 03:80, 03:81?-03:82?, 03:83-03:84N, 03:92-03:94, 03:101?-03:104?, 03:106?-03:112?, 03:113-03:116, 03:118N?, 03:119, 03:120?-03:131?, 03:133?-03:135?, 03:137?, 03:139, 03:140?-03:149?, 03:151?-03:163?, 03:164, 03:165?-03:167?, 03:169, 03:170?-03:179?, 03:182, 03:183?, 03:185?, 03:186, 03:187?-03:189?, 03:191, 03:192?-03:194?, 03:196-03:198:02, 03:201?-03:205?, 03:206, 03:207?-03:210?, 03:212?-03:221?, 03:223?-03:230?, 03:231, 03:232?-03:238?, 03:240?, 03:241-03:243, 03:244?, 03:246, 03:252-03:254, 03:255?-03:262?, 03:264, 03:266, 03:267?-03:270?, 03:271, 03:273?-03:275?, 03:276N, 03:278?, 03:281, 03:284-03:285, 03:288, 03:290-03:294, 03:297, 03:302-03:303N, 03:305-03:307, 03:309, 03:311, 03:314, 03:317:01-03:318, 03:326-03:331, 03:338N, 03:340N-03:342, 03:347, 03:350, 03:351?-03:353?, 03:354N-03:355, 03:356N?, 03:359?, 03:361, 03:366, 03:372-03:373, 03:377-03:378, 03:380, 03:385N, 03:387?, 03:389-03:391, 03:396, 03:399N-03:400N, 03:404, 03:407N-03:408, 03:417?-03:419?, 03:421?, 03:423?-03:428? |
| 58 | 145 bp 180 bp 215 bp 250 bp | *03:119, 03:228, 06:17, 06:24, 06:30, 06:42 *03:56, 05:05:01-05:05:02, 05:11:01-05:11:02, 05:28, 05:66:01-05:66:02, 05:240, 06:06?, 06:129, 06:146:01, 06:241 *03:119, 03:228, 05:30, 06:17, 06:24, 06:30, 06:42 *03:56, 05:03:02, 05:51-05:52, 05:119, 05:125, 06:06?, 06:129, 06:146:01, 06:241 |
| 59 | 100 bp 190 bp 220 bp | *03:44, 05:13, 05:117, 05:169 *03:114, 06:54N *05:24, 05:101, 05:145 |
| 60 | 110 bp 150 bp 180 bp | *05:88 *05:40, 05:69, 05:153 *05:15, 05:33, 05:49 |
| 61 | 110 bp 150 bp 215 bp | *05:88 *05:40, 05:69, 05:153 *05:16, 05:34, 05:44, 05:73, 05:98, 05:116, 05:128N, 05:130, 06:156, 06:162, 06:169 |
| 62 | 90 bp 140 bp 165 bp 225 bp | *03:205, 03:214, 05:110N *03:75, 06:97, 06:158N *05:62, 06:02:19, 06:13:03, 06:79:02, 06:95 *03:30, 03:72, 03:100, 03:215, 06:15:01-06:15:02, 06:22:01-06:22:03, 06:37, 06:48:01-06:48:02, 06:51:01-06:51:02, 06:69:01-06:69:02, 06:139, 06:368 |
| 63 | 95 bp 180 bp 220 bp | *03:240 *06:50 *03:86 |
| 64 | 100 bp 160 bp 230 bp | *02:16, 02:21 *02:51, 03:276N, 03:395, 04:17 *02:20N |
| 65 | 115 bp 220 bp | *02:21, 02:32, 05:36, 06:326 *02:46 |
| 66 | 110 bp 125 bp 165 bp 205 bp 255 bp | *03:116, 05:57 *02:17-02:18N, 03:317:01-03:317:02, 05:31, 05:46, 05:108, 06:111, 06:265 *02:19 *02:96N, 05:41N, 05:90N, 05:133 *02:126, 03:243 |
| 67 | 100 bp 155 bp | *02:15, 02:27, 02:58N *02:26, 02:30 |
| 68 | 100 bp 175 bp | *02:23-02:24, 02:27 *02:28 |
| 69 | 105 bp 140 bp 185 bp | *02:24, 02:31, 02:58N *03:225 *02:29 |
| 71 | 55 bp 135 bp 160 bp 235 bp | *03:188 *03:63, 03:76, 03:139, 03:168, 03:211 *03:118N, 03:237N, 06:144N *03:146, 03:207, 06:195 |
| 72 | 145 bp 180 bp 210 bp 270 bp | *03:64, 05:37, 05:104, 06:218, 06:250 *02:50, 03:77, 03:118N, 03:237N *03:99Q, 03:201, 03:269N *03:150 |
| 73 | 90 bp 125 bp 160 bp 200 bp 225 bp 270 bp | *02:53Q, 03:65 *03:23:01-03:23:02, 03:217, 03:355, 04:10 *03:211 *03:269N *02:116, 03:78, 03:81, 03:159 *03:150 |
| 74 | 115 bp 140 bp 185 bp | *05:19, 05:22 *04:25N, 05:97, 05:143 *05:71 |
| 75 | 115 bp 155 bp 175 bp 205 bp | *05:75 *03:102, 05:20, 05:75 *03:197Q, 05:122, 06:06?, 06:55, 06:58, 06:202, 06:247 *03:194, 06:122, 06:148, 06:161, 06:278, 06:302 |
| 76 | 150 bp 185 bp | *03:01:38, 03:04:02, 03:10:01, 03:12, 03:14:02, 03:70, 03:179, 03:195, 06:01:01:01-06:01:06, 06:01:08-06:01:27, 06:43, 06:53:01-06:57, 06:98-06:105, 06:108, 06:120, 06:132, 06:140, 06:153:01-06:153:02, 06:157, 06:167-06:168, 06:177, 06:181, 06:194, 06:205, 06:209, 06:214, 06:229, 06:239, 06:243, 06:245-06:247, 06:251, 06:257-06:258, 06:260, 06:263, 06:268, 06:274, 06:277, 06:285, 06:302, 06:305, 06:307, 06:309-06:310, 06:312, 06:321, 06:323, 06:330N, 06:342, 06:359 *06:54N |
| 77 | 95 bp 120 bp 190 bp | *06:155 *06:190:01-06:190:02 *06:60-06:61 |
| 78 | 95 bp 130 bp 170 bp | *03:217, 03:275, 06:64 *03:232, 03:283, 06:94, 06:170, 06:190:01-06:190:02 *06:62 |
| 79 | 90 bp 125 bp 200 bp | *06:65 *06:93 *06:116, 06:187 |
| 80 | 105 bp 175 bp 290 bp | *06:70 *06:76, 06:163 *06:02:04, 06:72 |
| 81 | 120 bp 170 bp | *03:95N, 03:210 *03:30, 03:72, 03:100, 03:132, 03:158, 03:170, 03:215, 04:09, 04:63, 04:75, 06:29, 06:71, 06:96:01-06:96:02, 06:139, 06:163, 06:322, 06:337 |
| 82 | 170 bp 230 bp 280 bp | *06:77N *03:132, 06:107 *06:73 |
| 83 | 115 bp 165 bp 235 bp 260 bp 290 bp | *04:46N, 05:185N *06:78 *06:107 *06:74 *06:02:04, 06:72 |
| 84 | 115 bp 195 bp | *06:80, 06:217 *06:75N, 06:106 |
| 85 | 135 bp 180 bp 215 bp 265 bp | *06:184 *06:67, 06:174, 06:191 *06:68, 06:112N *06:127 |
| 86 | 95 bp 130 bp 180 bp 220 bp | *06:59, 06:90, 06:150, 06:191 *06:99:01-06:99:03, 06:112N, 06:210, 06:233, 06:244, 06:252N, 06:269-06:270:01, 06:278 *06:90, 06:191 *06:112, 06:233, 06:244, 06:269-06:270:01, 06:278, 06:302 |
| 87 | 105 bp 140 bp | *03:08, 03:137, 03:194, 06:29, 06:59, 06:63, 06:87, 06:91, 06:96:01-06:96:02, 06:150, 06:322, 06:337 *06:179N, 06:184 |
| 88 | 110 bp 215 bp | *06:125 *06:57, 06:81 |
| 89 | 110 bp 150 bp 185 bp 260 bp | *06:125 *06:101 *06:144N *06:83 |
| 90 | 105 bp 130 bp 175 bp 240 bp | *04:41N *06:102N *03:247, 03:285 *03:97, 03:117, 03:329, 03:349, 03:381, 06:86, 06:104, 06:117, 06:343, 06:366 |
| 91 | 70 bp 100 bp 185 bp | *03:10:02:01-03:10:03, 03:38:02, 03:183, 04:02:07w, 05:03:14, 05:03:20, 05:43:01, 05:131, 06:01:12, 06:02:43, 06:03:33, 06:51:01, 06:66, 06:96:01, 06:99:01, 06:172, 06:322 *06:01:12, 06:51:01-06:51:02, 06:99:01, 06:142 *03:158 |
| 92 | 105 bp 120 bp 155 bp 190 bp 230 bp | *02:22 *02:32 *02:19, 02:54 *02:78 *02:12 |
| 93 | 95 bp 170 bp 225 bp | *03:91Q *02:13, 02:41, 03:322 *03:85 |
| 95 | 95 bp 120 bp | *03:105-03:106, 03:109, 03:120 *05:04, 05:52, 05:77, 05:132Q, 05:146 |

4The following DQB1 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| DQB1*02:15, 02:30 | 67 | DQB1*04:36N, 04:43 | 54 |
| DQB1*02:16, 02:20N | 64 | DQB1*05:10, 05:23 | 54 |
| DQB1*02:23, 02:28 | 68 | DQB1*05:12, 05:159, 05:242, 05:246 | 54 |
| DQB1*02:29, 02:31 | 69 | DQB1*05:13, 05:24 | 59 |
| DQB1*03:03:06, 03:40 | 12 | DQB1*05:17, 05:47 | 54 |
| DQB1*03:31, 03:87 | 35 | DQB1*05:25, 05:112 | 34 |
| DQB1*03:35, 03:246, 03:328 | 49 | DQB1*06:02:19, 06:48:01-06:48:02 | 62 |
| DQB1*03:36, 03:51 | 51 | DQB1*06:31, 06:145 | 35 |
| DQB1*03:46, 03:252, 03:271 | 50 | DQB1*06:35, 06:45 | 35 |
| DQB1*03:57, 03:353 | 12 | DQB1*06:70, 06:76 | 80 |
| DQB1*03:59, 03:71 | 43 | DQB1*06:75N, 06:80 | 84 |
| DQB1*03:66N, 03:224 | 42 | DQB1*06:102N, 06:104 | 90 |
| DQB1*03:116, 03:243, 03:317:01-03:317:02 | 66 | DQB1*06:109, 06:225 | 54 |
| DQB1*03:143, 03:257 | 50 | DQB1*06:110, 06:185 | 54 |
| DQB1*04:03:01, 04:12 | 42 | DQB1*06:151, 06:208 | 35 |
| DQB1*04:05, 04:15 | 30 | DQB1*06:188, 06:273 | 38 |
| DQB1*04:32, 04:66 | 17 |

5The DQB1 high primer set cannot separate the following alleles. These alleles can be distinguished by the DQB1*05 kit.

Alleles

DQB1*05:03:14, 05:43:01

6This lot of the DQB1 high primer set cannot separate the DQB1*03:01:01:01-03:01:01:12, 03:01:01:14-03:01:01:22, 03:01:02, 03:01:04-03:01:07, 03:01:09-03:01:12, 03:01:14, 03:01:16-03:01:24, 03:01:26-03:01:33, 03:01:35, 03:01:39-03:01:48 and *03:196  alleles.

Abbreviations

?: nucleotide sequence information not available for the primer matching sequence.

W: might be weakly amplified.

Changes in revision R01 compared to R00:

1. Primer mix 18 does not amplify the DQB1*03:24 and 03:79 alleles.

2. Primer mix 51 does not amplify the DQB1*02:06, 02:48, 03:24, 03:79 and 05:196 alleles.

The corrections above have been implemented in the Specificity and Interpretation tables

Changes in revision R02 compared to R01:

- Primer mix 49 does not amplify the DQB1*02:169, DQB1*03:319, 03:347, DQB1*04:70, DQB1*05:84, 05:211, DQB1*06:103, 06:284 and 06:350 alleles. This correction has been implemented in the Specificity and Interpretation tables.

Changes in revision R03 compared to R02:

- Primer mixes 49 and 57 do not amplify the DQB1*03:420 and DQB1*05:27 alleles. This correction has been implemented in the Specificity and Interpretation tables.

Changes in revision R04 compared to R03:

- Primer mix 94 weakly amplifies the DQB1*02:03:01 and *03:172 alleles. This correction has been implemented in the Specificity and Interpretation tables.

Changes in revision R05 compared to R04:

- Primer mix 8 may have tendencies of unspecific amplifications. A footnote has been added in the Specificity Table.

Changes in revision R06 compared to R05:

- Primer mixes 40 and 49 do not amplify the DQB1*03:196 and DQB1*06:323 alleles. This correction has been implemented in the Specificity and Interpretation tables.