DQB1*03 (101.214-24/06, -24u/06u) 	Lot No: 4N9	Expiry Date: 2025-10-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:_________________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3, 5, 23, 25, 30, 43, 45, 46, 48, 51, 52 and 61 may have a tendency to giving rise to primer oligomer formation.

Primer mixes 6, 11, 14, 16, 19, 24 and 50 may have tendencies of unspecific amplifications.

Primer mixes 1, 2, 18, 27 and 33 may give rise to a lower yield of HLA-specific PCR product than the other DQB1*03 primer mixes.

Primer mixes 55 and 58 may give rise to a long unspecific amplification product. This should be disregarded when interpreting the DQB1*03 typings.

Primer mix 64 contains a negative control, which will amplify the majority of the HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-DQB1 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.29.0, August 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DQB1*03 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DQB1*03 alleles | Other amplified DQB1 alleles |
| --- | --- | --- | --- |
| 6 | 95 bp 130 bp | *03:20 *03:05:01-03:05:05, 03:17:01-03:17:02, 03:61, 03:72, 03:100, 03:132, 03:181, 03:226, 03:244, 03:250, 03:262, 03:272, 03:346 | *04:09, 04:63, 04:75, 05:131, 05:276 |
| 7 | 115 bp 150 bp | *03:03:06, 03:06, 03:25:01-03:25:02, 03:42, 03:88 *03:84N | *04:01:03, 04:02:16, 04:03:03 |
| 8 | 110 bp 145 bp | *03:15 *03:07, 03:16, 03:438 |  |
| 9 | 65 bp 145 bp | *03:40, 03:353 *03:08, 03:119, 03:137, 03:194 | *06:02:02, 06:03:02, 06:03:34 |
| 10 | 135 bp 260 bp | *03:09 *03:11, 03:26, 03:244 |  |
| 11 | 140 bp 255 bp | *03:10:01-03:10:03, 03:12, 03:14:01-03:14:02, 03:70, 03:179, 03:183, 03:195 *03:47 | *06:01:01:01-06:01:06, 06:01:08-06:01:30, 06:06?, 06:43, 06:54N-06:58, 06:98, 06:99:02-06:105, 06:108, 06:120, 06:132, 06:140, 06:153:01-06:153:02, 06:157, 06:167-06:168, 06:177, 06:181, 06:194, 06:205, 06:209, 06:214, 06:229, 06:239, 06:243, 06:245-06:247, 06:251, 06:257-06:258, 06:260, 06:263, 06:268, 06:274, 06:277, 06:285, 06:302, 06:305, 06:307, 06:309-06:310, 06:312, 06:321, 06:323, 06:330N, 06:342, 06:359, 06:377, 06:382 |
| 13 | 115 bp 170 bp 205 bp | *03:255 *03:13, 03:232 *03:48 |  |
| 17 | 165 bp 225 bp | *03:43, 03:87 *03:18, 03:85 |  |
| 20 | 150 bp 240 bp | *03:21, 03:452 *03:246 | *02:64, 02:79, 05:35, 05:182, 05:259, 06:243, 06:255 *06:310 |
| 23 | 95 bp 125 bp 150 bp 185 bp 220 bp | *03:41, 03:224 *03:24-03:25:02, 03:79, 03:89, 03:234, 03:239, 03:447 *03:84N *03:45:01-03:45:02 *03:258 | *04:03:01-04:03:03, 04:81 |
| 24 | 120 bp 210 bp | *03:39 *03:27, 03:48, 03:56 |  |
| 25 | 105 bp 130 bp 155 bp 180 bp 240 bp | *03:206 *03:24, 03:79, 03:447 *03:80, 03:257 *03:29, 03:118N, 03:237N *03:34 | *04:81 *02:14:01:01-02:14:01:02 |
| 27 | 170 bp 225 bp 250 bp | *03:32, 03:87 *03:85 *03:31 |  |
| 28 | 200 bp 230 bp | *03:37-03:38:02, 03:46, 03:252, 03:277 *03:225 |  |
| 29 | 110 bp 165 bp 255 bp | *03:33, 03:245, 03:328 *03:35, 03:315 *03:243 | *05:281, 06:228, 06:304N *02:126 |
| 30 | 135 bp 175 bp | *03:36, 03:149 *03:150 |  |
| 31 | 115 bp 195 bp 225 bp | *03:255 *03:28 *03:56, 03:83 |  |
| 33 | 85 bp 160 bp | *03:59 *03:204 | *06:37, 06:374 |
| 35 | 135 bp 190 bp 235 bp | *03:190, 03:205, 03:214 *03:51, 03:54, 03:287 *03:117 | *02:157, 04:15, 04:42, 05:102, 06:223 *04:35 |
| 36 | 145 bp 175 bp 200 bp | *03:205, 03:214 *03:55, 03:60, 03:250 *03:269N | *04:15 |
| 37 | 180 bp 230 bp | *03:60, 03:77 *03:53, 03:62, 03:225 |  |
| 38 | 170 bp 225 bp | *03:58, 03:194, 03:232 *03:57, 03:83 | *06:82, 06:233, 06:302 |
| 39 | 105 bp 140 bp 190 bp 235 bp | *03:240 *03:25:01-03:25:02, 03:66N, 03:234, 03:239 *03:68 *03:86 | *04:03:01-04:03:03, 06:193N *02:151 |
| 40 | 180 bp 230 bp | *03:67-03:68, 03:228 *03:104, 03:212 | *06:17, 06:24, 06:30, 06:42, 06:318 *02:47 |
| 41 | 135 bp 175 bp 210 bp | *03:282N *03:63, 03:75, 03:168 *03:201, 03:269N |  |
| 42 | 80 bp 165 bp 220 bp | *03:188 *03:64, 03:76-03:77 *03:201 |  |
| 43 | 175 bp 250 bp | *03:49:01:01-03:49:01:02, 03:198:01, 03:222, 03:247, 03:285-03:286, 03:402 *03:97, 03:329, 03:349, 03:381 | *02:10, 02:81, 05:152, 06:359, 06:381 *06:86, 06:104, 06:366 |
| 44 | 160 bp 220 bp 270 bp | *03:199, 03:211 *03:78 *03:71 |  |
| 45 | 90 bp 135 bp 170 bp 230 bp | *03:65 *03:282N *03:133, 03:200, 03:462 *03:81, 03:159 | *02:84, 04:14 *02:116 |
| 46 | 115 bp 175 bp | *03:88-03:89 *03:191 |  |
| 49 | 150 bp 175 bp | *03:94, 03:164, 03:182 *03:191 | *04:44 |
| 50 | 105 bp 150 bp | *03:206 *03:98, 03:165, 03:182 |  |
| 51 | 105 bp 140 bp 165 bp 220 bp | *03:90N, 03:240 *03:239 *03:115, 03:213N, 03:228, 03:368 *03:258 | *02:106, 04:43, 05:246, 06:17, 06:24, 06:30, 06:42, 06:109 |
| 52 | 80 bp 185 bp | *03:188 *03:99Q, 03:118N, 03:133, 03:162, 03:183, 03:200, 03:223, 03:233, 03:237N, 03:351, 03:462 | *02:84, 04:14 |
| 53 | 125 bp 155 bp 190 bp | *03:130, 03:271 *03:139, 03:199 *03:162, 03:183, 03:204, 03:223, 03:233, 03:351 |  |
| 54 | 95 bp 170 bp 220 bp | *03:91Q *03:146, 03:158, 03:170, 03:207 *03:181 |  |
| 55 | 155 bp 195 bp | *03:102 *03:114 |  |
| 56 | 155 bp 200 bp | *03:95N, 03:210 *03:150, 03:170 |  |
| 57 | 100 bp 215 bp 240 bp | *03:169 *03:246 | *05:45, 05:201 *06:327 *06:310 |
| 58 | 155 bp 180 bp | *03:102 *03:197Q |  |
| 61 | 115 bp 155 bp 255 bp | *03:116 *03:221, 03:450 *03:243 | *06:51:01-06:51:02, 06:377 *02:126 |

4The following DQB1*03 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DQB1*03:35, 03:328 | 29 |
| DQB1*03:49:01-03:49:02, 03:329 | 43 |
| DQB1*03:97, 03:402 | 43 |
| DQB1*03:190, 03:287 | 35 |
| DQB1*03:245, 03:315 | 29 |
| DQB1*03:286, 03:381 | 43 |

5The following alleles cannot be separated by the HLA-DQB1*03 primer set. These alleles can be distinguished by the DQ low resolution kit and/or the HLA-DQB1*04 high resolution kit.

Alleles

DQB1*03:25:01, DQB1*04:03:03

DQB1*03:72, 03:100, DQB1*04:63

DQB1*03:132, DQB1*04:75

6This lot of the DQB1*03 primer set cannot separate the DQB1*03:01:01:01-03:01:01:12, 03:01:01:14-03:01:02, 03:01:04:01-03:01:07, 03:01:09-03:01:12, 03:01:14, 03:01:16-03:01:24, 03:01:26-03:01:33, 03:01:35-03:01:36, 03:01:38-03:01:50 and DQB1*03:196  alleles.

Abbreviations

w: might be weakly amplified.

?: nucleotide sequence information not available for the primer matching region.

Changes in revision R01 compared to R00:

- Primer mix 57 does not amplify the DQB1*03:196, 03:442 and 06:323 alleles. This correction has been implemented in the Specificity and Interpretation tables.