# Gel Documentation Form and Worksheet

# DR low resolution screening 	Lot No: 3L6	Expiry Date: 2024-07-01

# (101.103-48/12,-48u/12u)

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:_______________

Interpretation:___________                           Failed lanes: ____________                         Comments:________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 3, 16, 19 and 22 have a tendency to giving rise to primer oligomer formation.

Primer mixes 3, 4, 9 and 21 may have tendencies of unspecific amplification.

Primer mixes 3 and 11 may give rise to a lower yield of HLA-specific PCR product than the other DR low primer mixes.

Primer mix 19 has a tendency of primer oligomer formation and also has an intense primer cloud due to the high number of primers present in the primer mix.

The DRB4*01:03:01:02N allele is amplified by the primer pairs in wells 18 and 22, whereas the DRB4*02:01N and DRB4*03:01N null alleles are only amplified by the primer pairs in well 22.

Due to sharing of sequence motifs in codon 38 and 47, DRB3*01:14 will also be amplified in primer mixes 5, 6, 17, and DRB3*01:23 and *02:32 will be amplified in primer mix 5, in addition to primer mix 21.

Due to sharing of sequence motifs, DRB3*02:27 is amplified by the primer pairs in well 15, and DRB3*01:42 is amplified by the primer pairs in well 11, in addition to primer mix 21.

Due to sharing of sequence motifs, DRB4*01:31 is amplified by the primer pairs in well 20 in addition to primer mix 22.

Primer mix 24 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB alleles listed on the IMGT/HLA web page 2020-January-20, release 3.39.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all DRB alleles is not known. In this table we use the information in the HLA Dictionary 2004 on the www.ebi.ac.uk/imgt/hla web site, the information available at the www.worldmarrow.org web site and the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170.

4The following alleles give rise to identical amplification patterns with the DR low resolution screening primer set. These alleles can be separated by the respective high-resolution primer sets.

| Alleles | Alleles |
| --- | --- |
| DRB1*03:126, 14:179 | DRB1*11:264, 13:05:01-13:05:03, 13:07:01-13:07:02, 13:11:01-13:11:02, 13:14:01-13:14:03, 13:21:01-13:21:02, 13:42:01-13:42:02, 13:46, 13:49-13:50:03, 13:62, 13:100, 13:108, 13:132, 13:136, 13:150, 13:169, 13:189, 13:199, 13:203, 13:229, 13:246, 13:284 |
| DRB1*08:09:02, 14:15 | DRB1*12:57, DRB3*02:111 |
| DRB1*08:20, 13:18, 13:47, 13:55, 13:158, 13:164, 13:232, 13:286 | DRB1 *13:13, 13:119, 13:154, 13:156, 14:84, 14:116, 14:144 |
| DRB1*08:31, 11:05, 11:209 | DRB1*13:44, 13:86, 13:206, 14:183 |
| DRB1*08:41, 08:75, 11:67, 11:193:01-11:193:02 | DRB1*13:235, 14:98 |

Abbreviations

w: might be weakly amplified.

?: nucleotide sequence of the primer matching region not known.