# DRB1*01 (101.111-24/06 -24u/06u) 	Lot No: 2R5	Expiry Date: 2026-09-01

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:_______________

# Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 18 may have tendency of unspecific amplification and may give rise to a lower yield of HLA-specific PCR product than the other DRB1*01 primer mixes.

Primer mix 24 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB1*01 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.26.0, October 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3 The following DRB1*01 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB1*01 alleles | Other amplified DRB alleles |
| --- | --- | --- | --- |
| 4 | 180 bp 210 bp | *01:62:01N *01:03:01:01-01:03:05, 01:10, 01:39N, 01:42, 01:61, 01:89, 01:99, 01:102, 01:127 |  |
| 5 | 210 bp 230 bp | *01:29:01, 01:74, 01:118 *01:04, 01:11:01-01:11:02, 01:16, 01:35, 01:55, 01:89, 01:101 | DRB3*03:01:08 |
| 6 | 135 bp 215 bp | *01:05, 01:31 *01:29:01-01:29:02, 01:74, 01:118 |  |
| 8 | 115 bp 175 bp 210 bp | *01:50 *01:27 *01:07 | *14:112, DRB3*01:47 |
| 9 | 110 bp 255 bp | *01:08 *01:04, 01:06, 01:20:01-01:20:02, 01:61, 01:85, 01:101 |  |
| 10 | 210 bp 250 bp | *01:06, 01:09, 01:15 *01:52N |  |
| 11 | 140 bp 210 bp | *01:18:01-01:18:02, 01:44:01-01:44:02 *01:10, 01:68N |  |
| 12 | 140 bp 180 bp 215 bp | *01:31 *01:26, 01:37 *01:12 |  |
| 13 | 85 bp 150 bp 215 bp | *01:13 *01:28 *01:01:43, 01:23, 01:51, 01:111 |  |
| 14 | 170 bp 205 bp | *01:14 *01:01:43, 01:23-01:24:02, 01:51, 01:54, 01:68N, 01:111 |  |
| 15 | 150 bp 220 bp | *01:28 *01:16, 01:21, 01:55, 01:90, 01:101 |  |
| 16 | 200 bp 230 bp | *01:24:01-01:24:02, 01:54 *01:19, 01:21 |  |
| 17 | 125 bp 230 bp 260 bp | *01:30 *01:27 *01:22 | *13:165, DRB3*02:63 DRB3*01:47 |
| 18 | 115 bp 230 bp | *01:50 *01:25 | *10:40, DRB5*01:60 |
| 19 | 125 bp 235 bp 270 bp | *01:67 *01:77, 01:119 *01:39N-01:40N | DRB4*01:132 *14:196 |
| 20 | 205 bp 235 bp | *01:33N *01:77, 01:119 | *14:196 |
| 21 | 90 bp 180 bp 250 bp | *01:34 *01:62:01N *01:32 |  |
| 22 | 205 bp 250 bp | *01:36 *01:52N |  |

4The following DRB1*01 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*01:40N, 01:67 | 19 |

Abbreviations

w: might be weakly amplified.