# DRB1*07 (101.118-24/24u) 	Lot No: 3N6	      Expiry Date: 2025-07-01

# Name:___________________

# Sample ID:_______________

# DNA Conc.(ng/ul):_________

# Test Date: ______________

# Tested By: ______________

# Review Date:________________

# Reviewed By:________________

# Interpretation:___________                             Failed lanes: ____________                         Comments:________________

## PHOTO DOCUMENT

Gel Picture

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

Primer mixes 1 and 9 have tendencies of giving rise to primer oligomer formation.

Primer mix 13 may have a tendency of unspecific amplification.

Primer mix 22 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB1*07 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.25.0, July 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DRB1*07 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB1*07 alleles | Amplified non-DRB1*07 alleles |
| --- | --- | --- | --- |
| 4 | 90 bp 235 bp | *07:10N *07:04, 07:25 |  |
| 5 | 190 bp 235 bp | *07:05 *07:11, 07:25 |  |
| 6 | 160 bp 250 bp | *07:06, 07:29 *07:32 |  |
| 8 | 120 bp 160 bp | *07:08, 07:26N *07:51 |  |
| 9 | 105 bp 240 bp | *07:12 *07:22-07:23 | *04:90, 09:08 |
| 10 | 120 bp 165 bp 220 bp | *07:34:01 *07:13 *07:18 | *09:35 |
| 11 | 110 bp 260 bp | *07:14, 07:34:01 *07:24 | *09:35 |
| 12 | 210 bp 245 bp | *07:15, 07:21 *07:23 |  |
| 14 | 125 bp 215 bp 260 bp | *07:27 *07:17 *07:20 |  |
| 15 | 155 bp 220 bp 260 bp | *07:19, 07:28 *07:18 *07:20 |  |
| 17 | 155 bp 265 bp | *07:40 *07:56 |  |
| 18 | 140 bp 235 bp | *07:46 *07:61 |  |
| 19 | 135 bp 220 bp | *07:30 *07:42 |  |
| 20 | 110 bp 190 bp | *07:39 *07:68N |  |
| 21 | 125 bp 180 bp | *07:48 *07:44 |  |

4The following DRB1*07 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| DRB1*07:06, 07:32 | 6 | DRB1*07:39, 07:68N | 20 |
| DRB1*07:14, 07:24 | 11 | DRB1*07:40, 07:56 | 17 |
| DRB1*07:17, 07:27 | 14 | DRB1*07:44, 07:48 | 21 |
| DRB1*07:30, 07:42 | 19 |  |  |