Gel Documentation Form and Worksheet

DRB1*10 (101.129-06/06u) 	Lot No: 6D8	Expiry Date: 2019-03-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 5 may have tendencies of unspecific amplifications.

Primer mix 8 has a tendency to giving rise to primer oligomer formation.

Primer mix 8 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB1*10 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.24.0, April 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 4: Specific PCR fragment of 70 bp in the DRB1*10:03 allele. Specific PCR fragment of 180 bp in the DRB1*10:11 allele. Primer mix 7: Specific PCR fragment of 75 bp in the DRB1*10:06 allele. Specific PCR fragment of 190 bp in the DRB1*10:07 allele.

4The following DRB1*10 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*10:03, 10:11 | 4 |
| DRB1*10:06, 10:07 | 7 |

The DRB1*10 SSP subtyping kit cannot distinguish the silent mutations in the DRB1*10:01:01:01 to DRB1*10:01:09 alleles.