# Gel Documentation Form and Worksheet

# DRB1*10 (101.129-06/06u) 	Lot No: 0L2	Expiry Date: 2024-03-01

# Name:___________________

# Sample ID:_______________

# DNA Conc.(ng/ul):_________

# Test  Date: ______________

# Tested By: ______________

# Review Date:________________

# Reviewed By:________________

# Interpretation:___________                              Failed lanes: ____________                             Comments:________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 5 may have tendencies of unspecific amplifications.

Primer mix 8 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB1*10 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.29.0, August 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DRB1*10 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB1*10 alleles |
| --- | --- | --- |
| 4 | 70 bp 180 bp | *10:03 *10:11 |
| 7 | 75 bp 190 bp | *10:06 *10:07 |

4The following DRB1*10 alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*10:03, 10:11 | 4 |
| DRB1*10:06, 10:07 | 7 |