Gel Documentation Form and Worksheet

DRB1*12 (101.128-12/12u) 	                     Lot No: 5L4	Expiry Date: 2024-10-01

Name:__________________	         Test Date:_______________                Review Date:_______________

Sample ID:______________	          Tested By:_______________             Reviewed By:_______________

DNA Conc.(ng/ul):_________

Interpretation:___________                           Failed lanes: ___________               Comments:_________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 12 has a tendency to giving rise to primer oligomer formation.

Primer mix 17 may have tendencies of unspecific amplifications.

Primer mix 24 contains a negative control which will amplify a majority of HLA amplicons as well as the amplicons generated   by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB1*12 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.32.0, April 2018.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DRB1*12 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB1*12 alleles | Other amplified DRB1 alleles |
| --- | --- | --- | --- |
| 13 | 115 bp 185 bp 255 bp | *12:24N-12:25 *12:05, 12:14-12:15, 12:56 *12:20 |  |
| 15 | 170 bp 200 bp | *12:18, 12:47 *12:07 |  |
| 16 | 80 bp 115 bp | *12:08, 12:23 , 12:27 *12:31N | *08:53, 08:87, 11:76, 11:114, 11:183, 11:196, 13:34, 13:64, 13:136, 13:174, 13:204, 13:221, 13:250, 14:41, 14:77, 14:110, 14:218, 15:102, DRB3*01:36, DRB3*02:37, DRB3*02:83, DRB3*02:112, DRB3*03:12 |
| 17 | 80 bp 110 bp 225 bp | *12:10 *12:25, 12:48 *12:60N | *01:26, 13:163 DRB5*02:07 |
| 18 | 90 bp 135 bp | *12:26, 12:28 *12:11 |  |
| 19 | 75 bp 115 bp 195 bp | *12:28 *12:45 *12:12, 12:62 | *08:13, 08:48 |
| 20 | 175 bp 220 bp | *12:13, 12:23 *12:57 |  |
| 22 | 105 bp 220 bp | *12:21, 12:38, 12:53, 12:76 *12:16:01-12:16:03, 12:22, 12:39 | *08:32 *08:32, 13:145 |

Abbreviations

w: may be weakly amplified.