PAGE  
[image: image1.emf]Well No. 1 2 3

ICB 515 430

215 80

Well No. 1 2 3

Specific 

Reaction

AmpS

NC

[image: image2.emf]Well No. 1 2 3

DRB1 allele

1,2

*12:01:01-12:01:05, 12:02:01-

12:02:06, 12:04-12:07, 12:09, 12:11-

12:12, 12:14-12:15, 12:17-12:18, 12:20-

12:21, 12:24N-12:26, 12:28-12:36, 

12:38, 12:40-12:51

1

*12:10 1 2

*12:13 w

Well No. 1 2 3

NC

[image: image3.png]


                                                                            DRB1*12 Add-on
March 2015
101.815-12/12u
Rev. No: 00                                                                 89X

Gel Documentation Form and Worksheet

DRB1*12 Add-on (101.815-12/12u)
                           Lot: 89X                                     Expiry Date:   2017-August-01
Name:____________________

Sample ID:________________ 

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________
Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________       
Gel Picture
	PHOTO DOCUMENT



‘ICB’ Internal Control Band, 
‘AmpS’ Amplicon size
Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.


1Based on DRB alleles listed on the IMGT/HLA web page 2014-October-10, release 3.18.0, www.ebi.ac.uk/imgt/hla. 

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

The DRB1*12 Add-on subtyping kit cannot distinguish the following silent mutations: the DRB1*12:01:01-12:01:05 alleles.

‘w’, may be weakly amplified.

Olerup SSP AB

For In Vitro Diagnostic Use 
Franzengatan 5


SE-112 51 Stockholm
Sweden


Page 2 of 2

