PAGE  
May 2009
DRB1*13 
Page 1 of 9
Rev. No: 01
82E
Worksheet can be downloaded from

Worksheet
www.olerup.com









	PHOTO DOCUMENT


Olerup SSP®
Olerup SSP® DRB1*13
Prod. No:
101.116-24/24u

101.116-03/03u
Lot No:    
82E
Expiry Date:    
2010-June-01
Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 32 primer mixes used for DRB1*13 SSP typing.
	Primer Mix
	Size of spec. PCR product1
	Size of contr. band2
	Amplified DRB1*13 alleles3
	Other amplified DRB alleles3,4

	  1
	175 bp
	515 bp
	130101-1316, 1318-1342, 1344, 1346-1366, 1368-1383
	030101-030105, 030201-0307, 0309, 0311-0339, 0820, 1402-140302, 140501-1406, 1409, 1412-1414, 1417-1421, 142301, 142302weakly, 1424, 1427, 1429, 1430, 1433, 1436, 1437, 1440-1445, 1447, 1448, 1451, 1456, 1459, 1463-1465, 1467, 1477

	  25
	200 bp
	430 bp


	130101-1304, 1306, 1308-1310, 1312, 1313, 1315, 1316, 1319, 1322, 1323, 1327, 1328, 1330-1341, 1345, 1348, 1351-1353, 1357-1359, 1361, 1364-1366, 1368-1370, 1372, 1373, 1374 weakly, 1376, 1377, 1379-1383
	110201-110202, 111401-111402, 1116, 1118-1121, 1131, 1145, 1148, 116501-116502, 1416, 1424, 1437, 1463, 1467

	  3
	200 bp
	430 bp
	130501-130502, 130701-130702, 1311, 131401-131403, 1318, 1321, 1324, 1326, 1342, 1346, 1347, 1349-135002, 1354, 1355, 1362, 1363, 1375
	0820, 110101-110107, 1103-110404, 110601-110602, 1109-111202, 1115, 1123-1125, 112701-1129, 1132, 1133, 1135, 1137-1141, 1143, 1144, 1146, 1147, 1149-1151, 115401-1156, 1158-1163, 1166, 1422, 1425, 1427, 1453

	  4
	170 bp
	430 bp
	130301-1304, 1312, 1313, 1321, 1330, 1332, 1333, 1338, 1348, 1349, 1355, 1358, 1365, 1366, 1375, 1381
	0312, 1413, 1463, 1465

	  5
	220 bp
	430 bp
	130301-130302, 130501-130702, 1310-131403, 1318, 1321, 1325, 1326, 1330, 1333, 1337, 1342, 1344, 1346, 1347, 1349-135002, 1355, 1356, 1358, 1360, 1362, 1366, 1377, 1381, 1382
	0820, 110101-110107, 110401-110404, 110601-110602, 110801-1110, 111201-1113, 1115, 1117-111902, 1123-1129, 1131-1135, 1137-1139, 1142-1147, 1149, 1150, 1152, 115401-1158, 1160-1162, 1164, 1166, 140101-140302, 140501-1409, 1412-1414, 1417-142302, 1425-1427, 1429, 1430, 143201-1436, 1438-1445, 1447-1449, 1451, 1453-1456, 1458-1460, 1462-1465, 1467, 1469, 1470, 1472, 1474, 1475, 1477

	  6
	215 bp
	515 bp
	130101-130203, 1304, 1308, 1309, 1315, 1316, 1319, 1320, 1322-1324, 1327-1329, 1331, 1332, 1334-1336, 1338-1341, 1343, 1345, 1348, 1351-1354, 1357, 1359, 1361, 1363-1365, 1368-1376, 1378-1380, 1383
	110201-1103, 111101-111102, 111401-111402, 1116, 1120, 1121, 1136, 1140, 1141, 1148, 1155, 1159, 1163, 116501-116502, 1168, 1416, 1424, 1437

	  77
	190 bp
	430 bp
	130201-130203, 130501-130502, 1326, 1329, 1331, 1334, 1336, 1339, 1341, 135001-135002, 1356, 1363, 1365, 1367, 1373, 1374
	030201-030202, 030501-030502, 0309, 0314, 0327, 0329, 0338, 1109, 1120, 1128, 1402-140302, 1409, 1413, 1419, 1424, 1427, 1430, 1446-1448, 1451, 1463, 1467, 1608,

DRB3*0108, DRB3*0206, DRB3*0220

	  87
	190 bp
	430 bp
	130101-130103, 1306, 1309, 1310, 1315, 1318, 1320, 1327, 1328, 1332, 1335, 1340, 1342, 1343, 1351, 1353, 1359, 1361, 1369, 1371, 1377-1380
	030101-030106, 0303, 0306-0308, 0310-0313, 0315, 0316, 0318-0320, 0322-0324, 0326, 0328, 0332-0334, 0336, 0337, 0339, 0906, 1116, 1140, 1158, 1159, 1406, 1412, 1417, 1418, 1421, 1429, 1433, 1452, 1459, 1464

	
	
	
	
	

	  9
	260 bp
	430 bp
	130201-130302, 130501-130502, 130701- 130702, 1312-131403, 1321, 1323, 1325, 1326, 1329-1331, 1333, 1334, 1336-1339, 1341, 1345-1347, 1349-135002, 1355, 1356, 1360, 1362, 1363, 1365, 1366, 1373, 1374, 1382
	030201-030202, 030501-030502, 0309, 0314, 0317, 0327, 0329, 0335, 0338, 110101-110107, 110801-111202, 111401-1115, 111901-1120, 1123, 1124, 1126-1129, 1131-1133, 1137, 1139, 1145, 1149, 1151, 1153, 1161, 1162, 1164, 1166, 1168, 1402-140302, 140701-140702, 1409, 1413, 1414, 1419, 1422, 1424, 1425, 1427, 1430, 1436, 1440-1442, 144401-144402, 1447-1449, 1451, 1453, 1463, 1467, 1469, 1477

	10
	260 bp
	430 bp
	130101-130103, 1304, 1306, 1308-1311, 1315, 1318-1320, 1322, 1324, 1327, 1328, 1332, 1335, 1340, 1342-1344, 1348, 1351-1354, 1357-1359, 1361, 1364, 1368-1372, 1375-1381, 1383
	030101-030106, 0303, 0304, 0306-0308, 0310-0313, 0315, 0316, 0318-0326, 0328, 0330-0334, 0336, 0337, 0339, 0820, 110201-110404, 110601-1107, 1113, 1116-1118, 1121, 1125, 1134-1136, 1138, 1140-1144, 1146-1148, 1150, 1152, 115401-1160, 1163, 116501-116502, 140101-140103, 140501-1406, 1408, 1412, 1416-1418, 1420, 1421, 142301-142302, 1426, 1429, 143201-1435, 1437-1439, 1443, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472, 1474, 1475

	117
	205 bp
	430 bp
	1309, 1320, 1325, 1329, 1343, 1356, 1360, 1371, 1378
	110801-110802, 1136, 1142, 1157, 1164, 1168, 140301-140302, 1412, 1424, 1437, 1440, 1469, 1474, 1477

	12
	215 bp
	430 bp
	130101-1304, 1308, 1310, 1315, 1316, 1319, 1320, 1322-1324, 1326-1329, 1331-1341, 1343, 1345, 1348, 1351-1354, 1357, 1359-1361, 1363-1366, 1368-1381, 1383
	110103, 110201-1103, 111101-111102, 111401-111402, 1116, 111902-1121, 1136, 1140, 1141, 1148, 1159, 1163, 116501-116502, 1168, 1416, 1419, 1421

	13
	145 bp
	515 bp
	130301-130302, 130701-1308, 1312, 1313, 1319, 1326, 1332, 1333, 1336-1338, 1340, 1347-1349, 1353, 1355, 1358, 1360, 1365, 1370, 1372, 1376, 1381
	030201-0303, 0306, 0317, 0326, 0327, 0331, 0335, 0338, 0820, 1117, 1137, 1141, 1148, 1150, 1152, 1156, 140101-140301, 140501-1409, 1412-1414, 1416, 1418-1420, 1422-1427, 1429, 143201-143202, 1434, 1436-1441, 1443-1445, 1447-1449, 1451, 1454-1456, 1458-1460, 1462, 1463,1467, 1469, 1470, 1474, 1475, 1477

	148
	145 bp
	430 bp
	1304, 1308, 1317, 1319, 1322-1324, 1338, 1345, 1348, 1354, 1357, 1364, 1369, 1370, 1372, 1375, 1376, 1383
	0402weakly, 0414weakly, 0437weakly, 110201-1103, 111101-111102, 111401-111402, 1121, 1136, 1141, 1148, 1155, 1163, 116501-116502, 1168, 1416, 1457, 1510

	156,10
	  85, 235 bp
	515 bp
	1315, 1319, 1326, 1333, 1353, 1357
	030101, 030103-0313, 0316, 0318-0323, 0325-0334, 0336-0339, 1107, 112702, 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467, 1477

	167
	150 bp
	430 bp
	130101-130201, 130203, 1308, 1315, 1316, 1319, 1320, 1327-1329, 1331, 1332, 1334-1336, 1339-1341, 1343, 1351-1353, 1357, 1359, 1361, 1363-1365, 1367-1369, 1371-1374, 1376, 1378-1380, 1383
	1116, 1120, 1140, 1159, 1416, 1457, 1510

	
	
	
	
	

	1711
	145, 220, 255 bp
	430 bp
	130202, 1326, 1328, 1360, 1377, 1380
	0316, 110103, 111902

	18
	230 bp
	430 bp
	1313, 1318, 1347, 1355, 1361
	030102, 030202, 0317, 0324, 0327, 0335, 0820, 1123, 1125, 112701, 1145, 1155, 1164, 140301-140302, 1412, 1427, 1438, 1440, 1447, 1455, 1463, 1467, 1477

	198,12
	150, 205, 260 bp
	430 bp
	1316, 1351, 1374
	

	208,9,13
	180, 205, 225 bp
	515 bp
	1317, 1367, 1373
	

	219
	175 bp
	430 bp
	1327, 1341, 1371
	1159

	22,6,14
	110, 175 bp
	430 bp
	1331, 1346, 1354, 1368, 1377
	0338, 1124, 1448

	236,15
	115, 235, 255 bp
	430 bp
	130103, 1328, 1334, 1364, 1376
	110105, 110403, 110602, 1113, 1117, 1152, 115401, 140101, 140103, 140501-140502, 140701-1408, 1414, 1418, 142301-142302, 1426, 143202, 1434-1436, 1439, 1441-144401, 1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472, 1477

	2416
	145, 180 bp
	430 bp
	1335, 1339, 1354, 1377-1379
	0313, 0338, 1448, 1464

	
	
	
	
	

	256
	110 bp
	430 bp
	130301-1304, 130701-1308, 1311-131403, 1319, 1321-1325, 1330, 1333, 1337, 1338, 1344-1349, 1352, 1354, 1355, 1357, 1358, 1360, 1366, 1370, 1372, 1375, 1376, 1381-1383
	0304, 0317, 0321, 0325, 0330, 0331, 0335, 0820, 110101-110404, 110601-110802, 1110-111402, 1117-111902, 1121, 1123, 1125-112702, 1129, 1131-1139, 1141-1143, 1145-1148, 1151-1157, 1160- 1166, 1168, 140101-140103, 140501-140503, 140701-1408, 1414, 1416, 1420, 1422-142302, 1425, 1426, 143201-143202, 1434-1440, 1442-1445, 1449, 1453-1456, 1458, 1460, 1462, 1465, 1469, 1470, 1472, 1474, 1475

	26
	140 bp
	515 bp
	130501-130502, 1318, 1326, 1342, 1363
	0809, 0821, 1109, 1110, 1140, 1146, 1159, 1162, 1415, 1422, 1427, 1473

	27
	145 bp
	515 bp
	130101-130203, 1304-1306, 1309-1311, 131401-1316, 1318, 1320-1325, 1327-1331, 1334, 1339, 1341-1346, 135001-1352, 1354, 1356, 1357, 1359, 1361-1364, 1366, 1368, 1369, 1371, 1373-1375, 1377-1379, 1380weakly, 1382, 1383
	030101-030106, 0304-030502, 0307-0315, 0318-0325, 0328-0330, 0332- 0334, 0336, 0337, 0339, 110101-110106, 110201-110404, 110601-1116, 1118-1121, 1123-1129, 1131-1136, 1138-1140, 1142-1147, 1149, 1151, 1153-1155, 1157-1166, 1168, 1417, 1421, 1430, 1433, 1435, 1442, 1453, 1464, 1465, 1472

	28
	160 bp
	430 bp
	130101-130103, 1304, 1306, 1309-1311, 1315, 1317, 1318, 1320, 1322, 1324, 1327, 1328, 1335, 1342-1344, 1351, 1352, 1354, 1357, 1359, 1361, 1364, 1368, 1369, 1371, 1375, 1377-1380, 1383
	030101-030106, 0304, 0307, 0308, 0310-0313, 0315, 0316, 0318-0325, 0328, 0330, 0332-0334, 0336, 0337, 0339, 0442, 0459, 0828, 110201-110404, 110601-1107, 1113, 1116, 1118, 1121, 1125, 1134-1136, 1138, 1140, 1142-1144, 1146, 1147, 115401-1155, 1157-1160, 1163, 116501-116502, 1167, 120101-120202, 120302-1210, 1212-1215, 1417, 1421, 1433, 1435, 1464, 1465, 1472, 150101-150106, 1503-1506, 1509, 1510, 1512, 1513, 1516- 1518, 1520-1525

	299
	155 bp
	430 bp
	1315, 1319, 1353, 1357
	0832, 120101-120102, 120302-1206, 1208-1211, 1214, 1463, 1467

	306
	  85 bp
	515 bp
	130101-130103, 1304, 1308, 1315, 1317, 1319, 1320, 1322, 1324, 1327, 1328, 1332, 1335, 1340, 1343, 1348, 1351-1354, 1357, 1359, 1361, 1364, 1368-1372, 1375, 1376, 1378-1380, 1383
	0402, 0437, 110201-1103, 1116, 1121, 1136, 1140, 1141, 1148, 1155, 1159, 1163, 116501-116502, 1416, 1457, 1510

	316,17
	 75, 170, 205 bp
	430 bp
	1343, 1345, 1359, 1372
	1416

	3218
	220, 255 bp
	430 bp
	130202, 130301-130302, 1310, 1326, 1333, 1337, 1358, 1360, 1366, 1377, 1381
	0320, 110103, 110601-110602, 111902, 1121, 1147, 1157, 1419, 1421, 1429


1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of DRB1*13 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective length of the specific PCR product(s) of the alleles amplified by these primer mixes are given. 

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may  be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 430 base pairs, for most wells, or a band of 515 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the longer, 515 bp, internal positive control band in order to help in the correct orientation of the DRB1*13 subtyping.

In addition, wells number 6, 13, 15, 20, 26, 27 and 30 contain the primer pair giving rise to the longer, 515 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several DRB alleles only partial second exon nucleotide sequences are available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first hyperpolymorphic region of the second exon of DRB alleles are conserved within allelic groups and that unknown sequences of codons 87 to 92 are identical with the DRB1*0101 consensus sequence. 

4Due to the sharing of sequence motifs within the DR52 group of DRB1 alleles, all DRB1*03 alleles, as well as most DRB1*11 and DRB1*14 alleles are amplified by some of the DRB1*13 primer mixes. In addition, five DRB1*04 alleles, five DRB1*08 alleles, the DRB1*0906 allele, the DRB1*12 alleles, most DRB1*15 allele, the DRB1*1608 and the DRB3*0108, the DRB3*0206 and DRB3*0220 alleles are amplified by one or a few of the DRB1*13 primer mixes.

5Primer mix 2 may faintly amplify the DRB1*1329 allele.

6Specific PCR fragments shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR bands.

7Primer mixes 7, 8, 11 and 16 may yield somewhat less intense specific PCR fragments than the other DRB1*13 primer mixes. Most pronounced for primer mix 11.

8Primer mixes 14, 19 and 20 may give rise to nonspecific amplifications.

9Primer mixes 20, 21 and 29 have a tendency of giving rise to a primer oligomer artifact.

10Primer mix 15: 85 bp fragment in the DRB1*1315, 1319, 1326, 1353, 1357 and the 030202, 0327, 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467 and 1477 alleles. 235 bp fragment in the DRB1*1333 and the 030101, 030103-030104, 0304-0313, 0316, 0318-0323, 0325, 0326, 0328, 0330-0333, 1107 and 112702 alleles. 85 and 235 bp fragments in DRB1*030201, 0303 and 0329 alleles, due to primer competition both specific PCR fragments may not be visible.

11Primer mix 17: 145 bp fragment in the DRB1*1377, 1380 and the 0316 alleles. 220 bp fragment in the DRB1*130202, 1326, 1360, the 110103 and 111902 alleles. 255 bp fragment in the DRB1*1328 allele. 

12Primer mix 19: 150 bp fragment in the DRB1*1351 allele. 205 bp fragment in the DRB1*1374 allele. 260 bp fragment in the DRB1*1316 allele.

13Primer mix 20: 180 bp fragment in the DRB1*1317 allele. 205 bp fragment in the DRB1*1373 allele. 225 bp fragment in the DRB1*1367 allele.

14Primer mix 22: 110 bp fragment in the DRB1*1368 and the 1124 alleles. 175 bp fragment in the DRB1*1331, 1346, 1354, 1377, 0338 and 1448 alleles.

15Primer mix 23: 115 bp fragment in the DRB1*1334, 1364 and the 1441 alleles. 235 bp fragment in the DRB1*130103, 1376 and the 110105, 110403, 110602, 1113, 1117, 1152, 115401, 140101, 140103, 140501-140502, 140701-1408, 1414, 1418, 142301-142302, 1426, 143202, 1434-1436, 1439, 1442-1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472 and 1477 alleles. 255 bp fragment in the DRB1*1328 allele.

16Primer mix 24: 145 bp fragment in the DRB1*1335 allele. 180 bp fragment in the DRB1*1339, 1354, 1377 to 1379 and the 0313, 1448 and 1464 alleles.

17Primer mix 31: Specific PCR fragment of 75 bp in the DRB1*1343, 1345 and the 1416 alleles. Specific PCR fragment of 170 bp in the DRB1*1359 allele. Specific PCR fragment of 205 bp in the DRB1*1372 allele.

18Primer mix 32: 220 bp fragment in the DRB1*130202-130302, 1310, 1326, 1333, 1337, 1360, 1366, 1377, 1381 and the 110103, 111902, 1419 and 1421 alleles. 255 bp fragment in the DRB1*1358 and the 0320, 110601-110602, 1121, 1147, 1157 and 1429 alleles.

[image: image1.emf]Well No.

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 30 31 32

DRB1 allele

*130101-130102

1 2 6 8 10 12 16 27 28 30

*130103

1 2 6 8 10 12 16 23 27 28 30

*130201, 130203

1 2 6 7 9 12 16 27

*130202

1 2 6 7 9 12 17 27 32

*130301-130302

1 2 4 5 9 12 13 25 32

*1304

1 2 4 6 10 12 14 25 27 28 30

*130501-130502

1 3 5 7 9 26 27

*1306

1 2 5 8 10 27 28

*130701-130702

1 3 5 9 13 25

*1308

1 2 6 10 12 13 14 16 25 30

*1309

1 2 6 8 10 11 27 28

*1310

1 2 5 8 10 12 27 28 32

*1311

1 3 5 10 25 27 28

*1312

1 2 4 5 9 13 25

*1313

1 2 4 5 9 13 18 25

*131401-131403

1 3 5 9 25 27

*1315

1 2 6 8 10 12 15 16 27 28 29 30

*1316

1 2 6 12 16 19 27

*1317

14 20 28 30

*1318

1 3 5 8 10 18 26 27 28

*1319

1 2 6 10 12 13 14 15 16 25 29 30

*1320

1 6 8 10 11 12 16 27 28 30

*1321

1 3 4 5 9 25 27

*1322

1 2 6 10 12 14 25 27 28 30

*1323

1 2 6 9 12 14 25 27

*1324

1 3 6 10 12 14 25 27 28 30

*1325

1 5 9 11 25 27

*1326

1 3 5 7 9 12 13 15 17 26 32

*1327

1 2 6 8 10 12 16 21 27 28 30

*1328

1 2 6 8 10 12 16 17 23 27 28 30

*1329

1 6 7 9 11 12 16 27

*1330

1 2 4 5 9 25 27

*1331

1 2 6 7 9 12 16 22 27

*1332

1 2 4 6 8 10 12 13 16 30

*1333

1 2 4 5 9 12 13 15 25 32

*1334

1 2 6 7 9 12 16 23 27

*1335

1 2 6 8 10 12 16 24 28 30

*1336

1 2 6 7 9 12 13 16

*1337

1 2 5 9 12 13 25 32

*1338

1 2 4 6 9 12 13 14 25

*1339

1 2 6 7 9 12 16 24 27

*1340

1 2 6 8 10 12 13 16 30

*1341

1 2 6 7 9 12 16 21 27

*1342

1 3 5 8 10 26 27 28

*1343

6 8 10 11 12 16 27 28 30 31

*1344

1 5 10 25 27 28

*1345

2 6 9 12 14 25 27 31

*1346

1 3 5 9 22 25 27

*1347

1 3 5 9 13 18 25

*1348

1 2 4 6 10 12 13 14 25 30

*1349

1 3 4 5 9 13 25

*135001-135002

1 3 5 7 9 27

*1351

1 2 6 8 10 12 16 19 27 28 30

*1352

1 2 6 10 12 16 25 27 28 30

*1353

1 2 6 8 10 12 13 15 16 29 30

*1354

1 3 6 10 12 14 22 24 25 27 28 30

*1355

1 3 4 5 9 13 18 25

*1356

1 5 7 9 11 27

*1357

1 2 6 10 12 14 15 16 25 27 28 29 30

*1358

1 2 4 5 10 13 25 32

*1359

1 2 6 8 10 12 16 27 28 30 31

*1360

1 5 9 11 12 13 17 25 32

*1361

1 2 6 8 10 12 16 18 27 28 30

*1362

1 3 5 9 27


[image: image2.emf]*1363

1 3 6 7 9 12 16 26 27

*1364

1 2 6 10 12 14 16 23 27 28 30

*1365

1 2 4 6 7 9 12 13 16

*1366

1 2 4 5 9 12 25 27 32

*1367

7 16 20

*1368

1 2 6 10 12 16 22 27 28 30

*1369

1 2 6 8 10 12 14 16 27 28 30

*1370

1 2 6 10 12 13 14 25 30

*1371

1 6 8 10 11 12 16 21 27 28 30

*1372

1 2 6 10 12 13 14 16 25 30 31

*1373

1 2 6 7 9 12 16 20 27

*1374

1 w 6 7 9 12 16 19 27

*1375

1 3 4 6 10 12 14 25 27 28 30

*1376

1 2 6 10 12 13 14 16 23 25 30

*1377 1 2 5 8 10 12 17 22 24 27 28 32

*1378

1 6 8 10 11 12 16 24 27 28 30

*1379

1 2 6 8 10 12 16 24 27 28 30

*1380 1 2 6 8 10 12 16 17 w 28 30

*1381 1 2 4 5 10 12 13 25 32

*1382 1 2 5 9 25 27

*1383 1 2 6 10 12 14 16 25 27 28 30

*030101, 030103-030105, 

0307, 0311, 0318, 0319, 

0322, 0323, 0328, 0332-

0334, 0336, 0337, 0339

1 8 10 15 27 28

*030102, 0324

1 8 10 18 27 28

*030106, 0308, 0310

8 10 15 27 28

*030201

1 7 9 13 15

*030202, 0327

1 7 9 13 15 18

*0303, 0306, 0326

1 8 10 13 15

*0304, 0321, 0325

1 10 15 25 27 28

*030501-030502, 0309, 

0329

1 7 9 15 27

*0312

1 4 8 10 15 27 28

*0313

1 8 10 15 24 27 28

*0314

1 7 9 27

*0315

1 8 10 27 28

*0316

1 8 10 15 17 28

*0317

1 9 13 18 25

*0320

1 8 10 15 27 28 32

*0330

1 10 15 25 27 28

*0331

1 10 13 15 25

*0335

1 9 13 18 25

*0338

1 7 9 13 15 22 24

*0402, 0437

w 30

*0414

w

*0442, 0459, 0828, 1167, 

120201-120202, 1207, 1212, 

1213, 1215, 150101-150106, 

1503-1506, 1509, 1512, 

1513, 1516-1518, 1520-1525

28

*0809, 0821, 1415

26

*0820

1 3 5 10 13 18 25

*0832, 1211

29

*0906, 1452

8

*110101-110102, 110104, 

110106, 111201-111202, 

1129, 1132, 1133, 1139, 

1161, 1166, 1453

3 5 9 25 27

*110103

3 5 9 12 17 25 27 32



[image: image3.emf]*110105

3 5 9 23 25 27

*110107

3 5 9 25

*110201-110202, 116501-

116502

2 6 10 12 14 25 27 28 30

*1103

3 6 10 12 14 25 27 28 30

*110401-110402, 110404, 

1135, 1138, 1143, 115402, 

1160

3 5 10 25 27 28

*110403

3 5 10 23 25 27 28

*110601, 1147

3 5 10 25 27 28 32

*110602

3 5 10 23 25 27 28 32

*1107

10 15 25 27 28

*110801-110802

5 9 11 25 27

*1109

3 5 7 9 26 27

*1110

3 5 9 25 26 27

*111101-111102

3 6 9 12 14 25 27

*1113, 1435

5 10 23 25 27 28

*111401-111402

2 6 9 12 14 25 27

*1115, 1149

3 5 9 27

*1116

2 6 8 10 12 16 27 28 30

*1117, 1152, 140101, 

140103, 1408, 1426, 1434, 

1439, 1454, 1458, 1460, 

1462

5 10 13 23 25

*1118

2 5 10 25 27 28

*111901, 1131

2 5 9 25 27

*111902

2 5 9 12 17 25 27 32

*1120

2 6 7 9 12 16 27

*1121

2 6 10 12 14 25 27 28 30 32

*1123, 112701

3 5 9 18 25 27

*1124

3 5 9 22 27

*1125

3 5 10 18 25 27 28

*1126

5 9 25 27

*112702

3 5 9 15 25 27

*1128

3 5 7 9 27

*1134

5 10 25 27 28

*1136

6 10 11 12 14 25 27 28 30

*1137, 1425

3 5 9 13 25

*1140

3 6 8 10 12 16 26 27 28 30

*1141

3 6 10 12 13 14 25 30

*1142

5 10 11 25 27 28

*1144

3 5 10 27 28

*1145

2 5 9 18 25 27

*1146

3 5 10 25 26 27 28

*1148

2 6 10 12 13 14 25 30

*1150

3 5 10 13

*1151

3 9 25 27

*1153

9 25 27

*115401

3 5 10 23 25 27 28

*1155

3 5 6 10 14 18 25 27 28 30

*1156

3 5 10 13 25

*1157

5 10 11 25 27 28 32

*1158

3 5 8 10 27 28

*1159

3 6 8 10 12 16 21 26 27 28 30

*1162

3 5 9 25 26 27

*1163

3 6 10 12 14 25 27 28 30

*1164

5 9 11 18 25 27

*1168

6 9 11 12 14 25 27

*120101-120102, 120302-

1206, 1208-1210, 1214

28 29

*140102

5 10 13 25

*1402, 1451

1 5 7 9 13 15

*140301

1 5 7 9 11 13 15 18



[image: image4.emf]*140302

1 5 7 9 11 15 18

*140501-140502, 142301, 

1443, 1445, 1456

1 5 10 13 23 25

*140503

1 5 10 13 25

*1406

1 5 8 10 13 15

*140701-140702

5 9 13 23 25

*1409

1 5 7 9 13

*1412

1 5 8 10 11 13 15 18

*1413

1 4 5 7 9 13 15

*1414, 1436, 144401

1 5 9 13 23 25

*1416

2 6 10 12 13 14 16 25 30 31

*1417, 1433

1 5 8 10 27 28

*1418

1 5 8 10 13 15 23

*1419

1 5 7 9 12 13 15 32

*1420

1 5 10 13 15 25

*1421

1 5 8 10 12 27 28 32

*1422

3 5 9 13 25 26

*142302

w 5 10 13 23 25

*1424

1 2 6 7 9 11 13 15

*1427

1 3 5 7 9 13 15 18 26

*1429

1 5 8 10 13 15 32

*1430

1 5 7 9 27

*143201, 1475

5 10 13 25

*143202

*1437

1 2 6 10 11 13 25

*1438

5 10 13 18 25

*1440

1 5 9 11 13 15 18 25

*1441

1 5 9 13 15 23

*1442

1 5 9 23 25 27

*144402

1 5 9 13 25

*1446, 1608

7

*1447

1 5 7 9 13 15 18

*1448

1 5 7 9 13 15 22 24

*1449

5 9 13 15 25

*1455

5 10 13 18 23 25

*1457

14 16 30

*1459

1 5 8 10 13 23

*1463

1 2 4 5 7 9 13 15 18 29

*1464

1 5 8 10 23 24 27 28

*1465

1 4 5 10 23 25 27 28

*1467 1 2 5 7 9 13 15 18 29

*1469 5 9 11 13 25

*1470 5 10 13 23 25

*1472 5 10 23 25 27 28

*1473 26

*1474 5 10 11 13 25

*1477 1 5 9 11 13 15 18 23

*1510

14 16 28 30

DRB3*0108, 0206, 0220

7

Length of spec. PCR 

product(s)

1

175 200 200 170 220 215 190 190 260 260 205 215 145 145

85

150 145 230 150 180 175 110 115 145 110 140 145 160 155

85 75

220

235 220 205 205 175 235 180 170 255

255 260 225 255 205

Well No.

1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 30 31 32

Specific Reaction

1st match: DRB1*

2nd match: DRB1*

Control Reaction

Failed Controls

False Positive

False Negative


1Primer mix 15: 85 bp fragment in the DRB1*1315, 1319, 1326, 1353, 1357 and the 030202, 0327, 1402-140302, 1406, 1412, 1413, 1418-1420, 1424, 1427, 1429, 1440, 1441, 1447-1449, 1451, 1463, 1467 and 1477 alleles. 235 bp fragment in the DRB1*1333 and the 030101, 030103-030104, 0304-0313, 0316, 0318-0323, 0325, 0326, 0328, 0330-0333, 1107 and 112702 alleles. 85 and 235 bp fragments in DRB1*030201, 0303 and 0329 alleles, due to primer competition both specific PCR fragments may not be visible.

Primer mix 17: 145 bp fragment in the DRB1*1377, 1380 and the 0316 alleles. 220 bp fragment in the DRB1*130202, 1326, 1360, the 110103 and 111902 alleles. 255 bp fragment in the DRB1*1328 allele. 

Primer mix 19: 150 bp fragment in the DRB1*1351 allele. 205 bp fragment in the DRB1*1374 allele. 260 bp fragment in the DRB1*1316 allele.

Primer mix 20: 180 bp fragment in the DRB1*1317 allele. 205 bp fragment in the DRB1*1373 allele. 225 bp fragment in the DRB1*1367 allele.

Primer mix 22: 110 bp fragment in the DRB1*1368 and the 1124 alleles. 175 bp fragment in the DRB1*1331, 1346, 1354, 1377, 0338 and 1448 alleles.

Primer mix 23: 115 bp fragment in the DRB1*1334, 1364 and the 1441 alleles. 235 bp fragment in the DRB1*130103, 1376 and the 110105, 110403, 110602, 1113, 1117, 1152, 115401, 140101, 140103, 140501-140502, 140701-1408, 1414, 1418, 142301-142302, 1426, 143202, 1434-1436, 1439, 1442-1445, 1454-1456, 1458-1460, 1462, 1464, 1465, 1470, 1472 and 1477 alleles. 255 bp fragment in the DRB1*1328 allele.

Primer mix 24: 145 bp fragment in the DRB1*1335 allele. 180 bp fragment in the DRB1*1339, 1354, 1377 to 1379 and the 0313, 1448 and 1464 alleles.

Primer mix 31: Specific PCR fragment of 75 bp in the DRB1*1343, 1345 and the 1416 alleles. Specific PCR fragment of 170 bp in the DRB1*1359 allele. Specific PCR fragment of 205 bp in the DRB1*1372 allele.

Primer mix 32: 220 bp fragment in the DRB1*130202-130302, 1310, 1326, 1333, 1337, 1360, 1366, 1377, 1381 and the 110103, 111902, 1419 and 1421 alleles. 255 bp fragment in the DRB1*1358 and the 0320, 110601-110602, 1121, 1147, 1157 and 1429 alleles.

‘w’, may be weakly amplified.






Olerup SSP AB

www.olerup.com
Hasselstigen 1

SE-133 33 Saltsjöbaden

Sweden

