Gel Documentation Form and Worksheet

DRB1*15 (101.125-24/06,-24u/06u)	Lot No: 1N3	Expiry Date: 2025-03-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                           Failed lanes: ___________ 	                             Comments:________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 15 and 22 may have a tendency for unspecific amplification.

Primer mixes 20, 26 and 28 have a tendency to giving rise to primer oligomer formation.

Primer mix 32 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB1*15 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.26.0, October 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DRB1*15 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB1*15 alleles | Other amplified DRB1 alleles |
| --- | --- | --- | --- |
| 6 | 150 bp 180 bp | *15:03:01:01-15:03:05, 15:57, 15:78, 15:94, 15:130, 15:137N, 15:163N, 15:165, 15:178, 15:185 *15:14 |  |
| 8 | 200 bp 245 bp | *15:05, 15:23, 15:25, 15:27, 15:31:01-15:31:02, 15:34, 15:54, 15:63, 15:66:01-15:66:02, 15:73, 15:100, 15:120 *15:36 |  |
| 9 | 90 bp 165 bp 215 bp | *15:06:01-15:06:04, 15:77, 15:94 15:125, 15:155 *15:138N *15:19, 15:69, 15:110, 15:113N |  |
| 10 | 170 bp 200 bp | *15:12 *15:04, 15:15:01-15:15:03, 15:88, 15:142, 15:147 |  |
| 11 | 155 bp 200 bp | *15:47, 15:65 *15:49 | *16:48 |
| 12 | 95 bp 220 bp | *15:09, 15:48 *15:123 | *03:181, 04:162, 11:88, 13:177, 16:44 |
| 13 | 110 bp 215 bp | *15:32 *15:10, 15:84, 15:103, 15:117, 15:120 |  |
| 15 | 150 bp 205 bp | *15:68, 15:136 *15:10, 15:21, 15:27, 15:34, 15:54, 15:66:01-15:66:02, 15:122 | *16:05:01-16:05:02, 16:07, 16:66 |
| 16 | 110 bp 210 bp 260 bp | *15:102 *15:08, 15:129N *15:74 |  |
| 17 | 160 bp 220 bp | *15:18 *15:123 |  |
| 18 | 160 bp 205 bp | *15:115N *15:20 | *04:226:01, 13:28:02 |
| 19 | 175 bp 225 bp | *15:30 *15:21, 15:25, 15:37:01-15:37:02, 15:57, 15:100, 15:104:01-15:104:03 | *16:04:01-16:04:02, 16:18, 16:46 |
| 20 | 165 bp 200 bp | *15:22 *15:25, 15:27, 15:34, 15:54, 15:66:01-15:66:02, 15:100, 15:112, 15:120 |  |
| 22 | 170 bp 200 bp | *15:24, 15:93, 15:138N *15:28, 15:40 |  |
| 23 | 125 bp 170 bp 220 bp | *15:55 *15:29 *15:25 |  |
| 24 | 130 bp 185 bp | *15:61 *15:26, 15:40, 15:43 |  |
| 25 | 70 bp 135 bp 195 bp | *15:39 *15:61, 15:67 *15:33, 15:113N |  |
| 26 | 75 bp 125 bp 195 bp | *15:38, 15:63 *15:75 *15:134N |  |
| 27 | 110 bp 135 bp 175 bp | *15:64 *15:67 *15:14, 15:42, 15:93 |  |
| 28 | 135 bp 255 bp | *15:16, 15:118, 15:156 *15:35, 15:96, 16:34, 16:38:01-16:38:02 |  |
| 29 | 100 bp 200 bp | *15:137N *15:41, 15:50N, 15:80N, 15:112 |  |
| 30 | 165 bp 215 bp | *15:45 *15:44, 15:129N |  |

4The following DRB1*15 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*15:06:01-15:06:04, 15:77,15:110, 15:125 | 9 |
| DRB1*15:16, 15:35 | 28 |
| DRB1*15:19, 15:155 | 9 |
| DRB1*15:30, 15:104:01-15:104:03 | 19 |
| DRB1*15:42, 15:64 | 27 |
| DRB1*15:75, 15:134N | 26 |

5The following alleles give rise to identical amplification patterns with the DRB1*15 high resolution kit. These alleles can be distinguished by the DR low resolution and/or DRB1*16 kits:

| Alleles |  |
| --- | --- |
| DRB1*15:70, 15:89, 15:91, 15:157-15:158 | DRB1*16:33, 16:36, 16:58 |

Abbreviations

w: may be weakly amplified