Gel Documentation Form and Worksheet

DRB1*16 (101.126-12/12u) 	Lot No: 2L0	Expiry Date: 2024-04-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ___________ 	                            Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 and 4 have a tendency to giving rise to primer oligomer formation.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs

1DRB1*16 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.33.0, July 2018.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DRB1*16 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB1*16 alleles | Other amplified DRB1 alleles |
| --- | --- | --- | --- |
| 4 | 115 bp 215 bp 230 bp | *16:30 *16:03 *16:46 | *15:37:02, 15:57, 15:104:02-15:104:03 |
| 5 | 220 bp 250 bp | *16:04:01-16:04:02, 16:18 *16:41N | *15:21 |
| 6 | 200 bp 280 bp | *16:05:01-16:05:02, 16:07 *16:35 | *15:10, 15:21 |
| 7 | 160 bp | *16:07 |  |
| 8 | 110 bp 175 bp 205 bp 250 bp | *16:08 *16:14 *16:26 *16:41N | *15:172 |
| 9 | 140 bp 215 bp | *16:09:01-16:10:02, 16:33, 16:36-16:37, 16:58 *16:40 | *15:01:01:01-15:01:21, 15:01:23-15:02:09, 15:02:11-15:06:04, 15:08, 15:10, 15:12-15:27, 15:29-15:33, 15:35-15:47, 15:49-15:58, 15:60-15:68, 15:70-15:87, 15:89-15:95, 15:97-15:114, 15:116-15:129N, 15:131-15:142, 15:144-15:183N |
| 11 | 170 bp 210 bp | *16:21N *16:11, 16:25 |  |
| 13 | 120 bp 165 bp 215 bp | *16:19 *16:13N, 16:14 *16:40 |  |
| 14 | 85 bp 110 bp 170 bp | *16:16, 16:27 *16:36-16:37 *16:21N | *11:01:03, 11:01:10-11:01:11, 11:04:07, 11:08:03, 11:19:02, 11:42:02, 12:04, DRB5*01:13, DRB5*01:41 |

4The following DRB1*16 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB1*16:03, 16:30 | 4 |