Gel Documentation Form and Worksheet

DRB4 (101.122-24/06, -24u/06u) 	Lot No: 9F6	Expiry Date: 2020-07-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date: ______________

Tested By: ______________

Review Date:________________

Reviewed By:________________

Interpretation:__________	                       Failed lanes: ___________                             Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

The DRB1*15:01:01:01-15:01:34, 15:02:01:01-15:02:17, 15:03:01:01-15:147 and the DRB1*16:01:01-16:05:02, 16:07-16:47 alleles might be faintly amplified by primer mix 7.

Primer mixes 5 and 7 may have tendencies of unspecific amplifications.

Primer mixes 2 and 9 have a tendency to giving rise to primer oligomer formation.

Primer mix 8 may give rise to a lower yield of HLA-specific PCR product than the other DRB4 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB4 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.29.0, August 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The DRB1*15:01:01:01-15:01:34, 15:02:01:01-15:02:17, 15:03:01:01-15:147 and the DRB1*16:01:01-16:05:02, 16:07-16:47 alleles might be faintly amplified by primer mix 7.

4The following DRB4 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB4 alleles | Other amplified DRB alleles |
| --- | --- | --- | --- |
| 6 | 115 bp 200 bp | *01:12 *01:04, 01:14 |  |
| 13 | 110 bp 140 bp 215 bp | *01:12, 01:39 *01:45 *01:08 |  |
| 15 | 190 bp 245 bp | *01:10, 01:30 *01:02?, 01:21 |  |
| 16 | 125 bp 265 bp | *01:13 *01:02?, 01:17 |  |
| 20 | 225 bp 250 bp | *01:23, 01:27 *01:02?, 01:22 | DRB1*04:109, DRB1*12:65, DRB1*15:42 |
| 21 | 105 bp 225 bp | *01:20 *01:05?, 01:07:01?, 01:36, 01:42 |  |
| 22 | 100 bp 230 bp | *01:33, 01:40 *01:38N |  |
| 23 | 105 bp 240 bp | *01:24 *01:37 |  |
| 24 | 75 bp 175 bp 240 bp | *01:32 *01:35, 01:43 *01:54N |  |
| 25 | 75 bp 160 bp | *01:44 *01:15, 01:35, 01:56N |  |
| 26 | 135 bp 165 bp | *01:25 *01:18, 01:34, 01:56N |  |
| 27 | 160 bp 220 bp | *01:19, 01:34 *01:42 |  |

5The following DRB4 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| DRB4*01:20, 01:36 | 21 |
| DRB4*01:24, 01:37 | 23 |
| DRB4*01:32, 01:43, 01:54N | 24 |
| DRB4*01:38N, 01:40 | 22 |

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, may be weakly amplified.