# DRB4 (101.122-24/06, -24u/06u) 	Lot No: 1V5	Expiry Date: 2029-10-01

# Name:___________________

# Sample ID:_______________

# DNA Conc.(ng/ul):_________

# Test  Date: ______________

# Tested By: ______________

# Review Date:________________

# Reviewed By:________________

Interpretation:__________	                          Failed lanes: ___________                           Comments:________________

Gel Picture

## PHOTO DOCUMENT

Abbrevations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 2 has a tendency to give rise to primer oligomer formation.

Primer mix 32 contains a negative control, which will amplify a majority of the HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs, and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1DRB4 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.29.0, August 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following DRB4 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified DRB4 alleles | Other amplified DRB alleles |
| --- | --- | --- | --- |
| 6 | 115 bp 200 bp | *01:12 *01:04, 01:14N |  |
| 13 | 110 bp 140 bp 215 bp | *01:12, 01:39 *01:45 *01:08 |  |
| 15 | 190 bp 245 bp | *01:10, 01:30 *01:02?, 01:21 |  |
| 16 | 125 bp 200 bp 265 bp | *01:13 *01:57N *01:17 |  |
| 19 | 210 bp 230 bp | *01:27-01:29 *01:65N | DRB1*03:109, DRB1*12:64, DRB1*13:187, DRB1*15:93 |
| 20 | 225 bp 250 bp | *01:23, 01:27, 01:65N *01:22 | DRB1*03:109, DRB1*04:109, DRB1*12:64, DRB1*12:65, DRB1*13:187, DRB1*13:258, DRB1*15:42, DRB1*15:93 |
| 21 | 105 bp 220 bp 235 bp | *01:20 *01:42 *01:05?, 01:07:01?, 01:36 |  |
| 22 | 100 bp 230 bp | *01:33, 01:40 *01:38N |  |
| 23 | 105 bp 200 bp 240 bp | *01:24 *01:61:01N *01:37 |  |
| 24 | 75 bp 175 bp 240 bp | *01:32 *01:35, 01:43, 01:185 *01:54:01N-01:54:02N |  |
| 25 | 75 bp 160 bp | *01:44 *01:15, 01:35, 01:56N, 01:185 |  |
| 26 | 135 bp 160 bp | *01:25 *01:18, 01:34, 01:56N |  |
| 27 | 160 bp 210 bp | *01:19, 01:34 *01:42, 01:61:01N |  |
| 30 | 185 bp 220 bp | *01:57N *01:41 |  |

4The following DRB4 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| DRB4*01:08, 01:39 | 13 | DRB4*01:32, 01:43, 01:54:01N-01:54:02N | 24 |
| DRB4*01:20, 01:36 | 21 | DRB4*01:33, 01:38N, 01:40 | 22 |
| DRB4*01:24, 01:37 | 23 |

Abbrevations

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, may be weakly amplified.