Gel Documentation Form and Worksheet

DRB5*01:08N (101.812-12/12u)	                                 Lot: 2F5                                 	Expiry Date: 2019-10-01

Name:________________

Sample ID:_______________

DNA Conc.(ng/ul):________

Test Date: ________      _

Tested By: ____      _____

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                               Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

In primer mix 2 the positive control band may be weaker than for other DRB5*01:08N primer mixes.

Primer mix 3 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1DRB5 alleles listed on the IMGT/HLA web page 2016-October-14, release 3.26.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.