Gel Documentation Form and Worksheet

HLA-A low resolution screening 	Lot No: 7K3	Expiry Date: 2024-01-01

(101.403-48/12, -48u/12u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:__________	Failed lanes: ___________ 	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 may faintly amplify the A*30:04:01:01-30:04:01:02, 30:04:02-30:04:03 30:06, 30:09, 30:17, 30:29, 30:46, 30:77, 30:89-30:90, 30:99, 30:103, 30:105, 30:117, 30:139, 30:150, 30:160 alleles

Primer mix 9 may weakly amplify the A*34 alleles.

Primer mix 15 may give rise to a lower yield of HLA-specific PCR product than the other HLA-A low primer mixes.

Primer mix 22 might faintly amplify most A*11 alleles.

Primer mixes 10, 14, 20 and 23 have a tendency to giving rise to primer oligomer formation.

Primer mixes 15, 17 and 20 may have tendency of unspecific amplification.

Primer mix 24 contains a negative control, which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-A alleles listed on the IMGT/HLA web page 2019-October-17, release 3.38.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The serological reactivity of all HLA-A alleles is not known. In this table we use the expert-assigned serological grouping in Tissue Antigens (2009) 73:95-170 and the serological grouping of the sequence-defined allele.

4The HLA-A alleles will be grouped into their corresponding serological specificities, except that following alleles give rise to identical amplification patterns:

Alleles

A*01:26, 01:136, 01:192, A*11:94, 11:112, 11:211, 11:290, 11:326

A*01:28, 01:229, 01:299, A*11:282

A*01:43, A*11:271

A*03:215, 03:225, 03:249, 03:322, A*25:46

A*11:11, A*34:19

A*11:116, 11:140, 11:199:01-11:199:02, 11:222, A*66:23

A*23:14:01-23:14:02, A*24:24, 24:71, 24:315, 24:392

A*23:66, 23:99, 24:14:01:01-24:15, 24:51-24:53, 24:57, 24:64, 24:94, 24:114, 24:138, 24:188, 24:222N, 24:228, 24:291, 24:296, 24:304, 24:316, 24:324, 24:412, C*04:01:03

A*26:01:63, 26:57, A*66:12, 66:15

A*30:01:01:01-30:04:03, 30:06-30:07, 30:09-30:20, 30:22-30:54, 30:56-30:88, 30:90-30:124, 30:126-30:139, 30:141-30:149, 30:151-30:161, B*07:260

A*31:08, A*33:53

A*31:109, A*33:125, 33:131

Abbreviations

w: might be weakly amplified.