HLA-A*11 (101.416-12/04, -12u/04u) 	Lot No: 3R4	Expiry Date: 2026-11-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                             Failed lanes: ____________                             Comments:________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 9, 16, 23, 36, 51, 58 and 63 may have tendencies of unspecific amplifications.

Primer mixes 7, 14, 21, 24, 25 and 55 may give rise to a lower yield of HLA-specific PCR product than the other A*11 primer mixes.

Primer mixes 9, 13, 16, 43, 50 and 60 may have a tendency of giving rise to primer oligomer formation.

Primer mixes 31 and 43 may give rise to a long unspecific amplification product of about 800 bp. This band should be disregarded when interpreting the A*11 SSP typings.

Primer mix 64 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-A*11 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.25.0, July 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3 The following HLA-A*11 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*11 alleles | Other amplified HLA-A alleles |
| --- | --- | --- | --- |
| 2 | 270 bp 305 bp | *11:02:01:01-11:02:07, 11:14, 11:16, 11:38, 11:57, 11:77, 11:101, 11:110, 11:113, 11:140, 11:147, 11:176, 11:201, 11:255-11:256Q, 11:262, 11:281, 11:297, 11:308, 11:346, 11:372, 11:411 *11:272Q |  |
| 5 | 180 bp 210 bp | *11:05, 11:248 *11:110 | *02:294, 30:187, 32:54, 32:142, 33:204, 66:08, 68:206, B*44:02:62 |
| 6 | 190 bp 550 bp | *11:07:01, 11:22 *11:06, 11:18, 11:312 | *01:79w *01:104w, 01:134w, 01:229w, 01:405w, 02:38, 02:101:01, 02:135, 02:154, 02:447, 02:543, 02:838, 02:848w, 02:883w, 02:1002, 25:11, 26:03:01:01-26:03:01:02, 26:06, 26:21, 26:30, 26:36, 26:92, 26:111, 26:146, 26:177, 26:193 |
| 8 | 100 bp 175 bp | *11:09, 11:34 *11:196, 11:201 | *01:205, 01:364, 02:911, 02:914, 24:377, 26:75 *01:129, 02:221, 23:41, 24:286, 29:15, 30:162, 31:78, 66:44 |
| 10 | 120 bp 280 bp | *11:10 *11:43, 11:385 | *01:51, 02:644, 02:741, 25:01:01:01-25:12N, 25:14-25:38, 25:40-25:45, 25:47-25:58, 25:60-25:63, 25:65-25:76, 25:78-25:80, 26:01:01:01-26:01:51, 26:01:53-26:06, 26:08:01:01-26:18, 26:20:01-26:29, 26:32-26:43:02, 26:45-26:64, 26:66-26:71N, 26:73-26:75, 26:77-26:91, 26:93-26:113, 26:115-26:131, 26:133-26:169, 26:171-26:183, 26:185-26:192, 26:195-26:223, 33:13, 33:184, 34:01:01:01-34:08, 34:10N-34:18, 34:20-34:22, 34:25-34:30N, 66:01:01:01-66:01:07, 66:04-66:11, 66:13-66:15, 66:17-66:20, 66:22, 66:24, 66:27N, 66:29-66:33, 66:35-66:38, 66:40-66:41, 66:44-66:46, 68:227, 69:02, B*07:102, B*08:18, B*15:357, B*18:115, B*35:178, B*35:282, B*35:316, B*38:79, B*51:241, B*73:01:01:01-73:03, C*06:147 *01:143, 26:35, 26:177, 26:207, 29:66, 31:03, 31:164, 33:13, 33:184, C*07:449 |
| 15 | 100 bp 215 bp | *11:12:01-11:12:02 *11:24:02-11:25:01, 11:31, 11:35, 11:158 | *01:194, 02:34w-02:35:03w, 02:56:01-02:56:02, 02:62, 02:78, 02:103, 02:580w, 02:907w, 03:01:01:01-03:01:09, 03:01:11-03:07:02, 03:09-03:22:02, 03:23:01w-03:23:02w, 03:24-03:28, 03:31, 03:33, 03:35, 03:37-03:40, 03:42-03:61, 03:64-03:87, 03:90-03:106, 03:109-03:112, 03:113w, 03:114-03:151, 03:153-03:156, 03:157:01w-03:157:02w, 03:158-03:171, 03:173-03:175, 03:177-03:193, 03:195-03:197:02N, 03:199, 03:201-03:259, 03:261-03:262N, 03:264-03:272, 03:274-03:381N, 03:383-03:397, 03:399-03:412, 03:414-03:446, 03:448N, 24:24, 24:290, 29:01:01:01-29:02:16, 29:02:17:01w-29:02:17:02w, 29:02:18-29:03, 29:04w, 29:05-29:18, 29:21-29:29, 29:31-29:33, 29:35-29:47, 29:49-29:65, 29:67-29:73, 29:75-29:97, 29:99-29:105, 29:107-29:140, 29:142-29:172, 30:01:01:01-30:01:21, 30:08:01-30:08:02, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30, 30:35-30:43, 30:48-30:49, 30:52-30:56, 30:58-30:59N, 30:60w, 30:62-30:63, 30:65, 30:71-30:75, 30:78N-30:79, 30:81-30:83, 30:86-30:89, 30:91-30:98, 30:102, 30:104, 30:106, 30:109-30:116, 30:118, 30:120, 30:122-30:123N, 30:126, 30:128-30:132N, 30:134-30:138, 30:141-30:143, 30:145N, 30:147-30:148, 30:154, 30:159, 30:161, 30:163-30:165, 30:167-30:168, 30:170-30:173, 30:176, 30:178N-30:181, 30:183-30:187, 30:190-30:192, 30:194-30:197N, 30:199, 30:201-30:203, 31:89, 31:115, 32:17, 33:125, 33:131, 34:09, 66:02:01:01-66:02:01:03, 66:12, 66:16, 66:21, 66:25-66:26Q, 66:34, 66:43, 68:01:01:01-68:01:17, 68:01:19-68:01:56, 68:01:58-68:02:19, 68:02:21-68:02:22, 68:06-68:14, 68:16-68:19, 68:21:01-68:23, 68:25-68:30, 68:32-68:39, 68:41-68:71, 68:73-68:84, 68:86-68:89, 68:91-68:92, 68:94N-68:96, 68:98-68:108, 68:110-68:122, 68:124-68:126, 68:127w, 68:128-68:179, 68:181N-68:205N, 68:207-68:211, 68:213N-68:226, 68:228-68:248, 68:250-68:254, 68:256-68:294, 69:01:01:01-69:01:04, 69:03-69:07, 69:09, 74:13, 74:42 *01:06, 01:200, 01:244, 02:156, 02:338, 02:952, 03:01:01:01-03:01:01:115, 03:01:03:01-03:01:05, 03:01:07-03:01:48, 03:01:50-03:01:114, 03:03N-03:05:01, 03:07:01:01-03:07:01:02, 03:08:01:01-03:09, 03:11N-03:17:02, 03:19-03:30, 03:33-03:49, 03:51:01-03:64, 03:67-03:68N, 03:70-03:72, 03:74, 03:77-03:81, 03:83-03:89:02, 03:91N-03:94, 03:96-03:105, 03:107-03:112, 03:114-03:134, 03:136-03:149, 03:151-03:152, 03:154:01-03:159, 03:161N-03:166, 03:168N-03:176, 03:178N-03:186, 03:188-03:193, 03:195-03:197:02N, 03:199, 03:201-03:203, 03:205-03:207, 03:209-03:214, 03:216-03:217, 03:219-03:222, 03:224, 03:226-03:228, 03:230, 03:231:02-03:235, 03:238-03:241, 03:243, 03:245-03:248, 03:250-03:252, 03:254-03:259, 03:261-03:265, 03:267-03:273, 03:276-03:280:01, 03:282-03:284N, 03:286N-03:287, 03:289:01-03:308, 03:310-03:313, 03:315-03:317, 03:320-03:321, 03:323N-03:332, 03:334N-03:342N, 03:344-03:346, 03:349-03:355, 03:357N-03:376, 03:378-03:384, 03:386-03:413, 03:415, 03:417-03:448N, 30:01:01:01-30:02:04, 30:02:06-30:03, 30:07-30:16, 30:18-30:20, 30:22-30:27N, 30:30-30:45, 30:48-30:51, 30:53-30:71, 30:73N-30:76N, 30:78N-30:79, 30:81-30:89, 30:91-30:98, 30:100-30:102, 30:104, 30:106-30:112, 30:114-30:116, 30:118-30:130N, 30:132N-30:138, 30:140-30:149, 30:151-30:154, 30:156-30:163, 30:165-30:179, 30:181-30:203, 31:03-31:04:02, 31:176, 31:179, 32:04, 33:49, 33:144, 34:02:01:01-34:02:01:08, 34:02:03-34:04, 34:07-34:10N, 34:13, 34:15, 34:20-34:22, 34:24-34:26N, 34:28-34:30N, 74:23 |
| 16 | 95 bp 210 bp | *11:13 *11:07:01, 11:26, 11:54:01, 11:117 | *01:140:02w, 01:221w, 02:38, 02:101:01, 02:154, 02:447, 02:543, 02:838, 02:848w, 02:883w, 02:1002, 03:18w, 03:135w, 23:10:01w, 23:110, 24:10:01:01-24:10:02, 24:46w, 24:210, 24:300, 24:340, 24:494-24:495, 24:506, 24:528w, 25:10, 25:43, 26:176, 26:204:01:01-26:204:01:02, 29:156, 30:117, 31:24, 31:200w, 33:61, 33:190, 68:134, 69:09w |
| 18 | 225 bp 240 bp | *11:47, 11:221 *11:15:01, 11:170Q | *01:279, 03:289:02, 30:39:01 |
| 19 | 100 bp 175 bp 265 bp | *11:134 *11:42 *11:46, 11:215N | *68:147 B*39:75, B*40:268 *66:27N, 68:242, B*07:111N, B*37:64 |
| 20 | 180 bp 235 bp | *11:42, 11:131 *11:17, 11:40, 11:223, 11:271 | B*39:75, B*40:268 *01:43, 25:59, 26:01:01:01-26:01:29, 26:01:31-26:01:53, 26:01:55-26:01:62, 26:01:64-26:02:02, 26:04, 26:07:01-26:15, 26:17-26:19, 26:22-26:29, 26:31-26:34, 26:36-26:43:02, 26:45-26:56, 26:58-26:77, 26:79-26:91, 26:93-26:110, 26:112:01-26:136, 26:138-26:176, 26:178-26:192, 26:194-26:206:02N, 26:208-26:223, 43:01-43:03, 68:227 |
| 22 | 150 bp 230 bp | *11:37 *11:06, 11:18, 11:312 | B*27:87 *02:05:01:01-02:06:04, 02:06:06-02:06:21, 02:06:23-02:06:30, 02:08:01-02:08:02, 02:10, 02:14, 02:21, 02:28, 02:41, 02:44, 02:51, 02:54, 02:57, 02:61, 02:72, 02:79:01-02:79:02, 02:84, 02:91, 02:99:01, 02:106, 02:108, 02:122, 02:126-02:127, 02:137, 02:142-02:144, 02:154, 02:169-02:170, 02:172, 02:178-02:180, 02:229, 02:232, 02:244, 02:248, 02:259, 02:271, 02:278, 02:286, 02:290, 02:295, 02:300, 02:310, 02:324, 02:328, 02:330, 02:333, 02:337, 02:344, 02:355, 02:358-02:359, 02:373N, 02:376, 02:382, 02:387, 02:398, 02:404-02:405, 02:409, 02:413, 02:415, 02:419:01-02:421, 02:428, 02:433, 02:438, 02:453-02:454, 02:465, 02:470-02:476N, 02:484, 02:489, 02:493, 02:495-02:496, 02:506N-02:507, 02:527, 02:532, 02:546, 02:550, 02:558, 02:572, 02:577, 02:591:01-02:593, 02:602, 02:623, 02:625-02:626, 02:630-02:631, 02:646, 02:655, 02:670, 02:672Q, 02:676, 02:697-02:698, 02:718, 02:723, 02:725, 02:727, 02:731, 02:737, 02:759-02:760N, 02:766-02:768, 02:778, 02:790-02:791N, 02:800-02:801, 02:805Q, 02:807N, 02:813-02:814, 02:817-02:818, 02:837, 02:843, 02:851, 02:863, 02:877-02:878, 02:886, 02:888, 02:898, 02:921:01-02:922, 02:933, 02:936N, 02:951, 02:954-02:955, 02:961, 02:963, 02:990, 02:994, 02:999N, 02:1002-02:1003, 02:1019-02:1020, 02:1025, 02:1039, 02:1048, 02:1050, 02:1058-02:1059N, 26:03:01:01-26:03:01:02, 26:06, 26:21, 26:30, 26:78, 26:92, 26:111, 26:193, 68:15 |
| 24 | 295 bp 465 bp | *11:48 *11:21N | *01:41 *01:04:01:01N-01:04:01:02N, 03:21N, 23:07N, 24:11N, 30:132N |
| 25 | 190 bp 225 bp | *11:135 *11:24:01, 11:25:02, 11:47, 11:219, 11:221 | *03:210, 68:160 *01:304, 03:01:02, 03:05:02, 03:396, 30:02:05, 34:02:02, 68:43:01, 80:01:01:01-80:09N |
| 26 | 305 bp 370 bp | *11:26, 11:118, 11:372 *11:41 | *01:03:01:01-01:03:03, 01:192, 01:287N, 01:307, 01:315, 01:350, 01:355N, 26:32, 26:70, 26:176, 29:66, 31:164, 32:62, 33:13, 33:184, 36:03, 68:227, 74:10, 74:30, B*57:102, C*06:72 *01:223, 26:125, 34:12, 66:30, C*04:210, C*04:237, C*06:90, C*07:277, C*07:394, C*07:695:01:01-07:695:01:02 |
| 27 | 160 bp 205 bp 260 bp | *11:208:01N *11:17, 11:155, 11:226, 11:271, 11:326 *11:27, 11:38-11:39, 11:55, 11:94, 11:209, 11:271, 11:326 | *26:71N, 68:94N *01:01:01:01-01:01:11, 01:01:13-01:01:15, 01:01:17-01:01:54, 01:01:56-01:01:57, 01:01:59-01:01:109, 01:01:111-01:01:131, 01:01:133-01:02:02, 01:04:01:01N-01:04:01:02N, 01:07-01:09:02, 01:11N, 01:13-01:18N, 01:22N-01:25, 01:27N-01:33, 01:35-01:40, 01:42-01:62, 01:64-01:65, 01:67:01-01:72, 01:74-01:88:03, 01:90-01:118, 01:120-01:125, 01:127-01:129, 01:131-01:135, 01:137-01:159Q, 01:161-01:191, 01:193-01:195, 01:197-01:199, 01:201-01:243, 01:245-01:254, 01:256-01:286, 01:288-01:300, 01:302-01:306, 01:308N-01:314, 01:316-01:339, 01:341-01:343, 01:345-01:349, 01:351-01:354, 01:356-01:359, 01:361N-01:379N, 01:382-01:412, 01:414-01:419, 03:18, 03:187, 25:59, 26:62, 26:72, 36:01:01:01-36:02, 36:04-36:12 *01:01:01:01-01:01:57, 01:01:59-01:01:65, 01:01:67-01:02:02, 01:04:01:01N-01:04:01:02N, 01:06-01:19, 01:21-01:33, 01:35-01:40, 01:42-01:62, 01:64-01:65, 01:67:01-01:71, 01:74-01:88:03, 01:90-01:101, 01:103-01:129, 01:131-01:166, 01:168-01:191, 01:193-01:199, 01:201-01:243, 01:245-01:254, 01:256-01:266:02, 01:268-01:283, 01:285N-01:286, 01:288-01:300, 01:302-01:306, 01:308N-01:314, 01:316-01:339, 01:341-01:349, 01:351-01:354, 01:356-01:379N, 01:381-01:389, 01:391-01:417N, 01:419, 03:18, 03:97, 03:122, 03:135, 03:167, 24:92, 24:458, 24:551, 24:557, 25:59, 30:75, 80:01:01:01-80:09N |
| 28 | 140 bp 240 bp 280 bp | *11:80 *11:15:02, 11:49, 11:170Q *11:385 | *03:289:01, 30:39:02, C*06:219, C*07:541, C*07:816 *26:35 |
| 30 | 140 bp 190 bp 235 bp 270 bp | *11:80 *11:131, 11:156 *11:45, 11:50Q, 11:182Q *11:29, 11:55, 11:215N | *66:11 *66:27N, B*07:111N |
| 31 | 85 bp 230 bp 285 bp | *11:256Q *11:49 *11:30, 11:43 | C*06:219, C*07:541, C*07:816 *01:101, 01:143, 03:87, 26:177, 26:207, 29:66, 30:92, 31:03, 31:164, 33:13, 33:184, C*07:449 |
| 32 | 205 bp 295 bp | *11:31, 11:35, 11:158, 11:183 *11:32:01-11:32:02, 11:50Q, 11:147 | *01:21, 01:126, 01:200, 01:244, 02:156, 02:338, 02:952, 03:07:01:01-03:07:01:02, 03:42, 03:133, 03:171, 03:332, 03:373, 03:442, 30:04:01:01-30:04:04, 30:06, 30:09:01:01-30:09:01:02, 30:17, 30:29, 30:46, 30:77, 30:90, 30:103, 30:105, 30:117, 30:139, 30:150, 30:155, 30:183, 31:03-31:04:02, 31:176, 31:179, 33:49, 33:144, 68:103:01-68:103:02, 74:23 *01:115, 03:154:01-03:154:02, 30:51, 30:106 |
| 33 | 110 bp 280 bp 305 bp | *11:61 *11:74 *11:56 | C*07:221 |
| 34 | 85 bp 150 bp 190 bp 265 bp | *11:58 *11:208:01N, 11:251N *11:67, 11:156 *11:46 | *26:119 *26:71N, 68:94N B*27:237 *68:242, B*37:64 |
| 35 | 95 bp 290 bp 450 bp | *11:62, 11:178, 11:190 *11:68 *11:62 | *01:95, 01:125, 01:289, 03:219, 23:09, 23:28, 24:77, 24:191, 31:07, 31:10, 32:03:01:01-32:03:01:02, B*15:95 *01:322 *01:125 |
| 36 | 65 bp 220 bp 380 bp | *11:65:01-11:65:02 *11:193, 11:210N *11:64 | *03:174, B*44:36 *01:306, 24:264, 24:441 *03:438, 31:65, 36:11, 68:165 |
| 37 | 105 bp 185 bp 265 bp 290 bp | *11:66 *11:57, 11:158, 11:359 *11:51 *11:72 | *02:156, 02:338, 02:952, 02:961, 03:171, 03:271, 03:373, 03:428, 03:442, 68:103:01-68:103:02 *01:352, 03:287 |
| 38 | 95 bp 130 bp 225 bp | *11:105, 11:189 *11:75, 11:251N *11:78N | *02:484, 26:77, 66:13, B*39:110 *25:73, B*07:117, B*18:215, B*38:100 |
| 39 | 205 bp 255 bp 280 bp | *11:166 *11:235Q *11:52Q, 11:74 | *01:203, 80:01:01:01-80:09N, C*04:129, C*05:25, C*05:42, C*06:05, C*06:67, C*07:101, C*07:148, C*07:161, C*07:583, C*08:28, C*08:137, C*08:168 |
| 41 | 90 bp 215 bp | *11:59 *11:01:57, 11:31, 11:35, 11:60, 11:158, 11:183, 11:209, 11:366 | *01:376, 03:191, 03:236 *01:12, 01:19, 01:21, 01:126, 01:200, 01:244, 01:360, 02:156, 02:338, 02:952, 03:02:01:01-03:02:06, 03:07:01:01-03:07:02, 03:10, 03:31-03:32, 03:42, 03:73, 03:76, 03:82, 03:90, 03:106, 03:113, 03:133, 03:160, 03:171, 03:198, 03:218, 03:223, 03:236-03:237, 03:242, 03:244, 03:253, 03:274-03:275N, 03:281, 03:285, 03:309, 03:314, 03:318-03:319, 03:332-03:333, 03:348, 03:356, 03:373, 03:385, 03:442, 24:92, 24:458, 24:551, 24:557, 30:04:01:01w-30:04:04w, 30:06w, 30:09:01:01-30:09:01:02, 30:17w, 30:29w, 30:46w, 30:77w, 30:90w, 30:99w, 30:103w, 30:105w, 30:117w, 30:139w, 30:150w, 30:155w, 30:183, 31:03-31:04:02, 31:176, 31:179, 33:49, 33:144, 68:103:01w-68:103:02w, 74:23 |
| 42 | 95 bp 175 bp 235 bp 560 bp | *11:134, 11:189 *11:63 *11:287N *11:69N | *02:484, 26:77, 68:147 *68:269N *01:56N, 02:989N |
| 43 | 265 bp 305 bp 445 bp | *11:51 *11:272Q *11:70:01-11:70:02, 11:121 | *01:83:01-01:83:02, 01:405, 02:65, 02:80, 02:114, 02:117, 02:152, 02:246, 02:279, 02:298, 02:304, 02:406, 02:527, 02:582, 02:662, 02:872, 02:927, 02:985, 03:23:01-03:23:02, 03:89:01-03:89:02, 03:198, 29:48, 31:109, 32:93, 33:08-33:09, 68:30, 68:75:01-68:75:02, 74:04, 74:21, B*15:462, B*57:04:01-57:04:03, B*57:32, B*58:114 |
| 44 | 145 bp 215 bp | *11:76 *11:106 | *02:1026, 03:354 |
| 45 | 210 bp 235 bp 340 bp 400 bp | *11:79 *11:219 *11:129, 11:163 *11:210N | *03:396, 68:43:01 |
| 49 | 180 bp 230 bp | *11:16, 11:35, 11:57, 11:73, 11:109N, 11:158 *11:23, 11:50Q, 11:182Q, 11:346 | *02:156, 02:338, 02:952, 02:961, 03:123:01-03:123:02, 03:171, 03:428, 03:442, 68:103:01-68:103:02 *03:229 |
| 50 | 210 bp 310 bp 400 bp | *11:142 *11:86 *11:210N | *03:304, 30:181 *01:246, 03:218 |
| 51 | 170 bp 285 bp | *11:77, 11:126:01:01-11:126:01:02, 11:348 *11:172 | *03:26, 03:318 *01:37:01:01-01:37:01:02, 03:360, 30:156, 30:170 |
| 52 | 90 bp 230 bp 545 bp | *11:34 *11:81 *11:108 | *01:205, 26:75 *01:45, 02:453, 02:557, 02:690, 03:78, 23:92, 23:96, 24:271, 30:201, 33:151, 36:12, 66:17 |
| 53 | 160 bp 195 bp | *11:154 *11:100, 11:175 | *24:575 *01:109, 03:182, 30:200 |
| 54 | 195 bp 270 bp | *11:109N, 11:166, 11:238N *11:89, 11:153:01- 11:153:02, 11:351Q | *01:203, 80:01:01:01-80:09N, C*04:129, C*05:25, C*05:42, C*06:05, C*06:67, C*07:101, C*07:148, C*07:161, C*07:583, C*08:28, C*08:137, C*08:168 *01:86, 03:04:01-03:04:03, 03:345:01:01-03:345:01:02, 30:34 |
| 55 | 115 bp 170 bp 235 bp | *11:102, 11:128 *11:194 *11:90 | *01:148, 01:177, 03:327, 03:368, 23:88, 24:249, 24:544, 30:114, 30:189 *03:208, 80:01:01:01-80:02, 80:04-80:09N |
| 56 | 65 bp 185 bp 230 bp | *11:94, 11:112, 11:211, 11:290 *11:238N *11:99N | *01:10, 01:21, 01:26, 01:192, 02:848, 03:135, B*15:90w, B*45:05w |
| 58 | 100 bp 140 bp 245 bp | *11:105, 11:115N *11:251N *11:180N | *66:13, B*39:110 |
| 59 | 165 bp 340 bp 370 bp | *11:174 *11:163 *11:124 | *01:419 |
| 60 | 105 bp 275 bp | *11:128, 11:137:01N-11:137:02N *11:127N, 11:153:01-11:153:02, 11:351Q | *01:148, 01:268, 03:11N, 03:327, 30:189 *01:86, 03:04:01-03:04:03, 03:345:01:01-03:345:01:02, 30:34 |
| 61 | 90 bp 130 bp 265 bp | *11:34 *11:03:01:01, 11:175, 11:348, 11:381 *11:54:01 | *01:205, 26:75 *02:393, 02:489, 02:541, 02:589, 02:592, 02:838, 03:135, 03:225, 03:280:01-03:280:02, 24:177, 24:289, 26:28, 26:52, 29:83, 29:153, 31:97, 31:110, 32:145, 68:183, B*15:173, B*15:477, B*50:11, C*03:299, C*12:74, C*12:197 *01:140:02, 02:784, 03:145:02, 24:561, 33:70 |
| 63 | 145 bp 170 bp 275 bp | *11:171 *11:154, 11:194 *11:120 | *23:121 *24:575 |

4The following HLA-A*11 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*11:01:57, 11:59 | 41 | A*11:79, 11:129 | 45 |
| A*11:09, 11:196 | 8 | A*11:81, 11:108 | 52 |
| A*11:13, 11:117 | 16 | A*11:86, 11:142 | 50 |
| A*11:58, 11:67 | 34 | A*11:99N, 11:112 | 56 |
| A*11:62, 11:68 | 35 | A*11:115N, 11:180N | 58 |
| A*11:63, 11:69N | 42 | A*11:120, 11:171 | 63 |
| A*11:64-11:65:02, 11:193 | 36 | A*11:124, 11:174 | 59 |
| A*11:66, 11:72, 11:359 | 37 | A*11:127N, 11:137:01N-11:137:02N | 60 |

5The HLA-*11 primer set cannot separate the following alleles. These alleles can be distinguished by the HLA-A low resolution kit.

Alleles

A*11:250, 24:555

Abbreviations

w: may be weakly amplified.