HLA-A*23	Lot No: 8R3	Expiry Date: 2027-03-01

(101.421-06/06u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 20, 22, 27 and 37 may give rise to a lower yield of HLA-specific PCR product than the other A*23 primer mixes.

Primer mixes 8 may have tendency of unspecific amplification.

Primer mixes 19 and 23 have tendencies to giving rise to primer oligomer formation.

Primer mixes 38 contains a negative control, which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs

1HLA-A*23 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.30.0, October 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*23 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*23 alleles | Other amplified HLA Class I alleles |
| --- | --- | --- | --- |
| 3 | 125 bp 270 bp | *23:03:01-23:03:02:02, 23:70, 23:83 *23:25 | *01:301Q, 03:347, 11:139, 24:21:01, 24:21:03, 24:208:01-24:208:02:02, 24:489, 24:499, 24:562, 29:07, 29:49, 31:29, 32:170, 33:187, B*18:27 *24:313:02 |
| 7 | 95 bp 145 bp 205 bp | *23:08N *23:39 *23:22 | *02:82N, 02:773N *30:22, 30:104 |
| 8 | 140 bp 170 bp 215 bp | *23:26, 23:39 *23:48 *23:09 | *30:22, 30:104 *24:403 *01:02:01:01-01:02:02, 01:20, 01:188, 01:190, 01:307, 01:412, 01:420N, 24:129 |
| 10 | 135 bp 240 bp | *23:23 *23:10:01, 23:43, 23:110w | *24:562, B*18:27 *01:301Q, 11:139w, 24:10:01:01w-24:10:02w, 24:46, 24:210w, 24:300w, 24:340w, 24:494w-24:495w, 24:506w, 24:528 |
| 11 | 200 bp 270 bp | *23:11N *23:32 | *24:586N B*51:293 |
| 13 | 90 bp 210 bp | *23:30 *23:02, 23:24, 23:66 | *24:531 *02:680, 02:963, 24:06, 24:87, 24:138, 24:167, 24:285, 24:289, 24:339, 24:381 |
| 14 | 85 bp 190 bp 245 bp | *23:53, 23:70 *23:68 *23:04, 23:83, 23:110 | *01:301Q, 03:347, 11:139, 24:17:01:01-24:17:01:02, 24:41, 24:208:01-24:208:02:02, 24:488, 24:499, 24:503, 24:535, 29:07, 29:49 *02:17:02:01-02:17:04, 02:108, 02:110, 02:268, 02:300, 02:303, 02:617, 02:657, 02:680, 02:963, 02:1054, 03:347, 11:139, 24:03:01:01-24:03:04, 24:10:01:01-24:10:02, 24:18, 24:22, 24:33, 24:94, 24:125, 24:138, 24:167, 24:204, 24:207:01-24:207:02, 24:210, 24:289, 24:299-24:300, 24:315, 24:339-24:340, 24:374, 24:387, 24:441, 24:459:01-24:459:02, 24:461, 24:483, 24:488, 24:494-24:495, 24:506, 24:515, 24:524, 24:527, 24:540, 24:563, 24:570, 29:07, 29:49, 31:29, 32:170, 33:187, B*18:27 |
| 15 | 210 bp 290 bp | *23:01:16, 23:14:01, 23:104 *23:47 | *24:13:02, 24:207:02, 24:315, 24:569, B*18:27 *24:234, 24:339, 24:347:02, 24:459:02 |
| 16 | 175 bp 205 bp | *23:14:01-23:14:02, 23:104 *23:105 | *01:301Q, 02:17:02:01w-02:17:04w, 02:804, 03:347, 11:139, 24:02:01:01-24:04, 24:06-24:11N, 24:13:01-24:13:02, 24:17:01:01-24:23, 24:25-24:50, 24:54-24:56:02, 24:58-24:63, 24:66-24:91, 24:93, 24:95-24:113, 24:115-24:129, 24:131-24:137, 24:139-24:167, 24:169-24:187, 24:189-24:193, 24:195-24:198, 24:200-24:210, 24:212-24:221, 24:223-24:227, 24:229-24:290, 24:292, 24:294Q-24:295, 24:297-24:303N, 24:305-24:315, 24:317-24:318, 24:320-24:323N, 24:325-24:341, 24:343, 24:345-24:391, 24:393-24:394, 24:396N-24:407, 24:409-24:411, 24:413-24:457, 24:459:01-24:470, 24:472-24:480, 24:482-24:514N, 24:516-24:531, 24:533-24:550, 24:552-24:554, 24:556N, 24:558-24:573, 24:575-24:588, 33:19 *02:804, 11:139, 24:02:01:01-24:02:15, 24:02:17-24:05:02, 24:07:01:01-24:11N, 24:17:01:01-24:17:01:02, 24:19-24:21:03, 24:23-24:50, 24:55-24:56:02, 24:58-24:63, 24:66-24:86N, 24:88-24:90:02N, 24:93, 24:95-24:106, 24:108-24:113, 24:115-24:132N, 24:134-24:137, 24:139-24:166, 24:168-24:187, 24:189-24:206, 24:208:01-24:210, 24:212-24:221, 24:223-24:226:02, 24:229-24:284, 24:286-24:288, 24:290, 24:292-24:295, 24:297-24:298, 24:300-24:303N, 24:305-24:314, 24:317-24:323N, 24:325-24:326, 24:328-24:338, 24:340-24:354, 24:356-24:380, 24:382-24:411, 24:413-24:457, 24:459:01-24:470, 24:472-24:477, 24:479Q-24:480, 24:482-24:514N, 24:516-24:550, 24:552-24:554, 24:556N, 24:558-24:568N, 24:570-24:573, 24:575-24:589, 26:16, 30:163, 33:19, 33:119, 68:45, 68:117 |
| 17 | 125 bp 225 bp | *23:33 *23:13 | *24:386, 30:102 *03:72, 11:88, 24:07:01:01-24:07:04, 24:19, 24:24, 24:131, 24:288, 24:290, 24:294Q, 24:339, 24:347:01-24:347:02, 24:387, 24:406, 24:453, 24:457, 24:477, 24:489, 24:510, 24:528, 24:541, 24:544, 24:566, 24:569, 24:574, 29:37, 29:56, 30:01:01:01-30:01:21, 30:11:01-30:11:02, 30:14L-30:20, 30:23-30:26, 30:30-30:31, 30:35-30:43, 30:48-30:49, 30:52-30:54, 30:56, 30:58-30:60, 30:62-30:63, 30:65, 30:72-30:75, 30:78N, 30:81-30:83, 30:86-30:89, 30:91-30:98, 30:102, 30:104, 30:106, 30:109-30:116, 30:118, 30:120, 30:122-30:123N, 30:125-30:126, 30:128-30:132N, 30:134-30:138, 30:140-30:143, 30:145N, 30:147-30:148, 30:154, 30:159, 30:161, 30:163-30:165, 30:167-30:168, 30:170-30:173, 30:176, 30:178N-30:181, 30:183-30:185, 30:187, 30:190-30:192, 30:194-30:197N, 30:199, 30:201-30:203, 30:205, 68:45, 68:117 |
| 19 | 120 bp 195 bp | *23:15 *23:46 | *24:66, 24:308, 30:75 |
| 20 | 130 bp 195 bp 230 bp 270 bp | *23:29 *23:46 *23:16 *23:32 | *24:128 *24:66, 24:308, 30:75 *24:297 B*51:293 |
| 22 | 90 bp 290 bp | *23:31, 23:45, 23:53, 23:70 *23:19N | *01:301Q, 03:347, 11:139, 24:17:01:01-24:17:01:02, 24:41, 24:62, 24:106, 24:208:01-24:208:02:02, 24:330, 24:488, 24:499, 24:503, 24:535, 29:07, 29:49, 31:29, 32:170, 33:187 |
| 23 | 80 bp 170 bp | *23:45 *23:20, 23:58 | *02:41, 02:80, 02:117, 02:289:01, 02:304, 02:454, 02:872, 24:62, 26:10, 31:67-31:68, 32:28, 32:66, 32:158, 33:32:01, 68:262 |
| 24 | 105 bp 180 bp 240 bp | *23:49 *23:21 *23:40 | *24:444, 30:06, C*04:361 C*04:344 *24:302 |
| 25 | 95 bp 205 bp | *23:41 *23:42 | *02:221, 29:15, 30:162, 31:78 |
| 27 | 85 bp 200 bp 285 bp | *23:53, 23:70 *23:34, 23:57 *23:35 | *01:301Q, 03:347, 11:139, 24:17:01:01-24:17:01:02, 24:41, 24:208:01-24:208:02:02, 24:488, 24:499, 24:503, 24:535, 29:07, 29:49 *02:17:02:01-02:17:04, 02:108, 02:110, 02:268, 02:300, 02:303, 02:617, 02:657, 02:1054, 24:13:01, 24:94, 24:188, 24:207:01, 24:228, 24:515 |
| 29 | 170 bp 200 bp 240 bp 290 bp | *23:48 *23:37:01-23:37:02 *23:40 *23:47 | *24:403 *24:273, 24:506 *24:302 *24:234, 24:339, 24:347:02, 24:459:02 |
| 30 | 110 bp 245 bp | *23:56 *23:38N | C*04:446 *24:61 |
| 34 | 90 bp 170 bp | *23:18 *23:58 | *24:267 |
| 35 | 105 bp 260 bp | *23:49 *23:27 | *24:444, 30:06, C*04:361 *24:255 |

4The following HLA-A*23 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*23:08N, 23:22 | 7 | A*23:16, 23:29 | 20 |
| A*23:09, 23:26 | 8 | A*23:38N, 23:56 | 30 |
| A*23:10:01, 23:23 | 10 | A*23:41, 23:42 | 25 |

Abbreviations

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.