# Gel Documentation Form and Worksheet

# HLA-A*24 Add-on (101.846-12/12u)	                           Lot: 3F2                                  Expiry Date:   2021-07-01

# Name:____________________

# Sample ID:________________

# DNA Conc.(ng/ul):___________

# Test  Date: _______________

# Tested By: _______________

# Review Date:_______________

# Reviewed By:_______________

# Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

## PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Primer mix 2 may give rise to a lower yield of HLA-specific PCR product than the other HLA-A*24 Add-on primer mixes.

Primer mix 4 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1Based on HLA-A alleles listed on the IMGT/HLA web page 2016-October-14, release 3.26.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

‘w’,  might be weakly amplified.

Changes in revision R01 compared to R00:

- The expiration date has been altered due to extension of shelf-life.