PAGE  
[image: image2.emf]Well No. 1 2 3

HLA-A allele

1,2

*24:09N w 2

*02:17:01-02:17:03 w

*11:139, 23:14:01-23:14:02, 24:02:01:01-24:08, 24:10:01-24:11N, 

24:13:01-24:13:02, 24:17-24:50, 24:54-24:56, 24:58-24:63, 24:66-

24:91, 24:93, 24:95-24:113, 24:115-24:137, 24:139-24:187, 24:189-

24:210, 24:212-24:221, 24:223-24:227, 24:229-24:270, 26:16, 

33:19, 68:45

2

Well No. 1 2 3

[image: image3.png]


                                                                                HLA-A*24:09N
July 2016
101.841-12/12u
Rev. No: 02                                                                 48V

Gel Documentation Form and Worksheet

HLA-A*24:09N (101.841-12/12u)
                                Lot: 48V                                 Expiry Date:   2016-August-01
Name:____________________

Sample ID:________________ 

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________
Reviewed By:_______________

Gel Picture
	PHOTO DOCUMENT


[image: image1.emf]Well No. 1 2 3

ICB 800 1070

105 175

205

Well No. 1 2 3

Specific 

Reaction

AmpS

NC


‘ICB’ Internal Control Band, 
‘AmpS’ Amplicon size
Interpretation:_______________
Failed lanes:    _________

Comments:    ___________________       
Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 3 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.


1HLA-A alleles listed on the IMGT/HLA web page 2014-January-17, release 3.15.0, www.ebi.ac.uk/imgt/hla.
2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

 ‘w’, may be weakly amplified.

Change in revision R01 compared to R00:

1. Primer mix 1 does not amplify the A*24:09N allele. This has been corrected in the Specificity and Interpretation Tables. Thus, this lot of the HLA-A*24:09N kit cannot distinguish the A*24:02:01:01-24:02:83 alleles and the A*24:09N allele.

Change in revision R02 compared to R01:

1. Primer mix 1 weakly amplifies the A*24:09N allele. This has been corrected in the Specificity and Interpretation Tables. 
Olerup SSP AB

For In Vitro Diagnostic Use 
Franzengatan 5


SE-112 51 Stockholm
Sweden


Page 2 of 2

