Gel Documentation Form and Worksheet

HLA-A*25 (101.423-06/06u) 	Lot No: 5H3	Expiry Date: 2021-09-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 1 may give rise to a PCR fragment approx. 500 bp in size. This band should be disregarded in the interpretation of HLA-A*25 subtypings.

Primer mixes 2, 10 and 11 may have tendencies of unspecific amplifications.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*25 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.23.0, January 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*25 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product |  | Amplified HLA-A*25 alleles | Other amplified HLA-A alleles |
| --- | --- | --- | --- | --- |
| 6 | 155 bp 200 bp |  | *25:19:01-25:19:02, 25:30 *25:03, 25:30 | *02:309, 02:454, 03:01:19, 03:103:02, 26:43:01-26:43:02, 26:112, 31:03-31:04, 31:123, 34:02:01-34:04, 34:06-34:09, 34:13, 34:15, 66:06, 74:01:03 *01:51, 02:55, 02:644, 03:24, 26:20, 32:15, 34:08, 68:71 |
| 8 | 100 bp 125 bp 165 bp 235 bp |  | *25:16 *25:05 *25:12N *25:27:01-25:27:02 | *02:454, 26:54 *26:130, 66:14 |
| 9 | 100 bp 135 bp 170 bp 230 bp |  | *25:16 *25:08 *25:42N *25:49N | *26:47, 66:18 |
| 10 | 170 bp 230 bp |  | *25:07 *25:27:01-25:27:02, 25:49N | *26:130, 66:14 |

4The HLA-A*25 primer set cannot separate the A*25:36, 25:43, 25:50, 25:52 and A*32:62 alleles. These alleles can be distinguished by the HLA-A low resolution kit and/or the HLA-A*32 high resolution kit.

‘w’, might be weakly amplified.