Gel Documentation Form and Worksheet

HLA-A*33 (101.432-12/12u)	Lot No: 7F1	Expiry Date: 2020-04-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:__________	Failed lanes: ___________ 	   Comments:_______________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 11, 13, 25 and 27 may have tendencies of unspecific amplifications.

Primer mixes 10 and 15 have a tendency to giving rise to primer oligomer formation.

Primer mixes 9 and 10 may give rise to a long unspecific amplification product of approximately 640 bp. This should be disregarded when interpreting the HLA-A*33 typings.

Primer mix 3 may give rise to a lower yield of HLA-specific PCR product than the other A*33 primer mixes.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*33 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.29.0, August 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*33 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*33 alleles | Other amplified HLA-A alleles |
| --- | --- | --- | --- |
| 6 | 105 bp 170 bp | *33:20 *33:05, 33:58 | *31:94 *29:12, 29:92 |
| 7 | 75 bp 105 bp 230 bp | *33:21, 33:53 *33:06 *33:51, 33:119 | *11:98, 11:250, 66:15, 68:04:01 |
| 8 | 160 bp 235 bp | *33:07 *33:24 | *02:444, 31:54 *02:243:01-02:243:02, 29:19, 29:48 |
| 9 | 150 bp 185 bp | *33:14, 33:22, 33:58 *33:08-33:09 | *01:20, 01:66, 01:130, 02:24:01-02:24:02, 02:137, 02:309, 02:503, 03:95, 26:22, 29:12, 29:22, 29:92, 30:47, 31:99, 66:09, C*02:74 *02:243:01-02:243:02, 29:48 |
| 10 | 135 bp 215 bp 285 bp | *33:22 *33:08, 33:53 *33:13 | *02:24:02, 29:22, 31:99 *02:243:01-02:243:02, 24:82, 29:48, 31:02, 31:07-31:08, 31:91, 31:109 *01:143, 11:43, 29:66, 31:03, C*07:449 |
| 12 | 105 bp 235 bp | *33:36, 33:80N *33:11, 33:125 | *11:137:01N, 26:60N *03:205, 11:43, 31:66, 31:89, 31:115, 68:29 |
| 13 | 95 bp 165 bp | *33:12 *33:25 |  |
| 14 | 120 bp 335 bp | *33:15, 33:84 *33:19 | *02:140, 26:99, 31:48 *02:10, 02:17:01-02:17:04, 02:39, 02:108, 02:110, 02:148, 02:242, 02:244, 02:268, 02:300, 02:303, 02:398, 02:453, 02:604, 02:617, 02:628, 02:630, 02:657, 02:680, 03:15, 03:19, 11:139, 24:04, 24:19, 24:28, 24:44, 24:89, 24:109, 24:129, 24:290, 29:07, 29:49, 31:29 |
| 15 | 140 bp 215 bp 255 bp | *33:16, 33:23 *33:65 *33:64 |  |
| 16 | 95 bp 210 bp 245 bp | *33:36 *33:21 *33:17 |  |
| 17 | 145 bp 215 bp | *33:18:01-33:18:02, 33:26 *33:65 | *03:42, 03:133, 23:53, 23:70, 29:01:01:01-29:04, 29:06-29:31, 29:34, 29:36-29:50, 29:52-29:70, 29:72-29:76, 29:78N, 29:81, 29:84-29:86, 29:88-29:103, 31:03-31:04, 31:06, 32:30:01-32:30:02, 32:32 |
| 18 | 100 bp 145 bp 240 bp | *33:27 *33:57 *33:82 |  |
| 20 | 90 bp 225 bp | *33:29 *33:39 | *02:480, 32:53 |
| 21 | 115 bp 245 bp | *33:30 *33:73N, 33:82, 33:129N | *02:342 |
| 22 | 120 bp 255 bp 545 bp | *33:31, 33:84 *33:44 *33:123N | *02:241, 02:684, 26:24 *01:166 |
| 24 | 95 bp 205 bp | *33:34 *33:54 | *03:01:18, 11:01:28, 11:01:77, 24:21:03, 24:208, 29:09, 29:33, 31:24, 32:33:01 *29:59 |
| 25 | 215 bp 245 bp | *33:69, 33:83, 33:109 *33:129N |  |
| 26 | 150 bp 190 bp | *33:77 *33:74N, 33:111 |  |
| 28 | 230 bp 545 bp | *33:70, 33:90 *33:123N | *01:84, 02:214, 03:145:02, 11:54 *01:166 |
| 30 | 120 bp 260 bp | *33:03:03Q *33:86 | *01:01:38L, 24:02:03Q *03:265, 32:51 |
| 31 | 155 bp 220 bp 260 bp | *33:96N *33:90 *33:68 | *01:52:01N, 26:107N *01:84, 02:214 *24:114, 29:61, 32:98 |

4The A*33:09 and the A*02:309, 26:22 and 66:09 alleles, the A*33:51, 33:119 and A*66:15 alleles give rise to identical amplification patterns with the HLA-A*33 subtyping kit. These alleles can be distinguished by e.g. the HLA-A low resolution kit and/or the HLA-A*02, HLA-A*26 and HLA-A*66 subtyping kits.

5The following HLA-A*33 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*33:03:03Q, 33:86 | 30 | A*33:29, 33:39 | 20 |
| A*33:08, 31:99 | 10 | A*33:30, 33:73N | 21 |
| A*33:11, 33:80N | 12 | A*33:31, 33:44 | 22 |
| A*33:16, 33:64 | 15 |  |  |