Gel Documentation Form and Worksheet

HLA-A*34 (101.425-06/06u) 	Lot No: 1H6	Expiry Date: 2021-05-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                             Failed lanes: ____________                             Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

In primer mix 8 the positive control band may be weaker than for other HLA-A*34 primer mixes.

Primer mix 4 may have tendencies of unspecific amplification.

Primer mix 7 may give rise to a long fragment of approx. 700 bp in some HLA-A alleles. This band should not be considered in the interpretation of HLA-A*34 typings.

Primer mix 12 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*34 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.33.0, July 2018.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*34 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*34 alleles | Other amplified HLA Class I alleles |
| --- | --- | --- | --- |
| 7 | 140 bp 215 bp | *34:06 *34:07 | *26:18, 26:112w, 31:03-31:04, 31:123, 74:01:03 *11:96 |
| 8 | 200 bp 360 bp | *34:08 *34:09 | *01:51, 02:55, 02:644, 03:24, 25:03, 25:30, 26:20, 32:15, 68:71 *02:135, 02:309, 02:454, 03:01:19, 03:103:02, 25:13, 26:30, 26:65, 31:04, 31:123, 66:02-66:03:01:02, 66:12, 66:16, 66:21, 66:25-66:26Q, 66:28N, 74:01:03 |

’w’, might be weakly amplified.