# Gel Documentation Form and Worksheet

# HLA-A*66 (101.427-06/06u) 	Lot No: 1K4	Expiry Date: 2023-09-01

# Name:___________________

# Sample ID:_______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:________________

# Reviewed By:________________

# Interpretation:___________	Failed lanes: _____________ 	 Comments:_________________

Gel Picture

## PHOTO DOCUMENT

Abrreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 1 may give rise to a PCR fragment approx. 500 bp in size. This band should be disregarded in the interpretation of HLA-A*66 subtypings.

In primer mix 9 the positive control band may be weaker than for other HLA-A*66 primer mixes.

Primer mix 14 may give rise to a lower yield of HLA-specific PCR product than the other A*66 primer mixes.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR products generated by the HGH positive control primer pair are 200 and 430 base pairs.

1HLA-A*66 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.26.0, October 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*66 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*66 alleles | Other amplified HLA-A alleles |
| --- | --- | --- | --- |
| 5 | 190 bp 225 bp | *66:27N | *01:134, 01:229, 02:01:09, 02:05:05, 02:06:07, 02:07:12, 02:50, 02:76:02, 02:122, 02:243:02-02:243:03, 02:528:02, 02:591:01, 03:09, 03:89:02, 03:108, 03:172, 03:198, 03:330N, 11:06, 11:18, 11:312, 24:28, 24:89, 24:379, 26:03:01, 26:06, 26:21, 26:30, 26:78, 26:92, 26:111, 26:177, 29:19, 29:48, 33:24, 68:05, 68:15, 68:20, 74:06, 74:21 *03:91N, 11:215N, 32:112N, 33:154N |
| 9 | 155 bp 235 bp | *66:06, 66:33 *66:14 | *02:309, 02:454, 03:01:19, 03:103:02, 25:19:01-25:19:02, 25:30, 26:43:01-26:43:02, 26:112, 31:03-31:04, 31:123, 34:02:01:01-34:04, 34:06-34:09, 34:13, 34:15, 34:20-34:22, 74:01:03 *25:27:01, 26:130 |
| 11 | 190 bp 235 bp | *66:04, 66:07, 66:10 *66:14 | *01:01:56, 25:36, 26:29, 26:49 *25:27:01, 26:130 |
| 12 | 95 bp 220 bp | *66:17 *66:08 | *02:453, 02:557, 02:690, 33:151 *02:294, 32:54, 34:01:01?-34:01:02?, 34:05?, 68:206 |
| 13 | 145 bp 305 bp 440 bp | *66:19, 66:22, 66:26Q *66:13 *66:11 | *01:01:56, 03:01:19, 03:103:02, 25:09, 26:14, 26:18, 26:28, 26:73, 26:112, 26:146, 31:03-31:04, 31:123, 34:03, 34:06, 34:17, 74:01:03 |
| 15 | 135 bp 190 bp | *66:16, 66:18, 66:22 *66:04, 66:07 | *03:01:19, 03:103:02, 25:08-25:09, 26:14, 26:18, 26:28, 26:47, 26:73, 26:112, 26:146, 31:03-31:04, 31:123, 34:03, 34:06, 34:17, 34:22, 74:01:03 |

4The following HLA-A*66 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| A*66:08, 66:17 | 12 |
| A*66:13, 66:19 | 13 |

Abbreviations

‘w’, might be weakly amplified.

‘?’, nucleotide sequence of the primer matching sequence is not known.