# Gel Documentation Form and Worksheet

# HLA-A*68 (101.418-12/04 -12u/04u) 	Lot No: 2K9	Expiry Date: 2023-10-01

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:_______________

Interpretation:___________	       Failed lanes: ____________	   Comments:_______________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 1, 17, 29 and 31 may give rise to a lower yield of HLA-specific PCR product than the other HLA-A*68 primer mixes.

Primer mixes 11, 20, 35, 38 and 47 may have tendencies of unspecific amplifications.

Primer mixes 29, 32, 35 and 38 have a tendency to giving rise to primer oligomer formation.

Primer mix 48 contains a negative control, which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair are 200 and 430 base pairs.

1HLA-A*68 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.25.0, July 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*68 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*68 alleles | Other amplified HLA-A alleles |
| --- | --- | --- | --- |
| 4 | 180 bp 225 bp | *68:01:41, 68:30 *68:03:01-68:03:02, 68:05, 68:20, 68:180, 68:206 | *02:06:05 *02:06:05 |
| 5 | 140 bp 235 bp | *68:25 *68:04:01-68:04:02 | *02:339, 02:407, 02:449, 02:594, 02:743, 32:109 *11:98, 11:250, 33:51, 66:15 |
| 8 | 160 bp 240 bp | *68:07 *68:46 |  |
| 9 | 195 bp 250 bp | *68:47 *68:08:01-68:08:02, 68:63, 68:157, 68:168 | *25:19:01-25:19:02, 25:30, 26:43:01-26:43:02, 26:112, 34:02:01:02, 34:03?-34:04?, 34:06?-34:07?, 34:09?-34:10N?, 34:13?, 34:15?, 34:22, 66:06, 66:33 |
| 10 | 165 bp 190 bp | *68:09, 68:26, 68:129, 68:134, 68:204 *68:148Q | *01:12, 01:19, 01:127, 01:136, 02:662, 03:10, 03:167, 11:01:01:01-11:01:34, 11:01:36-11:01:56, 11:01:58-11:07, 11:10-11:21N, 11:26-11:27, 11:29-11:30, 11:32:01-11:34, 11:36-11:43, 11:45-11:49, 11:51-11:52Q, 11:54:01-11:58, 11:60-11:93, 11:95-11:111, 11:114-11:115N, 11:117-11:129, 11:131-11:139, 11:141-11:157, 11:159-11:161, 11:163-11:175, 11:177-11:182Q, 11:184-11:190, 11:192-11:203, 11:205-11:210N, 11:212-11:215N, 11:217-11:225, 11:227-11:228, 11:230-11:255, 11:257, 11:259-11:268, 11:270, 11:272Q-11:289, 11:291-11:309, 11:311-11:325, 11:327-11:332, 24:17, 24:41, 24:208:01-24:208:02, 24:296, 29:05, 29:33, 29:77, 29:87, 29:104, C*16:67 |
| 11 | 160 bp 200 bp | *68:17 *68:10, 68:14, 68:120N | *02:358 |
| 12 | 200 bp 405 bp | *68:38, 68:110, 68:120N *68:11N | C*06:139 |
| 13 | 210 bp 240 bp 260 bp | *68:12:01-68:12:02, 68:50, 68:117, 68:129, 68:131 *68:51 *68:113, 68:115 | *25:59, 26:122 *26:18 |
| 15 | 145 bp 200 bp | *68:19 *68:14, 68:80-68:81, 68:158 | *02:237, 02:809, 03:17:01, 03:171, 24:18, 24:204, 24:213 *02:121, 02:425, 02:517, 02:802, 23:47, 24:141, 24:234, 24:339, 24:347:02, C*12:37w |
| 18 | 200 bp 225 bp | *68:26, 68:65, 68:115, 68:131 *68:21:01-68:21:02 | *01:01:01:01-01:01:65, 01:01:67-01:04:01:02N, 01:06-01:29, 01:31N-01:33, 01:35-01:71, 01:73-01:78, 01:80-01:101, 01:103-01:144, 01:146-01:166, 01:168-01:199, 01:201-01:227, 01:229-01:235, 01:237-01:243, 01:245-01:266:02, 01:268-01:270, 01:272-01:283, 01:285N-01:305, 03:18, 03:97, 03:122, 03:135, 03:167, 11:27, 11:38-11:39, 11:94, 11:209, 11:271, 11:326, 23:53, 23:70, 24:17, 24:41, 24:208:01-24:208:02, 24:296, 25:59, 29:03, 29:33, 80:01:01:01-80:05 *01:86, 03:04:01-03:04:03, 03:345, 11:153:01-11:153:02 |
| 21 | 170 bp 215 bp | *68:28 *68:24, 68:123 | *02:49, 02:682-02:683, 24:87, 24:285, 24:289, 31:97, 66:19, B*07:197, B*27:45, B*27:108 |
| 24 | 85 bp 375 bp | *68:112:01-68:112:02 *68:105 | *33:147, 34:15, B*08:131, B*08:136, B*08:139 *02:55, 02:644, 02:741, 02:815, 26:22, 33:22, 66:09, 69:01:01:01-69:05 |
| 25 | 240 bp 365 bp | *68:29 *68:94N | *02:243:01-02:243:03, 24:82, 26:177 *26:71N |
| 26 | 100 bp 190 bp | *68:49N *68:33, 68:80 | *02:802, 24:141, 33:03:17 |
| 27 | 105 bp 185 bp 235 bp | *68:18N *68:34 *68:43:01-68:43:02 | *02:385, 02:529, 33:120 *11:219 |
| 28 | 200 bp 230 bp | *68:35, 68:38, 68:110 *68:44 | C*06:139 *26:173 |
| 29 | 80 bp 250 bp | *68:42, 68:54, 68:61, 68:63, 68:183 *68:36-68:37 | *02:03:01-02:03:08, 02:26, 02:99, 02:117, 02:148, 02:171:02, 02:253, 02:258, 02:264, 02:281, 02:315, 02:323, 02:345, 02:355, 02:370, 02:393, 02:402, 02:412, 02:427, 02:431, 02:447, 02:463, 02:466, 02:480, 02:489, 02:505, 02:529, 02:541, 02:544, 02:557, 02:568, 02:589, 02:592, 02:595, 02:612, 02:633-02:634, 02:641, 02:666, 02:684, 02:711, 02:774-02:775N, 02:782, 02:809, 02:833N, 03:01:38, 03:123:02, 11:25:01, 11:191, 26:01:17 B*44:02:57, B*44:03:19-44:03:20 |
| 30 | 145 bp 245 bp | *68:37 | *02:117, 02:135, 25:01:01:01, 25:01:02-25:01:08, 25:02-25:07, 25:10-25:19:01, 25:20-25:27:02, 25:29-25:30, 26:01:01:01, 26:01:02-26:01:14, 26:01:16-26:01:25, 26:01:27-26:01:37, 26:02:01, 26:03:01-26:08:01, 26:09-26:10, 26:12-26:13, 26:15-26:17, 26:19-26:27, 26:29-26:39, 26:41-26:43:02, 26:45-26:46, 26:48-26:72, 26:74-26:109, 26:111, 26:113, 34:01:01:01, 34:01:02, 34:05, 34:11-34:12, 43:01, 66:01:01:01, 66:01:02, 66:01:05-66:03:01:01, 66:04-66:15, 66:17, 66:19-66:21, 66:32, 66:35 |
| 34 | 105 bp 165 bp | *68:18N *68:55:01-68:55:02, 68:124 | *03:163, 03:244 |
| 35 | 140 bp 295 bp | *68:59N *68:93, 68:97 | *26:132, 32:73, B*44:129 |
| 37 | 145 bp 170 bp 285 bp | *68:67, 68:192 *68:123 *68:26, 68:65, 68:115, 68:131 | *26:125, 34:12?, 66:30 *25:36, 25:59, 26:29, 26:49, 66:10 |
| 39 | 95 bp 180 bp | *68:106 *68:68 |  |
| 41 | 135 bp 200 bp | *68:144 *68:45, 68:117 | *32:68 *24:24, 24:67, 24:290, 24:392, 26:16, 33:119 |
| 42 | 130 bp 245 bp | *68:60, 68:99 *68:101:01 | *11:164, 24:394 *03:180 |
| 44 | 190 bp 270 bp | *68:75:01-68:75:02, 68:96, 68:130:01-68:130:02 *68:159Q | *11:11, 43:01 |
| 45 | 150 bp 220 bp 265 bp | *68:41 *68:72 *68:86, 68:159Q | *01:126 *11:301 *26:57, B*39:104 |
| 46 | 110 bp 495 bp | *68:52 *68:142N | *02:396 |

4The following HLA-A*68 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| A*68:19, 68:158 | 15 | A*68:68, 68:106 | 39 |
| A*68:52, 68:142N | 46 | A*68:99, 68:101 | 42 |

Abbreviations

‘w’, may be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.