# Gel Documentation Form and Worksheet

# HLA-A*74 (101.433-06/06u) 	Lot No: 4H1	Expiry Date: 2021-07-01

# Name:___________________

# Sample ID:_______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:________________

# Reviewed By:________________

# Interpretation:___________                              Failed lanes: ____________                             Comments:________________

Gel Picture

## PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products. Primer mix 10 has a tendency giving rise to primer oligomer formation.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A*74 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.23.0, January 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-A*74 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-A*74 alleles | Other amplified HLA-A alleles |
| --- | --- | --- | --- |
| 5 | 105 bp 230 bp | *74:32N *74:05 | *33:80N |
| 8 | 115 bp 160 bp | *74:08 *74:16:01-74:16:02 | *31:138 |
| 10 | 125 bp 225 bp | *74:17 *74:09 | *03:27, 29:16, 32:75, 33:81, 33:122 |
| 11 | 85 bp 200 bp | *74:14N *74:10, 74:30 | *29:66, 32:62, C*04:01:51, C*06:02:15, C*07:02:76 |
| 13 | 125 bp 215 bp | *74:17 *74:12N | *03:27, 29:16, 32:75, 33:81, 33:122 |
| 15 | 110 bp 185 bp | *74:15 | *29:39 |

4The following HLA-A*74 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| A*74:08, 74:16:01 | 8 |

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, may be weakly amplified.