PAGE  
[image: image2.emf]Well No. 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

ICB 800 800 107010701070 800 107010701070 800 10701070 800 800 10701070 800 800 800 800 1070 800 800 1070

390 405 120 200 400 415 410 95 205 90 190 210 215 120 105 100 100 175 95 95 110 165 235 375

185 310 370 345 310 415 240 175 160 195

425 400 215 235

345 375

Well No. 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Specific 

Reaction

AmpS

[image: image3.emf]Well No. 25 26 27 28 29 30 31 32 33 34 35 36 37 38 39 40 41 42 43 44 45

ICB 10701070107010701070 800 10701070107010701070107010701070107010701070107010701070

85 105 320 145 70 160 125 90 250 160 280 350 180 260 345 95 155 140 155 225

145 325 105 240 160 370 290

235 210

Well No. 25 26 27 28 29 30 31 32 33 34 35 36 37 38 39 40 41 42 43 44 45

Specific 

Reaction

NC

AmpS

[image: image4.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

*27:39 4 6 8 21 23

*27:40 5 7 8 9 23

*27:41 4 6 10 23

*27:42 4 7 8 23

*27:43 4 6 1112

*27:44 1 5 7 8 23

*27:45 4 6 8 20 23

*27:46 4 6 23 25

*27:47 4 6 8 13 19

*27:48 4 6 8 23 28

*27:49 4 6 8 18 23

*27:50 4 6 8 19 23

*27:51 4 6 8 17 23

*27:52 4 6 8 23 26

*27:53, 27:119 2 6 8 13 23

*27:54 4 6 8 9 23 29

*27:56 4 6 8 23 31

*27:57 2 6 8 23 27

*27:58 4 6 8 23 44

*27:59N 4 6 8 23 30

*27:60 4 6 8 10 23

*27:61 5 6 8 23

*27:62 2 6 8 22 38

*27:63 5 6 8 9 19

*27:64N 4 6 8 23 26 28

*27:65N 2 6 8 23 31

*27:66N 5 6 8 9 21 23 44

*27:67, 27:123

4

4 6 8 23 29

*27:68 5 6 8 9 21 23 43

*27:69 5 6 8 9 2021 23

*27:70 4 6 32 39

*27:71 4 6 8 22

*27:72 4 6 8 23 26 30

*27:73 4 6 8 23 30 33

*27:74 4 6 8 12 23 29

*27:76 4 6 19

*27:78 4 6 10 23 25

*27:79, 27:86, 27:120 5 6 8 9 23

*27:80 4 6 8 23 33

*27:82 4 6 8 23 34

*27:83 2 6 8 23 35

*27:85 4 6 8 23 32

*27:89 7 8 23

*27:91 5 6 910 23 41

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

Negative Control

 ®





HLA-B*27
August 2014
101.521-24/04 -24u/04u

Rev. No: 00                                                                 21X      


Gel Documentation Form and Worksheet 
HLA-B*27 (101.521-24/04, -24u/04u) 
Lot No: 21X
Expiry Date: 2017-February-01
Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________
 

Interpretation:___________                           Failed lanes: ___________ 
                               Comments:________________      
Gel Picture
	PHOTO DOCUMENT


[image: image5.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

*18:01:02, 18:03, 18:94N, 37:37 5 7

*18:02 1 5 7 10 22 38

*18:09, 37:01:01-37:01:09, 37:03N-37:04:02, 37:06:01-37:10, 

37:13, 37:15-37:18, 37:20-37:22, 37:24-37:26, 37:30N-37:32, 37:35-

37:36, 37:38-37:43, 37:45-37:46, 37:48-37:49

1 6

*18:37 1 5 7 15

*18:43 1 5 7 22

*18:49, 18:79, 37:05 1 7

*18:54, 37:12, 37:19, 37:44 1 6 39

*18:67 1 2 6

*35:01:30, 57:01:16, 57:03:02, C*02:23, C*02:36 14

*35:230, 40:01:01-40:01:20, 40:01:22-40:01:25, 40:01:27, 40:01:29-

40:01:31, 40:01:33-40:01:39, 40:07, 40:10:01-40:10:02, 40:66, 

40:72:01, 40:73, 40:77, 40:79, 40:138-40:140, 40:146-40:147, 

40:150, 40:152-40:153, 40:155:01N-40:155:02N, 40:186, 40:249-

40:253, 40:258-40:260, 40:262-40:265N, 40:272, 40:277-40:278, 

40:285, 44:31

11 42

*37:02, 47:04 1 6 8 2324

*37:14, 37:29, 47:03 1 5 6

*37:23 1 6 20

*37:27 1 6 27

*37:28 1 6 15

*37:33N 1 6 36

*37:34 2 6

*37:47 1 6 21

*38:22 10 19

*40:01:28 w

*40:02:01-40:02:06, 40:02:08-40:02:09, 40:02:11-40:02:17, 

40:02:19, 40:04, 40:06:01:01-40:06:01:02, 40:06:03-40:06:09, 

40:08, 40:70:01-40:70:02, 40:94, 40:97, 40:122, 40:142N-40:144N, 

40:214, 40:254-40:255, 40:266, 40:268-40:271

1 5 7 11

*40:02:07, 40:06:02 1 5 7 11 14

*40:09, 40:18, 40:24, 40:26, 40:28, 40:32-40:33, 40:42, 40:44, 

40:52, 40:71, 40:98, 40:120, 40:131, 40:133Q, 40:159, 40:174, 

40:184, 40:187, 40:280

? ? ?

*40:11:01-40:11:02, 40:14:01-40:15, 40:27:01-40:27:02, 40:29, 

40:35:01-40:35:02, 40:53, 40:56-40:58, 40:64, 40:68, 40:78, 40:82-

40:83, 40:85-40:86, 40:90-40:91, 40:95, 40:99, 40:103-40:105, 

40:107, 40:111, 40:114-40:115, 40:119, 40:121, 40:127, 40:129, 

40:136, 40:145, 40:148, 40:158, 40:161-40:162, 40:164-40:165, 

40:167, 40:169, 40:173, 40:176-40:177, 40:181, 40:189-40:190, 

40:200, 40:203, 40:205-40:206, 40:209, 40:211, 40:219-40:220, 

40:224-40:226, 40:231-40:232, 40:244, 40:246, 40:274-40:276, 

40:283

? ? ? 11

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

Negative Control

[image: image6.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

*40:12, 48:03:01-48:03:02, 48:14 11 15 42

*40:13 2 6 11

*40:19 ? ? 11

*40:21-40:22N, 40:25, 40:30, 40:34, 40:36, 40:38, 40:48-40:49, 

40:54-40:55, 40:61-40:62, 40:65, 40:67, 40:69, 40:72:02, 40:74, 

40:81, 40:84, 40:87:01-40:87:02, 40:100-40:102, 40:106, 40:108, 

40:112-40:113, 40:116, 40:123, 40:125-40:126, 40:128, 40:130:01-

40:130:02, 40:132, 40:134, 40:137, 40:141, 40:149, 40:151, 40:154, 

40:156, 40:160:01-40:160:02, 40:168, 40:170-40:171, 40:175, 

40:178-40:179, 40:182-40:183, 40:185, 40:191-40:198, 40:204, 

40:207-40:208, 40:212, 40:216N-40:218, 40:221-40:223, 40:227-

40:228, 40:233-40:239, 40:245, 40:257, 40:273, 40:279, 40:281-

40:282

? ? ? 11 42

*40:31 ? ? ? 18

*40:37 ? ? 11

*40:43 1 ? ? 11 42

*40:45 ? ? ? 11 18

*40:46 ? ? ? 11 15 42

*40:47 ? ? 11 42

*40:50 1 ? ? 11

*40:63, 40:92, 40:163, 40:199 ? ? ? 42

*40:75 ? ? ? 11 ?

*40:76 ? ? 11 42

*40:80 ? ? ? 11 18 42

*40:88 ? ? ? 11 33 42

*40:93 ? ? ? 11 15

*40:96, 40:110, 40:157, 40:201 ? ? 11

*40:109 ? ? ? 11

*40:117 ? ? 11 42

*40:118N ? ? ? 11 28 42

*40:124:02 ? ? ? 32

*40:135 ? ? 11 42

*40:166 ? ? 11 ? 42

*40:180 ? ? ? 32 40

*40:188 ? 4 ? 11 39 42

*40:202 ? ? ? 1112

*40:210 ? ? ? 11 ? 42

*40:213 ? ? ? 11 20 42

*40:215 ? 11 42

*40:229 1 5 7 11 22

*40:230, 40:243, 40:248 ? ? 11

*40:240 ? ? ? 11 32 42

*40:241-40:242, 40:247 ? ? 11 42

*40:256N ? 11

*44:20, 44:47, 44:100, 50:20, 51:85, 52:26 17

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

Negative Control


‘ICB’ Internal Control Band, 
‘AmpS’ Amplicon Size
Notes:
Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 12, 28, 30, 31, 32 and 39 may have tendencies of unspecific amplifications.
Primer mixes 1, 5 and 43 have a tendency to giving rise to primer oligomer formation.

Primer mix 24 may give rise to a lower yield of HLA-specific PCR product than the other B*27 primer mixes.

Primer mix 30 may give rise to a long unspecific amplification product. This band should be disregarded when interpreting the typing results.

Primer mix 45 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by control primer pairs. PCR product sizes range from 75 to 200 base pairs. The PCR product generated by the control primer pair is 430 base pairs.
[image: image1.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

HLA-B allele

1,2,3

*27:01 1 6 8 23

*27:02:01-27:02:02, 27:75, 27:77, 27:95 2 6 8 23

*27:03, 27:111 3 4 6 8 23

*27:04:01, 27:04:04, 27:100, 27:103, 27:105, 27:109, 27:112-

27:114

5 6 8 9 21 23

*27:04:02-27:04:03 5 6 8 9 ? 23

*27:05:02-27:05:03, 27:05:05-27:05:19, 27:05:21-27:05:28, 27:84, 

27:87-27:88, 27:90:01-27:90:02, 27:93, 27:96:01-27:96:02, 27:98-

27:99, 27:104, 27:117-27:118, 27:121-27:122, 27:124

4 6 8 23

*27:05:04, 27:116 4 8 23

*27:05:20 4 6 8

*27:06 5 6 910 21 23

*27:07:01-27:07:04 4 6 11

*27:08 5 7 8 23

*27:09 4 6 20 23

*27:10 4 6 8 9 23

*27:11 5 6 11

*27:12 5 7 8 13 23

*27:13 4 6 8 12 23

*27:14, 27:81 4 6 17

*27:15 5 6 8 9 22

*27:16 4 6 8 13 23

*27:17 4 6 8 14 23

*27:18 1 5 7 8 9 15 2324

*27:19 4 6 16 39

*27:20 5 6 9 11 23

*27:21 5 6

*27:23 1 5 6 8 23

*27:24 5 6 11 18 21

*27:25 5 6 8 w 192021

*27:26 5 7 8 2223

*27:27 4 6 11 23

*27:28 4 6 8 22 38

*27:29 1 4 6 8 15 2324

*27:30 2 6 16

*27:31 5 6 8 2223

*27:32 4 6 32 40

*27:33 5 7 11

*27:34 4 6 14

*27:35 4 6 10 19 23

*27:36 5 6 8 20 23

*27:37, 27:55, 27:101

4

4 6 8 2223

*27:38 4 6 8 19

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

Negative Control



[image: image7.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

*44:139 ? w

*47:01:01:01-47:01:02, 47:06-47:09 1 4 6

*47:05 1 4 6 8 2324

*48:01:01-48:01:06, 48:04, 48:07, 48:09, 48:11, 48:15-48:16, 48:18-

48:20, 48:22, 48:24, 48:28-48:30, 48:32-48:34

11 15 18 42

*48:05, 48:10, 48:12-48:13 11 15

*48:06, 48:31, 81:01-81:07 11 18 42

*48:21 11 15 20 2324 42

*48:26 8 15 20 2324

*48:27 11 15 18

*57:32 16

*82:01-82:03 5 7 22

A*23:23 25

A*24:185N 31

C*02:68 11 14

C*07:05 10 22

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445



[image: image8.emf]Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

*27:92 1 4 6 8 9 13 23

*27:94N 4 6 8 23 36

*27:97 4 6 8 23 37

*27:102 2 6 23

*27:106-27:107 5 6 910 23

*27:108 5 6 8 9 20 23

*27:110 6 8 23

*27:115 5 6 8 w 2021 23

*27:125 5 6 11 42

*07:05:01-07:06, 07:32, 07:40, 07:53, 07:69, 07:78, 07:80, 07:90, 

07:97, 07:105, 07:112, 07:123, 07:137-07:138, 07:140, 07:176, 

07:182N, 07:201N, 07:206-07:207, 07:209-07:210, 07:213-07:214, 

08:40, 08:79, 13:01:01-13:01:02, 13:01:04-13:02:16, 13:07N-13:09, 

13:11, 13:13-13:23, 13:25, 13:27-13:33, 13:36-13:45, 13:47, 13:49N-

13:50, 13:52, 13:54-13:61, 13:63N-13:71, 13:73-13:78, 35:31, 

35:88, 39:47, 39:50, 40:01:21, 40:16, 40:23, 40:40, 40:261, 41:19, 

51:10, 51:16, 51:31, 51:34, 51:81-51:82, 51:93, 52:08, 54:26, 55:09, 

55:22, 55:24, 58:27

11

*07:27, 07:50, 08:04, 08:17, 08:54, 08:110, 15:03:01-15:03:04, 

15:47:01-15:47:02, 15:54, 15:61-15:62, 15:64:01-15:64:02, 15:68-

15:69, 15:91, 15:98, 15:103, 15:123, 15:127, 15:131-15:132, 

15:151, 15:156, 15:158, 15:173, 15:210, 15:220, 15:235, 15:242, 

15:253, 15:259, 15:266, 15:274, 15:281-15:282, 38:03, 39:02:01-

39:02:02, 39:08, 39:13:01-39:13:02, 39:23, 39:39:01-39:39:02, 

39:49, 39:88, 42:11, 44:40, 44:44, 44:130, 44:156, 48:02:01-

48:02:03, 48:08, 48:17, 48:23, 48:25, 52:16, 55:18

15

*07:28, 07:118, 08:14, 08:87, 44:54, 44:106, 44:135 32 40

*07:174, 07:202 18

*07:197 8 9 20 23

*08:100, 15:292, 35:113, 39:62, 44:98, 46:27, 52:31:01-52:31:02 12

*08:120, 38:43 42

*15:17:01:01-15:17:02, 15:162, 15:168, 15:177, 15:196, 15:208, 

15:216, 15:230, 15:233, 15:269, 15:273, 35:234, 44:41:01, 44:65, 

C*02:07

32

*15:43, 38:17 39

*15:129 w10 1920 24

*15:201 43

*15:227, 51:32, 58:52 20

*18:01:01:01-18:01:01:02, 18:01:03-18:01:20, 18:04-18:08, 18:10-

18:15, 18:17N-18:24, 18:26-18:32, 18:34-18:36, 18:38-18:42, 

18:44:01-18:48, 18:50-18:53, 18:55-18:66, 18:68-18:78, 18:80-

18:93, 18:95-18:103, 35:01:23, 35:42:01-35:42:02, 37:11, 40:02:10, 

40:02:18, 40:03, 40:05, 40:06:10, 40:20, 40:39, 40:89, 40:267, 

40:284, 47:02

1 5 7

Well No. 1 2 3 4 5 6 7 8 9101112131415161718192021222324252627282930313233343536373839404142434445

Negative Control

 

[image: image9.png]






1HLA-B*27 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.16.0, April 2014.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 10: Specific PCR product of 90 bp in the B*27:06, 27:35, 27:41, 27:78, 27:91 and 27:106-27:107 and the B*15:129, 18:02 and 38:22 and in the C*07:05 alleles. Specific PCR product of 185 bp in the B*27:60 allele.

Primer mix 12: Specific PCR product of 210 bp in the B*27:74 allele. Specific PCR product of 310 bp in the B*27:43 and the B*08:100, 15:292, 35:113, 39:62, 40:202, 44:98, 46:27 and 52:31:01-52:31:02 alleles. Specific PCR product of 425 bp in the B*27:13 allele.

Primer mix 13: Specific PCR product of 215 bp in the B*27:47 allele. Specific PCR product of 370 bp in the B*27:12, 27:16, 27:92 and 27:119 and in the B*40:75? alleles. Specific PCR product of 400 bp in the B*27:53 allele.

Primer mix 14: Specific PCR product of 120 bp in the B*27:34 and the B*35:01:30, *40:02:07, 40:06:02, 57:01:16 and 57:03:02 and in the C*02:23, C*02:36 and C*02:68 alleles. Specific PCR product of 345 bp in the B*27:17 allele.

Primer mix 17: Specific PCR product of 100 bp in the B*27:14 and 27:81 and the B*44:20, 44:47, 44:100, 50:20, 51:85 and 52:26 alleles. Specific PCR product of 310 bp in the B*27:51 allele.

Primer mix 18: Specific PCR product of 175 bp in the B*27:24 and the B*07:174, 07:202, 40:31, 40:45, 40:80, 48:01:01-48:01:06, 48:04, 48:06-48:07, 48:09, 48:11, 48:15-48:16, 48:18-48:20, 48:22, 48:24, 48:27-48:34 and 81:01-81:07 alleles. Specific PCR product of 415 bp in the B*27:49 allele.

Primer mix 19: Specific PCR fragment of 95 bp in the B*27:35 and the B*38:22 alleles. Specific PCR fragment of 240 bp in the B*27:25, 27:38, 27:47, 27:50, 27:63 and 27:76 and the B*15:129 alleles.

Primer mix 20: Specific PCR fragment of 95 bp in the B*27:09 allele. Specific PCR fragment of 175 bp in the B*27:36 and the B*48:21 and 48:26 alleles. Specific PCR fragment of 215 bp in the B*27:25, 27:45, 27:108 and 27:115 and the B*07:197 and 15:129 alleles. Specific PCR fragment of 345 bp in the B*27:69 and the B*15:227, 37:23, 40:213, 51:32 and 58:52 alleles.

Primer mix 21: Specific PCR fragment of 110 bp in the B*27:04:01, 27:04:02?-27:04:03?, 27:04:04, 27:06, 27:24-27:25, 27:66N, 27:68-27:69, 27:100, 27:103, 27:105, 27:109 and 27:112-27:115 and the B*37:47 alleles. Specific PCR fragment of 160 bp in the B*27:39 allele.

Primer mix 22: Specific PCR fragment of 165 bp in the B*27:55 allele. Specific PCR fragment of 195 bp in the B*27:37 and the B*18:43, B*40:210? and 40:229 alleles. Specific PCR fragment of 235 bp in the B*27:15, 27:28, 27:62 and 27:71 and the B*18:02 and in the C*07:05 alleles. Specific PCR fragment of 375 bp in the B*27:26, 27:31 and 27:101 and the B*40:166? and 82:01-82:03 alleles.

Primer mix 26: Specific PCR fragment of 105 bp in the B*27:52 allele. Specific PCR fragment of 145 bp in the B*27:64N allele. Specific PCR fragment of 235 bp in the B*27:72 allele.

Primer mix 28: Specific PCR fragment of 145 bp in the B*27:64N and the B*40:118N alleles. Specific PCR fragment of 325 bp in the B*27:48 allele. 

Primer mix 29: Specific PCR fragment of 70 bp in the B*27:54 and 27:123 alleles. Specific PCR fragment of 105 bp in the B*27:67 allele. Specific PCR fragment of 210 bp in the B*27:74 allele. 

Primer mix 30: Specific PCR fragment of 160 bp in the B*27:59N allele. Specific PCR fragment of 240 bp in the B*27:72 and 27:73 alleles. 

Primer mix 31: Specific PCR fragment of 125 bp in the B*27:65N and in the A*24:185N alleles. Specific PCR fragment of 160 bp in the B*27:56 allele. 

Primer mix 32: Specific PCR fragment of 90 bp in the B*27:32 and 27:70 and the B*07:28, 07:118, 08:14, 08:87, 15:17:01:01-15:17:02, 15:162, 15:168, 15:177, 15:196, 15:208, 15:216, 15:230, 15:233, 15:269, 15:273, 35:234, 40:124:02, 40:180, 40:240, 44:41:01, 44:54, 44:65, 44:106 and 44:135 and in the C*02:07 alleles. Specific PCR fragment of 370 bp in the B*27:85 allele. 

Primer mix 44: Specific PCR fragment of 225 bp in the B*27:66N allele. Specific PCR fragment of 290 bp in the B*27:58 allele. 
4The following HLA-B*27 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

	Alleles
	Primer mix

	B*27:37, 27:55, 27:101
	22

	B*27:67, 27:123
	29


The HLA-B*27 subtyping kit cannot distinguish the following silent mutations: B*27:02:01-27:02:02, the B*27:04:01 and 27:04:04 alleles, the B*27:04:02-27:04:03, the B*27:05:02-27:05:03,  B*27:05:05-27:05:19 and 27:05:21-27:05:28 alleles and the B*27:07:01-27:07:04.

‘w’, might be weakly amplified.

‘?’, nucleotide sequence information not available for the primer matching sequence.

Olerup SSP AB

For In Vitro Diagnostic Use 
Franzengatan 5


SE-112 51 Stockholm

Sweden


Page 1 of 9

