PAGE  
Page 1(9)

December 2007
HLA-B*40
Rev. No: 00
Y10



	PHOTO DOCUMENT


Olerup SSP AB
Olerup SSPTM HLA-B*40
Prod. No:
101.523-24/03 – including Taq pol.

101.523-24u/03u– without Taq pol.
Lot No:    
Y10
Expiry Date:    
2009-August-01
Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ug/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-B*40 SSP typing.
	Primer Mix
	Size of spec. PCR product1
	Size of control band2
	Amplified HLA-B*40 alleles3
	Other amplified HLA class I alleles4

	  1
	175 bp
	  800 bp
	400101-400105, 4007, 4010, 4012, 4021-4023, 4025, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4051, 4052, 4054, 4055, 4060-4063, 4065-4067, 4069, 4073, 4074, 4076 
	9516, 9524, 4431, 4606, 480301-480302

	  2
	215 bp
	1070 bp
	400101-400602, 4009, 4011, 401401-4016, 4018-4020, 4022N-4039, 4042-4048, 4050-4057, 4059, 4060, 4062-4067, 4069-4074, 4076-4078
	1571, 180101-1803, 1805, 1806, 1808-1815, 1817N-1824, 1826, 1827, 2718, 2729, 3563, 370101-3713, 4101-4108, 4415, 4418, 4455, 4501-4505, 4507, 4901-4905, 5001, 5002, 5004

	  35
	130 bp
	1070 bp
	400201-400602, 4008, 4009, 4011, 4013, 4018-4020, 4024, 4026-4029, 4035, 4037, 4039, 4040, 4044, 4050, 4056, 4057, 4064, 4068, 4070, 4071, 4074, 4075, 4078
	

	  45
	  95 bp
	  800 bp
	400201-400203, 4005, 4008, 4009, 4013, 4015, 4016, 4018, 4019, 4024, 4027, 4029, 4031, 4032, 4035, 4037, 4039, 4040, 4045, 4050, 4056-4058, 4078
	070201-0706, 0708, 0710, 0713, 0715, 0716, 0719-0760, 080101-0808N, 0810, 0811, 0813-0815, 0817-0827, 0829-0834, 1545, 2707, 2711, 2724, 2732-2734, 3522, 3531, 3707, 3709, 3914, 3929, 4102, 4104, 4201, 4202, 420501-420502, 4207, 4208, 4454, 480101-480102, 4804-4806, 4808-4813, 4815, 4816, 4818, 4819, 5504, 8101-8103,

Cw*0305, Cw*0325, Cw*0327

	  5
	190 bp
	  800 bp
	4003, 4018, 4020, 4024, 4031-4033, 4044, 4052, 4059
	070201-0704, 0707-0713, 0715, 0716, 071801-071802, 0721-0723, 0725-0727, 0729, 0730, 0733, 0735-0739, 0741, 0742, 0744-0752, 0754-0759, 1540, 1547, 1549, 1552, 9514, 9517,  9524, 9538, 1810, 1821, 2734, 3515, 3533, 3566, 3707, 4606, 4808, 5713, 

Cw*0206

	  65,6
	  95 bp
	1070 bp
	4003, 4027
	0709, 0711, 0717, 0828, 1405, 1507, 1555, 1568, 9526, 1814, 3505, 3551, 3558, 3566, 3572, 3903, 3924, 3937, 4206, 4209,  4612, 4807, 4814 

Cw*0808

	  75,7
	105 bp
	  800 bp
	4012, 4046
	0727, 0750, 0804, 0817, 1503, 1547, 1554, 1561, 1562, 1564, 1568, 1569, 1591, 1598, 9503, 9523, 9527, 9531, 9532, 2718, 2729, 3803, 390201-390202, 3908, 391301-391302, 3923, 3939, 4440, 4444, 480101-4805, 4807-4819, 5518

	  8
	235 bp
	1070 bp
	4005, 4071
	0720, 0724, 0760, 0821, 0825, 1507, 1545, 1555, 1568, 9526, 3505, 3516, 3517, 3522, 3530, 3551, 3558, 3572, 4454, 4612, 

Cw*0305, Cw*0325, Cw*0327

	
	
	
	
	

	  97,8
	160 bp
	1070 bp
	40060101-400602, 4044, 4053, 4070, 4075
	2714, 5110, 5411, 7301

	105,8
	215 bp
	1070 bp
	4007, 4008, 4013, 4068
	1807, 2723, 3550



	115
	135 bp
	1070 bp
	4035, 4077
	1301-130204, 1307N-1311, 1313-1320, 1540, 1547, 1549, 1552, 9514, 9517, 9524, 9538, 1810, 2701-270402, 270502-2706, 2708-2710, 2712-2714, 2716-2719, 2721, 2723, 2726, 2727, 2729-2732, 2735, 2737, 3515, 3533, 3566, 3702, 4416, 4421, 47010101-4705, 4812, 4814, 5116, 5131, 5134, 5208, 5509, 5522, 5524

	125
	  95 bp
	1070 bp
	4008, 4025, 4068
	3519, 3547, 4412

	135
	  90 bp
	1070 bp
	4003, 4009, 4018, 4024, 4031, 4032
	070201-0704, 0708-0711, 0713, 0715-0717, 0719-0731, 0733, 0735-0739, 0741-0752, 0754-0760, 0807, 0828, 1507, 1545, 1555, 1568, 1814, 1822, 2734, 3505, 3516, 3517, 3530, 3551, 3558, 3566, 3572, 3707, 3709, 3929, 4104, 4209, 4454, 4612, 4808,

Cw*0305, Cw*0325, Cw*0327

	145
	  90 bp
	  800 bp
	4010
	1546, 9506, 3547

	158
	150 bp
	  800 bp
	4013, 4019, 4047
	3706, 44020101-4405, 4407, 4410-4439, 4441-4443, 4445, 4447-4456N, 47010101-47010102, 4703-4705, 4901, 4902, 4904, 4905

	165,6,11
	  75, 160 bp
	  800 bp
	401401, 4015, 4072, 4077
	3566, 420501-420502, 4812,

Cw*0738

	
	
	
	
	

	175
	120 bp
	  800 bp
	400101-400105, 4007, 4010, 4012, 401401-401403, 4021, 4022N, 4025, 4030, 4031, 4033, 4034, 4036, 4038, 4042, 4043, 4045-4049, 4052, 4054, 4055, 4059-4063, 4065, 4066, 4069, 4072-4074, 4076, 4077
	0725, 0748, 2736, 3566, 4108, 420501-420502, 4431, 4606, 480101-480102, 480301-480302, 4806, 4807, 4809-4812, 4814, 4816-4819, 8101-8103

	185,10
	105 bp
	1070 bp
	4026, 4069
	070503weakly, 150102, 1509, 5106

	19
	310 bp
	1070 bp
	4004, 4024, 4028, 4059, 4060, 4068, 4070
	0712, 1301-1304, 1306-1309, 1311-1320, 1516, 1520, 1534, 1542, 1562, 1567, 1585, 1586, 1595, 9537, 1822, 2714, 350101-3511, 3513-3515, 3518-3521, 3523-3530, 3533-3538, 3540N-3542, 3545-3550, 3552-3558, 3560, 3562-3566, 3568-3572, 3574-3578, 3582, 3583, 4104, 4107, 4410, 4415, 4418, 4448, 4501-4507, 4611, 4802, 4817, 4901-4905, 5001, 5002, 5115, 530101-5306, 5308-5313, 5401-5405N, 5407, 5408N, 5410-5413,  550101-5503, 5505, 5507, 5509-5513, 5515, 5516, 5518-5528, 5601, 5602, 5607-5611, 5613-5617, 5619N, 5620, 5705, 5801, 5802, 5804-5807, 5809-5815, 5901, 5902, 8201, 8202

	205,9,12
	135, 285 bp
	1070 bp
	401401-4016, 4023, 4031, 4032, 4045
	070201-071802, 0720-0732, 0734-0739, 0741-0752, 0754-0759, 9538, 3566, 3707, 4108, 420501-420502, 480101-480102, 4805-4812, 4814-4816, 4818, 4819,  8101-8103

	215,6
	145 bp
	  800 bp
	4021
	1309, 15010101-150104, 150106, 1502, 1504-1508, 151101-1512, 1514, 1515, 1519-1521, 1525-1528, 1530-1535, 1538-1540, 1542, 1544, 1545, 1548, 1550, 1555-1558, 1560, 1563, 1565, 1566, 1570, 1571, 1573, 1575-1579N, 1581-1586, 1588, 1592, 1594N, 1596, 1597, 9501, 9502, 9504, 9505, 9507, 9509- 9513, 9516-9518, 9520-9522, 9525, 9526, 9528, 9529, 9535-9539, 3546, 460101-4603, 4605-4612, 5712

	2212
	235  bp
	  800 bp
	400201-400203, 4003, 4008, 4009, 4013, 4015, 4016, 4018, 4019, 4024, 4027, 4029, 4031, 4032, 4035, 4037, 4040, 4045, 4050, 4056-4058, 4078
	070201-0706, 0708-0711, 0713, 0715-0717, 0721-0723, 0725-0730, 0732, 0733, 0735-0742, 0744-0759, 2707, 2711, 2724, 2732-2734, 3531, 3566, 3707, 480101-480102, 4804-4816, 4818, 4819, 8101-8103

	235,7,13
	  95, 120 bp
	  800 bp
	4029, 4036, 4048
	4807, 4817

	2414
	165, 250 bp
	  800 bp
	4034, 4037, 4076
	3705

	
	
	
	
	

	255
	125 bp
	1070 bp
	4043, 4050
	4506

	265
	120 bp
	1070 bp
	4015, 4016, 4023, 4032
	070201-071802, 0720-0724, 0726-0732, 0734-0739, 0741-0747, 0749N, 0750, 0752, 0754-0759, 9538, 3707, 4805, 4808, 4815

	27
	180 bp
	  800 bp
	4022N
	

	28
	325 bp
	1070 bp
	400101-400105, 4004, 4007, 4010-4012, 401401-401403, 4020-4023, 4025, 4026, 4028, 4033, 4036, 4038, 4042, 4043, 4046-4049, 4051, 4052, 4054, 4055, 4059-4069, 4072-4074, 4076, 4077
	0707, 0712, 0714, 071801-071802, 0812, 0816, 1301, 1306, 1307N, 1310-1313, 1317,  1320, 1321, 1401-1404, 140601-1407N, 15010101-150104, 150106-1503, 1505, 1506, 1508-1515, 15170101-1521, 1523-1540, 1543, 1544, 1546-1554, 1556-1558, 1560-1566, 1569-1582, 1584-1594N, 1596-1599, 9501-9511N, 9513-9517, 9519-9525, 9527, 9528, 9531-9536, 9538, 9539, 180101-180103, 1803-1813, 1815, 1817N-1821, 1823N-1826, 2719, 2721, 2730, 350101-350402, 3506-3515, 3518-3521, 3523-3529, 3532-3536, 3538-3550, 3552-3554, 3556, 3557, 3559, 3561-3565Q, 3567-3571, 3574-3579, 3582, 3583,  370101-370104, 3703N-3706, 3708, 3710-3713, 380101-3817, 39010101-39010102L, 390103-390202, 3904, 3905, 3907-391302, 3915, 3917-3920, 3922, 3923, 3925N-3928, 3930-3932, 3935, 3936, 3938Q-3943, 410301-410302, 4108, 44020101-4414, 4416, 4417, 4419N, 4421-4446, 4448-4453, 4455-4457, 460101-4610, 47010101-4703, 4802-480302, 4817, 5104, 5106, 5142, 5145, 530101-5313, 5406, 5409, 5508, 5602-5604, 5609-5612, 5618, 5705, 5711, 5801, 5802, 5804-5807, 5809-5813, 5815, 670101-6702, 8201, 8202, 8301 

	29
	235 bp
	800 bp
	4039
	0719, 0731, 0734, 0743, 080101-0808N, 0810, 0813-0815, 0817-0820, 0822-0824, 0826-0834, 1405, 1814, 3709,  3903, 3914, 3924, 3929, 3937, 4102, 4104, 4201, 4202, 420501-4209, 5504, 

Cw*0808

	30
	190 bp
	1070 bp
	400101-400203, 4004, 40060101-4008, 4010-4016, 4019, 4021-4023, 4025, 4027, 4029, 4030, 4034-4038, 4040, 4043, 4045-4050, 4053-4058, 4061, 4062, 4064-4070, 4072-4078
	070501-0706, 0732, 0740, 0753, 1301-130204, 1307N-1309, 1311, 1313-1321, 2707, 2711, 2720, 2724, 2727, 2733, 3531, 4431, 480101-480102, 480301-4807, 4809-4816, 4818, 4819, 5110, 5116, 5131, 5134, 5208, 5509, 5522, 5524, 8101-8103

	31
	225 bp
	1070 bp
	4038, 4048, 4052, 4059, 4060
	0709, 0711, 0717, 9538, 3566, 4606, 4814, Cw*0738 

	32
	255 bp
	1070 bp
	400101-4009, 4011, 401401-4016, 4018, 4020, 4022N-4039, 4042-4046, 4048, 4050-4057, 4059-4075, 4077, 4078
	1571, 180101-1803, 1805-1808, 1810-1815, 1817N-1824, 1826, 1827, 2708, 2712, 2718, 2726, 2733, 3550, 3563, 3705, 3711, 3931, 4101-4104, 4106-4108, 4202, 4209, 4501-4507, 5001, 5002, 5004, 5402, 5516, 7301

	
	
	
	
	

	337
	245 bp
	1070 bp
	4004, 4030, 4034, 4059, 4064, 4068
	0712, 0714, 071801-071802, 1301, 1307N, 1313, 1317, 1320, 1321, 2719, 2730, 3515, 3533, 4416, 4421, 4817, 5713, Cw*0334

	34
	235 bp
	1070 bp
	4042, 4060
	0714, 0717, 0728, 2736, 4817, Cw*0738

	355
	140 bp
	  800 bp
	4035, 4071
	1405, 1507, 1545, 1555, 1568, 9526, 1814, 2732, 3505, 3522, 3551, 3558, 3566, 3572, 3903, 3914, 3924, 3929, 3937, 4454, 4612, 4812, 4814

	365
	135 bp
	1070 bp
	4010, 4040, 4049, 4058
	1546, 1553, 9506, 3547, 44020101-4405, 4409-4414, 4416, 4417, 4419N-4439, 4441-4443, 4445-4448, 4450-4454,  4456N, 47010101-4705

	375,9
	  95 bp
	1070 bp
	4028, 4051
	1401-1407N, 1537, 1538, 1815, 1819, 3521, 510101-510108, 5103, 5104, 5106, 5107, 5111N-5114, 5116-5118, 5121, 5122, 5124, 5126-5130, 5132, 5133, 5135, 5137-5139, 5141N, 5143, 5145, 5146, 5148-5151, 520101-5202, 5204-5209, 5306, 560501-5606, 5621, 5808, 7801-7803, 7805

	385
	125  bp
	1070 bp
	4028, 4066
	350402, 5104, 5146



	39
	330 bp
	1070 bp
	4012
	1503, 1509, 1510, 1518, 1523, 1529, 1537, 1546, 1547, 1549, 1551-1554, 1561, 1562, 1564, 1569, 1572, 1574, 1580, 1590, 1591, 1593, 1598, 1599, 9503, 9506, 9508, 9514, 9515, 9519, 9523, 9524, 9527, 9531-9534, Cw*0746

	405
	120 bp
	1070 bp
	4038, 4052, 4059, 4060
	9516, 9524, 4606

	
	
	
	
	

	41
	200 bp
	1070 bp
	4008, 4025, 4062, 4068
	180101-1803, 1805-1811, 1813-1815, 1817N-1824, 1826, 1827, 2723, 3550, 3708, 3907, 3931, 4202weakly, 4209 weakly, 5402weakly, 5516weakly, 7301weakly

	425,15
	  95, 165 bp
	1070 bp
	4058, 4065
	4434

	43
	185 bp
	1070 bp
	4030, 4034, 4059
	4817

	445,16
	110, 205 bp
	  800 bp
	4054, 4078
	

	456,17
	  85, 135 bp
	1070 bp
	4055, 4056, 4067
	

	46
	545 bp
	1070 bp
	4011, 4020, 4026, 4074
	1571, 180101-180103, 1803, 1805-1807, 1809-1813, 1815, 1817N, 1819-1821, 1823N, 1824, 1826, 2719, 2721, 2730, 3712, 3931

	475
	135 bp
	  800 bp
	4057, 4063
	0720, 0724

	4818
	215, 245 bp
	1070 bp
	4061, 4073
	1806


1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-B*40 SSP subtypings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 bp or more. Size differences shorter than 20 bp are not given. For high resolution SSP kits the length of the specific PCR product(s) of the alleles amplified by these primer mixes are given. 

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers, e.g. the primers in primer mixes 6 and 21.  

PCR fragments longer than the control band may sometimes be observed. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most tubes, or a band of 800 base pairs, for some tubes.

Tube number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-B*40 subtyping.

In addition, tubes number 4, 5, 7, 14, 15, 16, 17, 21, 22, 23, 24, 27, 29, 35, 44 and 47 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-B alleles first exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the first exon are conserved within allelic groups. 

4Due to the sharing of sequence motifs between HLA-B alleles non-HLA-B*40 alleles will be amplified by primer mixes 1, 2, 4 to 26, 28 to 43 and 46 to 48

In addition, the Cw*0206 allele will be amplified by primer mix 5, the HLA-Cw*0305, 0325 and 0327 alleles will be amplified by primer mixes 4, 8 and 13, the Cw*0334 allele will be amplified by primer mix 33, the Cw*0738 allele will be amplified by primer mixes 16, 31 and 34, the Cw*0746 allele will be amplified by primer mix 39, the Cw*0808 alleles by primer mixes 6 and 29 and the Cw*17 alleles faintly by primer mix 7, 23 and 33.
5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 6, 16, 21 and 45 has a tendency of giving rise to nonspecific amplifications.

7Primer mixes 7, 23 and 33 may faintly amplify the Cw*17 alleles.

8Primer mixes 9, 10 and 15 have a tendency to give rise to a primer dimer artifact.

9Primer mixes 20 and 37 may give rise to less specific PCR product than the other B*40 primer mixes.

10Primer mix 18 may faintly amplify the B*13 alleles.

11Primer mix 16: Specific PCR fragment of 75 bp in the B*4015 allele. Specific PCR fragment of 160 bp in the B*401401, B*4072, B*4077 and B*3566, B*420501-420502 and B*4812 and Cw*0738 alleles.

12Primer mix 20: Specific PCR fragment of 135 bp in the B*401401-401403, B*4023 and the B*0707, B*0712, B*0714 and B*071801-071802 alleles. Specific PCR fragment of 285 bp in the B*4031 and B*480101-480102, B*4806, B*4807, B*4809, B*4811 and B*8101 to 8103 alleles. Specific PCR fragments of 135 and 285 bp in the B*4015, B*4016, B*4032, B*4045 and B*070201 to 0706, B*0708 to 0711, B*0713, B*0715 to 0717, B*0720 to 0732, B*0734 to 0739, B*0741 to 07502, B*0754-0759,  B*3566, B*3707, B*420501-420502, B*4805, B*4808, B*4810, B*4812 and B*4814 to 4816, B*4818 and B*4819 alleles. (Both specific fragmnts may not always be obtained.)

13Primer mix 23: Specific PCR fragment of  95 bp in the B*4029 allele. Specific PCR fragment of 120 bp in the B*4036, B*4048 and B*4807 and B*4817 alleles.
14Primer mix 24: Specific PCR fragment of 165 bp in the B*4034 allele. Specific PCR fragment of 250 bp in the B*4037, B*4076 and B*3705 alleles .

15Primer mix 42: Specific PCR fragment of 95 bp in the B*4058 and B*4434 alleles. Specific PCR fragment of 165 bp in the B*4065 allele.

16Primer mix 44: Specific PCR fragment of 110 bp in the B*4078 allele. Specific PCR fragment of 205 bp in the B*4054 allele.

17Primer mix 45: Specific PCR fragment of 85 in the B*4056 allele. Specific PCR fragment of 135 bp in the B*4055 and B*4067 alleles.

18Primer mix 48: Specific PCR fragment of 215 bp in the B*4061 allele. Specific PCR fragment of 245 bp in the B*4073 and B*1806 alleles.

[image: image1.wmf]Tube No.

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

31

32

33

34

35

36

37

38

39

40

41

42

43

44

45

46

47

48

HLA-B allele

1

*400101-400105

1

2

17

28

30

32

*400201-400203

2

3

4

22

30

32

*4003

2

3

5

6

13

22

32

*4004

2

3

19

28

30

32

33

*4005

2

3

4

8

32

*40060101-400602

2

3

9

30

32

*4007

1

10

17

28

30

32

*4008

3

4

10

12

22

30

32

41

*4009

2

3

4

13

22

32

*4010

1

14

17

28

30

36

*4011

2

3

28

30

32

46

*4012

1

7

17

28

30

39

*4013

3

4

10

15

22

30

*401401

2

16

17

20

28

30

32

*401402-401403

2

17

20

28

30

32

*4015

2

4

16

20

22

26

30

32

*4016

2

4

20

22

26

30

32

*4018

2

3

4

5

13

22

32

*4019

2

3

4

15

22

30

*4020

2

3

5

28

32

46

*4021

1

17

21

28

30

*4022N

1

2

17

27

28

30

32

*4023

1

2

20

26

28

30

32

*4024

2

3

4

5

13

19

22

32

*4025

1

2

12

17

28

30

32

41

*4026

2

3

18

28

32

46

*4027

2

3

4

6

22

30

32

*4028

2

3

19

28

32

37

38

*4029

2

3

4

22

23

30

32

*4030

2

17

30

32

33

43

*4031

2

4

5

13

17

20

22

32

*4032

2

4

5

13

20

22

26

32

*4033

1

2

5

17

28

32

*4034

2

17

24

30

32

33

43

*4035

2

3

4

11

22

30

32

35

*4036

1

2

17

23

28

30

32

*4037

2

3

4

22

24

30

32

*4038

1

2

17

28

30

31

32

40

*4039

2

3

4

29

32

*4040

3

4

22

30

36

*4042

1

2

17

28

32

34

*4043

1

2

17

25

28

30

32

*4044

2

3

5

9

32

*4045

2

4

17

20

22

30

32

*4046

1

2

7

17

28

30

32

*4047

1

2

15

17

28

30

*4048

1

2

17

23

28

30

31

32

*4049

1

17

28

30

36


[image: image2.wmf]*4050

2

3

4

22

25

30

32

*4051

1

2

28

32

37

*4052

1

2

5

17

28

31

32

40

*4053

2

9

30

32

*4054

1

2

17

28

30

32

44

*4055

1

2

17

28

30

32

45

*4056

2

3

4

22

30

32

45

*4057

2

3

4

22

30

32

47

*4058

4

22

30

36

42

*4059

2

5

17

19

28

31

32

33

40

43

*4060

1

2

17

19

28

31

32

34

40

*4061

1

17

28

30

32

48

*4062

1

2

17

28

30

32

41

*4063

1

2

17

28

32

47

*4064

2

3

28

30

32

33

*4065

1

2

17

28

30

32

42

*4066

1

2

17

28

30

32

38

*4067

1

2

28

30

32

45

*4068

3

10

12

19

28

30

32

33

41

*4069

1

2

17

18

28

30

32

*4070

2

3

9

19

30

32

*4071

2

3

8

32

35

*4072

2

16

17

28

30

32

*4073

1

2

17

28

30

32

48

*4074

1

2

3

17

28

30

32

46

*4075

3

9

30

32

*4076

1

2

17

24

28

30

*4077

2

11

16

17

28

30

32

*4078

2

3

4

22

30

32

44

*070201-0704, 0708, 0710, 0713, 

0715, 0716, 0721-0723, 0726, 0729, 

0730, 0735-0739, 0741, 0742, 0744-

0747, 0749N, 0752, 0754-0759

4

5

13

20

22

26

*070501-070502, 0706, 0732

4

20

22

26

30

*070503

4

w

20

22

26

30

*0707

5

20

26

28

*0709, 0711

5

6

13

20

22

26

31

*0712

5

19

20

26

28

33

*0714

20

26

28

33

34

*0717

6

13

20

22

26

31

34

*071801-071802

5

20

26

28

33

*0719, 0807

4

13

29

*0720, 0724

4

8

13

20

26

47

*0725, 0748

4

5

13

17

20

22

*0727, 0750, 4808

4

5

7

13

20

22

26

*0728

4

13

20

22

26

34

*0731, 0743

4

13

20

26

29

*0733

4

5

13

22

*0734

4

20

26

29

*0740, 0753, 2707, 2711, 2724, 3531

4

22

30

*0751

4

5

13

20

22

*0760

4

8

13

*080101-0803, 0805, 0806, 0808N, 

0810, 0813-0815, 0818-0820, 0822-

0824, 0826, 0827, 0829-0834, 4201, 

4207, 4208, 5504

4

29

*0804, 0817

4

7

29

*0811

4

*0812, 0816, 1513, 15170101-

151702, 1524, 1536, 1543, 1587, 

1589, 1804, 1825, 3512, 3532, 3539, 

3543, 3544, 3559, 3561, 3567, 3579, 

380101-380202, 3804-3817, 

39010101-39010102L, 390103-

390104, 3904, 3905, 3909-3912, 

3915, 3917-3920, 3922, 3925N-3928, 

3930, 3932, 3935, 3936, 3938Q, 

3940N-3943, 4406, 4408, 4457, 

4604, 5142, 5307, 5406, 5409, 5508, 

5603, 5604, 5612, 5618, 5711, 

670101-6702, 8301

28

*0821, 0825

4

8

*0828

6

13

29

*1301, 1307N, 1313, 1317, 1320

11

19

28

30

33

*130201-130204, 1308Q, 1314-1316, 

1318, 1319, 5509, 5522, 5524

11

19

30


[image: image3.wmf]*1303, 1304, 1516, 1567, 1595, 

3537, 3555, 3560, 5115, 5401, 5403-

5405N, 5407, 5408N, 5410, 5412, 

5413, 550101-5503, 5505, 5507, 

5510-5513, 5515, 5519-5521, 5523, 

5525-5528, 5601, 5607, 5608, 5613-

5617, 5619N, 5620, 5814, 5901, 

5902

19

*1306, 1312, 350101-350401, 3506-

3511, 3513-351402, 3518, 352001-

352002, 3523-3529, 3534-3536, 

3538, 3540N-3542, 3545, 3548, 

3549, 3552-3554, 3556, 3557, 3562, 

3564, 3565Q, 3568-3571, 3574-

3578, 3582, 3583, 530101-5305, 

5308-5313, 5602, 5609-5611, 5705, 

5801, 5802, 5804-5807, 5809-5813, 

5815, 8201, 8202

19

28

*1309

11

19

21

30

*1310

11

28

*1311

11

19

28

30

*1321

28

30

33

*1401-1404, 140601-1407N, 5145

28

37

*1405

6

29

35

37

*15010101-15010102N, 150103-

150104, 150106, 1502, 1505, 1506, 

1508, 151101-1512, 1514, 1515, 

1519, 1521, 1525-1528, 1530-1533, 

1535, 1539, 1544, 1548, 1550, 1556-

1558, 1560, 1563, 1565, 1566, 1570, 

1573, 1575-1579N, 1581, 1582, 

1584, 1588, 1592, 1594N, 1596, 

1597, 9501, 9502, 9504, 9505, 9507, 

9509-9511N, 9513, 9520-9522, 9525, 

9528, 9535, 9536, 9539, 460101-

4603, 4605, 4607N-4610

21

28

*150102

18

21

28

*1503, 1554, 1561, 1564, 1569, 

1591, 1598, 9503, 9523, 9527, 9531, 

9532

7

28

39

*1504, 1583, 9512, 9518, 9529, 5712

21

*1507, 1555, 4612

6

8

13

21

35

*1509

18

28

39

*1510, 1518, 1523, 1529, 1551, 

1572, 1574, 1580, 1590, 1593, 1599, 

9508, 9515, 9519, 9533, 9534

28

39

*1520, 1534, 1585, 1586, 3546

19

21

28

*1537

28

37

39

*1538

21

28

37

*1540, 9517

5

11

21

28

*1542, 4611

19

21

*1545

4

8

13

21

35

*1546, 9506

14

28

36

39

*1547

5

7

11

28

39

*1549, 1552, 9514

5

11

28

39

*1553

28

36

39

*1562

7

19

28

39

*1568

6

7

8

13

35

*1571

2

21

28

32

46

*9516

1

21

28

40

*9524

1

5

11

28

39

40

*9526

6

8

21

35

*9537

19

21

*9538

5

11

20

21

26

28

31

*180101-180103, 1803, 1805, 1811, 

1813, 1817N, 1820, 1823N, 1824, 

1826

2

28

32

41

46

*1802, 1827

2

32

41

*1806

2

28

32

41

46

48

*1807

10

28

32

41

46

*1808, 1818

2

28

32

41

*1809

2

28

41

46

*1810

2

5

11

28

32

41

46

*1812

2

28

32

46

*1814

2

6

13

29

32

35

41



[image: image4.wmf]*1815, 1819

2

28

32

37

41

46

*1821

2

5

28

32

41

46

*1822

2

13

19

32

41

*2701-270402, 270502-2706, 2709, 

2710, 2713, 2716, 2717, 2731, 2735, 

2737

11

*2708, 2712, 2726

11

32

*2714

9

11

19

*2718

2

7

11

32

*2719, 2730

11

28

33

46

*2720

30

*2721

11

28

46

*2723

10

11

41

*2727, 5131, 5134

11

30

*2729

2

7

11

*2732

4

11

22

35

*2733

4

22

30

32

*2734

4

5

13

22

*2736

17

34

*350402

19

28

38

*3505, 3558, 3572

6

8

13

19

35

*3515, 3533

5

11

19

28

33

*3516, 3517

8

13

*3519

12

19

28

*3521, 5306

19

28

37

*3522

4

8

35

*3530

8

13

19

*3547

12

14

19

28

36

*3550

10

19

28

32

41

*3551

6

8

13

35

*3563

2

19

28

32

*3566

5

6

11

13

16

17

19

20

22

31

35

*370101-370104, 3703N, 3704, 3710

2

28

*3702

2

11

*3705

2

24

28

32

*3706, 4455

2

15

28

*3707

2

4

5

13

20

22

26

*3708

2

28

41

*3709

2

4

13

29

*3711, 410301-410302

2

28

32

*3712

2

28

46

*3713

2

28

*3803, 390201-390202, 3908, 

391301-391302, 3923, 3939, 4440, 

4444

7

28

*3903, 3924, 3937

6

29

35

*3907

28

41

*3914

4

29

35

*3929

4

13

29

35

*3931

28

32

41

46

*4101, 4106, 5004

2

32

*4102

2

4

29

32

*4104

2

4

13

19

29

32

*4105

2

*4107, 4501-4505, 4507, 5001, 5002

2

19

32

*4108

2

17

20

28

32

*4202

4

29

32

w

*420501-420502

4

16

17

20

29

*4206

6

29

*4209

6

13

29

32

w

*44020101-4405, 4411, 4413, 4414, 

4417, 4419N, 4422-4430, 4432, 

4433, 4435-4439, 4441-4443, 4445, 

4450-4453, 4456N

15

28

36

*4407, 4449

15

28

*4409, 4446

28

36

*4410, 4448

15

19

28

36

*4412

12

15

28

36

*4415, 4418, 4901, 4902, 4904, 4905

2

15

19

*4416, 4421

11

15

28

33

36

*4420, 4447

15

36

*4431

1

15

17

28

30

36

*4434

15

28

36

42

*4454

4

8

13

15

35

36

*4506

19

25

32

*4606

1

5

17

21

28

31

40

*47010101-47010102, 4703

11

15

28

36

*4702

11

28

36

*4704, 4705

11

15

36

*480101-480102, 4809-4811, 4816, 

4818, 4819

4

7

17

20

22

30



[image: image5.wmf]*4802

7

19

28

*480301-480302

1

7

17

28

30

*4804, 4813

4

7

22

30

*4805, 4815

4

7

20

22

26

30

*4806, 8101-8103

4

17

20

22

30

*4807

6

7

17

20

22

23

30

*4812

4

7

11

16

17

20

22

30

35

*4814

6

7

11

17

20

22

30

31

35

*4817

7

17

19

23

28

33

34

43

*4903

2

19

*510101-510108, 5103, 5107, 5111N-

5114, 5117, 5118, 5121, 5122, 5124, 

5126-5130, 5132, 5133, 5135, 5137-

5139, 5141N, 5143, 5148-5151, 

520101-5202, 5204-5207, 5209, 

560501-5606, 5621, 5808, 7801-

7803, 7805

37

*5104

28

37

38

*5106

18

28

37

*5110

9

30

*5116, 5208

11

30

37

*5146

37

38

*5402, 5516

19

32

w

*5411

9

19

*5518

7

19

*5713

5

33

*7301

9

32

w

Cw*0206

5

Cw*0305, 0325, 0327

4

8

13

Cw*0334

33

Cw*0738

16

31

34

Cw*0746

39

Cw*0808

6

29

Length of spec. PCR product(s)

2

175

215

130

95

190

95

105

235

160

215

135

95

90

90

150

75

120

105

310

135

145

235

95

165

125

120

180

325

235

190

225

255

245

235

140

135

95

125

330

120

200

95

185

110

85

545

135

215

160

285

120

250

165

205

135

245

Tube No.

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

31

32

33

34

35

36

37

38

39

40

41

42

43

44

45

46

47

48

Specific Reaction

1st match: B*

2nd match: B*

Control Reaction

Failed Controls

False Positive

False Negative


1The nucleotide sequence of the B*4017 allele has been shown to be identical B*4016.
The nucleotide sequence of the B*4041 allele has been shown to be identical B*4040.

1Primer mix 16: Specific PCR fragment of 75 bp in the B*4015 allele. Specific PCR fragment of 160 bp in the B*401401, B*4072, B*4077 and B*3566, B*420501-420502 and B*4812 and Cw*0738 alleles.

Primer mix 20: Specific PCR fragment of 135 bp in the B*401401-401403, B*4023 and the B*0707, B*0712, B*0714 and B*071801-071802 alleles. Specific PCR fragment of 285 bp in the B*4031 and B*480101-480102, B*4806, B*4807, B*4809, B*4811 and B*8101 to 8103 alleles. Specific PCR fragments of 135 and 285 bp in the B*4015, B*4016, B*4032, B*4045 and B*070201 to 0706, B*0708 to 0711, B*0713, B*0715 to 0717, B*0720 to 0732, B*0734 to 0739, B*0741 to 07502, B*0754-0759,  B*3566, B*3707, B*420501-420502, B*4805, B*4808, B*4810, B*4812 and B*4814 to 4816, B*4818 and B*4819 alleles. (Both specific fragments may not always be obtained.)

Primer mix 23: Specific PCR fragment of  95 bp in the B*4029 allele. Specific PCR fragment of 120 bp in the B*4036, B*4048 and B*4807 and B*4817 alleles.
Primer mix 24: Specific PCR fragment of 165 bp in the B*4034 allele. Specific PCR fragment of 250 bp in the B*4037, B*4076 and B*3705 alleles .

Primer mix 42: Specific PCR fragment of 95 bp in the B*4058 and B*4434 alleles. Specific PCR fragment of 165 bp in the B*4065 allele.

Primer mix 44: Specific PCR fragment of 110 bp in the B*4078 allele. Specific PCR fragment of 205 bp in the B*4054 allele.

Primer mix 45: Specific PCR fragment of 85 in the B*4056 allele. Specific PCR fragment of 135 bp in the B*4055 and B*4067 alleles.

Primer mix 48: Specific PCR fragment of 215 bp in the B*4061 allele. Specific PCR fragment of 245 bp in the B*4073 and B*1806 alleles.

 ‘w’, might be weakly amplified. 







Olerup SSP AB
In U.S. “For Research Use Only.
www.olerup.com
Hasselstigen 1
Not For Use in Diagnostic Procedures.”

SE-133 33 Saltsjöbaden

Sweden

