Gel Documentation Form and Worksheet

HLA-B*42 (101.543-06/06u) 	Lot No: 3E7	Expiry Date: 2019-03-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 16 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*42 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.25.0, July 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 11: Specific PCR fragment of 115 bp in the B*42:19 and the B*08:20 and 08:53:01-08:53:02 alleles. Specific PCR fragment of 180 bp in the B*42:10 and 42:17 and the B*08:49, 08:71, 27:83, 41:24 and 53:15 alleles.

Primer mix 14: Specific PCR fragment of 195 bp in the B*42:15 and 42:18 and the B*07:11, 07:57, 07:75, 07:160, 07:240, 07:253, 08:16-08:17, 08:47, 08:123, 08:145, 18:49, 18:79, 18:108, 37:05 and 39:20 and in the C*01:59, 01:118, C*06:82, C*07:49, 07:124, 07:155, 07:210, 07:238, 07:247 and 07:403 alleles. Specific PCR fragment of 290 bp in the B*42:13 and the B*08:49, 08:60, 08:76, 08:129 and 53:15 alleles.

4The HLA-B*42 primer set cannot separate the B*42:07 and the B*08:94 alleles. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*08 high resolution kit.

The HLA-B*42 subtyping kit cannot distinguish the silent mutations in the B*42:01:01-42:01:03 and the 42:05:01- 42:05:02 alleles.

‘w’, might be weakly amplified.