HLA-B*46 (101.544-06/06u) 	Lot No: 8R7	Expiry Date: 2027-05-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: ___________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 7, 10, 13, 14, 16 and 22 may have tendencies of unspecific amplifications.

Primer mix 24 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-B*46 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.31.0, January 19, 2018.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-B*46 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-B*46 alleles | Other amplified HLA Class I alleles |
| --- | --- | --- | --- |
| 4 | 130 bp 245 bp | *46:04, 46:40:01-46:40:02 *46:14 | *18:06, 18:142w, 35:74, 35:186, 35:356, C*07:1011 *18:06, 18:142w, 27:202, 40:73, 40:465, 73:01:01:01w-73:03w, C*03:278, C*03:504, C*07:714, C*07:724, C*16:86 |
| 6 | 120 bp 225 bp | *46:20 *46:06, 46:87 | *35:392, 35:425, 51:351, 55:19 *07:09:01-07:09:02, 07:11, 07:17, 07:162, 07:237, 07:255, 07:287, 15:138, 15:241, 15:297, 18:35, 18:110, 35:66, 40:38, 40:52, 40:59-40:60, 40:158, 40:222, 40:352, 40:422, 48:14, 48:23, C*07:38:01-07:38:02 |
| 7 | 105 bp 140 bp 180 bp | *46:16 *46:07N *46:56 | *14:07N, 35:461N, 39:40:01N-39:40:02N, 56:19N |
| 8 | 190 bp 380 bp | *46:39 *46:06, 46:08, 46:11, 46:13:01-46:13:03, 46:18-46:19, 46:21:01-46:21:02, 46:25, 46:33, 46:43, 46:83, 46:93 | *35:298 *15:02:01:01-15:03:13, 15:05:01:01-15:06, 15:09:01-15:10:08, 15:13:01-15:13:03, 15:16:01:01-15:18:10, 15:21:01:01-15:21:01:02, 15:23, 15:25:01:01-15:25:04, 15:29:01:01-15:29:01:02, 15:31:01:01-15:31:01:03, 15:36-15:37, 15:39:01:01-15:40:02, 15:42, 15:44, 15:48, 15:52, 15:55, 15:61-15:62, 15:64:01-15:64:02, 15:67, 15:69, 15:72, 15:74, 15:80, 15:86, 15:88-15:91, 15:93, 15:95, 15:98, 15:103, 15:106-15:108, 15:112, 15:114-15:115, 15:119, 15:121, 15:123-15:124, 15:127, 15:131-15:134, 15:136, 15:138-15:139, 15:151, 15:153, 15:155-15:156, 15:158, 15:161-15:162, 15:168, 15:170, 15:173, 15:176-15:177, 15:185-15:186, 15:188, 15:194-15:198, 15:200, 15:204, 15:208, 15:210, 15:213-15:214, 15:216, 15:219-15:220:04, 15:222-15:224, 15:226N, 15:229-15:230, 15:235, 15:238, 15:240, 15:242:01-15:243, 15:249-15:250, 15:252-15:255, 15:263, 15:265-15:266, 15:268, 15:271, 15:273-15:275:02, 15:281-15:283, 15:288-15:294N, 15:297, 15:301-15:302N, 15:306-15:308, 15:310-15:314, 15:319, 15:323, 15:325, 15:328-15:330, 15:332, 15:335, 15:337-15:339, 15:341, 15:345, 15:348, 15:351, 15:354, 15:356-15:358, 15:360-15:361, 15:364, 15:366, 15:369, 15:376, 15:378, 15:380N, 15:382-15:384:02, 15:388-15:389, 15:393-15:397, 15:399, 15:402-15:404, 15:407-15:408, 15:411, 15:414, 15:418, 15:420-15:421, 15:423-15:427, 15:433-15:439, 15:444-15:449, 15:451, 15:454N-15:455, 15:458, 15:460, 15:462-15:463N, 15:468, 15:475, 15:485, 15:487N, 15:491, 15:494-15:495, 15:497, 15:500, 15:502-15:506, 15:508-15:509, 15:511, 15:516-15:517, 15:523, 15:526-15:527, 15:530, 15:532, 15:537, 15:539, 15:543-15:544N, 15:546Q, 15:548, 15:550, 15:552-15:553, 15:555, 15:557, 15:560, 15:563-15:564, 15:566-15:567, 15:570-15:571, 15:573-15:575N, 15:577, 15:582, 15:584N, 15:587-15:589, 15:592, 15:594, 15:596N, 15:599, 15:602-15:603, 15:607, 15:610-15:617, 15:619-15:620, 15:623, 15:625-15:630, 15:633, 15:636, 15:642-15:646, 15:648, 15:651 |
| 10 | 100 bp 160 bp 315 bp | *46:05 *46:38 *46:15N | *07:204, 07:210, 07:383, 13:124, 14:02:13, 15:125:01, 35:54, 35:486, 37:85, 48:57, 51:140, 58:132, C*05:01:28, C*06:02:93, C*07:02:30, C*08:16:02 *18:135:01:01-18:135:01:02, 51:334 |
| 12 | 100 bp 170 bp 305 bp 380 bp | *46:40:01-46:40:02 *46:10 *46:55N *46:19, 46:93 | *35:186, C*07:1011 C*02:167, C*03:504, C*04:459, C*05:205, C*06:284, C*07:828 *15:48, 15:108, 15:136, 15:235, 15:249 |
| 13 | 105 bp 220 bp | *46:11, 46:18 *46:22, 46:32:01-46:32:02 | *07:78, 13:02:01:01-13:02:14, 13:02:16-13:02:37, 13:03, 13:08-13:09, 13:14-13:16, 13:18-13:19, 13:27, 13:30-13:34, 13:37-13:38, 13:40-13:42, 13:44-13:45, 13:48-13:49N, 13:53-13:56:02N, 13:58, 13:65-13:70, 13:74-13:75, 13:81-13:82, 13:84-13:85, 13:88-13:89, 13:91, 13:93-13:94, 13:96-13:105, 13:111-13:121, 13:123Q-13:126, 13:128, 13:130-13:134, 13:136-13:137N, 13:139N, 13:143, 13:145, 13:147, 13:149-13:159, 13:164-13:167, 13:169, 13:172, 13:175-13:176, 14:37, 15:42, 15:303, 15:485, 15:552, 35:60, 44:15:01:01-44:15:01:02, 44:18:01:01-44:18:01:02, 44:339, 44:355, 45:01:01:01-45:01:12, 45:03-45:08, 45:10-45:25, 45:27-45:28N, 45:30, 49:01:01:01-49:03, 49:06-49:14, 49:16-49:17, 49:19N-49:46, 49:48-49:49, 49:51-49:60N, 49:62-49:78, 50:01:01:01-50:01:20, 50:01:22-50:02:01:02, 50:04:01-50:08, 50:10-50:11, 50:13, 50:15, 50:18-50:19, 50:21-50:22, 50:31-50:32, 50:34-50:40, 50:43-50:50, 50:52-50:79, 51:15, 51:106:02, 51:157, 51:225, 51:300, 52:25:01, 54:01:01:01-54:03, 54:05N, 54:07-54:08N, 54:10, 54:12-54:13, 54:16-54:30, 54:32-54:37, 54:39-54:41, 54:43-54:46, 55:01:01:01-55:01:03, 55:01:05-55:01:06, 55:01:08-55:02:10, 55:02:12-55:03, 55:05, 55:07, 55:09-55:12, 55:15-55:16, 55:18-55:19, 55:21-55:22, 55:24-55:26, 55:29-55:31, 55:33-55:38, 55:40-55:41, 55:43, 55:45-55:48, 55:50, 55:52, 55:54-55:57, 55:59-55:60, 55:62-55:67, 55:69-55:80, 55:82-55:85, 55:87-55:93, 55:95-55:109, 55:111-55:134, 56:01:01:01-56:01:18, 56:07-56:08, 56:13-56:14, 56:16-56:17, 56:19N-56:20:02, 56:23-56:30, 56:33-56:49, 56:52-56:55:01:02, 56:58-56:59, 56:61-56:62, 56:64-56:65, 56:67-56:87, 56:89-56:91, 59:01:01:01-59:01:01:02, 59:04-59:10N, 59:12 *13:31, 13:41, 13:131, 13:145, 13:164, 15:04:01:01-15:04:04, 15:137, 15:303, 15:499, 15:531, 15:609, 35:265, 50:47, 51:61:01-51:61:02, 52:21:01-52:21:02, 52:97, 54:33, 54:40, 55:21, 56:43, C*12:183 |
| 15 | 305 bp 330 bp | *46:55N *46:01:03, 46:01:16, 46:01:24, 46:11, 46:13:01-46:13:02, 46:18, 46:21:02, 46:33 | *15:01:44, 15:02:09, 15:03:02, 15:03:04, 15:05:02, 15:07:03, 15:13:02, 15:18:06, 15:27:03, 15:38:02, 15:39:02, 15:42, 15:48, 15:78:04, 15:86, 15:179:01, 15:188, 15:224, 15:269, 15:275:01, 15:383, 15:393, 15:407, 15:435, 15:485, 15:552, 15:578, 15:587, 15:599, 15:623 |
| 18 | 95 bp 265 bp | *46:23 *46:57 |  |
| 19 | 160 bp 230 bp | *46:38 *46:24 | *18:135:01:01-18:135:01:02, 51:334 *15:19, 15:304N |
| 20 | 225 bp 340 bp | *46:34 *46:28 | *15:340 |
| 21 | 235 bp 270 bp | *46:51Q *46:26 |  |
| 22 | 180 bp 215 bp 245 bp 325 bp | *46:56 *46:27 *46:41N *46:77, 46:86 | *15:292, 15:401, 35:113, 44:98, 52:31:01-52:31:02, A*02:376, C*03:125, C*03:176 *07:13, 07:247, 07:270, 08:188, 15:434, 27:198, 39:121, 54:01:01:01-54:01:06, 54:01:08-54:46, 55:07, 55:124, 59:06 |

4The following HLA-B*46 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*46:23, 46:57 | 18 |
| B*46:28, 46:34 | 20 |

5The following alleles give rise to identical amplification patterns with the HLA-B*46 high resolution kit. These alleles can be distinguished by the HLA-B low resolution and/or the respective high resolution kits.

Alleles

B*46:01:26, 46:31, 46:47, 46:49, 46:79N, 15:318

B*46:77, 15:401, 54:06

Abbreviations

‘w’, might be weakly amplified.