Gel Documentation Form and Worksheet

HLA-B*55 (101.570-06/06u) 	Lot No: 9G5	Expiry Date: 2021-04-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	                         Failed lanes: ___________                            Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 6, 25, 26, 28 and 30 may have tendencies of unspecific amplifications, most pronounced in primer mix 30.

Primer mix 32 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*55 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.26.0, October 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-B*55 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-B*55 alleles | Other amplified Class I alleles |
| --- | --- | --- | --- |
| 5 | 95 bp 235 bp | *55:50 *55:04, 55:49, 55:86 | *08:83, 13:06, 13:53, 14:43, 14:50, 18:74N, 18:78, 38:38, 41:37, C*05:110, C*12:120 *07:19, 07:31, 07:34, 07:43, 08:01:01:01-08:05, 08:07-08:08N, 08:10, 08:13-08:15, 08:17-08:20, 08:22-08:24, 08:26:01-08:39, 08:41-08:48, 08:50-08:59:02, 08:61-08:78, 08:80-08:83, 08:85-08:88, 08:90-08:106, 08:108-08:124, 08:126-08:128, 08:130-08:155, 08:157-08:164, 08:166-08:170, 08:172-08:174, 08:176-08:180, 08:182-08:183, 08:185, 08:187-08:195, 14:05, 14:13, 14:53, 18:14, 35:87, 37:09, 38:19, 39:03:01:01-39:03:01:02, 39:14:01:01-39:14:01:02, 39:24:01-39:24:02, 39:29, 39:37, 39:76, 39:120, 40:39, 41:02:01-41:02:07, 41:04, 41:10-41:11, 41:13, 41:15, 41:18, 41:23-41:24, 41:27, 41:31, 41:36, 41:38-41:43, 41:45N-41:47, 41:49, 41:51-41:52, 41:55, 42:01:01-42:02:01:02, 42:05:01-42:12, 42:14-42:25, 44:166, 48:37, C*07:294, C*07:526, C*07:530, C*08:08:01-08:08:02 |
| 8 | 230 bp 425 bp | *55:66 *55:12 | *56:41 |
| 9 | 215 bp 375 bp | *55:25 *55:11, 55:14 | *07:225, 07:227 |
| 11 | 90 bp 125 bp 180 bp | *55:48 *55:15 *55:09, 55:22, 55:24 | *07:78, 13:01:01:01-13:02:22, 13:07N-13:09, 13:11, 13:14-13:20, 13:22:01-13:23, 13:25, 13:27-13:34, 13:36-13:45, 13:47, 13:49N-13:50, 13:52, 13:54-13:58, 13:60-13:61, 13:63N-13:70, 13:73-13:78, 13:80-13:85, 13:87-13:107, 13:109-13:110, 40:48, 45:10, 49:07, 50:31, 54:26, 59:09 |
| 18 | 215 bp 310 bp 415 bp | *55:25 *55:19 *55:18, 55:31 | *40:10:01:01-40:10:02, 54:30, 56:23, 56:42, 56:44, 56:54, 59:01:01:01-59:10N |
| 21 | 170 bp 270 bp | *55:83N *55:10 | *18:01:01:01-18:03:02, 18:05:01:01-18:15, 18:18:01:01-18:28, 18:30-18:79, 18:81-18:97, 18:99-18:101, 18:103-18:106, 18:108-18:111, 18:113-18:119, 18:121-18:124, 18:126-18:145, 27:75, 35:25, 35:124-35:125, 35:142, 35:162, 35:267, 35:320, 37:01:01:01-37:21, 37:23-37:40, 37:42N-37:71, 40:149?, 44:130, 44:156, 44:221, 44:224, 44:258, 51:116, 51:176, 51:179, 51:218, 52:16, 52:27, 53:43, 54:21, 56:16, 57:58, 57:80, 58:12, 81:01, 81:03?-81:04N?, 81:05, 81:06?-81:08?, 82:01:01:01-82:03, 83:01 |
| 22 | 95 bp 225 bp | *55:23, 55:27, 55:68 *55:09, 55:21, 55:37, 55:52 | *07:84, 13:04, 13:35, 13:72, 15:04:01:01-15:04:04, 15:16:01:01-15:16:03, 15:67, 15:95, 15:155, 15:222, 15:254, 15:293, 15:310, 15:362, 15:408, 35:37, 35:235, 35:265, 40:44, 40:159, 41:21, 44:20, 44:47, 44:100, 44:197, 45:09, 46:32, 49:04:01-49:05, 50:33, 51:37, 51:90, 51:92:01-51:92:02, 51:197, 51:216, 52:12, 52:26, 52:63, 52:75, 54:14-54:15, 56:50, C*07:463, C*12:183 *07:78, 07:84, 13:18, 13:31, 13:41, 15:04:01:01-15:04:04, 15:137, 15:303, 35:265, 39:33, 40:161, 46:32, 49:41, 50:47, 51:05, 51:29, 51:54, 51:61:01-51:61:02, 51:82, 51:197, 51:217, 52:21:01-52:21:02, 52:24, 54:10, 54:20, 54:33, 56:43, C*05:152, C*12:183, C*14:92 |
| 23 | 165 bp 220 bp | *55:29 *55:16, 55:21 | *13:105, 51:174:02 *07:143, 13:31, 13:41, 15:04:01:01-15:04:04, 15:137, 15:303, 27:157, 35:265, 40:166, 42:02:01:01-42:02:01:02, 42:09, 42:17-42:18, 45:06, 46:32, 50:47, 51:61:01-51:61:02, 52:21:01-52:21:02, 54:02, 54:33, 56:35, 56:43, C*12:183 |
| 24 | 100 bp 235 bp | *55:13, 55:23, 55:27, 55:32, 55:58, 55:68 *55:33 | *07:84, 13:04, 13:35, 13:46, 13:72, 15:04:01:01-15:04:04, 15:16:01:01-15:16:03, 15:67, 15:95, 15:137, 15:155, 15:222, 15:254, 15:293, 15:310, 15:362, 15:408, 35:37, 35:235, 35:265, 35:276, 39:06:01-39:06:05, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 39:90, 39:102, 39:109, 39:127, 39:129, 39:132, 40:44, 40:86, 40:159, 40:330, 41:21, 41:30, 41:50, 44:20, 44:47, 44:100, 44:197, 45:02, 45:09, 46:32, 49:04:01-49:05, 49:50, 50:09, 50:33, 51:13:01-51:13:02, 51:37, 51:63:01-51:63:02, 51:90, 51:92:01-51:92:02, 51:97, 51:172, 51:197, 51:216, 52:12, 52:14, 52:26, 52:39, 52:63, 52:75, 54:14-54:15, 56:22, 56:50, 59:03, 73:01-73:02, C*05:152, C*07:463, C*12:183 |
| 25 | 155 bp 280 bp 380 bp | *55:62 *55:26 *55:18, 55:34, 55:40 | *40:10:01:01-40:10:02, 54:35 |
| 26 | 75 bp 310 bp 400 bp | *55:42 *55:45 *55:34, 55:47 | *13:88 |
| 27 | 95 bp 170 bp | *55:46 *55:43 | *50:39, 54:16 *51:127 |
| 28 | 95 bp 215 bp | *55:41, 55:44, 55:58 *55:57 | *13:46, 15:137, 51:172, 51:223, 73:01-73:02 |
| 30 | 100 bp 220 bp | *55:35, 55:50 *55:17, 55:38, 55:72 | *08:83, 13:06, 13:53, 14:43, 14:50, 15:76, 15:101, 18:74N, 18:78, 38:38, 41:37, 56:39, C*05:110, C*12:120 *08:09, 08:84, 15:83, 39:06:02:01-39:06:05, 39:34, 39:57, 39:62, 39:64, 39:90, 39:109, 39:129, 39:132, 42:04, 51:21, 51:36, 51:101, 51:143, 51:153, 51:197, 52:37, 52:71, 78:07, C*14:92 |
| 31 | 105 bp 170 bp 235 bp | *55:13, 55:58 *55:43 *55:55N | *13:46, 15:137, 35:235, 35:276, 39:06:01-39:06:05, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 39:90, 39:102, 39:109, 39:127, 39:129, 39:132, 40:86, 40:330, 41:50, 45:02, 49:50, 50:09, 51:13:01-51:13:02, 51:92:01-51:92:02, 51:172, 52:14, 52:75, 56:22, 59:03, 73:01-73:02, C*05:152 *51:127 |

4The HLA-B*55 primer set cannot separate the B*55:78 and the B*15:42 alleles. These alleles can be distinguished by the HLA-B low resolution kit and/or the HLA-B*15 high resolution kit.

5The following HLA-B*55 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix |
| --- | --- |
| B*55:26, 55:62 | 25 |

‘w’, may be weakly amplified.

‘?’, the nucleotide sequence of the primer matching region is not known.