Gel Documentation Form and Worksheet

HLA-B*59 (101.554-06/06u) 	Lot No: 4F0	Expiry Date: 2020-01-01

Name:___________________

Sample ID:_______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:________________

Reviewed By:________________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 10 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-B*59 alleles in bold lettering are listed as confirmed alleles on the on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.27.0, January 2017.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-B*59 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Size of control band | Amplified HLA-B*59 alleles | Other amplified HLA-B alleles |
| --- | --- | --- | --- | --- |
| 6 | 105 bp 235 bp | 1070 bp | *59:03 *59:05 | *13:46, 15:137, 35:235, 35:276, 39:06:01-39:06:05, 39:33-39:34, 39:50, 39:57, 39:62, 39:64, 39:83, 39:90, 39:102, 39:109, 40:86, 40:330, 41:50, 45:02, 50:09, 51:13:01-51:13:02, 51:92:01-51:92:02, 51:172, 52:14, 55:13, 55:58, 56:22, 73:01-73:02 |

‘?’, nucleotide sequence information not available for the primer matching sequence.