# HLA-C high resolution for frequent alleles

# (101.707-12/12u) 	Lot No: 9N4	Expiry Date: 2026-09-01

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:_______________	_

Interpretation:_______________	                    Failed lanes: ____________                           Comments:_____________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 3, 5, 18, 21, 36, 40, 44, 45, 50, 57, 61, 62, 86 and 90 may have tendencies of unspecific amplifications.

Primer mixes 20, 36, 73, 78 and 80 have a tendency to giving rise to primer oligomer formation.

Primer mixes 6, 10, 12, 17, 27, 33, 53, 61, 64, 72, 77, 82 and 87 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C high resolution primer mixes.

Primer mixes 10, 44 and 92 may give rise to a long unspecific amplification product. This band should be disregarded when interpreting the typing results.

Primer mix 64 may give rise to unspecific amplification in C*12 alleles.

Primer mix 19 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C high resolution primer mixes for the C*03 alleles.

Primer mix 96 contains a negative control, which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-C alleles listed on the IMGT/HLA web 2022-July-12, release 3.49.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-C*high primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-C alleles | Other amplified HLA Class I alleles |
| --- | --- | --- | --- |
| 2 | 100 bp 215 bp | *04:05, 07:54 *01:05, 01:77, 04:240, 04:386, 05:111, 05:207, 07:37:01:02, 07:216, 07:307, 07:755, 14:08, 16:06, 16:115 | B*07:77, B*07:193, B*07:380 |
| 3 | 65 bp 100 bp 200 bp 225 bp 290 bp 365 bp | *02:153, 03:383, 03:483, 06:214, 08:99, 16:187 *01:27 *01:06 *07:06:01:01-07:06:06, 07:18:01:01-07:19, 07:28, 07:71, 07:112, 07:173, 07:330:02, 07:517, 07:607, 07:613, 07:620-07:621, 07:687, 07:706, 07:721, 07:735, 07:739, 07:760, 07:776N, 07:781, 07:783, 07:803, 07:805, 07:815, 07:819Q, 07:827, 07:830, 07:841, 07:845, 07:847, 07:887, 07:919, 07:932, 07:952, 07:955, 07:959, 07:977, 07:979, 07:1005N *01:11 *04:451, 15:13:01:01-15:13:02, 15:103, 15:172 |  |
| 4 | 100 bp 200 bp | *02:34, 16:09 *01:07:01-01:07:02, 06:10, 06:43:01, 07:489:02, 14:24:02 | A*03:356, B*38:168 |
| 5 | 130 bp 155 bp 215 bp 275 bp 300 bp | *01:192, 02:02:28, 03:03:29, 03:04:19, 03:113:01, 04:01:43, 05:01:17, 05:09:02, 05:17, 06:02:23, 06:27, 06:153:02, 06:304, 07:03, 07:17:01:01-07:17:04, 07:140:01-07:141:03, 07:304, 07:307, 07:512, 07:599, 07:671, 07:812, 07:850, 07:932, 07:940, 07:986, 08:15:02, 08:72:02, 12:03:10, 15:02:33:01-15:02:33:02, 16:01:30, 16:02:11, 16:47, 16:128 *07:23, 12:13:01:01-12:13:01:02 *01:08, 12:19, 14:107 *01:192, 06:27, 16:47, 16:128 *06:02:23, 06:153:02, 07:31:01-07:31:02, 07:177, 07:514:01-07:514:02, 12:03:10, 16:01:30, 16:02:11 | A*26:55, A*29:27, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*08:01:25, B*15:17:04, B*18:01:48, B*18:90, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*35:524, B*37:04:02, B*39:09:03, B*49:01:22, B*51:01:63, B*57:01:18, B*57:03:04, B*58:01:17 |
| 6 | 105 bp 150 bp 190 bp 210 bp 265 bp | *03:24, 15:90 *01:20 *01:60, 07:05, 07:177, 07:364, 07:538 *01:04, 01:09:01-01:09:02, 06:23, 06:179, 12:178 *01:15:01, 02:114, 03:33, 03:438 | B*27:36, B*40:469, B*48:21, B*48:26 B*15:129, B*15:342 B*27:25, B*27:115, B*27:161, B*27:245, B*46:84 |
| 8 | 100 bp 135 bp 595 bp | *02:03, 02:16:02:01-02:16:02:02, 02:18, 03:03:22, 03:04:34, 04:353, 06:07, 07:01:105, 07:02:75 *02:20 *07:179, 07:679 | B*27:05:56, B*27:34, B*35:01:30w, B*40:02:07, B*40:06:02, B*51:01:52w, B*57:01:16w, B*57:03:02w |
| 10 | 105 bp 130 bp | *03:342, 07:46, 07:356 *01:115, 02:07, 02:97, 02:158, 04:439, 14:79, 16:10, 16:67 | B*56:08, B*56:14 |
| 11 | 75 bp 160 bp 505 bp | *01:169:02, 02:08:01:01-02:08:01:02, 02:42, 02:189, 03:11:01-03:11:02, 03:18:02-03:18:03, 03:37:01-03:37:02, 03:64:01, 03:301, 03:529, 04:256, 06:03:01, 07:314:02, 07:756, 12:02:17, 12:03:23, 15:10:02-15:10:03, 15:113, 15:203 *02:104, 03:46, 03:248, 04:16, 15:100 *07:06:01:01-07:06:06, 07:330:02, 07:343:01:01-07:343:01:02, 07:613, 07:620, 07:706, 07:721, 07:735, 07:739, 07:760, 07:776N, 07:803, 07:827, 07:841, 07:887, 07:932, 07:959, 07:979 | B*15:01:72, B*15:125:02, B*46:01:33, B*58:74 |
| 12 | 70 bp 280 bp | *07:53, 07:216 *01:169:02, 02:02:01-02:02:03, 02:02:06-02:02:29, 02:02:31-02:02:39, 02:02:41-02:03, 02:04w, 02:05:01-02:13, 02:15-02:25Q, 02:26:02-02:32, 02:34-02:40:02, 02:42-02:86, 02:88-02:106, 02:108-02:133, 02:135N-02:151, 02:153-02:163, 02:165N-02:166, 02:168-02:190, 02:192N-02:215Q, 03:02:01-03:02:09, 03:02:11-03:02:27, 03:04:01:01-03:04:25, 03:04:27-03:10, 03:14-03:17:02, 03:19, 03:23N-03:29, 03:32:01:01-03:38:02, 03:40:01-03:42:02, 03:44-03:48, 03:51, 03:54, 03:57:01-03:57:02, 03:60, 03:63-03:64:01, 03:65, 03:70-03:74, 03:77-03:78, 03:80:01-03:80:02, 03:82, 03:84, 03:87:01-03:87:02, 03:89-03:95, 03:98, 03:100-03:101, 03:104-03:111, 03:113:01-03:115:02, 03:117-03:118, 03:121N, 03:123, 03:125, 03:128-03:131, 03:134-03:136, 03:138-03:140:01:02, 03:143, 03:145-03:149, 03:153-03:155, 03:157, 03:159, 03:162-03:164, 03:169Q, 03:172-03:174, 03:178-03:181, 03:183-03:184:02, 03:186:01-03:186:02, 03:190-03:191, 03:193-03:194, 03:197-03:201N, 03:208N-03:213, 03:215-03:216, 03:218-03:219, 03:221-03:222, 03:224N-03:226, 03:232-03:236, 03:238-03:240, 03:244Q-03:250, 03:252, 03:255-03:261, 03:263:01-03:263:03, 03:265N-03:266, 03:269-03:270, 03:277N, 03:278w, 03:279-03:283, 03:286-03:287:02, 03:292-03:294, 03:296:01-03:303, 03:305-03:306, 03:309-03:311, 03:313-03:315, 03:317-03:318N, 03:322-03:323N, 03:326, 03:328-03:335, 03:337-03:338, 03:340, 03:342-03:343, 03:347-03:350, 03:353-03:355, 03:358-03:359, 03:361-03:362, 03:365-03:366N, 03:368-03:369, 03:371, 03:373, 03:376, 03:379, 03:381-03:382, 03:384-03:388, 03:390-03:394, 03:396:01N-03:397, 03:399-03:412, 03:415, 03:417, 03:419-03:420, 03:423-03:426, 03:429, 03:431, 03:434-03:435, 03:437, 03:439, 03:441-03:443, 03:445N-03:446N, 03:448Q-03:449N, 03:452-03:453, 03:455-03:456, 03:458, 03:462N-03:470N, 03:473, 03:475, 03:478, 03:480, 03:482-03:489, 03:491:01-03:494, 03:496-03:502, 03:505, 03:508N, 03:510N-03:513, 03:518, 03:521-03:523, 03:525-03:526, 03:531N-03:532, 03:536, 03:538-03:539, 03:543-03:544, 03:546-03:549, 03:552-03:555, 03:558, 03:561-03:562, 03:564-03:565, 03:566w, 03:569-03:572, 03:575-03:577, 03:580-03:581, 03:584, 03:588-03:589, 03:591, 03:593, 03:596, 03:600, 03:602-03:605, 04:03:01:01-04:03:10, 04:06:01-04:06:03, 04:16, 04:80, 04:107, 04:147, 04:160:01-04:160:02, 04:171, 04:256, 04:286, 04:294, 04:299, 04:335, 04:337, 04:351:01-04:351:02, 04:357, 04:363, 04:381, 04:383, 04:393, 04:400, 04:402, 04:473, 05:58:01, 05:58:03, 06:03:01, 06:132:01-06:132:02, 07:96:01-07:96:02, 07:314:02, 07:578, 07:756, 12:02:17, 12:03:23, 12:140:02, 12:353, 15:02:01:01-15:02:20, 15:02:22-15:02:24, 15:02:26-15:05:07, 15:05:10-15:05:14, 15:05:16-15:09:02, 15:10:02-15:10:03, 15:11, 15:13:01:01-15:13:02, 15:15-15:19, 15:21-15:22, 15:24-15:35, 15:37-15:60, 15:62, 15:64-15:106, 15:108-15:137, 15:139-15:143, 15:145N-15:157, 15:159-15:207, 15:209-15:241, 15:243-15:251, 16:34, 16:70, 16:121 | B*15:01:72, B*15:125:02, B*40:164, B*46:01:33, B*46:77, B*50:01:23w, B*58:74 |
| 16 | 110 bp 240 bp 275 bp 370 bp | *05:180N, 07:104N, 07:702N, 08:208N, 12:46N *03:53, 03:580, 12:07, 12:17 *01:65, 03:05:01:01-03:05:01:03, 03:13:01:01-03:13:02, 03:17:01-03:17:02, 03:25, 03:27, 03:35:01-03:35:02:02, 03:71, 03:167, 03:178, 03:198, 03:249, 03:267, 03:271, 03:292, 03:296:01-03:296:02, 03:302, 03:335, 03:386, 03:407, 03:474, 03:482, 03:494, 03:555, 04:201:02, 04:212, 05:86, 05:201, 07:133:01, 07:242, 07:330:01, 07:748 *15:22, 15:37, 15:55, 15:58, 15:65, 15:72, 15:125, 15:190, 15:246 | B*15:272N, B*40:286N A*68:226, B*35:310 B*15:96 |
| 17 | 110 bp 180 bp 565 bp | *01:118, 01:128, 01:195, 03:08, 03:29, 03:31, 03:246, 03:555, 06:44, 06:252, 07:01:01:01-07:01:02:14, 07:01:04-07:01:24, 07:01:26-07:01:73, 07:01:75-07:01:114, 07:06:01:01-07:07, 07:09, 07:16, 07:18:01:01-07:20:02, 07:22, 07:24, 07:26:01:01-07:26:03, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:60, 07:65, 07:70-07:71, 07:73:01-07:73:02, 07:77-07:78:02, 07:81-07:83, 07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:108:01-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131:01-07:132, 07:134, 07:140:01-07:141:03, 07:148, 07:150Q-07:151, 07:153, 07:162, 07:164N-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:224, 07:227N-07:228, 07:230-07:231, 07:235Q-07:237, 07:246:01-07:250, 07:253-07:257:04, 07:263, 07:266-07:269, 07:276-07:282, 07:292-07:293, 07:296-07:301, 07:303-07:304, 07:310-07:311, 07:313, 07:317, 07:330:01-07:332, 07:337, 07:343:01:01-07:343:01:02, 07:353, 07:362, 07:366, 07:369-07:371, 07:377, 07:385-07:387, 07:404, 07:407-07:408, 07:410, 07:412, 07:417, 07:419, 07:421-07:422, 07:424, 07:427, 07:430-07:431, 07:435, 07:437N, 07:440-07:444, 07:448, 07:450:01-07:450:02, 07:453-07:455, 07:458, 07:460-07:463, 07:468-07:471, 07:475-07:476N, 07:479, 07:481, 07:488, 07:490-07:492, 07:498-07:499, 07:502, 07:506, 07:508, 07:512, 07:514:01-07:515, 07:517, 07:521:01-07:522, 07:526:01-07:527, 07:531, 07:536-07:537, 07:540, 07:545-07:547, 07:549-07:550, 07:554, 07:555w, 07:557, 07:559, 07:561, 07:568, 07:570-07:571, 07:579, 07:581, 07:587-07:589, 07:591, 07:602-07:604, 07:607, 07:610, 07:613-07:615, 07:617-07:621, 07:623-07:624, 07:627, 07:633N-07:636, 07:638-07:639, 07:642-07:643, 07:647, 07:649-07:650:02, 07:652-07:654, 07:657-07:658, 07:660, 07:662-07:663Q, 07:668-07:671, 07:673, 07:677, 07:682:01:01-07:683, 07:685, 07:687, 07:690N-07:691, 07:694, 07:696, 07:699, 07:701, 07:705-07:706, 07:708, 07:712-07:714, 07:718, 07:720-07:721, 07:725-07:726N, 07:728, 07:731-07:732, 07:734-07:735, 07:739, 07:746N, 07:749N-07:750N, 07:756-07:758, 07:760, 07:762, 07:771, 07:774, 07:776N-07:778, 07:781-07:782, 07:786-07:788, 07:794-07:796N, 07:800, 07:802-07:806, 07:808N, 07:811-07:816, 07:819Q-07:821N, 07:823-07:825, 07:827, 07:832-07:834, 07:841, 07:843-07:848, 07:855-07:857, 07:859-07:860, 07:863N, 07:869-07:870, 07:872-07:873, 07:875, 07:877-07:879, 07:882, 07:884, 07:887, 07:893-07:894, 07:898, 07:903, 07:909-07:910, 07:914-07:915, 07:919-07:922, 07:925, 07:928, 07:930-07:935, 07:943-07:945, 07:947, 07:949, 07:952, 07:954N-07:955, 07:957, 07:959, 07:961, 07:967, 07:970N, 07:973, 07:977, 07:979-07:981N, 07:983-07:985:02, 07:990-07:993:02, 07:996, 07:1000-07:1002, 07:1006-07:1008, 07:1017, 07:1022-07:1023, 14:73, 15:02:10, 15:02:17, 15:99, 18:05 *01:51, 03:03:01:01-03:03:25, 03:03:27-03:03:63, 03:03:65, 03:11:01-03:11:02, 03:13:01:01-03:13:02, 03:18:01-03:18:03, 03:20N-03:22Q, 03:30-03:31, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119:01-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:144, 03:150-03:152, 03:158, 03:160-03:161, 03:165:01-03:165:02, 03:167-03:168, 03:171, 03:175-03:177, 03:182, 03:185, 03:187-03:189N, 03:192, 03:195-03:196, 03:202-03:207, 03:214, 03:217, 03:220, 03:223, 03:227-03:231, 03:237, 03:241-03:243, 03:251, 03:253-03:254, 03:262, 03:267-03:268, 03:271-03:276, 03:284-03:285, 03:288-03:291, 03:295, 03:304, 03:307-03:308, 03:312, 03:316N, 03:319-03:321, 03:324-03:325, 03:327, 03:336, 03:339, 03:341, 03:345-03:346, 03:351-03:352, 03:356-03:357, 03:360, 03:363N, 03:367, 03:370, 03:372:01-03:372:02, 03:375, 03:377N-03:378, 03:380N, 03:383, 03:389, 03:395, 03:398, 03:413-03:414, 03:416, 03:418, 03:421N-03:422, 03:427-03:428, 03:430, 03:432N-03:433, 03:436, 03:438, 03:440, 03:444N, 03:447N, 03:450-03:451, 03:457, 03:460-03:461, 03:471-03:472, 03:474, 03:476-03:477, 03:479, 03:481, 03:490, 03:495, 03:503, 03:506-03:507, 03:509N, 03:514-03:517, 03:519-03:520, 03:524, 03:527-03:529, 03:533-03:535:01:02, 03:537, 03:540-03:542, 03:545, 03:550-03:551, 03:556, 03:559-03:560N, 03:563, 03:567-03:568, 03:573-03:574, 03:578-03:579, 03:582-03:583, 03:585-03:587, 03:590, 03:592, 03:594-03:595, 03:597-03:598, 03:601, 03:606, 06:53:01-06:53:02, 07:56:01-07:56:02, 07:60, 07:79, 07:109:01-07:109:02, 14:46:02, 17:26 *01:02:18, 03:03:40, 06:02:38, 07:447, 07:940, 12:03:04, 12:03:09, 12:195:01, 14:02:08 | B*07:259 B*07:93, B*08:39, B*18:157:01:01-18:157:01:02, B*27:155, B*35:101:02, B*35:195, B*35:211, B*38:27, B*51:76, B*54:34, B*56:85 B*18:01:42, B*27:05:27, B*57:01:24 |
| 18 | 90 bp 120 bp 185 bp 225 bp 255 bp | *01:65, 03:21, 03:28, 03:49, 03:80:02, 03:117, 03:142, 03:287:01-03:287:02, 03:413, 03:549, 04:201:02, 05:86, 05:201 *03:14, 03:162, 03:220, 03:261, 03:361, 03:434, 07:133:01, 07:330:01, 07:748 *07:21 *03:23N *03:09, 03:22Q, 03:42:01-03:42:02, 03:71, 03:89, 03:116:01, 03:119:01-03:119:02, 03:139, 03:169Q, 03:199, 03:240, 03:249, 03:267, 03:292, 03:300, 03:402, 04:201:02, 04:212, 04:258, 05:86, 05:201, 07:36, 07:133:01, 07:242, 07:330:01, 07:355, 07:748, 15:218 | B*15:96 A*11:350, B*35:537, B*56:37 |
| 19 | 110 bp 265 bp 305 bp 540 bp | *03:14, 03:36, 03:77, 03:162, 03:187, 03:220, 03:261, 03:296:01-03:296:02, 03:361, 03:434, 04:212, 07:133:01, 07:330:01, 07:748 *03:13:01:01-03:13:02, 03:35:01-03:35:02:02, 03:178, 03:198, 03:267, 03:292, 03:474, 04:201:02, 04:212, 05:86, 05:201, 07:133:01, 07:242, 07:330:01, 07:748 *03:32:01:01-03:32:01:02, 03:45, 03:136, 03:297, 04:80, 04:100, 04:178, 04:370, 04:422, 06:14, 06:143, 07:10, 07:43:01-07:43:02, 07:184, 07:196, 07:568, 15:25, 15:62, 15:169 *03:15, 03:32:01:01-03:32:01:02, 03:45, 03:60, 03:136, 03:297, 04:201:02, 04:212, 07:133:01, 07:242, 07:330:01, 07:748 | B*35:537, B*44:274 B*15:96 B*15:357, B*35:178, B*35:282, B*35:316, B*44:505 |
| 20 | 240 bp 265 bp | *02:02:01-02:02:03, 02:02:06-02:02:29, 02:02:31-02:02:39, 02:02:41-02:03, 02:04w, 02:05:01-02:13, 02:15-02:25Q, 02:26:02-02:26:03, 02:28-02:40:02, 02:42-02:64, 02:66-02:86, 02:88-02:106, 02:108-02:114, 02:116-02:130, 02:132-02:133, 02:135N-02:151, 02:153-02:163, 02:165N-02:166, 02:168-02:186, 02:188-02:190, 02:192N-02:215Q, 03:07:01:01-03:07:02, 03:10, 03:15, 03:29, 03:45, 03:163, 03:268, 03:297, 03:450, 03:461, 04:03:01:01-04:03:10, 04:06:01-04:06:03, 04:16, 04:80, 04:107, 04:147, 04:160:01-04:160:02, 04:171, 04:256, 04:286, 04:294, 04:299, 04:335, 04:337, 04:351:01-04:351:02, 04:357, 04:363, 04:381, 04:393, 04:400, 04:402, 05:13, 05:58:01, 05:58:03, 06:03:01, 06:132:01-06:132:02, 12:353, 15:02:01:01-15:02:20, 15:02:22-15:02:24, 15:02:26-15:05:07, 15:05:10-15:05:14, 15:05:16-15:06:03, 15:08:01-15:09:02, 15:10:02-15:10:03, 15:11-15:13:02, 15:15-15:19, 15:21-15:22, 15:24, 15:26-15:35, 15:37-15:42, 15:44:01-15:60, 15:62, 15:64-15:84Q, 15:86-15:106, 15:108-15:137, 15:139-15:143, 15:145N-15:157, 15:159-15:180, 15:182-15:207, 15:209-15:241, 15:243-15:251, 16:70, 16:121 *01:14, 01:154, 05:200, 15:104 |  |
| 21 | 195 bp 225 bp 250 bp 280 bp | *03:03:64, 03:30, 03:65, 04:18, 04:52, 04:55, 04:405, 05:55, 12:58, 12:252, 14:10, 15:12, 15:144 *04:19, 04:410N *03:50 *03:251, 03:314, 04:120, 05:10, 05:64:01-05:64:02, 05:148, 08:19:01-08:19:02, 08:44, 08:61, 08:82, 08:101, 08:126, 08:143, 08:209, 15:130, 15:229 | B*44:441 B*15:627, B*44:148, B*58:76 |
| 22 | 80 bp 140 bp | *01:97, 02:02:38, 02:02:53, 03:02:01-03:02:27, 03:04:57, 03:15-03:16, 03:33, 03:36, 03:40:01, 03:40:03-03:40:04, 03:42:01, 03:43:01, 03:60, 03:71, 03:84, 03:89, 03:95, 03:108, 03:110, 03:119:02, 03:121N, 03:132, 03:139, 03:146, 03:169Q, 03:175, 03:194, 03:197-03:201N, 03:216, 03:221-03:222, 03:224N-03:226, 03:238, 03:240, 03:245, 03:248, 03:258, 03:264, 03:271, 03:279, 03:298-03:301, 03:315, 03:329-03:330, 03:332, 03:338, 03:349-03:350, 03:365, 03:371, 03:373, 03:391N, 03:402-03:403, 03:406, 03:411, 03:425, 03:429, 03:431, 03:449N, 03:452, 03:468, 03:473, 03:475, 03:489, 03:497, 03:505, 03:536, 03:544, 03:547, 03:549, 03:561, 03:575, 03:584, 03:589, 03:596, 04:54:01, 04:313:01:01-04:313:01:02, 04:367, 04:381, 05:215, 06:02:08, 07:02:32, 07:17:03, 07:141:03, 07:242, 12:02:19, 12:03:20, 12:85:02, 14:02:01:01-14:02:01:30, 14:02:03-14:02:20, 14:02:22-14:02:36, 14:02:38-14:03:04, 14:04-14:16, 14:18-14:24:01, 14:25, 14:27-14:53, 14:56-14:78, 14:80-14:81, 14:83-14:91, 14:93N-14:148N, 15:77, 16:01:06 *01:02:68, 01:02:71, 01:97, 03:17:01-03:17:02, 03:71, 03:249, 03:271, 03:302, 04:37, 04:230, 04:263, 06:02:08, 06:34:02, 12:03:20, 14:02:01:01-14:02:01:30, 14:02:03-14:02:20, 14:02:22-14:02:36, 14:02:38-14:03:04, 14:04-14:07N, 14:10-14:16, 14:18-14:27, 14:29-14:53, 14:55-14:81, 14:83-14:91, 14:93N-14:148N, 16:01:06 | B*15:78:03, B*15:524 |
| 23 | 150 bp 240 bp | *01:14, 01:154, 02:02:13, 02:02:29, 03:07:01:01-03:07:02, 03:10, 03:15, 03:29, 03:45, 03:163, 03:268, 03:297, 03:450, 03:461, 04:01:23, 04:03:09, 04:07:02, 04:166:02, 05:01:12, 05:29:02, 06:02:01:01-06:02:01:92, 06:02:03-06:02:71, 06:02:73-06:02:86, 06:02:88-06:02:90, 06:02:92-06:04:02:02, 06:06:01:01-06:10, 06:12-06:76:01, 06:77-06:81, 06:83-06:146, 06:148-06:209:02, 06:211:01:01N-06:216, 06:218-06:247, 06:249-06:251, 06:253-06:310, 06:312-06:355, 07:07, 07:09, 07:76:01-07:76:02, 07:315, 07:328, 07:406, 07:559, 07:598, 07:656, 07:914, 12:04:01, 14:12, 14:49, 14:108, 15:02:10, 15:02:17, 15:99, 16:02:17, 16:199N, 17:01:01:02-17:01:03, 17:01:05-17:21, 17:23-17:64Q, 18:01:01:01-18:16 *05:13 | B*15:277, B*15:430, B*35:222, B*35:525, B*42:22 |
| 26 | 145 bp 170 bp | *01:177, 03:557, 04:07:01-04:07:02, 04:27, 04:89, 04:153, 04:481, 05:78:01-05:78:02, 07:64, 07:402, 08:163, 08:183, 12:269, 15:36, 16:150 *02:09 |  |
| 27 | 135 bp 175 bp 220 bp | *01:35, 01:107, 01:131, 04:08, 04:34, 04:147, 04:212, 14:20, 18:08 *04:30, 04:427, 15:15, 15:77, 15:195 *04:09N |  |
| 29 | 130 bp 190 bp 290 bp | *02:02:38, 02:02:53, 03:05:01:01-03:05:01:03, 03:13:02, 03:17:02, 03:25, 03:27, 03:35:02:01-03:35:02:02, 03:135, 03:167, 03:296:01-03:296:02, 03:335, 03:386, 03:407, 03:482, 03:494, 03:555, 04:15:01, 04:15:03, 04:294, 04:367, 04:443, 12:02:19, 12:85:02, 14:09 *02:15 *07:14 | B*15:78:03, B*15:524, B*40:01:49-40:01:50 B*07:221 |
| 31 | 150 bp 285 bp | *01:13, 02:51, 03:87:01-03:87:02, 02:131, 03:414, 04:223:01-04:223:02, 04:387, 05:09:01-05:09:03, 05:17, 05:52, 05:201, 05:206, 05:262, 07:130, 07:915, 08:15:01-08:15:02, 08:51, 08:73, 08:243, 08:246, 12:12, 12:144, 12:185, 12:301, 12:325, 12:363, 16:27 *01:158, 02:57, 04:40, 04:242, 06:123, 07:45, 07:589, 07:611 | B*07:02:77, B*08:01:36, B*15:01:50, B*15:33, B*15:248, B*15:436, B*18:03:02, B*35:08:02, B*35:08:05, B*55:01:25 A*02:84, B*15:554, B*38:23, B*39:73 |
| 32 | 120 bp 180 bp 210 bp | *03:490, 03:548, 05:03, 07:52 *03:48 *16:07:01 |  |
| 34 | 220 bp 275 bp | *01:177w, 03:231w, 03:557w, 04:10, 04:11w, 04:36w, 04:55w, 04:153, 04:169, 04:210, 04:214w, 04:215N, 04:347, 04:414, 05:78:01-05:78:02, 08:163w, 08:183w, 15:36, 16:150w *03:251, 03:314, 04:27, 05:05:01-05:05:02, 05:07N, 05:135, 05:147-05:148, 07:1012, 08:08:01-08:08:02, 08:62:01-08:62:02, 08:82, 08:144:01-08:144:02, 08:180N, 08:209 | A*02:425, A*02:519, A*29:10:01-29:10:02, A*29:161, A*68:69, B*14:32, B*15:337, B*15:627, B*18:83, B*44:148, B*51:355 |
| 36 | 85 bp 120 bp 160 bp 210 bp 235 bp | *01:65, 03:28, 03:49, 03:117, 03:549, 04:201:02, 05:06, 05:86, 05:201 *05:15, 08:153 *03:25, 04:129, 05:42, 05:46:01:01-05:46:01:02, 06:67, 07:101, 07:148, 07:161, 07:583, 08:05, 08:21, 08:137, 12:127, 12:203, 17:05 *03:06:01-03:06:02, 03:26:01-03:26:02 *03:88, 03:410 |  |
| 37 | 80 bp 130 bp 195 bp 235 bp 280 bp | *01:217:01:01-01:217:01:02, 02:175, 03:562, 04:320, 05:261, 07:50, 07:615, 07:735, 07:781, 16:111, 17:38:01:01-17:38:01:02, 17:49 *05:23, 05:62, 05:134, 05:151, 07:04:01:01-07:04:25, 07:04:27-07:04:28, 07:11, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260:01-07:260:02, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:364-07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655-07:656, 07:664, 07:672N, 07:674, 07:693, 07:698, 07:742, 07:751N, 07:780, 07:797N, 07:831, 07:838-07:839N, 07:852, 07:858, 07:868, 07:876, 07:881N, 07:895-07:897, 07:901, 07:917, 07:926, 07:941, 07:948, 07:951, 07:974Q, 07:1010, 07:1012, 08:07, 08:47, 08:104, 08:188 *05:14 *05:19, 08:145 *05:16, 05:85, 05:107, 05:241, 06:129, 07:364, 08:12:01:01-08:12:01:02 | B*14:32 |
| 43 | 100 bp 155 bp 240 bp 275 bp | *01:02:34, 01:21, 02:42, 02:107, 02:152, 04:140, 04:166:01, 04:166:03, 04:220, 05:98, 05:197, 06:02:72, 06:05, 07:01:74, 07:02:09, 07:125:02, 08:14, 08:80, 08:103:01:01-08:103:01:02, 12:16:01, 12:147, 12:227, 12:279, 15:63, 15:113, 16:80 *06:13 *01:10, 01:51, 02:05:01-02:05:03, 02:17, 03:11:01-03:11:02, 03:39, 06:08, 06:53:01-06:53:02, 07:56:01-07:56:02, 07:60, 07:79, 07:109:01-07:109:02, 12:119, 14:25, 16:29, 16:50, 17:21 *01:192, 06:27, 16:47, 16:128 | B*15:436, B*67:02:01:01-67:02:01:02 B*07:93, B*07:239, B*08:39, B*14:46, B*14:111, B*18:157:01:01-18:157:01:02, B*38:27, B*40:243 |
| 44 | 90 bp 135 bp 165 bp | *03:20N, 03:470N *16:08 *02:22, 02:118, 04:14, 04:68, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 05:106:01-05:106:02, 05:112, 06:09:01-06:09:02, 06:144, 08:27, 08:29, 08:31, 08:160, 08:184, 08:246,12:31:01-12:31:02, 12:144, 15:135, 16:45, 17:04, 18:03 | B*07:425N, B*14:85N, B*44:306N A*24:96, A*24:146, B*15:137, B*15:488, B*37:66, B*50:47, B*50:76 |
| 45 | 140 bp 255 bp 550 bp | *03:04:98, 06:11, 06:122w, 06:124w, 06:147, 06:217, 06:248, 06:252, 07:01:13, 07:02:128, 07:04:01:01-07:04:11, 07:04:13-07:04:28, 07:11-07:12, 07:45, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:272, 07:302, 07:323-07:324, 07:329N, 07:338, 07:354-07:355, 07:358, 07:364-07:365, 07:378, 07:394-07:395, 07:420, 07:426, 07:428, 07:447, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655, 07:656w, 07:664, 07:672N, 07:674, 07:693, 07:742, 07:751N, 07:780, 07:797N, 07:831, 07:838-07:839N, 07:852, 07:858, 07:868, 07:876, 07:881N, 07:892, 07:895-07:897, 07:901, 07:917, 07:926, 07:940-07:941, 07:948, 07:951, 07:953, 07:974Q, 07:1010, 07:1012, 12:02:11, 12:03:09, 12:11, 12:118, 16:01:16 *03:47, 12:126 *06:02:38, 07:447, 12:03:09 | B*15:434 |
| 50 | 240 bp 305 bp 415 bp | *03:03:29, 03:04:19, 03:113:01, 07:29:01:01-07:29:02, 07:177, 07:184, 07:248, 07:1003, 07:1013 *03:03:29, 03:04:19, 03:113:01, 07:10, 07:43:01-07:43:02, 07:184, 07:196, 07:367, 07:568, 15:02:33:01-15:02:33:02 *04:397, 04:432, 04:442, 06:17, 07:07, 07:09, 07:49, 07:61N, 07:76:01-07:76:02, 07:210, 07:238, 07:247, 07:315, 07:328, 07:403, 07:406, 07:598, 18:01:01:01-18:16 | B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*37:04:02, B*57:01:18, B*57:03:04, B*58:01:17 |
| 51 | 100 bp 235 bp 265 bp | *07:32N, 07:67 *01:16-01:18, 01:21, 01:23, 01:128, 01:152, 01:157, 07:316, 07:338, 07:579, 12:215 *01:19, 07:24, 07:218 |  |
| 53 | 80 bp 115 bp 265 bp | *07:11, 07:682:01:01-07:682:02, 07:736:01:01-07:736:01:02, 07:739 *05:12 *05:29:01-05:29:02, 05:197, 08:13, 08:16:01, 08:25, 08:94 | A*24:443, A*68:275 |
| 55 | 165 bp 215 bp 245 bp 320 bp 345 bp 405 bp 465 bp | *01:186, 02:104, 03:248, 04:11, 04:33, 04:169, 04:172, 04:414, 05:141, 12:194, 15:100, 16:62 *07:26:01:01-07:26:03, 07:33N, 07:92, 07:96:01-07:96:02, 07:314:01-07:314:03, 07:317, 07:351, 07:578, 07:583, 07:723, 07:756, 07:821N, 07:845, 07:870, 07:891, 07:894, 07:936N, 12:349, 18:09 *07:03 *07:72 *01:12:01-01:12:02, 01:21, 01:34, 01:49:01-01:50, 01:79:01-01:79:02, 01:101-01:102, 01:131, 01:212 *07:61N *07:07, 07:16, 07:51, 07:177, 07:181, 07:328, 07:367, 07:598, 07:723, 07:914, 07:993:01-07:993:02, 12:349, 14:121 | B*07:267, B*56:62 |
| 56 | 100 bp 130 bp 250 bp 305 bp | *07:32N *02:02:28, 06:02:23, 07:01:110, 07:22, 07:25, 07:137:01, 07:138, 07:404, 07:812, 07:847, 07:940, 12:03:10 *07:35, 07:352 *03:03:29, 03:04:19, 03:113:01, 07:10, 07:43:01-07:43:02, 07:184, 07:196, 07:367, 07:568, 15:02:33:01-15:02:33:02 | A*02:01:126, A*03:01:46, A*03:154:02, A*11:32:02, A*24:02:62, A*24:347:01, A*24:459, A*25:27:02, A*26:01:64, A*31:01:32, A*33:03:09, A*68:01:12 B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*37:04:02, B*57:01:18, B*57:03:04, B*58:01:17 |
| 57 | 155 bp 225 bp | *03:251, 03:314, 04:120, 05:12, 05:18:01, 05:18:05-05:18:06, 05:103:02, 05:272, 06:129, 07:04:11, 07:892, 07:953, 08:01:01:01-08:01:07, 08:01:09-08:01:18, 08:01:20-08:01:32, 08:03:01:01-08:03:05, 08:06, 08:08:01-08:11, 08:14, 08:16:01-08:16:02, 08:20-08:22:02, 08:24, 08:26N-08:27, 08:33:02-08:33:04, 08:35-08:36N, 08:38-08:42, 08:44, 08:46, 08:50, 08:54, 08:56, 08:58-08:61, 08:65-08:66, 08:78-08:89N, 08:91, 08:95-08:99, 08:101-08:102, 08:105-08:106, 08:109, 08:117-08:119, 08:121N-08:122, 08:124, 08:127N-08:131, 08:133, 08:135-08:138, 08:141Q, 08:143-08:145, 08:147-08:148, 08:153-08:155, 08:157, 08:162-08:165, 08:173N-08:178, 08:186-08:187, 08:189-08:190, 08:192-08:194, 08:196-08:197, 08:199, 08:203-08:205, 08:208N-08:210, 08:212, 08:217, 08:219-08:221, 08:228, 08:232, 08:234-08:236N, 08:241, 08:244, 08:249-08:250, 15:130, 15:229 *05:04:01-05:04:02, 05:103:01-05:103:02, 05:135, 05:188, 05:207, 05:215, 06:129, 07:68, 07:260:01-07:260:02, 07:302, 08:09, 08:11, 08:59, 08:113, 08:152 | B*15:337, B*15:627 B*15:337, B*15:627, B*18:83, B*58:76 |
| 65 | 150 bp 415 bp | *12:06 *01:118, 01:128, 01:195, 03:08, 03:29, 03:31, 03:246, 03:555, 04:112, 04:169, 05:36, 06:44, 06:252, 12:08, 12:81, 12:188, 12:287, 14:73, 15:205, 16:64, 16:70, 16:87 |  |
| 71 | 130 bp 200 bp | *01:131, 02:02:38, 02:02:53, 03:02:01-03:02:07, 03:02:09-03:03:31, 03:03:33-03:04:26, 03:04:28-03:04:29, 03:04:31-03:04:58, 03:04:60-03:04:63, 03:04:65-03:04:87, 03:04:90-03:04:99, 03:06:01:01-03:11:02, 03:13:01:01-03:13:02, 03:15-03:24, 03:26:01-03:26:02, 03:28-03:40:01, 03:40:03-03:42:01, 03:43:01, 03:44-03:57:02, 03:59-03:85, 03:87:02-03:88, 03:91:01-03:93, 03:95-03:98, 03:100-03:101, 03:104-03:118, 03:119:02-03:121N, 03:123-03:127, 03:129-03:134, 03:136-03:142, 03:144-03:152, 03:154-03:166, 03:168-03:177, 03:179-03:189N, 03:191-03:201N, 03:203-03:208N, 03:210-03:219, 03:221-03:239, 03:241-03:261, 03:264-03:266, 03:268-03:270, 03:272-03:275, 03:277N-03:295, 03:297-03:299, 03:301, 03:303-03:329, 03:332-03:334, 03:336-03:337, 03:339-03:345, 03:347-03:352, 03:354, 03:356-03:360, 03:362-03:385, 03:387-03:390, 03:392N-03:401, 03:403-03:406, 03:408-03:411, 03:413-03:438, 03:440-03:446N, 03:448Q-03:463N, 03:465-03:473, 03:476-03:481, 03:483-03:492, 03:495-03:513, 03:515-03:517, 03:519-03:531N, 03:533-03:539, 03:541-03:543, 03:545, 03:547-03:554, 03:556-03:582, 03:584-03:598, 03:600-03:603, 03:605-03:606, 04:15:01-04:15:03, 04:17, 04:80, 04:100, 04:224, 04:230, 04:242, 04:294, 04:367, 04:370, 05:01:69, 05:18:05, 05:148, 05:215, 06:02:08, 06:34:02 07:141:03, 07:857, 07:953, 08:01:07, 08:02:07, 08:33:02, 12:02:19, 12:03:20, 12:85:02, 14:05, 14:09, 14:54, 15:77, 16:01:06 *07:30 | B*15:78:03, B*40:01:49-40:01:50 |
| 73 | 175 bp 205 bp 325 bp | *01:140, 06:161, 07:1006, 08:06, 16:33 *06:12 *01:90, 01:101-01:102, 01:113, 01:116, 02:06:01-02:06:02, 02:23, 02:36:01-02:36:02, 02:68, 03:81, 03:175, 03:199, 03:245, 03:317, 03:388, 04:108, 04:178, 04:422, 05:132, 05:215, 05:238, 06:89, 06:224, 07:123:01-07:123:02, 07:173, 07:294, 07:626, 07:725, 07:775, 07:850, 08:113, 12:15, 12:113, 12:208, 12:282, 12:309, 14:92, 15:02:01:01-15:02:17, 15:02:19-15:02:21, 15:02:23-15:03, 15:05:01:01-15:05:07, 15:05:09-15:13:02, 15:15-15:19, 15:21-15:24, 15:26-15:29, 15:31-15:39, 15:41-15:63, 15:67-15:75, 15:78:01-15:101, 15:103-15:104, 15:106-15:109, 15:111-15:128, 15:130-15:189N, 15:191-15:210, 15:212-15:221, 15:223-15:235Q, 15:237-15:245, 15:247N-15:251, 16:20, 16:109, 16:169 |  |
| 74 | 95 bp 175 bp | *01:03:01-01:03:03, 01:24, 01:27, 01:78, 01:146:01-01:146:02, 03:58, 04:37, 05:85, 05:241, 07:364 *03:08, 03:29, 03:31, 03:246, 03:555, 07:20:01-07:20:02, 07:96:01-07:96:02, 07:263, 15:02:01:01-15:05:07, 15:05:09-15:09:02, 15:12-15:13:02, 15:15, 15:18-15:19, 15:21-15:24, 15:26, 15:28-15:37, 15:39-15:42, 15:44:01-15:62, 15:64-15:106, 15:108-15:112, 15:114-15:123, 15:125-15:191, 15:193-15:207, 15:209-15:251, 16:70 |  |
| 75 | 145 bp 195 bp | *07:57 *02:12, 02:49, 02:55:01-02:55:02, 02:115w, 03:15, 03:27, 03:38:01-03:38:02, 03:69, 03:130, 03:136, 03:163, 03:246, 03:297, 03:431, 03:461, 04:03:01:01-04:03:01:04, 04:03:03-04:03:10, 04:06:01-04:06:03, 04:16, 04:80, 04:107, 04:147, 04:160:01-04:160:02, 04:171, 04:190, 04:256, 04:286, 04:294, 04:335, 04:337, 04:351:01-04:351:02, 04:357, 04:363, 04:381, 04:383, 04:393, 04:400, 04:402, 04:473w, 06:70:01-06:70:02, 06:132:01-06:132:02, 06:305, 07:20:01, 07:20:02w, 07:96:01, 07:96:02w, 07:127:01-07:127:02, 07:263, 07:390, 07:562, 07:578, 12:140:01w-12:140:02w, 12:239w, 12:353, 15:03, 15:16:01-15:16:02, 15:25 | A*29:163 |
| 78 | 195 bp 235 bp 310 bp 360 bp | *06:12, 07:349 *06:16N *01:02:01:01-01:02:87, 01:05-01:20, 01:22-01:23, 01:25-01:33, 01:35-01:53, 01:56N-01:77, 01:79:01-01:89N, 01:91-01:96, 01:98N-01:101, 01:104-01:114:02, 01:117N-01:135, 01:137N-01:145:02N, 01:147-01:151, 01:153-01:223, 01:225-01:230, 01:232-01:235, 02:19, 02:23, 03:03:01:01-03:04:56, 03:04:58-03:11:02, 03:13:01:01-03:13:02, 03:17:01-03:18:03, 03:20N-03:25, 03:27-03:32:01:02, 03:34-03:35:02:02, 03:37:01-03:39, 03:41:01-03:41:02, 03:44-03:57:02, 03:59, 03:61-03:70, 03:72-03:83, 03:85-03:88, 03:90-03:94, 03:96-03:98, 03:100-03:101, 03:103-03:107, 03:109, 03:111-03:118, 03:120, 03:122-03:131, 03:133-03:138, 03:140:01:01-03:145, 03:147-03:168, 03:170-03:174, 03:176-03:189N, 03:191-03:193, 03:195-03:196, 03:202-03:215, 03:217-03:220, 03:223, 03:227-03:237, 03:239, 03:241-03:244Q, 03:246-03:247, 03:249, 03:251-03:257, 03:259-03:263:03, 03:265N-03:266, 03:268-03:270, 03:272-03:278, 03:280-03:297, 03:302-03:306, 03:308-03:314, 03:316N, 03:318N-03:328, 03:331, 03:333-03:335, 03:337, 03:339-03:348, 03:351-03:360, 03:362-03:364, 03:366N-03:370, 03:372:01-03:372:02, 03:374-03:390, 03:392N-03:401, 03:404:01:01-03:405, 03:407-03:410, 03:412-03:424N, 03:426-03:428, 03:430, 03:432N, 03:434-03:448Q, 03:450-03:451, 03:453-03:467, 03:469-03:472, 03:474, 03:476-03:486, 03:488, 03:490-03:496, 03:498-03:504, 03:506-03:513, 03:515-03:518, 03:520-03:535:01:02, 03:537-03:539, 03:541-03:543, 03:545-03:546, 03:548, 05:182, 03:550-03:558, 03:560N, 03:562-03:574, 03:576-03:583, 03:585, 03:587-03:588, 03:590-03:595, 03:597-03:598, 03:600-03:606, 04:89, 04:135, 04:210, 04:422, 04:237, 05:47, 05:107, 05:147-05:148, 05:182, 05:272, 06:107, 06:179, 06:204, 07:29:01:01-07:29:02, 07:177, 07:184, 07:248, 07:850, 07:953, 07:1003, 07:1013, 08:205, 08:209, 12:222, 12:235, 14:54-14:55, 15:06:01:01-15:06:03, 15:18, 15:40, 15:55, 15:102, 15:158, 15:177N, 15:180, 15:214, 18:14 *03:428, 05:233, 06:15, 07:709, 16:175 |  |
| 80 | 70 bp 115 bp 170 bp 210 bp 235 bp | *03:34, 03:142, 03:261, 03:272, 03:386 *04:176 *01:90w, 01:136, 02:06:01-02:06:02, 02:47, 03:25, 04:261, 05:132, 06:168, 06:224, 06:265, 12:15, 12:207-12:208, 14:19, 15:08:01-15:08:02, 15:74 *03:19, 03:44, 03:102, 03:307, 03:494 *03:88, 03:410 | A*26:192 A*26:41, B*07:78w, B*07:424, B*07:457, B*13:18w, B*13:31w, B*13:41w, B*13:73w, B*13:128w, B*13:131w, B*13:145w, B*13:164w, B*15:73:01:01w-15:73:01:02w, B*15:303w, B*15:486w, B*54:10w, B*54:20w, B*54:33w, B*54:40w, B*55:09w, B*55:21w, B*55:37w, B*55:52w, B*56:43w, B*56:51w, B*56:63w B*56:37 w |
| 81 | 65 bp 180 bp 440 bp | *04:347, 07:06:01:01-07:06:06, 07:18:01:01-07:19, 07:28, 07:71, 07:112, 07:173, 07:330:02, 07:517, 07:607, 07:613, 07:620-07:621, 07:687, 07:706, 07:721, 07:735, 07:739, 07:760, 07:776N, 07:781, 07:783, 07:803, 07:805, 07:815, 07:819Q, 07:827, 07:830, 07:841, 07:845, 07:847, 07:887, 07:919, 07:932, 07:952, 07:955, 07:959, 07:977, 07:979, 07:1005N, 08:102, 17:47 *04:30, 04:427 *01:90, 01:136, 01:145:01N, 02:06:01-02:06:02, 02:47, 03:19, 03:102, 03:307, 03:318N, 04:178, 05:132, 06:168, 06:224, 07:289, 08:207, 12:03:66, 12:15, 12:208, 15:11, 15:16:01-15:17, 15:43 | B*46:11, B*46:18, B*56:08, B*56:14 |
| 83 | 235 bp 315 bp 360 bp | *06:16N *01:136, 02:06:01-02:06:02, 02:47, 03:19, 03:102, 03:307, 04:178, 05:132, 06:168, 06:224, 07:289, 07:725, 12:15, 12:208, 15:02:01:01-15:02:08, 15:02:10-15:03, 15:07:01:01-15:08:02, 15:10:01-15:13:02, 15:15-15:18, 15:21, 15:26, 15:28, 15:31-15:35, 15:37-15:39, 15:41-15:45, 15:47-15:53, 15:56-15:58, 15:60, 15:62-15:63, 15:67-15:68, 15:71-15:75, 15:78:01-15:89, 15:91-15:101, 15:103, 15:106, 15:109, 15:112-15:114, 15:118-15:124, 15:127, 15:129-15:139, 15:141, 15:144-15:146, 15:149-15:151, 15:154-15:157, 15:159-15:163, 15:166, 15:168, 15:170-15:176, 15:178-15:179, 15:182-15:184, 15:186-15:189N, 15:191-15:193, 15:195-15:200, 15:202-15:203, 15:205-15:207, 15:209-15:210, 15:212-15:213N, 15:215-15:217, 15:219-15:221, 15:223, 15:225-15:228, 15:230-15:232, 15:237-15:243, 15:245, 15:248-15:251 *03:428, 05:233, 06:15, 07:709, 16:175 |  |
| 86 | 140 bp 235 bp | *07:72 *02:14:01w-02:14:02w, 02:107w, 02:164w, 03:39, 03:67, 03:344:01:01-03:344:01:02, 05:43w, 06:05w, 06:44w, 06:124, 06:138w, 06:198w, 06:217, 06:248, 07:39-07:40, 07:177, 07:210w, 07:238w, 07:328w, 07:335, 07:563, 07:975, 07:993:01-07:993:02, 08:37, 14:147, 15:23:01w-15:23:02w, 15:63w, 15:138w, 15:158w, 16:21, 16:80 | B*08:15, B*08:289 |
| 88 | 85 bp 195 bp 545 bp | *04:23, 04:108, 04:335 *04:31 *01:85, 02:178, 03:357, 03:376, 03:452, 04:277, 05:212, 06:266, 08:22:01:01-08:22:01:02, 08:56, 08:102, 08:154, 08:178, 08:202, 12:290, 12:304, 15:29, 15:87, 16:133 |  |
| 90 | 205 bp 350 bp | *07:66 *06:239, 07:665, 17:01:01:02-17:01:03, 17:01:05-17:01:18, 17:03:01:01-17:05, 17:06?-17:07?, 17:08, 17:09?-17:16:01?, 17:16:02-17:17, 17:18?-17:20?, 17:21, 17:22?-17:29?, 17:30, 17:31?-17:35:01?, 17:35:02, 17:36?, 17:37-17:44, 17:45?, 17:46-17:64Q |  |
| 91 | 70 bp 105 bp 170 bp 245 bp 270 bp | *17:02, 17:06?-17:07?, 17:09?-17:16:01?, 17:18?-17:20?, 17:22?-17:29?, 17:31?-17:35:01?, 17:36?, 17:45? *07:67 *07:48 *04:01:43, 05:01:17, 05:09:02, 05:17, 07:13:01:01-07:13:01:02, 07:28, 07:55N, 07:289, 07:536, 07:725, 07:834, 07:857, 08:15:02, 08:72:02, 15:02:33:01-15:02:33:02 *07:47:01, 07:461 | B*35:03:15, B*37:04:02, B*49:01:22 |
| 92 | 155 bp 300 bp 485 bp | *03:135, 04:20 *17:03:01:01-17:03:03, 17:06?-17:07?, 17:09?-17:16:01?, 17:16:02-17:17, 17:18?-17:20?, 17:22?-17:29?, 17:31?-17:35:01?, 17:35:02, 17:36?, 17:39-17:41, 17:45?, 17:49, 17:56, 17:58-17:60, 17:63? *07:419 |  |
| 93 | 90 bp 210 bp 290 bp | *04:423, 17:01:01:02-17:01:18, 17:04-17:05, 17:06?-17:07?, 17:08, 17:09?-17:16:01?, 17:18?-17:20?, 17:21, 17:22?-17:29?, 17:30, 17:31?-17:35:01?, 17:36?, 17:37-17:38:01:02, 17:42-17:44, 17:45?, 17:46-17:48, 17:50-17:55, 17:57, 17:61-17:62, 17:64Q *03:271, 14:06, 14:15, 14:53, 14:77, 14:87 *14:11 | B*51:250 |

4The following HLA-C alleles can be distinguished by the different sizes of the specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |  |
| --- | --- | --- | --- | --- |
| C*01:06, 01:11 | 3 | C*06:08, 06:13 | 43 |  |
| C*01:15:01, 01:20, 01:60 | 6 | C*06:15, 06:16N | 78, 83 |  |
| C*01:113, 01:140 | 73 | C*06:89, 06:161 | 73 |  |
| C*02:51, 02:57 | 31 | C*07:02:75, 07:679 | 8 |  |
| C*03:09, 03:23N, 03:80:02, 03:287:01-03:287:02 | 18 | C*07:25, 07:137:01, 07:138, 07:352 | 56 |  |
| C*03:21-03:22Q, 03:116:01, 03:413 | 18 | C*07:33N, 07:51. 07:936N | 55 |  |
| C*03:34, 03:44 | 80 | C*07:37:01:02, 07:54, 07:755 | 2 |  |
| C*03:37:01-03:37:02, 03:46 | 11 | C*07:47:01, 07:48 | 91 |  |
| C*03:386, 03:494 | 80 | C*07:60, 07:109:01-07:109:02 | 17 |  |
| C*04:08, 04:09N | 27 | C*07:66, 07:665 | 90 |  |
| C*04:16, 04:256 | 11 | C*07:130, 07:611 | 31 |  |
| C*04:23, 04:31, 04:277 | 88 | C*07:140:01-07:141:02, 07:304, 07:512, 07:514:01-07:514:02, 07:671 | 5 |  |
| C*04:40, 04:223:02 | 31 | C*12:06,12:81 | 65 |  |
| C*05:06, 05:15 | 36 | C*12:07 ,12:46N | 16 |  |
| C*05:10, 05:55 | 21 | C*16:33, 16:109 | 73 |  |
| C*05:14, 05:16, 05:19, 05:261 | 37 |  |  |  |

5The HLA-C high resolution for frequent alleles primer set cannot separate the following alleles. These alleles can be distinguished by the HLA-C low resolution kit, or by the respective high resolution primer sets:

Alleles

C*06:02:01:01-06:02:01:92, 06:02:03-06:02:07, 06:02:09-06:02:11, 06:02:13-06:02:15, 06:02:17-06:02:22, 06:02:24-06:02:37, 06:02:39-06:02:42, 06:02:44-06:02:64, 06:02:66-06:02:67, 06:02:69-06:02:71, 06:02:73-06:02:86, 06:02:88-06:02:90, 06:02:92-06:02:102, 06:18-06:22, 06:24-06:26, 06:29, 06:32-06:33, 06:36-06:37, 06:39, 06:41-06:42:02, 06:43:02, 06:45-06:51, 06:54-06:60, 06:62-06:64, 06:66, 06:68, 06:71, 06:73-06:75, 06:78, 06:80, 06:83-06:88, 06:90-06:92, 06:94-06:100, 06:102:01-06:102:02, 06:104-06:106:02, 06:108-06:117, 06:119-06:121, 06:125-06:126, 06:128N, 06:130-06:131, 06:133-06:135, 06:137, 06:139-06:142, 06:145-06:146, 06:148-06:152N, 06:154-06:160, 06:162-06:167, 06:169-06:178, 06:181-06:182, 06:184-06:187, 06:189-06:196, 06:199-06:202, 06:205-06:209:02, 06:211:01:01N-06:213, 06:215N-06:216, 06:218-06:223, 06:225-06:234, 06:238, 06:240-06:243, 06:245-06:246, 06:249-06:251, 06:253-06:263N, 06:267N-06:270, 06:272-06:279, 06:281N-06:289, 06:291-06:292, 06:294-06:302, 06:307-06:310, 06:312-06:316N, 06:318-06:328, 06:330-06:334, 06:336Q-06:349, 06:351:01:01-06:355, C*16:199N

Abbreviations

‘?’, nucleotide sequence information not available for the primer matching sequence.

‘w’, might be weakly amplified.