Gel Documentation Form and Worksheet

HLA-C*02 (101.622-12/12u)	Lot No: 2E7	Expiry Date: 2019-03-01

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test  Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________                          Failed lanes: ____________                         Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 13 and 16 may give a lower yield of HLA-specific PCR product than the other C*02 primer mixes.

Primer mixes 10, 16 and 30 may have tendencies of unspecific amplifications.

Primer mix 42 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*02 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.24.0, April 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3Primer mix 3: Specific PCR fragment of 100 bp in the C*02:03, 02:16:02, 02:18 and 02:31 and the C*03:03:22 and 03:04:34 and in the B*27:34, B*35:01:30w, B*40:02:07, 40:06:02, B*51:01:52w, B*57:01:16w and 57:03:02w alleles. Specific PCR fragment of 135 bp in the C*02:20 allele.

Primer mix 4: Specific PCR fragment of 65 bp in the C*02:56 and in the B*35:01:30, B*51:01:52, B*57:01:16 and 57:03:02 alleles. Specific PCR fragment of 150 bp in the C*02:04 and the C*04:198, 08:119, 12:115 and 14:41 alleles.

Primer mix 5: Specific PCR fragment of 145 bp in the C*02:22 and the C*05:105, 08:31 and in the B*07:02:07, B*27:05:15 and B*48:04:02 alleles. Specific PCR fragment of 240 bp in the C*02:05:01-02:05:03, 02:17 and 02:81 and the C*01:10, 06:08, 12:119, 14:25, 16:29, 16:50 and 17:21 and in the B*07:239, B*14:46 and B*40:243 alleles.

Primer mix 6: Specific PCR fragment of 160 bp in the C*02:06:01-02:06:02 and C*02:47 and the C*06:168, 12:15 and 15:74 alleles. Specific PCR fragment of 210 bp in the C*02:46 and 02:64 and the C*12:162 alleles.

Primer mix 8: Specific PCR fragment of 70 bp in the C*02:08 and the C*03:18:02, 03:64:01, 03:301, 12:03:23 and 15:10:02-15:10:03 and in the B*58:74 alleles. Specific PCR fragment of 280 bp in the C*02:33 allele.

Primer mix 11: Specific PCR fragment of 85 bp in the C*02:18 and 02:32 alleles. Specific PCR fragment of 170 bp in the C*02:09 allele.

Primer mix 12: Specific PCR fragment of 150 bp in the C*02:11, 02:14:01-02:14:02 and 02:107 and the C*04:42:01-04:42:02, 04:220, 05:43, 06:05w, 07:02:09, 08:37, 12:16, 12:147, 15:23, 15:63, 16:21 and 16:80 and in the B*27:84 alleles. Specific PCR fragment of 230 bp in the C*02:17 and the C*14:25 alleles.

Primer mix 13: Specific PCR fragment of 225 bp in the C*02:12 and 02:27:01-02:27:02 and the C*03:308 and 16:34 alleles. Specific PCR fragment of 265 bp in the C*02:49 and 02:75 and the C*04:03:01-04:03:02, 04:06, 04:80, 04:147, 04:160, 04:171 and 04:190 alleles.

Primer mix 14: Specific PCR fragment of 80 bp in the C*02:13 allele. Specific PCR fragment of 115 bp in the C*02:43 and the C*05:106 and 12:03:17 alleles.

Primer mix 15: Specific PCR fragment of 130 bp in the C*02:21 allele. Specific PCR fragment of 190 bp in the C*02:15 and 02:71 and in the B*07:221 alleles.

Primer mix 17: Specific PCR fragment of 110 bp in the C*02:31 and 02:43 and the C*05:106 and 12:03:17 alleles. Specific PCR fragment of 160 bp in the C*02:23 allele.

Primer mix 20: Specific PCR fragment of 180 bp in the C*02:24 and 02:71 and in the B*07:113, B*08:64 and B*40:192 alleles. Specific PCR fragment of 215 bp in the C*02:72 and in the B*07:52 alleles.

Primer mix 21: Specific PCR fragment of 115 bp in the C*02:30 and the C*15:19 alleles. Specific PCR fragment of 210 bp in the C*02:25Q, 02:64 and 02:67Q and the C*12:162 alleles.

Primer mix 22: Specific PCR fragment of 65 bp in the C*02:56 and in the B*35:01:30, B*51:01:52, B*57:01:16 and B*57:03:02 alleles. Specific PCR fragment of 110 bp in the C*02:34 and the C*16:09 alleles.

Primer mix 23: Specific PCR fragment of 85 bp in the C*02:70 alleles. Specific PCR fragment of 210 bp in the C*02:29 and 02:69 alleles. Specific PCR fragment of 390 bp in the C*02:35 allele.

Primer mix 25: Specific PCR fragment of 160 bp in the C*02:19 and 02:23 and the C*01:09, 03:21, 03:80, 03:142, 03:287 and 06:107 and in the B*15:63, 15:248 and 15:287 alleles. Specific PCR fragment of 215 bp in the C*02:60 and in the B*08:70, B*15:07:01-15:07:03, 15:68, 15:126, 15:207, 15:324, 15:331, B*46:12 and B*48:19 alleles. Specific PCR fragment of 160 bp and 215 bp in the B*07:55, 07:100 and 15:45 alleles.

Primer mix 26: Specific PCR fragment of 140 bp in the C*02:39 allele. Specific PCR fragment of 255 bp in the C*02:40:01-02:40:02 and 02:53:01-02:53:02 and the C*12:124 and in the B*15:363 and B*18:91 alleles.

Primer mix 28: Specific PCR fragment of 90 bp in the C*02:52N allele. Specific PCR fragment of 165 bp in the C*02:37, 02:46, 02:60 and 02:67Q and in the B*27:34 and B*40:02:07 alleles.

Primer mix 29: Specific PCR fragment of 165 bp in the C*02:83 and the C*08:24 and 16:90 alleles. Specific PCR fragment of 210 bp in the C*02:12, 02:49 and 02:55:01-02:55:02 and the C*04:03:01, 04:06, 04:80, 04:107, 04:147, 04:160, 04:171 and 04:190 alleles.

Primer mix 30: Specific PCR fragment of 80 bp in the C*02:38N allele. Specific PCR fragment of 270 bp in the C*02:58 and the C*01:35, 01:107, 04:08, 04:34, 04:147, 04:212, 05:27, 05:39, 06:96, 08:41, 08:115, 12:83, 12:106, 12:122, 14:20, 15:15, 15:77, 17:07 and 18:08 alleles.

Primer mix 31: Specific PCR fragment of 100 bp in the C*02:42 and 02:107 and the C*01:02:34, 01:21, 04:140, 04:166, 04:220, 05:98, 06:05, 07:02:09, 08:14, 08:80, 08:103, 12:16, 12:147, 15:63, 15:113 and 16:80 and  in the B*67:02 alleles. Specific PCR fragment of 165 bp in the C*02:83 and the C*08:24 and 16:90 alleles.

Primer mix 32: Specific PCR fragment of 215 bp in the C*02:92N allele. Specific PCR fragment of 245 bp in the C*02:81 allele.

4The HLA-C*02 primer set cannot separate the C*02:10:01:01-02:10:01:03 and 02:89 alleles from the C*06:18 allele. These alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C*06 high resolution kit.

5The following HLA-C*02 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*02:05:02-02:05:03, 02:22 | 5 | C*02:35, 02:69, 02:70 | 23 |
| C*02:15, 02:21 | 15 | C*02:37, 02:52N | 28 |
| C*02:25Q, 02:30 | 21 |

The HLA-C*02 primer set cannot distinguish the following silent mutations: the C*02:02:01-02:02:03, 02:02:06-02:02:12, 02:02:15-02:02:25 and 02:02:27-02:02:30 alleles, the C*02:02:05 and 02:02:13-02:02:14 alleles, the C*02:05:02-02:05:03 alleles, the C*02:10:01:01-02:10:01:03 alleles, the C*02:14:01-02:14:02 alleles, the C*02:26:01-02:26:03 or the C*02:53:01-02:53:02 alleles.

‘w’, might be weakly amplified.