PAGE  
January 2011
HLA-C*03
Page 11 of 12
Rev. No: 00
85K
Worksheet can be downloaded from


Worksheet
www.olerup-ssp.com










	PHOTO DOCUMENT


Olerup SSP®
Olerup SSP® HLA-C*03
Prod. No:
101.611-12/12u

Lot No:    
85K
Expiry Date:    
2013-July-01
Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-C*03 SSP typing.
	Primer Mix
	Size of spec. PCR product1
	Size of control band2
	Amplified HLA-C*03 alleles3
	Other amplified HLA Class I alleles4

	  16
	280 bp
	800 bp
	*03:02:01-03:02:06, 03:04:01:01-03:10, 03:14-03:17, 03:19, 03:23-03:29, 03:32-03:38:02, 03:40-03:42, 03:44-03:48, 03:51, 03:54, 03:57, 03:60, 03:63-03:65, 03:70-03:74, 03:77-03:78, 03:80, 03:82, 03:84, 03:87, 03:89-03:95, 03:98, 03:100-03:101
	*02:02:01-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:25Q, 02:26:02-02:32, 02:34-02:40, 02:42-02:46, 04:03, 04:06, 04:16, 04:80, 06:03, 07:96, 15:02:01-15:09, 15:10:02-15:11, 15:13, 15:15-15:22, 15:24-15:35, 15:37-15:45

	  2
	210 bp
	1070 bp
	*03:02:01-03:02:06, 03:14-03:15, 03:33, 03:36, 03:40, 03:42-03:43:02, 03:60, 03:71, 03:84, 03:89, 03:95
	*07:133, B*15:96

	  37
	280 bp
	800 bp
	*03:03:01-03:03:13, 03:11:01-03:13, 03:20N-03:22Q, 03:30-03:31, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66, 03:67w, 03:68-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102
	*15:12

	  4
	275 bp
	1070 bp
	*03:03:01-03:04:19, 03:06-03:12, 03:14, 03:18-03:24, 03:26, 03:28-03:32, 03:34, 03:37-03:40, 03:42-03:57, 03:59, 03:61-03:70, 03:72-03:83, 03:85, 03:87-03:88, 03:90-03:93, 03:96, 03:98, 03:100-03:102
	

	  5
	275 bp
	1070 bp
	*03:05, 03:13, 03:17, 03:25, 03:27, 03:35, 03:71
	*07:133, B*15:96

	  65,9
	90 bp, 

215 bp 
	800 bp
	*03:06, 03:21
	B*15:96

	  75,6,10
	110 bp, 185 bp
	1070 bp
	*03:03:01-03:03:13, 03:08, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:29-03:31, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102
	*06:44, 06:53, 07:01:01-07:01:16, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N-07:56:01, 07:57-07:60, 07:65, 07:70-07:71, 07:73, 07:77-07:79, 07:81-07:83, 07:86, 07:89, 07:91-07:96, 07:98N, 07:103-07:104N, 07:106, 07:108-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141, 07:148, 07:150Q-07:151, 07:153, B*07:93, B*08:39, B*35:101:02, B*51:76

	  8
	250 bp
	1070 bp
	*03:09, 03:22Q, 03:42, 03:71, 03:89
	*07:133

	
	
	
	
	

	  9
	240 bp
	1070 bp
	*03:07, 03:15, 03:45
	*02:02:01-02:02:03, 02:02:05-02:02:11, 02:02:13-02:03, 02:04w, 02:05-02:11, 02:13, 02:14w, 02:15-02:25Q, 02:26:02, 02:28-02:40, 02:42-02:46, 04:03, 04:06, 04:16, 04:80, 06:03, 15:02:01-15:06:03, 15:08-15:09, 15:10:02-15:13, 15:15-15:20, 15:22, 15:24, 15:26-15:35, 15:37-15:42, 15:44-15:45

	107
	250 bp
	800 bp
	*03:07, 03:10, 03:15, 03:29, 03:45
	*02:02:01w, 02:02:02-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:25Q, 02:26:02, 02:28-02:40, 02:42-02:46, 04:03, 04:06, 04:16, 04:80, 06:03, 15:02:01-15:06:03, 15:08-15:09, 15:10:02-15:13, 15:15-15:22, 15:24, 15:26-15:35, 15:37-15:42, 15:44-15:45

	1111
	145 bp, 415 bp
	1070 bp
	*03:08, 03:29, 03:31, 03:87
	*05:36, 06:44, 12:08

	12
	260 bp
	1070 bp
	*03:03:12, 03:11:01, 03:18, 03:39
	*06:53, 07:56:01, 07:60, 07:79, 07:109, 15:12

	135,12
	80 bp, 

140 bp
	1070 bp
	*03:02:01-03:02:06, 03:15-03:17, 03:33, 03:36, 03:40, 03:42-03:43:01, 03:60, 03:71, 03:84, 03:89, 03:95
	*04:37, 04:54, 06:02:08, 14:02:01, 14:02:03-14:16, 14:18-14:25

	14
	210 bp
	1070 bp
	*03:12, 03:19, 03:102
	

	155
	135 bp
	1070 bp
	*03:02:01-03:17, 03:19-03:38:02, 03:40-03:66, 03:67w, 03:68-03:98, 03:100-03:102
	*02:02:13, 06:03w, 07:96, 15:43

	16
	150 bp
	1070 bp
	*03:07, 03:10, 03:15, 03:29, 03:45
	*01:14, 02:02:13, 04:01:23, 05:01:12, 06:02:01:01-06:02:01:02, 06:02:03-06:04, 06:06-06:10, 06:12-06:55, 07:07, 07:09, 07:76, 12:04:01, 14:12, 17:01:01:01-17:01:03, 17:01:05-17:08, 18:01-18:04

	
	
	
	
	

	175
	100 bp
	1070 bp
	*03:20N, 03:101
	

	1813
	165 bp, 195 bp, 225 bp
	1070 bp
	*03:23, 03:83, 03:102
	B*15:96

	195,14
	105 bp, 260 bp
	800 bp
	*03:24, 03:33
	

	2015
	165 bp, 255 bp
	1070 bp
	*03:25, 03:47
	

	21
	220 bp
	1070 bp
	*03:26, 03:88
	

	2216
	195 bp, 240 bp
	800 bp
	*03:15, 03:27, 03:38:01-03:38:02, 03:57, 03:69
	*02:12, 04:03, 04:06, 04:16, 04:80, 07:20, 07:96, 07:127, 15:03, 15:16, 15:25

	235,17
	90 bp, 

260 bp
	1070 bp
	*03:28, 03:49, 03:90
	

	24
	200 bp
	1070 bp
	*03:30, 03:65, 03:79
	

	
	
	
	
	

	2518
	305 bp, 355 bp
	1070 bp
	*03:32, 03:38:01-03:38:02, 03:45, 03:69
	*04:80, 06:14, 07:10, 07:43, 12:44, 15:03, 15:16, 15:25

	265,8,19
	70 bp, 105 bp, 265 bp
	1070 bp
	*03:13, 03:34-03:36, 03:77
	*07:133, B*15:96

	275,20
	80 bp, 

275 bp
	1070 bp
	*03:11:01-03:11:02, 03:15, 03:32, 03:37, 03:45, 03:60
	*02:42, 04:03, 04:06, 04:16, 04:80, 06:03, 07:96, 15:25

	288
	170 bp
	1070 bp
	*03:16, 03:41
	*04:01:01:01-04:01:04, 04:01:06, 04:01:08, 04:01:10-04:01:17, 04:01:19-04:01:21, 04:01:23-04:01:25, 04:03-04:04:01, 
04:05-04:20, 04:23-04:49, 04:51-04:63, 04:65-04:76, 04:78-04:81, 06:02:08, 14:02:01, 14:02:03-14:16, 14:18-14:25, 18:01-18:04

	298,21
	140 bp, 170 bp, 285 bp,
	1070 bp
	*03:39, 03:51, 03:67, 03:96, 03:98
	*04:64, 06:53, 07:56:01, 07:60, 07:79, 07:109, B*08:39

	30
	160 bp
	1070 bp
	*03:46, 03:61, 03:96
	*04:64

	315,22
	100 bp, 210 bp
	800 bp
	*03:44, 03:59
	

	325,8,23
	90 bp, 

180 bp
	1070 bp
	*03:48, 03:58, 03:84
	*01:03, 01:24, 04:37

	
	
	
	
	

	335,24
	110 bp, 365 bp
	1070 bp
	*03:43:01-03:43:02, 03:62
	*07:60, 07:79, 14:10, B*35:101:02

	345,25
	130 bp, 240 bp 
	1070 bp
	*03:53-03:54, 03:98
	*12:17

	355,26
	70 bp, 120 bp, 210 bp
	1070 bp
	*03:56, 03:64, 03:79, 03:82, 03:85
	*02:08, 15:10:02

	36
	240 bp
	1070 bp
	*03:50, 03:72
	

	37
	140 bp
	1070 bp
	*03:16, 03:21, 03:55, 03:80, 03:92
	*04:01:01:01-04:01:04, 04:01:08, 04:01:10-04:01:21, 04:01:23-04:01:25, 04:03-04:04:01, 04:05-04:07, 04:09N-04:20, 04:23-04:31, 04:33, 04:35-04:49, 04:51-04:58, 04:60-04:76, 04:78-04:81, 06:02:08, 14:02:01, 14:02:03-14:16, 14:18-14:19, 14:21N-14:24, 18:01-18:02, 18:04

	385,27
	100 bp, 265 bp
	1070 bp
	*03:52, 03:73, 03:95
	*04:43

	395,28
	110 bp, 170 bp
	1070 bp
	*03:36, 03:63, 03:77
	*04:34

	405,29
	70 bp, 

260 bp
	1070 bp
	*03:66, 03:80
	

	
	
	
	
	

	415,8,30
	120 bp, 195 bp
	1070 bp
	*03:68, 03:100
	

	425,8,31
	120 bp, 205 bp
	1070 bp
	*03:70, 03:78
	B*55:30

	437,32
	225 bp, 275 bp
	800 bp
	*03:74, 03:81, 03:97
	B*15:96

	445,33
	70 bp, 

160 bp
	1070 bp
	*03:75, 03:91
	

	4534
	140 bp, 295 bp
	1070 bp
	*03:76, 03:93
	

	46
	210 bp
	1070 bp
	*03:58, 03:86, 03:94, 03:99
	*01:02:01-01:03, 01:06-01:08, 01:10-01:11, 01:13-01:20, 01:23-01:33, 01:38-01:45, 04:37

	475
	70 bp
	1070 bp
	*03:14, 03:21, 03:55, 03:92
	*07:133

	48
	555 bp
	1070 bp
	*03:58, 03:86, 03:94, 03:99
	*15:37, 16:18


1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*03 SSP typings.

When the primers in a primer mix can give rise to specific PCR products of more than one length this is indicated if the size difference is 20 base pairs or more. Size differences shorter than 20 base pairs are not given. For high resolution SSP kits the respective lengths of the specific PCR product(s) of the alleles amplified by these primer mixes are given. 

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*03 subtyping.

In addition, wells number 3, 6, 10, 19, 22, 31 and 43 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA-C*03 alleles 1st, 4th, 5th, 6th and 7th exon nucleotide sequences are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in the 1st, 4th, 5th, 6th and 7th exons are conserved within allelic groups. 

The C*03:28 and 03:90 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

The C*03:56 and 03:85 alleles and the C*03:64 and 03:82 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

The C*03:70 and 03:78 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 42.

4Due to the sharing of sequence motifs between HLA-C alleles the primer pairs in wells 1 to 3, 5, 7 to 13, 15, 16, 22, 25  to 30, 32 to 35, 37 to 39 and 46 to 48 will amplify some non-HLA-C*03 alleles. In addition, the B*07:93 and 51:76 alleles are amplified by primer mix 7, the B*08:39 allele is amplified by primer mix 7 and 29, the B*15:96 allele is amplified by primer mixes 5, 6, 26 and 43, the B*35:101:02 allele is amplified by primer mix 7 and 33 and the B*55:30 allele is amplified by primer mix 42.

5Short specific PCR fragments are less intense and not as sharp as longer specific bands.

6Primer mixes 1 and 7 may yield less specific PCR product than the other HLA-C*03 primer mixes.

7Primer mixes 3, 10 and 43 may give rise to primer oligomer formation.

8Primer mixes 26, 28, 29, 32, 41 and 42 may give rise to nonspecific amplifications.

9Primer mix 6: Specific PCR fragment of 90 bp in the C*03:21 and B*15:96 alleles. Specific PCR fragment of 215 bp in the C*03:06 alleles.

10Primer mix 7: Specific PCR fragment of 110 bp in the C*03:08 and 03:29 and in the C*06:44, 07:01:01-07:01:16, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:70-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:86, 07:89, 07:91-07:96, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141, 07:148, 07:150Q-07:151 and 07:153 alleles. Specific PCR fragment of 185 bp in the C*03:03:01-03:03:13, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:30, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97 and 03:102 and in the C*06:53, 07:56:01 and 07:79 and in the B*07:93, B*08:39, B*35:101:02 and B*51:76 alleles. Specific PCR fragments of 110 and 185 bp in the C*03:31 and in the C*07:60 and 07:109 alleles.

11Primer mix 11: Specific PCR fragment of 145 bp in the C*03:87 allele. Specific PCR fragment of 415 bp in the C*03:08, 03:29 and 03:31 and in the C*05:36, 06:44 and 12:08 alleles.

12Primer mix 13: Specific PCR fragment of 80 bp in the C*03:02:01-03:02:06, 03:15-03:16, 03:33, 03:36, 03:40, 03:42-03:43:01, 03:60, 03:84, 03:89 and 03:95 and in the C*04:54, 14:08 and 14:09 alleles. Specific PCR fragment of 140 bp in the C*03:17 and in the C*04:37, alleles.  Specific PCR fragments of 80 and 140 bp in the C*03:71 and in the C*06:02:08, 14:02:01, 14:02:03-14:07N, 14:10-14:16 and 14:18-14:25 alleles.

13Primer mix 18: Specific PCR fragment of 165 bp in the C*03:102 and in the B*15:96 alleles. Specific PCR fragment of 195 bp in the C*03:83 allele. Specific PCR fragment of 225 bp in the C*03:23 allele.

14Primer mix 19: Specific PCR fragment of 105 bp in the C*03:24 allele. Specific PCR fragment of 260 bp in the C*03:33 allele.

15Primer mix 20: Specific PCR fragment of 165 bp in the C*03:25 allele. Specific PCR fragment of 255 bp in the C*03:47 allele.

16Primer mix 22: Specific PCR fragment of 195 bp in the C*03:15, 03:27, 03:38:01-03:38:02 and 03:69 and in the C*02:12, 04:03, 04:06, 04:16, 04:80, 07:20, 07:96, 07:127, 15:03, 15:16 and 15:25 alleles. Specific PCR fragment of 240 bp in the C*03:57 allele.

17Primer mix 23: Specific PCR fragment of 90 bp in the C*03:28 and 03:49 alleles. Specific PCR fragment of 260 bp in the C*03:90 allele.

18Primer mix 25: Specific PCR fragment of 305 bp in the C*03:32 and 03:45 alleles. Specific PCR fragment of 355 bp in the C*03:38:01-03:38:02 and 03:69 and in the C*12:44, 15:03, 15:16 and alleles. Specific PCR fragments of 305 and 355 bp in the C*04:80, 06:14, 07:10, 07:43 and 15:25 alleles.

19Primer mix 26: Specific PCR fragment of 70 bp in the C*03:34 allele. Specific PCR fragment of 105 bp in the C*03:36 and 03:77 alleles. Specific PCR fragment of 265 bp in the C*03:13 and 03:35 and in the C*07:133 and the B*15:96 alleles.

20Primer mix 27: Specific PCR fragment of 80 bp in the C*03:11:01-03:11:02 and 03:37 and in the C*02:42 alleles. Specific PCR fragment of 275 bp in the C*03:15, 03:32, 03:45 and 03:60 and in the C*04:03, 04:06, 04:16, 04:80, 06:03, 07:96 and 15:25 alleles. Specific PCR fragment of 80 and 275 bp in the C*06:03 allele.

21Primer mix 29: Specific PCR fragment of 140 bp in the C*03:98 allele. Specific PCR fragment of 170 bp in the C*03:51 and 03:96 and in the C*04:64 alleles. Specific PCR fragment of 285 bp in the C*03:39 and 03:67 and in the C*06:53, 07:56:01, 07:60, 07:79 and 07:109 and the B*08:39 alleles.

22Primer mix 31: Specific PCR fragment of 100 bp in the C*03:59 allele. Specific PCR fragment of 210 bp in the C*03:44 allele.

23Primer mix 32: Specific PCR fragment of 90 bp in the C*03:58 and in the C*01:03, 01:24 and 04:37 alleles. Specific PCR fragment of 180 bp in the C*03:48 and 03:84 alleles.

24Primer mix 33: Specific PCR fragment of 110 bp in the C*03:62 allele. Specific PCR fragment of 365 bp in the C*03:43:01-03:43:02 and in the C*07:60, 07:79 and 14:10 and the B*35:101:02 alleles.

25Primer mix 34: Specific PCR fragment of 130 bp in the C*03:54 and 03:98 alleles. Specific PCR fragment of 240 bp in the C* 03:53 and the C*12:17 alleles.

26Primer mix 35: Specific PCR fragment of 70 bp in the C*03:64, 02:08, 15:10:02 alleles. Specific PCR fragment of 120 bp in the C*03:56 allele. Specific PCR fragment of 210 bp in the C*03:79, 03:85 and 03:82 alleles.

27Primer mix 38: Specific PCR fragment of 100 bp in the C*03:52 and 03:95 and in the C*04:43 alleles. Specific PCR fragment of 265 bp in the C*03:73 allele.

28Primer mix 39: Specific PCR fragment of 110 bp in the C*03:36 and 03:77 and in the C*04:34 alleles. Specific PCR fragment of 170 bp in the C*03:63 allele.

29Primer mix 40: Specific PCR fragment of 70 bp in the C*03:80 alleles. Specific PCR fragment of 260 bp in the C*03:66 allele.

30Primer mix 41: Specific PCR fragment of 120 bp in the C*03:68 alleles. Specific PCR fragment of 195 bp in the C*03:100 allele.

31Primer mix 42: Specific PCR fragment of 120 bp in the C*03:78 alleles. Specific PCR fragment of 205 bp in the C*03:70 and in the B*55:30 alleles.

32Primer mix 43: Specific PCR fragment of 225 bp in the C*03:74 and 03:81 and in the B*15:96 alleles. Specific PCR fragment of 275 bp in the C*03:97 allele.

33Primer mix 44: Specific PCR fragment of 70 bp in the C*03:91 allele. Specific PCR fragment of 160 bp in the C*03:75 allele.

34Primer mix 45: Specific PCR fragment of 140 bp in the C*03:93 alleles. Specific PCR fragment of 295 bp in the C*03:76 allele.

‘w’, might be weakly amplified.

[image: image1.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

HLA-C*

1

HLA-C*

1

*03:02:01-03:02:06 1 2 13 15 *03:02:01-03:02:06

*03:03:01-03:03:11, 

03:03:13

3 4 7 15

*03:03:01-03:03:11, 

03:03:13

*03:03:12 3 4 7 12 15 *03:03:12

*03:04:01:01-03:04:19 1 4 15 *03:04:01:01-03:04:19

*03:05 1 5 15 *03:05

*03:06 1 4 6 15 *03:06

*03:07 1 4 9 10 1516 *03:07

*03:08 1 4 7 11 15 *03:08

*03:09 1 4 8 15 *03:09

*03:10 1 4 10 1516 *03:10

*03:11:01 3 4 7 12 15 27 *03:11:01

*03:11:02 3 4 7 15 27 *03:11:02

*03:12 3 4 7 1415 *03:12

*03:13 3 5 7 15 26 *03:13

*03:14 1 2 4 15 47 *03:14

*03:15 1 2 9 10 13 1516 22 27 *03:15

*03:16 1 13 15 28 37 *03:16

*03:17 1 5 13 15 *03:17

*03:18 4 7 12 *03:18

*03:19 1 4 1415 *03:19

*03:20N 3 4 7 15 17 *03:20N

*03:21 3 4 6 7 15 37 47 *03:21

*03:22Q 3 4 7 8 15 *03:22Q

*03:23 1 4 15 18 *03:23

*03:24 1 4 15 19 *03:24

*03:25 1 5 15 20 *03:25

*03:26 1 4 15 21 *03:26

*03:27 1 5 15 22 *03:27

*03:28, 03:90

2

1 4 15 23

*03:28, 03:90

2

*03:29 1 4 7 1011 1516 *03:29

*03:30 3 4 7 15 24 *03:30

*03:31 3 4 7 11 15 *03:31

*03:32 1 4 15 25 27 *03:32

*03:33 1 2 13 15 19 *03:33

*03:34 1 4 15 26 *03:34

*03:35 1 5 15 26 *03:35

*03:36 1 2 13 15 26 39 *03:36

*03:37 1 4 15 27 *03:37

*03:38:01-03:38:02 1 4 15 22 25 *03:38:01-03:38:02

*03:39 4 7 12 29 *03:39



[image: image2.emf]*03:40 1 2 4 13 15 *03:40

*03:41 1 15 28 *03:41

*03:42 1 2 4 8 13 15 *03:42

*03:43:01 2 3 4 7 13 15 33 *03:43:01

*03:43:02 2 3 4 7 15 33 *03:43:02

*03:44 1 4 15 31 *03:44

*03:45 1 4 9 10 1516 25 27 *03:45

*03:46 1 4 15 30 *03:46

*03:47 1 4 15 20 *03:47

*03:48 1 4 15 32 *03:48

*03:49 3 4 7 15 23 *03:49

*03:50 3 4 7 15 36 *03:50

*03:51 1 4 15 29 *03:51

*03:52 3 4 7 15 38 *03:52

*03:53 3 4 7 15 34 *03:53

*03:54 1 4 15 34 *03:54

*03:55 3 4 7 15 37 47 *03:55

*03:56, 03:85

3

3 4 7 15 35

*03:56, 03:85

3

*03:57 1 4 15 22 *03:57

*03:58 3 7 15 32 46 48 *03:58

*03:59 3 4 7 15 31 *03:59

*03:60 1 2 13 15 27 *03:60

*03:61 3 4 7 15 30 *03:61

*03:62 3 4 7 15 33 *03:62

*03:63 1 4 15 39 *03:63

*03:64, 03:82

4

1 4 15 35

*03:64, 03:82

4

*03:65 1 4 15 24 *03:65

*03:66 3 4 7 15 40 *03:66

*03:67 w 4 7 w 29 *03:67

*03:68 3 4 7 15 41 *03:68

*03:69 3 4 7 15 22 25 *03:69

*03:70, 03:78

5

1 4 15 42

*03:70, 03:78

5

*03:71 1 2 5 8 13 15 *03:71

*03:72 1 4 15 36 *03:72

*03:73 1 4 15 38 *03:73

*03:74 1 4 15 43 *03:74

*03:75 3 4 7 15 44 *03:75

*03:76 3 4 7 15 45 *03:76

*03:77 1 4 15 26 39 *03:77

*03:79 3 4 7 15 24 35 *03:79

*03:80 1 4 15 37 40 *03:80

*03:81 3 4 7 15 43 *03:81

*03:83 3 4 7 15 18 *03:83

*03:84 1 2 13 15 32 *03:84



[image: image3.emf]*03:86 3 7 15 46 48 *03:86

*03:87 1 4 11 15 *03:87

*03:88 3 4 7 15 21 *03:88

*03:89 1 2 8 13 15 *03:89

*03:91 1 4 15 44 *03:91

*03:92 1 4 15 37 47 *03:92

*03:93 1 4 15 45 *03:93

*03:94 1 15 46 48 *03:94

*03:95 1 2 13 15 38 *03:95

*03:96 3 4 7 15 2930 *03:96

*03:97 3 7 15 43 *03:97

*03:98 1 4 15 29 34 *03:98

*03:99 46 48 *03:99

*03:100 1 4 15 41 *03:100

*03:101 1 4 15 17 *03:101

*03:102 3 4 7 1415 18 *03:102

*01:02:01-01:02:13, 

01:06-01:08, 01:10-

01:11, 01:13, 01:15-

01:20, 01:23, 01:25-

01:33, 01:38-01:45

46

*01:02:01-01:02:13, 

01:06-01:08, 01:10-

01:11, 01:13, 01:15-

01:20, 01:23, 01:25-

01:33, 01:38-01:45

*01:03, 01:24 32 46 *01:03, 01:24

*01:14 16 46 *01:14

*02:02:01 1 9 w *02:02:01

*02:02:02-02:02:03, 

02:02:05-02:02:11, 

02:02:14-02:03, 02:05-

02:07, 02:09-02:11, 

02:13, 02:15-02:25Q, 

02:26:02, 02:28-02:32, 

02:34-02:40, 02:43-

02:46, 15:02:01-15:02:07, 

15:04-15:06:03, 15:08-

15:09, 15:11, 15:13, 

15:15, 15:17-15:20, 

15:22, 15:24, 15:26-

15:35, 15:38-15:42, 15:44-

15:45

1 9 10

*02:02:02-02:02:03, 

02:02:05-02:02:11, 

02:02:14-02:03, 02:05-

02:07, 02:09-02:11, 

02:13, 02:15-02:25Q, 

02:26:02, 02:28-02:32, 

02:34-02:40, 02:43-

02:46, 15:02:01-15:02:07, 

15:04-15:06:03, 15:08-

15:09, 15:11, 15:13, 

15:15, 15:17-15:20, 

15:22, 15:24, 15:26-

15:35, 15:38-15:42, 15:44-

15:45

*02:02:12, 15:21 1 10 *02:02:12, 15:21

*02:02:13 1 9 10 1516 *02:02:13

*02:04, 02:14 w w w *02:04, 02:14



[image: image4.emf]*02:08, 15:10:02 1 9 10 35 *02:08, 15:10:02

*02:12 1 10 22 *02:12

*02:27:01-02:27:02, 

15:07

1

*02:27:01-02:27:02, 

15:07

*02:33 9 10 *02:33

*02:42 1 9 10 27 *02:42

*04:01:01:01-04:01:04, 

04:01:08, 04:01:10-

04:01:17, 04:01:19-

04:01:21, 04:01:24-

04:01:25, 04:04:01, 

04:05, 04:07, 04:09N-

04:15:02, 04:17-04:20, 

04:23-04:31, 04:33, 04:35-

04:36, 04:38-04:42, 04:44-

04:49, 04:51-04:53, 04:55-

04:58, 04:60-04:63, 04:65-

04:76, 04:78-04:79, 04:81

28 37

*04:01:01:01-04:01:04, 

04:01:08, 04:01:10-

04:01:17, 04:01:19-

04:01:21, 04:01:24-

04:01:25, 04:04:01, 

04:05, 04:07, 04:09N-

04:15:02, 04:17-04:20, 

04:23-04:31, 04:33, 04:35-

04:36, 04:38-04:42, 04:44-

04:49, 04:51-04:53, 04:55-

04:58, 04:60-04:63, 04:65-

04:76, 04:78-04:79, 04:81

*04:01:06, 04:08, 04:32, 

04:59Q

28

*04:01:06, 04:08, 04:32, 

04:59Q

*04:01:18 37 *04:01:18

*04:01:23, 18:01-18:02, 

18:04

16 28 37

*04:01:23, 18:01-18:02, 

18:04

*04:03, 04:06, 04:16 1 9 10 22 2728 37 *04:03, 04:06, 04:16

*04:34 28 39 *04:34

*04:37 13 28 32 37 46 *04:37

*04:43 28 3738 *04:43

*04:54, 14:02:01, 

14:02:03-14:09, 14:11, 

14:13-14:16, 14:18-

14:19, 14:21N-14:24

13 28 37

*04:54, 14:02:01, 

14:02:03-14:09, 14:11, 

14:13-14:16, 14:18-

14:19, 14:21N-14:24

*04:64 2930 37 *04:64

*04:80 1 9 10 22 25 2728 37 *04:80

*05:01:12, 06:02:01:01-

06:02:01:02, 06:02:03-

06:02:07, 06:02:09-

06:02:11, 06:04, 06:06-

06:10, 06:12-06:13, 06:15-

06:43, 06:45-06:52, 06:54-

06:55, 07:76, 12:04:01, 

17:01:01:01-17:01:03, 

17:01:05-17:08

16

*05:01:12, 06:02:01:01-

06:02:01:02, 06:02:03-

06:02:07, 06:02:09-

06:02:11, 06:04, 06:06-

06:10, 06:12-06:13, 06:15-

06:43, 06:45-06:52, 06:54-

06:55, 07:76, 12:04:01, 

17:01:01:01-17:01:03, 

17:01:05-17:08

*05:36, 12:08 11 *05:36, 12:08

*06:02:08, 14:12 13 16 28 37 *06:02:08, 14:12

*06:03 1 9 10 w16 27 *06:03



[image: image5.emf]*06:14 16 25 *06:14

*06:44 7 11 16 *06:44

*06:53 7 12 16 29 *06:53

*07:01:01-07:01:16, 

07:06, 07:16, 07:18-

07:19, 07:22, 07:24, 

07:26, 07:28, 07:30, 

07:35-07:36, 07:40, 

07:44, 07:52-07:53, 

07:55N, 07:57-07:59, 

07:65, 07:70-07:71, 

07:73, 07:77-07:78, 07:81-

07:83, 07:86, 07:89, 

07:91-07:95, 07:98N, 

07:103-07:104N, 07:106, 

07:108, 07:110-07:113, 

07:115-07:116, 07:118-

07:120, 07:122, 07:124, 

07:128-07:129, 07:131-

07:132, 07:134, 07:140-

07:141, 07:148, 07:150Q-

07:151, 07:153, B*07:93, 

B*51:76

7

*07:01:01-07:01:16, 

07:06, 07:16, 07:18-

07:19, 07:22, 07:24, 

07:26, 07:28, 07:30, 

07:35-07:36, 07:40, 

07:44, 07:52-07:53, 

07:55N, 07:57-07:59, 

07:65, 07:70-07:71, 

07:73, 07:77-07:78, 07:81-

07:83, 07:86, 07:89, 

07:91-07:95, 07:98N, 

07:103-07:104N, 07:106, 

07:108, 07:110-07:113, 

07:115-07:116, 07:118-

07:120, 07:122, 07:124, 

07:128-07:129, 07:131-

07:132, 07:134, 07:140-

07:141, 07:148, 07:150Q-

07:151, 07:153, B*07:93, 

B*51:76

*07:07, 07:09 7 16 *07:07, 07:09

*07:10, 07:43, 12:44 25 *07:10, 07:43, 12:44

*07:20 7 22 *07:20

*07:56:01, 07:109 7 12 29 *07:56:01, 07:109

*07:60, 07:79 7 12 29 33 *07:60, 07:79

*07:96 1 7 15 22 27 *07:96

*07:127 22 *07:127

*07:133 2 5 8 26 47 *07:133

*12:17 34 *12:17

*14:10 13 28 33 37 *14:10

*14:20, 14:25 13 28 *14:20, 14:25

*15:03, 15:16 1 9 10 22 25 *15:03, 15:16

*15:12 3 9 10 12 *15:12

*15:25 1 22 25 27 *15:25

*15:37 1 9 10 48 *15:37

*15:43 1 15 *15:43

*16:18 48 *16:18

*18:03 16 28 *18:03



[image: image6.emf]B*08:39 7 29 B*08:39

B*15:96 2 5 6 18 26 43 B*15:96

B*35:101:02 7 33 B*35:101:02

B*55:30 42 B*55:30

Length of spec. PCR 

product(s)

6

280210280275275

90

110250240250145260

80

210135150100165105165220195

90

200305

7080

170140160100

90

110130

70

240140100110

70

120120225

70

140210

70

555

Length of spec. PCR 

product(s)

6

215185 415 140 195260255 240260 355105275 170 210180365240120 265170260195205275160295

225 265 285 210

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

Specific Reaction Specific Reaction

1st match: C* 1st match: C*

2nd match: C* 2nd match: C*

Control Reaction Control Reaction

Failed Controls Failed Controls

False Positive False Positive

False Negative False Negative


1The nucleotide sequence of the HLA-Cw*0301 allele has been shown to be identical to C*03:04:01:01.
2The C*03:28 and 03:90 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

3The C*03:56 and 03:85 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

4The C*03:64 and 03:82 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

5The C*03:70 and 03:78 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 42.

6Primer mix 6: Specific PCR fragment of 90 bp in the C*03:21 and B*15:96 alleles. Specific PCR fragment of 215 bp in the C*03:06 alleles.
Primer mix 7: Specific PCR fragment of 110 bp in the C*03:08 and 03:29 and in the C*06:44, 07:01:01-07:01:16, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:70-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:86, 07:89, 07:91-07:96, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141, 07:148, 07:150Q-07:151 and 07:153 alleles. Specific PCR fragment of 185 bp in the C*03:03:01-03:03:13, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:30, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97 and 03:102 and in the C*06:53, 07:56:01 and 07:79 and in the B*07:93, B*08:39, B*35:101:02 and B*51:76 alleles. Specific PCR fragments of 110 and 185 bp in the C*03:31 and in the C*07:60 and 07:109 alleles.

Primer mix 11: Specific PCR fragment of 145 bp in the C*03:87 allele. Specific PCR fragment of 415 bp in the C*03:08, 03:29 and 03:31 and in the C*05:36, 06:44 and 12:08 alleles.

Primer mix 13: Specific PCR fragment of 80 bp in the C*03:02:01-03:02:06, 03:15-03:16, 03:33, 03:36, 03:40, 03:42-03:43:01, 03:60, 03:84, 03:89 and 03:95 and in the C*04:54, 14:08 and 14:09 alleles. Specific PCR fragment of 140 bp in the C*03:17 and in the C*04:37, alleles.  Specific PCR fragments of 80 and 140 bp in the C*03:71 and in the C*06:02:08, 14:02:01, 14:02:03-14:07N, 14:10-14:16 and 14:18-14:25 alleles.

Primer mix 18: Specific PCR fragment of 165 bp in the C*03:102 and in the B*15:96 alleles. Specific PCR fragment of 195 bp in the C*03:83 allele. Specific PCR fragment of 225 bp in the C*03:23 allele.

Primer mix 19: Specific PCR fragment of 105 bp in the C*03:24 allele. Specific PCR fragment of 260 bp in the C*03:33 allele.

Primer mix 20: Specific PCR fragment of 165 bp in the C*03:25 allele. Specific PCR fragment of 255 bp in the C*03:47 allele.

Primer mix 22: Specific PCR fragment of 195 bp in the C*03:15, 03:27, 03:38:01-03:38:02 and 03:69 and in the C*02:12, 04:03, 04:06, 04:16, 04:80, 07:20, 07:96, 07:127, 15:03, 15:16 and 15:25 alleles. Specific PCR fragment of 240 bp in the C*03:57 allele.

Primer mix 23: Specific PCR fragment of 90 bp in the C*03:28 and 03:49 alleles. Specific PCR fragment of 260 bp in the C*03:90 allele.

Primer mix 25: Specific PCR fragment of 305 bp in the C*03:32 and 03:45 alleles. Specific PCR fragment of 355 bp in the C*03:38:01-03:38:02 and 03:69 and in the C*12:44, 15:03, 15:16 and alleles. Specific PCR fragments of 305 and 355 bp in the C*04:80, 06:14, 07:10, 07:43 and 15:25 alleles.

Primer mix 26: Specific PCR fragment of 70 bp in the C*03:34 allele. Specific PCR fragment of 105 bp in the C*03:36 and 03:77 alleles. Specific PCR fragment of 265 bp in the C*03:13 and 03:35 and in the C*07:133 and the B*15:96 alleles.

Primer mix 27: Specific PCR fragment of 80 bp in the C*03:11:01-03:11:02 and 03:37 and in the C*02:42 alleles. Specific PCR fragment of 275 bp in the C*03:15, 03:32, 03:45 and 03:60 and in the C*04:03, 04:06, 04:16, 04:80, 06:03, 07:96 and 15:25 alleles. Specific PCR fragment of 80 and 275 bp in the C*06:03 allele.

Primer mix 29: Specific PCR fragment of 140 bp in the C*03:98 allele. Specific PCR fragment of 170 bp in the C*03:51 and 03:96 and in the C*04:64 alleles. Specific PCR fragment of 285 bp in the C*03:39 and 03:67 and in the C*06:53, 07:56:01, 07:60, 07:79 and 07:109 and the B*08:39 alleles.

Primer mix 31: Specific PCR fragment of 100 bp in the C*03:59 allele. Specific PCR fragment of 210 bp in the C*03:44 allele.

Primer mix 32: Specific PCR fragment of 90 bp in the C*03:58 and in the C*01:03, 01:24 and 04:37 alleles. Specific PCR fragment of 180 bp in the C*03:48 and 03:84 alleles.

Primer mix 33: Specific PCR fragment of 110 bp in the C*03:62 allele. Specific PCR fragment of 365 bp in the C*03:43:01-03:43:02 and in the C*07:60, 07:79 and 14:10 and the B*35:101:02 alleles.

Specific PCR fragment of 110 and 365 bp in the C*07:79 and 14:10 alleles.

Primer mix 34: Specific PCR fragment of 130 bp in the C*03:54 and 03:98 alleles. Specific PCR fragment of 240 bp in the C* 03:53 and the C*12:17 alleles.

Primer mix 35: Specific PCR fragment of 70 bp in the C*03:64, 02:08, 15:10:02 alleles. Specific PCR fragment of 120 bp in the C*03:56 allele. Specific PCR fragment of 210 bp in the C*03:79, 03:85 and 03:82 alleles.

Primer mix 38: Specific PCR fragment of 100 bp in the C*03:52 and 03:95 and in the C*04:43 alleles. Specific PCR fragment of 265 bp in the C*03:73 allele.

Primer mix 39: Specific PCR fragment of 110 bp in the C*03:36 and 03:77 and in the C*04:34 alleles. Specific PCR fragment of 170 bp in the C*03:63 allele.

Primer mix 40: Specific PCR fragment of 70 bp in the C*03:80 alleles. Specific PCR fragment of 260 bp in the C*03:66 allele.

Primer mix 41: Specific PCR fragment of 120 bp in the C*03:68 alleles. Specific PCR fragment of 195 bp in the C* 03:100 allele.

Primer mix 42: Specific PCR fragment of 120 bp in the C*03:78 alleles. Specific PCR fragment of 205 bp in the C*03:70 and in the B*55:30 alleles.

Primer mix 43: Specific PCR fragment of 225 bp in the C*03:74 and 03:81 and in the B*15:96 alleles. Specific PCR fragment of 275 bp in the C*03:97 allele.

Primer mix 44: Specific PCR fragment of 70 bp in the C*03:91 allele. Specific PCR fragment of 160 bp in the C*03:75 allele.

Primer mix 45: Specific PCR fragment of 140 bp in the C*03:93 alleles. Specific PCR fragment of 295 bp in the C*03:76 allele.

‘w’, might be weakly amplified.







Olerup SSP AB

www.olerup-ssp.com
Hasselstigen 1 

For In Vitro Diagnostic Use
SE-133 33 Saltsjöbaden

Sweden

