PAGE  
October 2013
HLA-C*03
Page 1 of 17
Rev. No: 01
94R
Worksheet can be downloaded from


Worksheet
www.olerup-ssp.com










	PHOTO DOCUMENT


Olerup SSP®
Olerup SSP® HLA-C*03
Prod. No:
101.611-12/12u

Lot No:    
94R
Expiry Date:    
2015-September-01
Name:________________Sample ID:_______________

DNA Extract Date:_________ Conc.(ng/ul):_________

Test  Date: _________Review Date:_______________

Tested By: _________Reviewed By:_______________

Interpretation:_________________________________

Specificities and sizes of the PCR products of the 48 primer mixes used for HLA-C*03 SSP typing.
	Primer Mix
	Size of spec. PCR product1
	Size of control band2
	Amplified HLA-C*03 alleles3
	Other amplified HLA Class I alleles4

	  1
	280 bp
	800 bp
	*03:02:01-03:02:09, 03:04:01:01-03:04:25, 03:04:27-03:10, 03:14-03:17, 03:19, 03:23-03:29, 03:32-03:38:02, 03:40:01-03:42, 03:44-03:48, 03:51, 03:54, 03:57, 03:60, 03:63-03:64:01, 03:65, 03:70-03:74, 03:77-03:78, 03:80, 03:82, 03:84, 03:87, 03:89-03:95, 03:98, 03:100-03:101, 03:104-03:111, 03:113-03:115, 03:117-03:118, 03:121N, 03:123, 03:125, 03:128-03:131, 03:134-03:136, 03:138-03:140, 03:143, 03:145-03:149, 03:153-03:155, 03:157, 03:159, 03:162-03:164, 03:169, 03:172-03:174
	*02:02:01-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:25Q, 02:26:02-02:32, 02:34-02:40, 02:42-02:66, 04:03, 04:06, 04:16, 04:80, 04:107, 05:58:01, 06:03:01, 07:02:10w, 07:96:01-07:96:02, 07:127w, 12:03:23, 15:02:01-15:09, 15:10:02-15:11, 15:13, 15:15-15:19, 15:21-15:22, 15:24-15:35, 15:37-15:60, 15:62, 15:64, 16:34

	  2
	210 bp
	1070 bp
	*03:02:01-03:02:09, 03:14-03:15, 03:33, 03:36, 03:40:01-03:40:03, 03:42-03:43:02, 03:60, 03:71, 03:84, 03:89, 03:95, 03:108, 03:110, 03:119, 03:121N, 03:132, 03:139, 03:146, 03:169, 03:175
	*07:133, 07:242, B*15:96

	  3
	280 bp
	800 bp
	*03:03:01-03:03:19, 03:11:01-03:13, 03:20N-03:22Q, 03:30-03:31, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66, 03:67w, 03:68-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:150-03:152, 03:158, 03:160-03:161, 03:165, 03:167-03:168, 03:171, 03:175
	*15:12

	  4
	275 bp
	1070 bp
	*03:03:01-03:04:32, 03:06-03:12, 03:14, 03:18-03:24, 03:26, 03:28-03:32, 03:34, 03:37:01-03:40:03, 03:42-03:57, 03:59, 03:61-03:70, 03:72-03:83, 03:85, 03:87-03:88, 03:90-03:93, 03:96, 03:98, 03:100-03:107, 03:109, 03:111-03:112, 03:114-03:120, 03:122-03:131, 03:133-03:134, 03:136-03:138, 03:140-03:145, 03:147-03:150, 03:152-03:153, 03:155-03:164, 03:166, 03:168, 03:170-03:175
	

	  5
	275 bp
	1070 bp
	*03:05, 03:13, 03:17, 03:25, 03:27, 03:35, 03:71, 03:167
	*01:65, 07:133, 07:242, B*15:96

	  65,9
	90 bp,  215 bp
	800 bp
	*03:06, 03:21, 03:142
	B*15:96

	  75,6,10
	110 bp, 185 bp
	1070 bp
	*03:03:01-03:03:19, 03:08, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:29-03:31, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:144, 03:150-03:152, 03:158, 03:160-03:161, 03:165, 03:167-03:168, 03:171, 03:175
	*01:51, 06:44, 06:53:01, 07:01:01:01-07:01:24, 07:01:26-07:01:31, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N-07:56:01, 07:57-07:60, 07:65, 07:70-07:71, 07:73, 07:77-07:79, 07:81-07:83, 07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:108-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141:02, 07:148, 07:150Q-07:151, 07:153, 07:162, 07:164N-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:224, 07:227N-07:228, 07:230-07:231, 07:235-07:237, 07:246-07:250, 07:253-07:257, 07:263, 07:266-07:269, 07:276-07:282, 07:292, 15:02:10, 18:05, B*07:93, B*08:39, B*35:101:02, B*35:195, B*35:211, B*38:27, B*51:76

	  8
	255 bp
	1070 bp
	*03:09, 03:22Q, 03:42, 03:71, 03:89, 03:116:01-03:116:02, 03:119, 03:139, 03:169
	*07:133, 07:242, B*56:37

	
	
	
	
	

	  9
	240 bp
	1070 bp
	*03:07, 03:15, 03:45, 03:130, 03:140, 03:163
	*02:02:01-02:02:03, 02:02:05-02:02:11, 02:02:13-02:03, 02:04w, 02:05-02:11, 02:13, 02:14w, 02:15-02:25Q, 02:26:02-02:26:03, 02:28-02:40, 02:42-02:66, 04:03, 04:06, 04:16, 04:80, 04:107, 05:58:01, 06:03:01, 15:02:01-15:06:03, 15:08-15:09, 15:10:02-15:13, 15:15-15:19, 15:22, 15:24, 15:26-15:35, 15:37-15:42, 15:44-15:60, 15:62, 15:64

	10
	250 bp
	800 bp
	*03:07, 03:10, 03:15, 03:29, 03:45, 03:163
	*02:02:01w, 02:02:02-02:02:03, 02:02:05-02:03, 02:04w, 02:05-02:13, 02:14w, 02:15-02:25Q, 02:26:02-02:26:03, 02:28-02:40, 02:42-02:64, 02:66, 04:03, 04:06, 04:16, 04:80, 04:107, 05:58:01, 06:03:01, 15:02:01-15:06:03, 15:08-15:09, 15:10:02-15:13, 15:15-15:19, 15:21-15:22, 15:24, 15:26-15:35, 15:37-15:42, 15:44-15:60, 15:62, 15:64

	1111
	145 bp, 415 bp
	1070 bp
	*03:08, 03:29, 03:31, 03:87
	*04:112, 05:36, 06:44, 12:08, 12:81

	1212
	260 bp, 305 bp
	1070 bp
	*03:03:12, 03:03:15, 03:04:19, 03:11:01, 03:18, 03:39, 03:113
	*01:51, 05:55, 06:53:01, 07:10, 07:43, 07:56:01, 07:60, 07:79, 07:109, 07:184, 07:196, 12:58, 15:12, B*35:08:04, B*37:04:02

	135,13
	80 bp,  140 bp
	1070 bp
	*03:02:01-03:02:09, 03:15-03:17, 03:33, 03:36, 03:40:01, 03:40:03, 03:42-03:43:01, 03:60, 03:71, 03:84, 03:89, 03:95, 03:108, 03:110, 03:121N, 03:132, 03:139, 03:146, 03:169, 03:175
	*04:37, 04:54, 06:02:08, 07:02:32, 07:242, 12:03:20, 14:02:01, 14:02:03-14:16, 14:18-14:46, 16:01:06, B*15:78:03

	145,14
	70 bp, 

210 bp
	1070 bp
	*03:04:26, 03:12, 03:19, 03:102
	*02:26:01, 05:58:02, 06:70, 07:20, 15:23, B*44:85, B*55:30, B*56:37w

	157
	135 bp
	1070 bp
	*03:02:01-03:04:24, 03:04:27-03:17, 03:19-03:38:02, 03:40:01-03:64:01, 03:65-03:66, 03:67w, 03:68-03:98, 03:100-03:117, 03:119-03:136, 03:138-03:143, 03:146-03:155, 03:157-03:165, 03:167-03:169, 03:171, 03:173-03:175
	*02:02:13, 06:03:01w, 07:96:01-07:96:02, 15:02:10, 15:43

	16
	150 bp
	1070 bp
	*03:07, 03:10, 03:15, 03:29, 03:45, 03:163
	*01:14, 02:02:13, 04:01:23, 05:01:12, 05:29:02, 06:02:01:01-06:02:01:02, 06:02:03-06:04, 06:06-06:10, 06:12-06:76:01, 06:77-06:81, 06:83-06:93, 07:07, 07:09, 07:76, 12:04:01, 14:12, 15:02:10, 17:01:01:01-17:01:03, 17:01:05-17:15, 18:01-18:06

	
	
	
	
	

	175
	100 bp
	1070 bp
	*03:20N, 03:101
	

	1815
	165 bp, 195 bp, 225 bp
	1070 bp
	*03:23, 03:83, 03:102
	B*15:96, B*56:37

	195,16
	105 bp, 260 bp
	800 bp
	*03:24, 03:33
	

	2017
	165 bp,  255 bp
	1070 bp
	*03:25, 03:47, 03:155
	

	2118
	210 bp, 240 bp
	1070 bp
	*03:26, 03:57, 03:88
	

	22
	195 bp
	800 bp
	*03:15, 03:27, 03:38:01-03:38:02, 03:69, 03:130, 03:136, 03:163
	*02:12, 02:49, 02:55, 04:03, 04:06, 04:16, 04:80, 04:107, 06:70, 07:20, 07:96:01-07:96:02, 07:127, 07:263, 15:03, 15:16, 15:25

	235,19
	90 bp,  260 bp
	1070 bp
	*03:22Q, 03:28, 03:49, 03:90, 03:103, 03:117, 03:169
	*01:65

	2420
	160 bp, 200 bp
	1070 bp
	*03:30, 03:65, 03:79, 03:120-03:121N
	

	
	
	
	
	

	2521
	305 bp, 355 bp, 470 bp
	1070 bp
	*03:32, 03:38:01-03:38:02, 03:45, 03:69, 03:130, 03:136, 03:163, 03:171
	*04:80, 04:100, 04:110, 06:14, 06:73, 07:10, 07:43, 07:196, 08:20, 08:40, 12:44, 15:03, 15:16, 15:25, 15:62, B*35:178

	265,22
	70 bp,  105 bp, 265 bp
	1070 bp
	*03:13, 03:34-03:36, 03:77, 03:142
	*07:133, 07:242, B*15:96

	275,23
	80 bp, 

275 bp
	1070 bp
	*03:11:01-03:11:02, 03:15, 03:32, 03:37:01-03:37:02, 03:45, 03:60, 03:136
	*02:42, 02:49, 04:03, 04:06, 04:16, 04:80, 06:03:01, 07:96:01-07:96:02, 15:25, 15:62

	28
	170 bp
	1070 bp
	*03:16, 03:41, 03:113, 03:151
	*04:01:01:01-04:01:04, 04:01:06, 04:01:08, 04:01:10-04:01:17, 04:01:19-04:01:21, 04:01:23-04:01:25, 04:01:27-04:01:41, 04:03-04:04:01, 04:05-04:20, 04:23-04:49, 04:51-04:63, 04:65-04:76, 04:78-04:94:01, 04:95N-04:98, 04:100-04:119, 04:121-04:132, 06:02:08, 07:02:32, 12:03:20, 14:02:01, 14:02:03-14:02:10, 14:03-14:16, 14:18-14:31, 14:33-14:43, 14:45-14:46, 16:01:06, 18:01-18:06, B*15:01:17, B*15:78:03

	2924
	140 bp, 170 bp, 285 bp,
	1070 bp
	*03:39, 03:51, 03:67, 03:96, 03:98, 03:161
	*04:64:01, 06:53:01, 07:56:01, 07:60, 07:79, 07:109, B*08:39

	3025
	150 bp, 170 bp
	1070 bp
	*03:46, 03:61, 03:96
	*04:64:01

	315,26
	100 bp,  210 bp
	800 bp
	*03:44, 03:59, 03:123
	

	325,8,27
	90 bp,  180 bp
	1070 bp
	*03:48, 03:58, 03:84
	*01:03, 01:24, 04:37, 05:85

	
	
	
	
	

	335,28
	110 bp, 365 bp
	1070 bp
	*03:43:01-03:43:02, 03:62, 03:119, 03:132, 03:175
	*07:60, 07:79, 12:58, 14:10, B*35:101:02

	3429
	130 bp, 240 bp
	1070 bp
	*03:53-03:54, 03:98
	*12:17

	355,30
	70 bp, 

120 bp, 210 bp
	1070 bp
	*03:56, 03:64:01, 03:79, 03:82, 03:85
	*02:08, 12:03:23, 15:10:02

	3631
	165 bp, 245 bp
	1070 bp
	*03:50, 03:72, 03:122
	

	37
	140 bp
	1070 bp
	*03:16, 03:21, 03:55, 03:80, 03:92, 03:113, 03:117, 03:161
	*04:01:01:01-04:01:04, 04:01:08, 04:01:10-04:01:21, 04:01:23-04:01:25, 04:01:27-04:01:41, 04:03-04:04:01, 04:05-04:07, 04:09N-04:20, 04:23-04:31, 04:33, 04:35-04:49, 04:51-04:58, 04:60-04:76, 04:78-04:84, 04:86-04:94:01, 04:95N-04:98, 04:100-04:132, 06:02:08, 07:02:32, 08:01:07, 08:02:07, 08:33:02, 12:03:20, 14:02:01, 14:02:03-14:16, 14:18-14:19, 14:21N-14:24:02, 14:26-14:31, 14:33-14:37, 14:39-14:46, 16:01:06, 18:01-18:02, 18:04-18:06

	385,32
	110 bp, 265 bp
	1070 bp
	*03:52, 03:73, 03:95
	*04:43

	395,33
	110 bp, 170 bp
	1070 bp
	*03:36, 03:63, 03:77
	*04:34, 04:122

	405,34
	70 bp,  260 bp
	1070 bp
	*03:66, 03:80
	

	
	
	
	
	

	415,6,35
	120 bp, 195 bp
	1070 bp
	*03:68, 03:100, 03:146
	*06:02:03, 06:46N, 08:24, 17:01:01:01-17:01:01:02, 17:02-17:03, 17:05

	425,36
	120 bp,  205 bp
	1070 bp
	*03:70, 03:78, 03:127
	B*55:30

	437,37
	220 bp, 275 bp
	800 bp
	*03:74, 03:81, 03:97, 03:175
	B*15:96, B*56:37

	445,38
	70 bp, 

160 bp
	1070 bp
	*03:75, 03:91, 03:120
	

	4539
	140 bp,  295 bp
	1070 bp
	*03:76, 03:93
	

	4640
	150 bp, 210 bp
	1070 bp
	*03:58, 03:86, 03:94, 03:99, 03:155
	*01:02:01-01:03, 01:06-01:08, 01:10-01:11, 01:13-01:20, 01:23-01:33, 01:38-01:48, 01:51-01:54, 01:56N-01:73, 04:37, 05:85, 14:45

	475,41
	70 bp, 

195 bp, 240 bp
	1070 bp
	*03:14, 03:21, 03:55, 03:57, 03:92, 03:109, 03:117, 03:161
	*01:65, 07:133

	48
	555 bp
	1070 bp
	*03:58, 03:86, 03:94, 03:99
	*05:85, 15:37, 16:18


1Alleles are assigned by the presence of specific PCR product(s). However, the sizes of the specific PCR products may be helpful in the interpretation of HLA-C*03 SSP typings.

When the primers in a primer mix can give rise to HLA-specific PCR products of more than one length this is indicated if the size difference is more than 20 base pairs. Size differences of 20 base pairs or less are not given. For high resolution SSP kits the respective lengths of the HLA-specific PCR product(s) are given for the alleles amplified by these primer mixes. 

Nonspecific amplifications, i.e. a ladder or a smear of bands, may sometimes be seen. GC-rich primers have a higher tendency of giving rise to nonspecific amplifications than other primers.

PCR fragments longer than the control bands may sometimes be observed. Such bands should be disregarded and do not influence the interpretation of the SSP typings.

PCR fragments migrating faster than the control bands, but slower than a 400 bp fragment may be seen in some gel read-outs. Such bands can be disregarded and do not influence the interpretation of the SSP typings.

Some primers may give rise to primer oligomer artifacts. Sometimes this phenomenon is an inherit feature of the primer pair(s) of a primer mix. More often it is due to other factors such as too low amount of DNA in the PCR reactions, taking too long time in setting up the PCR reactions, working at elevated room temperature or using thermal cyclers that are not pre-heated.

2The internal positive control primer pairs amplify segments of the human growth hormone gene. The two different control primer pairs give rise to either an internal positive control band of 1070 base pairs, for most wells, or a band of 800 base pairs, for some wells.

Well number 1 contains the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to help in the correct orientation of the HLA-C*03 subtyping.

In addition, wells number 3, 6, 10, 19, 22, 31 and 43 contain the primer pair giving rise to the shorter, 800 bp, internal positive control band in order to allow kit identification.

In the presence of a specific amplification the intensity of the control band often decreases.

3For several HLA Class I alleles 1st and/or 4th exon(s) and beyond, as well as intron nucleotide sequences, are not available. In these instances it is not known whether some of the primers of the SSP sets are completely matched with the target sequences or not. We assume that unknown sequences in these regions are conserved within allelic groups. 

4Due to the sharing of sequence motifs between HLA-C alleles the primer pairs in wells 1 to 3, 5, 7 to 16, 22, 23, 25  to 30, 32 to 35, 37 to 39, 41 and 46 to 48 will amplify non-HLA-C*03 alleles. In addition, the B*07:93, 35:195, 35:211, 38:27 and 51:76 alleles are amplified by primer mix 7, the B*08:39 allele is amplified by primer mix 7 and 29, the B*15:01:17 allele is amplified by primer mix 28, the B*15:78:03 allele is amplified by primer mixes 13 and 28, the B*15:96 allele is amplified by primer mixes 2, 5, 6, 18, 26 and 43, the B*35:08:04 and 37:04:02 alleles are amplified by primer mix 12, the B*35:101:02 allele is amplified by primer mix 7 and 33, the B*35:178 allele is amplified by primer mix 25, the B*44:85 allele is amplified by primer mix 14, the B*55:30 allele is amplified by primer mix 14 and 42, the B*56:37 allele is amplified by primer mix 8, 18, 43 and weakly amplified by primer 14.

5HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

6Primer mix 7 and 41 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*03 primer mixes.

7Primer mixes 15 and 43 have a tendency to giving rise to primer oligomer formation.

8Primer mix 32 may have a tendency of unspecific amplification.

9Primer mix 6: Specific PCR fragment of 90 bp in the C*03:21 and 03:142 and the B*15:96 alleles. Specific PCR fragment of 215 bp in the C*03:06 allele.

10Primer mix 7: Specific PCR fragment of 110 bp in the C*03:08 and 03:29 and the C*06:44, 07:01:01:01-07:01:24, 07:01:26-07:01:31, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:70-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141:02, 07:148, 07:150Q-07:151, 07:153, 07:162, 07:164N-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:224, 07:227N-07:228, 07:230-07:231, 07:235-07:237, 07:246-07:250, 07:253-07:257, 07:263, 07:266-07:269, 07:276-07:282, 07:292, 15:02:10 and 18:05 alleles. Specific PCR fragment of 185 bp in the C *03:03:01-03:03:19, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:30, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:144, 03:150-03:152, 03:158, 03:160-03:161, 03:165, 03:167-03:168, 03:171 and 03:175 and the C*01:51, 06:53:01, 07:56:01, 07:79 and in the B*07:93, B*08:39, B*35:101:02, 35:195, 35:211, B*38:27 and B*51:76 alleles. Specific PCR fragments of 110 and 185 bp in the C*03:31 and in the C*07:60 and 07:109 alleles.

11Primer mix 11: Specific PCR fragment of 145 bp in the C*03:87 allele. Specific PCR fragment of 415 bp in the C*03:08, 03:29 and 03:31 and in the C*04:112, 05:36, 06:44, 12:08 and 12:81 alleles.

12Primer mix 12: Specific PCR fragment of 260 bp in the C*03:03:12, 03:03:15, 03:11:01, 03:18 and 03:39 and the C*01:51, 05:55, 06:53:01, 07:56:01, 07:60, 07:79, 07:109, 12:58 and 15:12 alleles. Specific PCR fragment of 305 bp in the C*03:04:19 and 03:113 and the C*07:10, 07:43, 07:184 and 07:196 and in the B*35:08:04 and B*37:04:02 alleles.

13Primer mix 13: Specific PCR fragment of 80 bp in the C*03:02:01-03:02:09, 03:15-03:16, 03:33, 03:36, 03:40:01, 03:40:03, 03:42-03:43:01, 03:60, 03:84, 03:89, 03:95, 03:108, 03:110, 03:121N, 03:132, 03:139, 03:146, 03:169 and 03:175 and the C*04:54, 07:02:32, 07:242, 14:08-14:09, 14:28, and in the B*15:78:03 alleles. Specific PCR fragment of 140 bp in the C*03:17 and the C*04:37, 14:24:02, 14:26, 16:01:06 alleles. Specific PCR fragments of 80 and 140 bp in the C*03:71 and in the C*06:02:08, 12:03:20, 14:02:01, 14:02:03-14:07N, 14:10-14:16, 14:18-14:24:01, 14:25, 14:27, 14:29-14:46 and 16:01:06 alleles.

14Primer mix 14: Specific PCR fragment of 70 bp in the C*03:04:26 and the C*02:26:01, 05:58:02, 06:70, 07:20 and 15:23 and in the B*44:85 and B*55:30 alleles. Specific PCR fragment of 210 bp in the C*03:12, 03:19 and 03:102 and in the B*56:37w alleles.

15Primer mix 18: Specific PCR fragment of 165 bp in the C*03:102 and in the B*15:96 and B*56:37 alleles. Specific PCR fragment of 195 bp in the C*03:83 allele. Specific PCR fragment of 225 bp in the C*03:23 allele.

16Primer mix 19: Specific PCR fragment of 105 bp in the C*03:24 allele. Specific PCR fragment of 260 bp in the C*03:33 allele.

17Primer mix 20: Specific PCR fragment of 165 bp in the C*03:25 and 03:155 alleles. Specific PCR fragment of 255 bp in the C*03:47 allele.

18Primer mix 21: Specific PCR fragment of 210 bp in the C*03:26 allele. Specific PCR fragment of 240 bp in the C03:57 and 03:88 alleles.

19Primer mix 23: Specific PCR fragment of 90 bp in the C*03:28, 03:49 and 03:117 and the C* 01:65 alleles. Specific PCR fragment of 260 bp in the C*03:22Q, 03:90, 03:103 and 03:169 alleles.

20Primer mix 24: Specific PCR fragment of 160 bp in the C*03:120 allele. Specific PCR fragment of 200 bp in the C*03:30, 03:65, 03:79 and 03:121N alleles.

21Primer mix 25: Specific PCR fragment of 305 bp in the C*03:32 and 03:45 and the 15:62 and in the B*35:178 alleles. Specific PCR fragment of 355 bp in the C*03:38:01-03:38:02, 03:69, 03:130 and 03:163 and the C*12:44, 15:03 and 15:16 alleles. Specific PCR fragment of 470 bp in the C*03:171, 06:73, 08:20 and 08:40 alleles. Specific PCR fragments of 305 and 355 bp in the C*03:136 and the C*04:80, 04:100, 04:110, 06:14, 07:10, 07:43, 07:196 and 15:25 alleles.

22Primer mix 26: Specific PCR fragment of 70 bp in the C*03:34 and 03:142 alleles. Specific PCR fragment of 105 bp in the C*03:36 and 03:77 alleles. Specific PCR fragment of 265 bp in the C*03:13 and 03:35 and in the C*07:133 and 07:242 and the B*15:96 alleles.

23Primer mix 27: Specific PCR fragment of 80 bp in the C*03:11:01-03:11:02, 03:37:01-03:37:02 and the C*02:42 alleles. Specific PCR fragment of 275 bp in the C*03:15, 03:32, 03:45, 03:60 and  03:136 and the 02:49, 04:03, 04:06, 04:16, 04:80, 07:96:01-07:96:02, 15:25 and 15:62 alleles. Specific PCR fragment of 80 and 275 bp in the C*06:03:01 allele.

24Primer mix 29: Specific PCR fragment of 140 bp in the C*03:98 allele. Specific PCR fragment of 170 bp in the C*03:51, 03:96 and 03:161 and in the C*04:64:01 alleles. Specific PCR fragment of 285 bp in the C*03:39 and 03:67 and the C*06:53:01, 07:56:01, 07:60, 07:79 and 07:109 and in the B*08:39 alleles.

25Primer mix 30: Specific PCR fragment of 150 bp in the C*03:61 allele. Specific PCR fragment of 170 bp in the C*03:46 and 03:96 and the C*04:64:01 alleles.

26Primer mix 31: Specific PCR fragment of 100 bp in the C*03:59 and 03:123 alleles. Specific PCR fragment of 210 bp in the C*03:44 allele.

27Primer mix 32: Specific PCR fragment of 90 bp in the C*03:58 and in the C*01:03, 01:24, 04:37 and 05:85 alleles. Specific PCR fragment of 180 bp in the C*03:48 and 03:84 alleles.

28Primer mix 33: Specific PCR fragment of 110 bp in the C*03:62 allele. Specific PCR fragment of 365 bp in the C*03:43:01-03:43:02, 03:119, 03:132 and 03:175 and the C*07:60, 07:79, 12:58 and 14:10 and in the B*35:101:02 alleles.

29Primer mix 34: Specific PCR fragment of 130 bp in the C*03:54 and 03:98 alleles. Specific PCR fragment of 240 bp in the C* 03:53 and the C*12:17 alleles.

30Primer mix 35: Specific PCR fragment of 70 bp in the C *03:64:01 and the C02:08, 12:03:23 and 15:10:02 alleles. Specific PCR fragment of 120 bp in the C*03:56 allele. Specific PCR fragment of 210 bp in the C*03:79, 03:82 and 03:85 alleles.

31Primer mix 36: Specific PCR fragment of 165 bp in the C*03:122 allele. Specific PCR fragment of 245 bp in the C*03:50 and 03:72 alleles.

32Primer mix 38: Specific PCR fragment of 110 bp in the C*03:52 and 03:95 and in the C*04:43 alleles. Specific PCR fragment of 265 bp in the C*03:73 allele.

33Primer mix 39: Specific PCR fragment of 110 bp in the *03:36, 03:77 and the 04:34 and 04:122 alleles. Specific PCR fragment of 170 bp in the C*03:63 allele.

34Primer mix 40: Specific PCR fragment of 70 bp in the C*03:80 alleles. Specific PCR fragment of 260 bp in the C*03:66 allele.

35Primer mix 41: Specific PCR fragment of 120 bp in the C*03:68 alleles. Specific PCR fragment of 195 bp in the C*03:100 and 03:146, 06:02:03, 06:46N, 08:24, 17:01:01:01-17:01:01:02, 17:02-17:03 and 17:05 alleles.

36Primer mix 42: Specific PCR fragment of 120 bp in the C*03:78 alleles. Specific PCR fragment of 205 bp in the C*03:70 and 03:127 and in the B*55:30 alleles.

37Primer mix 43: Specific PCR fragment of 220 bp in the C*03:74, 03:81 and 03:175 and in the B*15:96 and B*56:37 alleles. Specific PCR fragment of 275 bp in the C*03:97 allele.

38Primer mix 44: Specific PCR fragment of 70 bp in the C*03:91 allele. Specific PCR fragment of 160 bp in the C*03:75 and 03:120 alleles.

39Primer mix 45: Specific PCR fragment of 140 bp in the C*03:93 alleles. Specific PCR fragment of 295 bp in the C*03:76 allele.

40Primer mix 46: Specific PCR fragment of 150 bp in the C*03:155 allele. Specific PCR fragment of 210 bp in the C*03:58, 03:86, 03:94, 03:99 and the 01:02:01-01:03, 01:06-01:08, 01:10-01:11, 01:13-01:20, 01:23-01:33, 01:38-01:48, 01:51-01:54, 01:56N-01:73, 04:37, 05:85 and 14:45 alleles

41Primer mix 47: Specific PCR fragment of 70 bp in the C*03:14, 03:21, 03:55, 03:92, 03:117 and 03:161 and the 01:65 and 07:133 alleles. Specific PCR fragment of 195 bp in the C*03:109 allele. Specific PCR fragment of 240 bp in the C*03:57 allele.

‘w’, might be weakly amplified.

[image: image1.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

HLA-C*

1,2

HLA-C*

1,2

*03:02:01-03:02:09, 03:108, 

03:110

1 2 13 15

*03:02:01-03:02:09, 03:108, 

03:110

*03:03:01-03:03:11, 

03:03:13-03:03:14, 03:03:16-

03:03:19, 03:112, 03:124, 

03:126, 03:133, 03:141, 

03:150, 03:152, 03:158, 

03:160, 03:168

3 4 7 15

*03:03:01-03:03:11, 

03:03:13-03:03:14, 03:03:16-

03:03:19, 03:112, 03:124, 

03:126, 03:133, 03:141, 

03:150, 03:152, 03:158, 

03:160, 03:168

*03:03:12, 03:03:15 3 4 7 12 15 *03:03:12, 03:03:15

*03:04:01:01-03:04:18, 

03:04:20-03:04:24, 03:04:27-

03:04:32, 03:104-03:107, 

03:111, 03:114-03:115, 

03:125, 03:128-03:129, 

03:131, 03:134, 03:138, 

03:143, 03:147-03:149, 

03:153, 03:157, 03:159, 

03:162, 03:164, 03:173-

03:174

1 4 15

*03:04:01:01-03:04:18, 

03:04:20-03:04:24, 03:04:27-

03:04:32, 03:104-03:107, 

03:111, 03:114-03:115, 

03:125, 03:128-03:129, 

03:131, 03:134, 03:138, 

03:143, 03:147-03:149, 

03:153, 03:157, 03:159, 

03:162, 03:164, 03:173-

03:174

*03:04:19 1 4 12 15 *03:04:19

*03:04:25, 03:118, 03:145, 

03:172

1 4

*03:04:25, 03:118, 03:145, 

03:172

*03:04:26 4 14 *03:04:26

*03:05 1 5 15 *03:05

*03:06 1 4 6 15 *03:06

*03:07 1 4 9 10 1516 *03:07

*03:08 1 4 7 11 15 *03:08

*03:09 1 4 8 15 *03:09

*03:10 1 4 10 1516 *03:10

*03:11:01 3 4 7 12 15 27 *03:11:01

*03:11:02 3 4 7 15 27 *03:11:02

*03:12 3 4 7 1415 *03:12

*03:13 3 5 7 15 26 *03:13

*03:14 1 2 4 15 47 *03:14

*03:15 1 2 9 10 13 1516 22 27 *03:15

*03:16 1 13 15 28 37 *03:16

*03:17 1 5 13 15 *03:17

*03:18 4 7 12 *03:18

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.



[image: image2.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*01:02:01-01:02:17, 01:06-

01:08, 01:10-01:11, 01:13, 

01:15-01:20, 01:23, 01:25-

01:33, 01:38-01:48, 01:52-

01:54, 01:56N-01:64, 01:66-

01:73

46

*01:02:01-01:02:17, 01:06-

01:08, 01:10-01:11, 01:13, 

01:15-01:20, 01:23, 01:25-

01:33, 01:38-01:48, 01:52-

01:54, 01:56N-01:64, 01:66-

01:73

*01:03, 01:24 32 46 *01:03, 01:24

*01:14 16 46 *01:14

*01:51 7 12 46 *01:51

*01:65 5 23 4647 *01:65

*02:02:01 1 9 w *02:02:01

*02:02:02-02:02:03, 

02:02:05-02:02:11, 02:02:14-

02:03, 02:05-02:07, 02:09-

02:11, 02:13, 02:15-02:25Q, 

02:26:02-02:26:03, 02:28-

02:32, 02:34-02:40, 02:43-

02:48, 02:50-02:54, 02:56-

02:64, 02:66, 05:58:01, 

15:02:01-15:02:09, 15:02:11-

15:02:15, 15:04-15:06:03, 

15:08-15:09, 15:11, 15:13, 

15:15, 15:17-15:19, 15:22, 

15:24, 15:26-15:35, 15:38-

15:42, 15:44-15:60, 15:64

1 9 10

*02:02:02-02:02:03, 

02:02:05-02:02:11, 02:02:14-

02:03, 02:05-02:07, 02:09-

02:11, 02:13, 02:15-02:25Q, 

02:26:02-02:26:03, 02:28-

02:32, 02:34-02:40, 02:43-

02:48, 02:50-02:54, 02:56-

02:64, 02:66, 05:58:01, 

15:02:01-15:02:09, 15:02:11-

15:02:15, 15:04-15:06:03, 

15:08-15:09, 15:11, 15:13, 

15:15, 15:17-15:19, 15:22, 

15:24, 15:26-15:35, 15:38-

15:42, 15:44-15:60, 15:64

*02:02:12, 15:21 1 10 *02:02:12, 15:21

*02:02:13 1 9 10 1516 *02:02:13

*02:04, 02:14 w w w *02:04, 02:14

*02:08, 15:10:02 1 9 10 35 *02:08, 15:10:02

*02:12 1 10 22 *02:12

*02:26:01, 05:58:02, 15:23, 

B*44:85

14

*02:26:01, 05:58:02, 15:23, 

B*44:85

*02:27:01-02:27:02, 15:07, 

16:34

1

*02:27:01-02:27:02, 15:07, 

16:34

*02:33 9 10 *02:33

*02:42 1 9 10 27 *02:42

*02:49 1 9 10 22 27 *02:49

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.



[image: image3.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*07:242 2 5 8 13 26 *07:242

*07:263 7 22 *07:263

*08:20, 08:40, 12:44, 

B*35:178

25

*08:20, 08:40, 12:44, 

B*35:178

*08:24 41 *08:24

*12:03:23 1 35 *12:03:23

*12:17 34 *12:17

*12:58 12 33 *12:58

*14:02:11, 14:44 13 37 *14:02:11, 14:44

*14:10 13 28 33 37 *14:10

*14:20, 14:25, 14:38, 

B*15:78:03

13 28

*14:20, 14:25, 14:38, 

B*15:78:03

*14:32 13 *14:32

*14:45 13 28 37 46 *14:45

*15:02:10 1 7 9 10 1516 *15:02:10

*15:03, 15:16 1 9 10 22 25 *15:03, 15:16

*15:12 3 9 10 12 *15:12

*15:25 1 22 25 27 *15:25

*15:37 1 9 10 48 *15:37

*15:62 1 9 10 25 27 *15:62

*16:18 48 *16:18

*18:03 16 28 *18:03

*18:05 7 16 28 37 *18:05

B*08:39 7 29 B*08:39

B*15:96 2 5 6 18 26 43 B*15:96

B*35:101:02 7 33 B*35:101:02

B*55:30 14 42 B*55:30

B*56:37 8 w 18 43 B*56:37

Length of spec. PCR 

product(s)

11

280210280275275

90

110255240250145260

8070

135150100165105165210195

90

160305

7080

170140150100

90

110130

70

165140110110

70

120120220

70

140150

70

555

Length of spec. PCR 

product(s)

11

215185 415305140210 195260255240 260200355105275 170170210180365240120245 265170260195205275160295210195

225 470265 285 210 240

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

Specific Reaction Specific Reaction

1st match: C* 1st match: C*

2nd match: C* 2nd match: C*

Control Reaction Control Reaction

Failed Controls Failed Controls

False Positive False Positive

False Negative False Negative



[image: image4.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*03:19 1 4 1415 *03:19

*03:20N 3 4 7 15 17 *03:20N

*03:21 3 4 6 7 15 37 47 *03:21

*03:22Q 3 4 7 8 15 23 *03:22Q

*03:23 1 4 15 18 *03:23

*03:24 1 4 15 19 *03:24

*03:25 1 5 15 20 *03:25

*03:26 1 4 15 21 *03:26

*03:27 1 5 15 22 *03:27

*03:28, 03:90

4

1 4 15 23

*03:28, 03:90

7

*03:29 1 4 7 1011 1516 *03:29

*03:30 3 4 7 15 24 *03:30

*03:31 3 4 7 11 15 *03:31

*03:32 1 4 15 25 27 *03:32

*03:33 1 2 13 15 19 *03:33

*03:34 1 4 15 26 *03:34

*03:35 1 5 15 26 *03:35

*03:36 1 2 13 15 26 39 *03:36

*03:37:01-03:37:02 1 4 15 27 *03:37:01-03:37:02

*03:38:01-03:38:02 1 4 15 22 25 *03:38:01-03:38:02

*03:39 4 7 12 29 *03:39

*03:40:01, 03:40:03 1 2 4 13 15 *03:40:01, 03:40:03

*03:40:02 1 2 4 15 *03:40:02

*03:41 1 15 28 *03:41

*03:42 1 2 4 8 13 15 *03:42

*03:43:01 2 3 4 7 13 15 33 *03:43:01

*03:43:02 2 3 4 7 15 33 *03:43:02

*03:44, 03:123

5

1 4 15 31

*03:44, 03:123

8

*03:45 1 4 9 10 1516 25 27 *03:45

*03:46 1 4 15 30 *03:46

*03:47 1 4 15 20 *03:47

*03:48 1 4 15 32 *03:48

*03:49, 03:103

6

3 4 7 15 23

*03:49, 03:103

9

*03:50, 03:122

7

3 4 7 15 36

*03:50, 03:122

10

*03:51 1 4 15 29 *03:51

*03:52 3 4 7 15 38 *03:52

*03:53 3 4 7 15 34 *03:53

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.



[image: image5.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*03:54 1 4 15 34 *03:54

*03:55 3 4 7 15 37 47 *03:55

*03:56, 03:85

8

3 4 7 15 35

*03:56, 03:85

11

*03:57 1 4 15 21 47 *03:57

*03:58 3 7 15 32 46 48 *03:58

*03:59 3 4 7 15 31 *03:59

*03:60 1 2 13 15 27 *03:60

*03:61 3 4 7 15 30 *03:61

*03:62 3 4 7 15 33 *03:62

*03:63 1 4 15 39 *03:63

*03:64:01, 03:82

9

1 4 15 35

*03:64:01, 03:82

12

*03:64:02, 03:137, 03:156, 

03:166, 03:170

4

*03:64:02, 03:137, 03:156, 

03:166, 03:170

*03:65 1 4 15 24 *03:65

*03:66 3 4 7 15 40 *03:66

*03:67 w 4 7 w 29 *03:67

*03:68 3 4 7 15 41 *03:68

*03:69 3 4 7 15 22 25 *03:69

*03:70, 03:78

10

1 4 15 42

*03:70, 03:78

13

*03:71 1 2 5 8 13 15 *03:71

*03:72 1 4 15 36 *03:72

*03:73 1 4 15 38 *03:73

*03:74 1 4 15 43 *03:74

*03:75 3 4 7 15 44 *03:75

*03:76 3 4 7 15 45 *03:76

*03:77 1 4 15 26 39 *03:77

*03:79 3 4 7 15 24 35 *03:79

*03:80 1 4 15 37 40 *03:80

*03:81 3 4 7 15 43 *03:81

*03:83 3 4 7 15 18 *03:83

*03:84 1 2 13 15 32 *03:84

*03:86 3 7 15 46 48 *03:86

*03:87 1 4 11 15 *03:87

*03:88 3 4 7 15 21 *03:88

*03:89, 03:139 1 2 8 13 15 *03:89, 03:139

*03:91 1 4 15 44 *03:91

*03:92 1 4 15 37 47 *03:92

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.



[image: image6.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*03:93 1 4 15 45 *03:93

*03:94 1 15 46 48 *03:94

*03:95 1 2 13 15 38 *03:95

*03:96 3 4 7 15 2930 *03:96

*03:97 3 7 15 43 *03:97

*03:98 1 4 15 29 34 *03:98

*03:99 46 48 *03:99

*03:100 1 4 15 41 *03:100

*03:101 1 4 15 17 *03:101

*03:102 3 4 7 1415 18 *03:102

*03:109 1 4 15 47 *03:109

*03:113 1 12 15 28 37 *03:113

*03:116:01-03:116:02 3 4 7 8 15 *03:116:01-03:116:02

*03:117 1 4 15 23 37 47 *03:117

*03:119 2 3 4 7 8 15 33 *03:119

*03:120 3 4 7 15 24 44 *03:120

*03:121N 1 2 13 15 24 *03:121N

*03:127 3 4 7 15 42 *03:127

*03:130 1 4 9 15 22 25 *03:130

*03:132 2 3 7 13 15 33 *03:132

*03:135, 03:154, 15:43

3

1 15

*03:135, 03:154, 15:43

6

*03:136 1 4 15 22 25 27 *03:136

*03:140 1 4 9 15 *03:140

*03:142 3 4 6 7 15 26 *03:142

*03:144 4 7 *03:144

*03:146 1 2 13 15 41 *03:146

*03:151 3 7 15 28 *03:151

*03:155 1 4 15 20 46 *03:155

*03:161 3 4 7 15 29 37 47 *03:161

*03:163 1 4 9 10 1516 22 25 *03:163

*03:165 3 7 15 *03:165

*03:167 3 5 7 15 *03:167

*03:169 1 2 8 13 15 23 *03:169

*03:171 3 4 7 15 25 *03:171

*03:175 2 3 4 7 13 15 33 43 *03:175

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.



[image: image7.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*07:01:01:01-07:01:24, 

07:01:26-07:01:31, 07:06, 

07:16, 07:18-07:19, 07:22, 

07:24, 07:26, 07:28, 07:30, 

07:35-07:36, 07:40, 07:44, 

07:52-07:53, 07:55N, 07:57-

07:59, 07:65, 07:70-07:71, 

07:73, 07:77-07:78, 07:81-

07:83, 07:86, 07:89, 07:91-

07:95, 07:98N, 07:103-

07:104N, 07:106, 07:108, 

07:110-07:113, 07:115-

07:116, 07:118-07:120, 

*07:01:01:01-07:01:24, 

07:01:26-07:01:31, 07:06, 

07:16, 07:18-07:19, 07:22, 

07:24, 07:26, 07:28, 07:30, 

07:35-07:36, 07:40, 07:44, 

07:52-07:53, 07:55N, 07:57-

07:59, 07:65, 07:70-07:71, 

07:73, 07:77-07:78, 07:81-

07:83, 07:86, 07:89, 07:91-

07:95, 07:98N, 07:103-

07:104N, 07:106, 07:108, 

07:110-07:113, 07:115-

07:116, 07:118-07:120, 

07:122, 07:124, 07:128-

07:129, 07:131-07:132, 

07:134, 07:140-07:141:02, 

07:148, 07:150Q-07:151, 

07:153, 07:162, 07:164N-

07:166, 07:170, 07:173, 

07:176, 07:179-07:180, 

07:182, 07:188-07:191N, 

07:197, 07:200-07:201, 

07:203-07:207, 07:210, 

07:212, 07:214-07:215, 

07:219, 07:222-07:224, 

07:227N-07:228, 07:230-

07:231, 07:235-07:237, 

07:246-07:250, 07:253-

07:257, 07:266-07:269, 

07:276-07:282, 07:292, 

B*07:93, B*35:195,  

B*35:211, B*38:27, B*51:76

07:122, 07:124, 07:128-

07:129, 07:131-07:132, 

07:134, 07:140-07:141:02, 

07:148, 07:150Q-07:151, 

07:153, 07:162, 07:164N-

07:166, 07:170, 07:173, 

07:176, 07:179-07:180, 

07:182, 07:188-07:191N, 

07:197, 07:200-07:201, 

07:203-07:207, 07:210, 

07:212, 07:214-07:215, 

07:219, 07:222-07:224, 

07:227N-07:228, 07:230-

07:231, 07:235-07:237, 

07:246-07:250, 07:253-

07:257, 07:266-07:269, 

07:276-07:282, 07:292, 

B*07:93, B*35:195,  

B*35:211, B*38:27, B*51:76

*07:02:10 w *07:02:10

*07:07, 07:09 7 16 *07:07, 07:09

*07:10, 07:43 12 25 *07:10, 07:43

*07:20 7 14 22 *07:20

*07:56:01, 07:109 7 12 29 *07:56:01, 07:109

*07:60, 07:79 7 12 29 33 *07:60, 07:79

*07:96:01-07:96:02 1 7 15 22 27 *07:96:01-07:96:02

*07:127 w 22 *07:127

*07:133 2 5 8 26 47 *07:133

*07:196 7 12 25 *07:196

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

7



[image: image8.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*02:55 1 9 10 22 *02:55

*02:65 1 9 *02:65

*04:01:01:01-04:01:04, 

04:01:08, 04:01:10-

04:01:17, 04:01:19-

04:01:21, 04:01:24-

04:01:25, 04:01:27-

04:01:41, 04:04:01, 04:05, 

04:07, 04:09N-04:15:03, 

04:17-04:20, 04:23-04:31, 

04:33, 04:35-04:36, 04:38-

04:42, 04:44-04:49, 04:51-

04:53, 04:55-04:58, 04:60-

04:63, 04:65-04:76, 04:78-

04:79, 04:81-04:84, 04:86-

04:94:01, 04:95N-04:98, 

04:101-04:106, 04:108-

04:109, 04:111, 04:113-

04:119, 04:121, 04:123N-

04:132

28 37

*04:01:01:01-04:01:04, 

04:01:08, 04:01:10-

04:01:17, 04:01:19-

04:01:21, 04:01:24-

04:01:25, 04:01:27-

04:01:41, 04:04:01, 04:05, 

04:07, 04:09N-04:15:03, 

04:17-04:20, 04:23-04:31, 

04:33, 04:35-04:36, 04:38-

04:42, 04:44-04:49, 04:51-

04:53, 04:55-04:58, 04:60-

04:63, 04:65-04:76, 04:78-

04:79, 04:81-04:84, 04:86-

04:94:01, 04:95N-04:98, 

04:101-04:106, 04:108-

04:109, 04:111, 04:113-

04:119, 04:121, 04:123N-

04:132

*04:01:06, 04:08, 04:32, 

04:59Q, 04:85, B*15:01:17

28

*04:01:06, 04:08, 04:32, 

04:59Q, 04:85, B*15:01:17

*04:01:18, 04:64:02, 04:120, 

08:01:07, 08:02:07, 

08:33:02

37

*04:01:18, 04:64:02, 04:120, 

08:01:07, 08:02:07, 

08:33:02

*04:01:23, 18:01-18:02, 

18:04, 18:06

16 28 37

*04:01:23, 18:01-18:02, 

18:04, 18:06

*04:03, 04:06, 04:16 1 9 10 22 2728 37 *04:03, 04:06, 04:16

*04:34 28 39 *04:34

*04:37 13 28 32 37 46 *04:37

*04:43 28 3738 *04:43

*04:54, 07:02:32, 12:03:20, 

14:02:01, 14:02:03-

14:02:10, 14:03-14:09, 

14:11, 14:13-14:16, 14:18-

14:19, 14:21N-14:24:02, 

14:26-14:31, 14:33-14:37, 

14:39-14:43, 14:46, 

16:01:06

13 28 37

*04:54, 07:02:32, 12:03:20, 

14:02:01, 14:02:03-

14:02:10, 14:03-14:09, 

14:11, 14:13-14:16, 14:18-

14:19, 14:21N-14:24:02, 

14:26-14:31, 14:33-14:37, 

14:39-14:43, 14:46, 

16:01:06

*04:64:01 2930 37 *04:64:01

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.



[image: image9.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.

*04:80 1 9 10 22 25 2728 37 *04:80

*04:100, 04:110 25 28 37 *04:100, 04:110

*04:107 1 9 10 22 28 37 *04:107

*04:112 11 28 37 *04:112

*04:122 28 37 39 *04:122

*05:01:12, 05:29:02, 

06:02:01:01-06:02:01:02, 

06:02:04-06:02:07, 06:02:09-

06:02:24, 06:03:02-06:04, 

06:06-06:10, 06:12-06:13, 

06:15-06:43, 06:45, 06:47-

06:52, 06:53:02-06:69, 

06:71-06:72, 06:74-

06:76:01, 06:77-06:81, 

06:83-06:93, 07:76, 

12:04:01, 17:01:02-

17:01:03, 17:01:05-

17:01:09, 17:04, 17:06-

17:15

16

*05:01:12, 05:29:02, 

06:02:01:01-06:02:01:02, 

06:02:04-06:02:07, 06:02:09-

06:02:24, 06:03:02-06:04, 

06:06-06:10, 06:12-06:13, 

06:15-06:43, 06:45, 06:47-

06:52, 06:53:02-06:69, 

06:71-06:72, 06:74-

06:76:01, 06:77-06:81, 

06:83-06:93, 07:76, 

12:04:01, 17:01:02-

17:01:03, 17:01:05-

17:01:09, 17:04, 17:06-

17:15

*05:36, 12:08, 12:81 11 *05:36, 12:08, 12:81

*05:55, 07:184, B*35:08:04, 

B*37:04:02

12

*05:55, 07:184, B*35:08:04, 

B*37:04:02

*05:85 32 46 48 *05:85

*06:02:03, 06:46N, 

17:01:01:01-17:01:01:02, 

17:02-17:03, 17:05

16 41

*06:02:03, 06:46N, 

17:01:01:01-17:01:01:02, 

17:02-17:03, 17:05

*06:02:08, 14:12 13 16 28 37 *06:02:08, 14:12

*06:03:01 1 9 10 w16 27 *06:03:01

*06:14, 06:73 16 25 *06:14, 06:73

*06:44 7 11 16 *06:44

*06:53:01 7 12 16 29 *06:53:01

*06:70 14 16 22 *06:70

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324252627282930313233343536373839404142434445464748 Well No.


1The nucleotide sequence of the HLA-Cw*0301 allele has been shown to be identical to C*03:04:01:01.
2HLA-C*03 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.10.0, October 2012.

3The C*03:135, C*03:154, and C*15:43 give rise to identical amplification patterns with the HLA-C*03  subtyping kit. These two alleles can be distinguished by the HLA-C low resolution kit and/or the HLA-C*15 subtyping kits.
4The C*03:28 and 03:90 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

5The C*03:44 and 03:123 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 31.

6The C*03:49 and 03:103 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 23.

7The C*03:50 and 03:122 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 36.

8The C*03:56 and 03:85 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

9The C*03:64:01 and 03:82 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 35.

10The C*03:70 and 03:78 alleles can be distinguished by the different sizes of the specific PCR products generated by primer mix 42.

11Primer mix 6: Specific PCR fragment of 90 bp in the C*03:21 and 03:142 and the B*15:96 alleles. Specific PCR fragment of 215 bp in the C*03:06 allele.

Primer mix 7: Specific PCR fragment of 110 bp in the C*03:08 and 03:29 and the C*06:44, 07:01:01:01-07:01:24, 07:01:26-07:01:31, 07:06-07:07, 07:09, 07:16, 07:18-07:20, 07:22, 07:24, 07:26, 07:28, 07:30, 07:35-07:36, 07:40, 07:44, 07:52-07:53, 07:55N, 07:57-07:59, 07:65, 07:70-07:71, 07:73, 07:77-07:78, 07:81-07:83, 07:86, 07:89, 07:91-07:96:02, 07:98N, 07:103-07:104N, 07:106, 07:108, 07:110-07:113, 07:115-07:116, 07:118-07:120, 07:122, 07:124, 07:128-07:129, 07:131-07:132, 07:134, 07:140-07:141:02, 07:148, 07:150Q-07:151, 07:153, 07:162, 07:164N-07:166, 07:170, 07:173, 07:176, 07:179-07:180, 07:182, 07:188-07:191N, 07:196-07:197, 07:200-07:201, 07:203-07:207, 07:210, 07:212, 07:214-07:215, 07:219, 07:222-07:224, 07:227N-07:228, 07:230-07:231, 07:235-07:237, 07:246-07:250, 07:253-07:257, 07:263, 07:266-07:269, 07:276-07:282, 07:292, 15:02:10 and 18:05 alleles. Specific PCR fragment of 185 bp in the C *03:03:01-03:03:19, 03:11:01-03:13, 03:18, 03:20N-03:22Q, 03:30, 03:39, 03:43:01-03:43:02, 03:49-03:50, 03:52-03:53, 03:55-03:56, 03:58-03:59, 03:61-03:62, 03:66-03:69, 03:75-03:76, 03:79, 03:81, 03:83, 03:85-03:86, 03:88, 03:96-03:97, 03:102-03:103, 03:112, 03:116:01-03:116:02, 03:119-03:120, 03:122, 03:124, 03:126-03:127, 03:132-03:133, 03:141-03:142, 03:144, 03:150-03:152, 03:158, 03:160-03:161, 03:165, 03:167-03:168, 03:171 and 03:175 and the C*01:51, 06:53:01, 07:56:01, 07:79 and in the B*07:93, B*08:39, B*35:101:02, 35:195, 35:211, B*38:27 and B*51:76 alleles. Specific PCR fragments of 110 and 185 bp in the C*03:31 and in the C*07:60 and 07:109 alleles.

Primer mix 11: Specific PCR fragment of 145 bp in the C*03:87 allele. Specific PCR fragment of 415 bp in the C*03:08, 03:29 and 03:31 and in the C*04:112, 05:36, 06:44, 12:08 and 12:81 alleles.

Primer mix 12: Specific PCR fragment of 260 bp in the C*03:03:12, 03:03:15, 03:11:01, 03:18 and 03:39 and the C*01:51, 05:55, 06:53:01, 07:56:01, 07:60, 07:79, 07:109, 12:58 and 15:12 alleles. Specific PCR fragment of 305 bp in the C*03:04:19 and 03:113 and the C*07:10, 07:43, 07:184 and 07:196 and in the B*35:08:04 and B*37:04:02 alleles.

Primer mix 13: Specific PCR fragment of 80 bp in the C*03:02:01-03:02:09, 03:15-03:16, 03:33, 03:36, 03:40:01, 03:40:03, 03:42-03:43:01, 03:60, 03:84, 03:89, 03:95, 03:108, 03:110, 03:121N, 03:132, 03:139, 03:146, 03:169 and 03:175 and the C*04:54, 07:02:32, 07:242, 14:08-14:09, 14:28, and in the B*15:78:03 alleles. Specific PCR fragment of 140 bp in the C*03:17 and the C*04:37, 14:24:02, 14:26, 16:01:06 alleles. Specific PCR fragments of 80 and 140 bp in the C*03:71 and in the C*06:02:08, 12:03:20, 14:02:01, 14:02:03-14:07N, 14:10-14:16, 14:18-14:24:01, 14:25, 14:27, 14:29-14:46 and 16:01:06 alleles.

Primer mix 14: Specific PCR fragment of 70 bp in the C*03:04:26 and the C*02:26:01, 05:58:02, 06:70, 07:20 and 15:23 and in the B*44:85 and B*55:30 alleles. Specific PCR fragment of 210 bp in the C*03:12, 03:19 and 03:102 and in the B*56:37w alleles.

Primer mix 18: Specific PCR fragment of 165 bp in the C*03:102 and in the B*15:96 and B*56:37 alleles. Specific PCR fragment of 195 bp in the C*03:83 allele. Specific PCR fragment of 225 bp in the C*03:23 allele.

Primer mix 19: Specific PCR fragment of 105 bp in the C*03:24 allele. Specific PCR fragment of 260 bp in the C*03:33 allele.

Primer mix 20: Specific PCR fragment of 165 bp in the C*03:25 and 03:155 alleles. Specific PCR fragment of 255 bp in the C*03:47 allele.

Primer mix 21: Specific PCR fragment of 210 bp in the C*03:26 allele. Specific PCR fragment of 240 bp in the C03:57 and 03:88 alleles.

Primer mix 23: Specific PCR fragment of 90 bp in the C*03:28, 03:49 and 03:117 and the C* 01:65 alleles. Specific PCR fragment of 260 bp in the C*03:22Q, 03:90, 03:103 and 03:169 alleles.

Primer mix 24: Specific PCR fragment of 160 bp in the C*03:120 allele. Specific PCR fragment of 200 bp in the C*03:30, 03:65, 03:79 and 03:121N alleles.

Primer mix 25: Specific PCR fragment of 305 bp in the C*03:32 and 03:45 and the 15:62 and in the B*35:178 alleles. Specific PCR fragment of 355 bp in the C*03:38:01-03:38:02, 03:69, 03:130 and 03:163 and the C*12:44, 15:03 and 15:16 alleles. Specific PCR fragment of 470 bp in the C*03:171, 06:73, 08:20 and 08:40 alleles. Specific PCR fragments of 305 and 355 bp in the C*03:136 and the C*04:80, 04:100, 04:110, 06:14, 07:10, 07:43, 07:196 and 15:25 alleles.

Primer mix 26: Specific PCR fragment of 70 bp in the C*03:34 and 03:142 alleles. Specific PCR fragment of 105 bp in the C*03:36 and 03:77 alleles. Specific PCR fragment of 265 bp in the C*03:13 and 03:35 and in the C*07:133 and 07:242 and the B*15:96 alleles.

Primer mix 27: Specific PCR fragment of 80 bp in the C*03:11:01-03:11:02, 03:37:01-03:37:02 and the C*02:42 alleles. Specific PCR fragment of 275 bp in the C*03:15, 03:32, 03:45, 03:60 and  03:136 and the 02:49, 04:03, 04:06, 04:16, 04:80, 07:96:01-07:96:02, 15:25 and 15:62 alleles. Specific PCR fragment of 80 and 275 bp in the C*06:03:01 allele.

Primer mix 29: Specific PCR fragment of 140 bp in the C*03:98 allele. Specific PCR fragment of 170 bp in the C*03:51, 03:96 and 03:161 and in the C*04:64:01 alleles. Specific PCR fragment of 285 bp in the C*03:39 and 03:67 and the C*06:53:01, 07:56:01, 07:60, 07:79 and 07:109 and in the B*08:39 alleles.

Primer mix 30: Specific PCR fragment of 150 bp in the C*03:61 allele. Specific PCR fragment of 170 bp in the C*03:46 and 03:96 and the C*04:64:01 alleles.

Primer mix 31: Specific PCR fragment of 100 bp in the C*03:59 and 03:123 alleles. Specific PCR fragment of 210 bp in the C*03:44 allele.

Primer mix 32: Specific PCR fragment of 90 bp in the C*03:58 and in the C*01:03, 01:24, 04:37 and 05:85 alleles. Specific PCR fragment of 180 bp in the C*03:48 and 03:84 alleles.

Primer mix 33: Specific PCR fragment of 110 bp in the C*03:62 allele. Specific PCR fragment of 365 bp in the C*03:43:01-03:43:02, 03:119, 03:132 and 03:175 and the C*07:60, 07:79, 12:58 and 14:10 and in the B*35:101:02 alleles.

Primer mix 34: Specific PCR fragment of 130 bp in the C*03:54 and 03:98 alleles. Specific PCR fragment of 240 bp in the C* 03:53 and the C*12:17 alleles.

Primer mix 35: Specific PCR fragment of 70 bp in the C *03:64:01 and the C02:08, 12:03:23 and 15:10:02 alleles. Specific PCR fragment of 120 bp in the C*03:56 allele. Specific PCR fragment of 210 bp in the C*03:79, 03:82 and 03:85 alleles.

Primer mix 36: Specific PCR fragment of 165 bp in the C*03:122 allele. Specific PCR fragment of 245 bp in the C*03:50 and 03:72 alleles.

Primer mix 38: Specific PCR fragment of 110 bp in the C*03:52 and 03:95 and in the C*04:43 alleles. Specific PCR fragment of 265 bp in the C*03:73 allele.

Primer mix 39: Specific PCR fragment of 110 bp in the *03:36, 03:77 and the 04:34 and 04:122 alleles. Specific PCR fragment of 170 bp in the C*03:63 allele.

Primer mix 40: Specific PCR fragment of 70 bp in the C*03:80 alleles. Specific PCR fragment of 260 bp in the C*03:66 allele.

Primer mix 41: Specific PCR fragment of 120 bp in the C*03:68 alleles. Specific PCR fragment of 195 bp in the C*03:100 and 03:146, 06:02:03, 06:46N, 08:24, 17:01:01:01-17:01:01:02, 17:02-17:03 and 17:05 alleles.

Primer mix 42: Specific PCR fragment of 120 bp in the C*03:78 alleles. Specific PCR fragment of 205 bp in the C*03:70 and 03:127 and in the B*55:30 alleles.

Primer mix 43: Specific PCR fragment of 220 bp in the C*03:74, 03:81 and 03:175 and in the B*15:96 and B*56:37 alleles. Specific PCR fragment of 275 bp in the C*03:97 allele.

Primer mix 44: Specific PCR fragment of 70 bp in the C*03:91 allele. Specific PCR fragment of 160 bp in the C*03:75 and 03:120 alleles.

Primer mix 45: Specific PCR fragment of 140 bp in the C*03:93 alleles. Specific PCR fragment of 295 bp in the C*03:76 allele.

Primer mix 46: Specific PCR fragment of 150 bp in the C*03:155 allele. Specific PCR fragment of 210 bp in the C*03:58, 03:86, 03:94, 03:99 and the 01:02:01-01:03, 01:06-01:08, 01:10-01:11, 01:13-01:20, 01:23-01:33, 01:38-01:48, 01:51-01:54, 01:56N-01:73, 04:37, 05:85 and 14:45 alleles

Primer mix 47: Specific PCR fragment of 70 bp in the C*03:14, 03:21, 03:55, 03:92, 03:117 and 03:161 and the 01:65 and 07:133 alleles. Specific PCR fragment of 195 bp in the C*03:109 allele. Specific PCR fragment of 240 bp in the C*03:57 allele.

‘w’, might be weakly amplified.

Change in revision R01 compared to R00:

1. The C*04:110 allele is amplified by primer mix 25. This has been corrected in the Specificity and Interpretation Tables.
Olerup SSP AB

For In Vitro Diagnostic Use 
Franzengatan 5

www.olerup-ssp.com
SE-112 51 Stockholm
Sweden

