# Gel Documentation Form and Worksheet

# HLA-C*05 (101.613-12/12u) 	Lot No: 3K0	Expiry Date: 2023-10-01

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:_______________

# Interpretation:___________                           Failed lanes: ____________                               Comments:________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

‘ICB’ Internal Control Band

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 28 may have a tendency to giving rise to primer oligomer formation.

Primer mix 29 may have tendencies of unspecific amplifications.

Primer mix 38 contains a negative control, which will amplify a majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-C*05 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.24.0, April 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-C*05 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-C*05 alleles | Other amplified HLA Class I alleles |
| --- | --- | --- | --- |
| 4 | 120 bp 285 bp | *05:03 *05:07N | *07:52 *08:180N |
| 5 | 225 bp 285 bp | *05:04:01-05:04:02, 05:103:01-05:103:02, 05:135, 05:188, 05:207, 05:215 *05:31 | *06:129, 07:68, 07:260:01-07:260:02, 07:302, 08:09, 08:11, 08:59, 08:113, 08:152, B*15:337, B*18:83, B*58:76 |
| 6 | 255 bp 280 bp | *05:05:01-05:05:02, 05:99N, 05:135, 05:147-05:148 *05:16, 05:85, 05:107 | *03:251, 03:314, 08:62:01-08:62:02, 08:82, 08:144:01-08:144:02, A*02:425, A*02:519, A*29:10:01-29:10:02, A*68:69, B*14:32, B*15:337, B*18:83, B*44:148 *06:129, 07:364, 08:12, B*14:32 |
| 7 | 155 bp 265 bp | *05:01:01:01-05:01:15, 05:01:17, 05:01:19-05:01:44, 05:03-05:08, 05:10-05:11, 05:13-05:16, 05:19-05:51Q, 05:53-05:86, 05:88-05:96, 05:98-05:102, 05:104-05:105, 05:108-05:113N, 05:116-05:127, 05:129-05:132, 05:135-05:142, 05:144-05:150, 05:152-05:200, 05:202Q-05:205, 05:207-05:215 *05:01:01:01-05:01:45, 05:03-05:04:02, 05:06-05:08, 05:10-05:16, 05:18:01-05:51Q, 05:53-05:60, 05:62-05:81, 05:83-05:84, 05:86-05:106:02, 05:108-05:134, 05:136-05:142, 05:144-05:146, 05:149-05:200, 05:202Q-05:205, 05:207-05:215 | *07:41, 08:02:01:01-08:02:26, 08:04:01-08:05, 08:07, 08:12-08:13, 08:17-08:19:02, 08:23, 08:25, 08:28-08:32, 08:34, 08:37, 08:43, 08:45, 08:47-08:49, 08:52N-08:53, 08:55N, 08:57, 08:62:01-08:63, 08:67-08:71, 08:73-08:77, 08:90, 08:92-08:94, 08:100, 08:103-08:104, 08:107-08:108, 08:110-08:116, 08:120, 08:123, 08:125-08:126, 08:132, 08:134, 08:139-08:140, 08:142, 08:146, 08:149-08:152, 08:156, 08:158-08:159, 08:161N, 08:166-08:172, 08:179-08:185, 08:188 *04:120, 06:129, 07:04:01:01-07:04:18, 07:11-07:12, 07:41, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260:01-07:260:02, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:447, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655-07:656, 07:664, 07:672N, 07:674, 07:693, 07:698, 07:742, 07:751N, 08:01:01:01-08:01:13, 08:01:15-08:02:25, 08:03:01-08:08:01, 08:09-08:14, 08:16:01-08:50, 08:52N-08:61, 08:63, 08:65-08:69, 08:71, 08:73-08:81, 08:83-08:140, 08:142-08:143, 08:145-08:150, 08:152-08:159, 08:161N-08:188, 15:130, B*58:76 |
| 8 | 85 bp 210 bp | *05:06 *05:55 |  |
| 9 | 105 bp 175 bp 245 bp | *05:51Q *05:48N *05:113N |  |
| 10 | 95 bp 250 bp 320 bp | *05:08, 05:52, 05:89 *05:30 *05:92N | *02:51, 08:29, 08:31, 12:144, 12:185, B*15:33, B*15:248 *03:247, 06:125, 14:70, 16:85-16:86, 16:144, 16:147 *08:55N |
| 11 | 115 bp 205 bp | *05:33 *05:25, 05:42 | *04:129, 06:05, 06:67, 07:101, 07:148, 07:161, 07:583, 08:28, 08:137, 08:168, A*01:203, A*11:166, A*80:01:01:01w-80:05w |
| 12 | 155 bp 225 bp 285 bp | *05:97 *05:38 *05:10, 05:148 | *08:97 *03:251, 03:314, 08:44, 08:61, 08:82, 08:126, 15:130, B*44:148, B*58:76 |
| 14 | 120 bp 200 bp | *05:12, 05:15 *05:80, 05:91N | *08:153 |
| 15 | 115 bp 185 bp 240 bp | *05:65 *05:34 *05:13 | *04:96 *02:93, 04:352, 06:13 |
| 16 | 195 bp 470 bp | *05:14 *05:93 | *03:171, 03:211:01, 04:144, 06:73, 08:20, 08:40, 12:109 |
| 18 | 160 bp 245 bp | *05:87 *05:19, 05:99N | *08:145 |
| 20 | 260 bp 390 bp | *05:26 *05:21 | *04:238 |
| 23 | 85 bp 135 bp | *05:24 *05:36 | *07:148, 15:107, 15:178 |
| 24 | 185 bp 265 bp | *05:43 *05:29:01-05:29:02, 05:197 | *08:37 *08:13, 08:16:01, 08:25, 08:94 |
| 25 | 105 bp 205 bp | *05:40 *05:35, 05:80 |  |
| 26 | 115 bp 185 bp 245 bp | *05:27, 05:39, 05:184 *05:28 *05:113N | *03:87:01-03:87:02, 03:414, 08:115, 08:182, B*15:33, B*15:248 *06:64 |
| 28 | 115 bp 200 bp | *05:65 *05:45 | *04:96 |
| 29 | 140 bp 185 bp 260 bp | *05:41 *05:34 *05:37 | *04:78 *02:93, 04:352, 06:13 |
| 30 | 70 bp 175 bp | *05:53 *05:32 |  |
| 31 | 155 bp 285 bp | *05:18:02-05:18:04, 05:103:01, 05:106:01, 05:107, 05:115, 05:134, 05:151 *05:104 | *07:04:01:01-07:04:10, 07:04:12-07:04:18, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260:01-07:260:02, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:364-07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655-07:656, 07:664, 07:672N, 07:674, 07:693, 07:698, 07:742, 07:751N, 08:33:01, B*14:32, B*18:83, B*44:148, B*58:76 *07:04:01:01-07:04:06, 07:04:08-07:04:18, 07:11-07:12, 07:63, 07:101, 07:139, 07:142, 07:181, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:447, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, 07:622, 07:626, 07:651, 07:655-07:656, 07:664, 07:672N, 07:674, 07:693, 07:698, 07:742, 07:751N |
| 34 | 165 bp 275 bp | *05:128N *05:111, 05:207 | *07:68, 07:260:01-07:260:02, 07:302, 08:38 |

4The following HLA-C*05 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*05:03, 05:07N | 4 | C*05:24, 05:36 | 23 |
| C*05:06, 05:55 | 8 | C*05:25, 05:33 | 11 |
| C*05:08, 05:30, 05:89 | 10 | C*05:28, 05:39 | 26 |
| C*05:14, 05:93 | 16 | C*05:32, 05:53 | 30 |
| C*05:15, 05:91N | 14 | C*05:35, 05:40 | 25 |
| C*05:21, 05:26 | 20 | C*05:37, 05:41 | 29 |

Abbreviations

‘w’, might be weakly amplified.