# Gel Documentation Form and Worksheet

# HLA-C*07 (101.615-24/04, -24u/04u) 	Lot No: 8K8	Expiry Date: 2024-06-01

# Name:__________________

# Sample ID:______________

# DNA Conc.(ng/ul):_________

# Test Date:_______________

# Tested By:_______________

# Review Date:_______________

# Reviewed By:________________

# Interpretation:_______________	                    Failed lanes: ____________                           Comments:________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 19, 20, 34, 35, 36, 43, 44, 45, 46, 47, 59 and 82 have a tendency to giving rise to primer oligomer formation.

Primer mixes 13, 14, 17, 20, 23, 24, 30, 37, 40, 45, 64, 65, 66, 70, 74, 77, 80, 83, 85, 91 and 95 may have tendencies of unspecific amplifications.

Primer mixes 14, 15 and 16 may give rise to a lower yield of HLA-specific PCR product than the other C*07 primer mixes.

Primer mix 96 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-C*07 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.26.0, October 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3 The following HLA-C*07 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-C*07 alleles | Other amplified HLA-Class I alleles |
| --- | --- | --- | --- |
| 1 | 245 bp 425 bp | *07:01:01:01-07:01:02:08, 07:01:04-07:01:88, 07:01:90-07:02:20, 07:02:22-07:02:104:02, 07:02:106:01-07:33N, 07:35-07:40, 07:42-07:165, 07:167-07:294, 07:296-07:347N, 07:349-07:622, 07:624-07:765, 07:767-07:798, 07:800-07:831, 07:833-07:837 *07:01:01:01-07:01:02:08, 07:01:04-07:01:40, 07:01:42-07:01:69, 07:01:71-07:02:40, 07:02:42-07:06:03, 07:08, 07:10-07:33N, 07:35-07:48, 07:50-07:75, 07:77-07:78:01, 07:79-07:114, 07:116-07:209, 07:211-07:222, 07:224-07:237, 07:239-07:246:02, 07:248-07:294, 07:296-07:314:03, 07:316-07:327, 07:329N-07:356, 07:358-07:360, 07:362-07:376, 07:378-07:402, 07:404-07:405, 07:407-07:414, 07:416-07:477, 07:478w, 07:479-07:558:01:02, 07:559w, 07:560-07:597, 07:599-07:655, 07:656w, 07:657-07:695:01:02, 07:697Q-07:720, 07:722-07:726N, 07:728-07:740, 07:742-07:817, 07:819Q-07:837 | *12:181 |
| 5 | 95 bp 170 bp 245 bp | *07:53, 07:216 *07:57 *07:03 | *16:01:35, 16:02:03, A*24:172:02, B*51:55 B*18:63, B*39:90, B*50:11 |
| 8 | 285 bp 505 bp | *07:45, 07:589, 07:611 *07:06:01:01-07:06:03, 07:330:02, 07:343:01:01-07:343:01:02, 07:613, 07:620, 07:706, 07:721, 07:735, 07:739, 07:760, 07:776N, 07:803, 07:827 | *01:158, 02:57, 04:40, 04:242, 06:123, A*02:84, B*15:554, B*38:23, B*39:73 |
| 9 | 215 bp 425 bp | *07:33N *07:07, 07:09, 07:49, 07:76:01-07:76:02, 07:210, 07:238, 07:247, 07:315, 07:328, 07:403, 07:406, 07:598 | *04:397, 06:17, 18:01:01:01-18:14 |
| 11 | 285 bp 305 bp | *07:24, 07:112, 07:218, 07:396 *07:10, 07:43:01-07:43:02, 07:184, 07:196, 07:367, 07:568 | *03:03:29, 03:04:19, 03:113:01, 15:02:33:01-15:02:33:02, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*37:04:02, B*57:01:18, B*57:03:04, B*58:01:17 |
| 15 | 80 bp 290 bp 460 bp | *07:50, 07:615, 07:735, 07:781 *07:14 *07:89 | *02:175, 04:320, 16:111, 17:38, 17:49 |
| 18 | 120 bp 230 bp 265 bp | *07:52, 07:243 *07:15, 07:337, 07:500 *07:486 | *03:490, 05:03 *02:77, B*07:77, B*07:193, B*40:60, B*40:245 |
| 19 | 220 bp 465 bp | *07:26:01:01-07:26:03, 07:92, 07:96:01-07:96:02, 07:314:01-07:314:03, 07:317, 07:351, 07:578, 07:583, 07:723, 07:756, 07:821N *07:07, 07:16, 07:51, 07:177, 07:181, 07:328, 07:367, 07:598, 07:723 | *18:09 |
| 20 | 145 bp 170 bp 190 bp | *07:03, 07:17:01:01-07:17:04, 07:140-07:141:02, 07:304, 07:307, 07:512, 07:599, 07:671, 07:812 *07:44, 07:48 *07:81, 07:168, 07:450 | *02:02:28, 03:03:29, 03:04:19, 03:113:01, 04:01:43, 05:01:17, 05:09:02, 05:17, 06:02:23, 08:15:02, 08:72:02, 12:03:10, 15:02:33:01-15:02:33:02, 16:01:30, 16:02:11, A*25:27:02, A*30:01:03, A*31:01:32, A*33:03:09, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*08:01:25, B*15:17:04, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*37:04:02, B*39:09:03, B*51:01:63, B*57:01:18, B*57:03:04, B*58:01:17 B*15:17:04, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*37:04:02, B*39:09:03, B*51:01:63, B*57:01:18, B*57:03:04, B*58:01:17 |
| 21 | 100 bp 225 bp | *07:54 *07:06:01:01-07:06:03, 07:18:01:01-07:19, 07:28, 07:71, 07:112, 07:173, 07:330:02, 07:517, 07:607, 07:613, 07:620-07:621, 07:687, 07:706, 07:721, 07:735, 07:739, 07:760, 07:776N, 07:781, 07:783, 07:803, 07:805, 07:815, 07:819Q, 07:827, 07:830 |  |
| 22 | 205 bp 250 bp | *07:84 *07:20:01-07:20:02, 07:96:01-07:96:02, 07:127:01-07:127:02, 07:263, 07:390, 07:562, 07:578 | *02:49, 02:75, 02:115, 03:15, 03:32, 03:45, 03:60, 03:136, 03:297, 04:03:01:01-04:03:07, 04:06:01-04:06:03, 04:16, 04:80, 04:147, 04:160, 04:171, 04:190, 04:256, 04:286, 04:294, 04:299, 04:335, 04:337, 04:351:01-04:351:02, 04:357, 04:363, 04:381, 04:383, 04:393, 04:400, 04:402, 06:70:01-06:70:02, 06:132:01-06:132:02, 14:116, 15:25, 15:62, 15:169, A*01:110, A*11:135 |
| 23 | 155 bp 185 bp | *07:23 *07:21 |  |
| 25 | 105 bp 150 bp 235 bp | *07:46, 07:356 *07:30 *07:02:01:17N, 07:311 | *03:342, B*56:08w, B*56:14 |
| 26 | 100 bp 250 bp 300 bp | *07:32N *07:55N *07:31:01-07:31:02, 07:177, 07:514 | *06:02:23, 12:03:10, 16:01:30, 16:02:11 |
| 27 | 130 bp 240 bp | *07:37, 07:69, 07:176, 07:307, 07:512, 07:755 *07:267, 07:322 | *04:01:43, 04:400w, 05:01:17, 05:09:02, 08:15:02, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*35:08:04 *04:198w, 12:115 |
| 28 | 175 bp 260 bp 290 bp | *07:44 *07:35, 07:47, 07:352, 07:461 *07:396 |  |
| 30 | 60 bp 260 bp | *07:75, 07:254 *07:227N | *04:66 |
| 32 | 115 bp 155 bp 245 bp 285 bp | *07:134 *07:189 *07:07, 07:09, 07:49, 07:76:01-07:76:02, 07:210, 07:238, 07:247, 07:315, 07:328, 07:403, 07:406, 07:598 *07:60, 07:79 | *06:29 *02:14:01-02:14:02, 02:107, 02:164, 04:42:01-04:42:02, 04:220, 05:43, 06:02:01:01-06:02:01:43, 06:02:03-06:02:05, 06:02:07-06:02:11, 06:02:13-06:02:31, 06:02:33-06:02:64, 06:02:66-06:02:82, 06:04:01-06:10, 06:12-06:51, 06:53:01-06:75, 06:78-06:121, 06:123, 06:125-06:131, 06:133-06:146, 06:148-06:216, 06:218-06:247, 06:249-06:251, 06:253-06:279, 06:281N-06:292, 15:23:01-15:23:02, 15:63, 15:138, 15:158, 17:20, 18:01:01:01-18:08, 18:10-18:14, B*08:17, B*08:47 *03:39, 03:67, B*08:39 |
| 33 | 205 bp 230 bp | *07:66 *07:82 |  |
| 35 | 320 bp 360 bp | *07:72 *07:71 |  |
| 37 | 235 bp 265 bp | *07:121Q *07:38:01-07:38:02, 07:63, 07:68, 07:260:01-07:260:02, 07:302 | *05:111, 05:207, 08:38, B*07:77, B*07:193, B*40:60, B*40:245 |
| 39 | 100 bp 195 bp 255 bp | *07:74 *07:308 *07:59 |  |
| 40 | 120 bp 205 bp 440 bp | *07:235Q *07:62 *07:07, 07:09, 07:76:01-07:76:02, 07:78:01-07:78:02, 07:315, 07:328, 07:406, 07:559, 07:598, 07:656 | B*14:70Q *04:397, 06:17, 18:01:01:01-18:14 |
| 41 | 140 bp 170 bp 255 bp | *07:91, 07:474 *07:234 *07:88 | A*01:311, A*25:32 |
| 42 | 100 bp 205 bp 250 bp | *07:15, 07:207 *07:77, 07:93:01-07:93:02 *07:35, 07:123, 07:173, 07:294, 07:352, 07:725, 07:775 | *02:02:28, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*35:15:02 *15:02:33:01-15:02:33:02, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*08:01:25, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*39:09:03, B*39:136, B*51:01:63, B*57:01:18, B*57:03:04, B*58:01:17 |
| 43 | 105 bp 150 bp 175 bp 220 bp | *07:94, 07:183 *07:99, 07:189 *07:80, 07:339, 07:410, 07:662 *07:445 |  |
| 44 | 165 bp 195 bp 290 bp | *07:98N *07:65, 07:77, 07:717 *07:396 |  |
| 45 | 240 bp 475 bp | *07:245 *07:95, 07:342, 07:599 | *04:34, 04:122, 04:212, 04:265, 06:153, A*26:112, B*18:115, B*35:178, B*35:282, B*35:316, B*38:79, B*57:102, B*73:01:01:01-73:02 |
| 46 | 315 bp 350 bp 420 bp | *07:202 *07:90, 07:757 *07:152N |  |
| 47 | 200 bp 255 bp 420 bp 455 bp | *07:86 *07:222, 07:375 *07:152N *07:97 |  |
| 48 | 155 bp 220 bp 255 bp 410 bp | *07:122, 07:373 *07:87 *07:222, 07:375 *07:85, 07:244, 07:276, 07:480 |  |
| 49 | 70 bp 155 bp 230 bp | *07:133:01-07:133:02, 07:330:01-07:330:02, 07:748 *07:101, 07:148, 07:161, 07:583 *07:100, 07:259, 07:316, 07:338, 07:579 | *03:03:29, 03:04:19 *04:129, 05:42, 05:46, 06:67, 08:05, 08:21, 08:137, 12:127, 12:203, 17:05 *01:17, 01:21, 01:23, 01:128, 01:152, 01:157, 12:215 |
| 50 | 345 bp 425 bp | *07:310 *07:124, 07:155 |  |
| 51 | 65 bp 235 bp 285 bp | *07:126 *07:121Q, 07:409, 07:483N *07:117 |  |
| 52 | 65 bp 205 bp 280 bp | *07:203, 07:426 *07:118 *07:106, 07:691 | *06:194 |
| 53 | 70 bp 110 bp 155 bp | *07:133:01-07:133:02, 07:330:01-07:330:02, 07:748 *07:140, 07:151, 07:154 *07:122, 07:373 | *03:03:29, 03:04:19 B*08:01:25, B*37:04:02 |
| 54 | 120 bp 200 bp 235 bp 285 bp 340 bp 370 bp 430 bp | *07:153, 07:324, 07:738 *07:446 *07:64, 07:374, 07:402 *07:593N *07:125, 07:356, 07:531 *07:129 *07:01:02:01-07:01:02:08, 07:01:27, 07:01:52, 07:01:80-07:01:81, 07:01:83, 07:01:93, 07:73:02, 07:89, 07:93:01, 07:453, 07:547, 07:627, 07:668, 07:806, 07:814 | B*35:364, B*35:379, B*35:462, B*51:142, B*52:80 B*08:109 *04:397, 18:12 *04:397 |
| 55 | 160 bp 210 bp 290 bp 530 bp | *07:179, 07:234, 07:679 *07:252 *07:132 *07:343:01:01-07:343:01:02 | *04:353, 06:07 A*11:179 |
| 56 | 210 bp 260 bp | *07:150Q *07:123, 07:143, 07:173, 07:294, 07:421, 07:524, 07:725, 07:775 | *15:02:33:01-15:02:33:02, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*08:01:25, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*39:09:03, B*39:136, B*51:01:63, B*57:01:18, B*57:03:04, B*58:01:17 |
| 57 | 70 bp 175 bp 230 bp 270 bp | *07:01:25 *07:130 *07:259 *07:421, 07:524 | *05:01:17, 05:09:02, 05:17, 08:15:02 |
| 58 | 80 bp 450 bp | *07:137:01-07:137:02, 07:186, 07:212, 07:265, 07:748 *07:164N, 07:451N | *03:162, 03:220, 03:434, 05:151, B*38:43, B*44:247, B*49:29, B*51:181, B*52:74 |
| 59 | 200 bp 300 bp | *07:81, 07:145, 07:168, 07:191N, 07:450, 07:733N *07:485 | B*15:17:04, B*35:01:38, B*35:03:15, B*35:08:04, B*35:15:02, B*37:04:02, B*39:09:03, B*51:01:63, B*57:01:18, B*57:03:04, B*58:01:17 |
| 60 | 130 bp 300 bp 370 bp | *07:165, 07:241, 07:265, 07:304, 07:307, 07:512, 07:671, 07:755, 07:812, 07:815 *07:147, 07:485 *07:180 | *02:02:28, 03:03:29, 03:04:19, 03:113:01, 04:01:43, 05:01:17, 05:09:02, 06:02:23, 08:15:02, 12:03:10, 15:02:33:01-15:02:33:02, B*07:02:43, B*07:06:03, B*07:33:03, B*07:139:02, B*15:17:04, B*51:01:63 |
| 61 | 130 bp 245 bp | *07:81, 07:243, 07:462 *07:120 | *05:149, 16:76, B*40:304 *06:267N |
| 62 | 200 bp 285 bp | *07:84, 07:205 *07:106, 07:267, 07:322, 07:691 | A*26:101 *04:198, A*26:94 |
| 63 | 275 bp 320 bp | *07:24, 07:218, 07:301, 07:425 *07:198N, 07:202 |  |
| 64 | 135 bp 230 bp | *07:69 *07:192, 07:272, 07:316, 07:326, 07:338, 07:409, 07:579 | *04:400w *01:17, 01:21, 01:23, 01:128, 01:152, 01:157, 06:18w, 12:215 |
| 65 | 150 bp 185 bp 215 bp | *07:136, 07:264N *07:371, 07:494Q *07:551N, 07:632Q | *16:16Q, B*15:218Q, B*35:333Q |
| 66 | 150 bp 185 bp 225 bp | *07:136 *07:128, 07:232, 07:513Q, 07:633N *07:279 | *12:42Q, B*18:153, B*35:461N, B*46:07N, B*46:51Q |
| 67 | 180 bp 215 bp 290 bp | *07:285 *07:393N *07:456 |  |
| 68 | 75 bp 230 bp 260 bp 290 bp | *07:381 *07:149 *07:133:01, 07:242, 07:748 *07:456 | *03:178, 03:300, 03:474 |
| 69 | 135 bp 185 bp 240 bp | *07:170-07:171, 07:397, 07:412 *07:494Q *07:02:01:17N | *16:16Q, B*15:218Q, B*35:333Q |
| 70 | 215 bp 345 bp 405 bp | *07:131:01-07:131:02, 07:194, 07:368:01-07:368:02 *07:310 *07:61N |  |
| 71 | 105 bp 120 bp 240 bp 280 bp | *07:67 *07:347N *07:29:01:01-07:29:02, 07:177, 07:184, 07:248 *07:425 | *03:03:29, 03:04:19, 03:113:01, B*07:02:43, B*07:33:03, B*07:139:02 |
| 72 | 110 bp 245 bp 290 bp | *07:22, 07:67, 07:137:01-07:138, 07:812 *07:484N *07:250, 07:558:01:01-07:558:01:02 | *02:02:28, 06:02:23, 12:03:10, A*02:01:126, A*31:01:32, A*33:03:09, A*68:01:12, B*39:09:03 |
| 74 | 210 bp 355 bp | *07:33N, 07:293, 07:519 *07:80, 07:662 |  |
| 75 | 140 bp 220 bp 295 bp | *07:116, 07:329N *07:544 *07:708 | *12:211 *03:492, 03:497, 12:254, 12:280 |
| 76 | 115 bp 280 bp | *07:437N *07:102 |  |
| 77 | 200 bp 240 bp 430 bp 485 bp | *07:446 *07:533, 07:708 *07:01:02:01-07:01:02:08, 07:01:27, 07:01:52, 07:01:80-07:01:81, 07:01:83, 07:01:93, 07:73:02, 07:89, 07:93:01, 07:453, 07:547, 07:627, 07:668, 07:806, 07:814 *07:419 | B*08:109 |
| 80 | 155 bp 265 bp 345 bp 375 bp | *07:350N *07:486 *07:593N *07:256, 07:497 | *04:379, 06:189, A*11:232, A*36:06 |
| 82 | 170 bp 220 bp | *07:288 *07:393N, 07:483N |  |
| 83 | 170 bp 215 bp 250 bp | *07:214, 07:429 *07:445, 07:476N *07:361 |  |
| 84 | 130 bp 185 bp 225 bp | *07:386, 07:439, 07:700 *07:107, 07:224, 07:633N *07:311, 07:551N | *06:22, 12:293, 16:31, B*15:193, B*35:283, B*35:461N, B*46:07N |
| 85 | 200 bp 275 bp | *07:83, 07:458 *07:360, 07:582Q, 07:649 |  |
| 86 | 135 bp 285 bp | *07:58, 07:573 *07:226, 07:582Q, 07:713 |  |
| 87 | 175 bp 210 bp 275 bp | *07:339, 07:410 *07:411, 07:507N *07:340 |  |
| 88 | 150 bp 205 bp 285 bp | *07:452N, 07:491:01N-07:491:02N *07:507N *07:407 | *01:111N, 14:47:01N-14:47:02N, B*15:209N, B*39:139N, B*46:55N |
| 89 | 75 bp 220 bp | *07:229, 07:387 *07:272, 07:326, 07:374 | *04:273w, 12:131 *06:18w, 06:120w, 18:12 |
| 92 | 100 bp 170 bp | *07:104N, 07:457, 07:702N *07:119, 07:784 | *04:127, 05:84, 05:180N, B*15:272N, B*39:111, B*40:286N *02:99, 05:157, 08:174, B*07:87, B*08:224, B*27:55, B*27:149 |
| 93 | 155 bp 200 bp | *07:491:01N-07:491:02N *07:453 | *01:111N, 14:47:01N-14:47:02N, B*15:209N, B*39:139N, B*46:55N |

4The following HLA-C*07 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*07:29:01-07:29:02, 07:347N | 71 | C*07:128, 07:279 | 66 |
| C*07:41, 07:447 | 1 | C*07:132, 07:179 | 55 |
| C*07:52, 07:337 | 18 | C*07:138, 07:484N | 72 |
| C*07:58, 07:713 | 86 | C*07:147, 07:241 | 60 |
| C*07:74, 07:308 | 39 | C*07:149, 07:381 | 68 |
| C*07:78:01-07:78:02, 07:235Q, 07:559 | 40 | C*07:164N, 07:212 | 58 |
| C*07:83, 07:649 | 85 | C*07:165, 07:180 | 60 |
| C*07:88, 07:474 | 41 | C*07:186, 07:451N | 58 |
| C*07:93:02, 07:207 | 42 | C*07:226, 07:573 | 86 |
| C*07:99, 07:183 | 43 | C*07:227N, 07:254 | 30 |
| C*07:100, 07:161 | 49 | C*07:245, 07:342 | 45 |
| C*07:104N, 07:119 | 92 | C*07:252, 07:679 | 55 |
| C*07:117, 07:126 | 51 | C*07:350N, 07:497 | 80 |
| C*07:118, 07:203 | 52 | C*07:457, 07:702N, 07:784 | 92 |
| C*07:120, 07:462 | 61 |  |  |

5The following alleles will give rise to identical amplification patterns. These alleles can e.g. be distinguished by the HLA-C low resolution kit.

Alleles

C*07:292, C*12:181

Abbreviations

w: may be weakly amplified.