Gel Documentation Form and Worksheet

HLA-C*08	Lot No: 4G7	Expiry Date: 2021-01-01

(101.623-12/12u)

Name:__________________

Sample ID:______________

DNA Conc.(ng/ul):_________

Test Date:_______________

Tested By:_______________

Review Date:_______________

Reviewed By:_______________

Interpretation:_______________	                    Failed lanes: ____________                           Comments:________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon Size

Notes:

Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mixes 11, 15 and 21 may have tendencies of unspecific amplifications.

Primer mix 4 and 16 may give rise to a lower yield of HLA-specific PCR product than the other HLA-C*08 primer mixes, most pronounced in primer mix 4.

Primer mixes 6 and 23 have a tendency of giving rise to primer oligomer formation.

Primer mix 42 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-C*08 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.26.0, October 2016.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

3The following HLA-C*08 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-C*08 alleles | Other amplified HLA Class I alleles |
| --- | --- | --- | --- |
| 6 | 65 bp 100 bp 270 bp 310 bp | *08:102 *08:14, 08:80, 08:103 *08:06 *08:23 | * 07:06:01:01-07:06:01:02, 07:18-07:19, 07:330:02, 07:517, 07:607 *01:02:34, 01:21, 02:42, 02:107, 04:140, 04:166, 04:220, 05:98, 06:05, 07:02:09, 12:16, 12:147, 15:63, 15:113, 16:80, B*67:02 *01:140, 06:161, 16:33 |
| 7 | 100 bp 150 bp 230 bp | *08:07, 08:47, 08:104 *08:41, 08:115, 08:138 *08:87 | *05:23, 05:62, 05:134, 05:143, 05:151, 07:01:48, 07:02:35, B*48:04:02 *03:87:01, 03:267, 05:27, 05:39, 05:151, B*15:01:03 |
| 9 | 140 bp 375 bp 505 bp | *08:88N *08:24, 08:75 *08:10 | *02:83, 16:90, 16:100 *05:79 |
| 10 | 110 bp 140 bp | *08:09 *08:17 |  |
| 11 | 185 bp 225 bp 255 bp 280 bp | *08:128 *08:09, 08:11, 08:59, 08:113, 08:152 *08:86 *08:12 | *03:206, 03:212, 04:84 * 05:04:01-05:04:02, 05:103:01-05:103:02, 05:135, 06:129, 07:68, 07:260:01-07:260:02, 07:302, B*15:337, B*18:83, B*58:76 *05:16, 05:85, 05:107, 06:129, 07:364, B*14:32 |
| 14 | 130 bp 160 bp 280 bp | *08:90 *08:18, 08:95 *08:08:01-08:08:02 | *03:155, 03:282, 07:413, 07:422, 12:149, B*35:252, B*35:339, B*39:114, B*40:346 |
| 17 | 375 bp 430 bp | *08:05, 08:21, 08:25, 08:137 *08:28, 08:137 | *05:42w, 05:46 *05:25, 05:42 |
| 18 | 80 bp 200 bp | *08:31 *08:26N, 08:92 | *05:105 |
| 19 | 110 bp 250 bp | *08:27, 08:29-08:31 *08:32 | *05:08, 05:89, 05:106:01-05:106:02, 06:129, 07:447 |
| 22 | 80 bp 155 bp | *08:41, 08:115, 08:138 *08:33:01 | *03:314, 05:27, 05:39, 05:151, B*15:337, B*44:148 *05:18:02-05:18:03, 05:103:01, 05:107, 05:115, 05:134, 05:151, 07:04:01:01-07:04:10, 07:11-07:12, 07:63, 07:68, 07:101, 07:139, 07:142, 07:181, 07:199:01-07:199:02, 07:260:01-07:260:02, 07:272, 07:302, 07:323-07:324, 07:328-07:329N, 07:336, 07:338, 07:354-07:355, 07:357-07:358, 07:361, 07:364-07:365, 07:378, 07:394-07:395, 07:403, 07:406, 07:420, 07:426, 07:428, 07:459, 07:466-07:467, 07:480, 07:487, 07:501, 07:523, 07:534-07:535, 07:552, 07:562-07:563, 07:569, 07:585-07:586, 07:600:01N-07:600:02N, B*14:32, B*18:83, B*44:148, B*58:76 |
| 23 | 90 bp 140 bp 205 bp 250 bp | *08:36N, 08:69 *08:92, 08:95 *08:70Q *08:74, 08:78 | *03:174, 03:365, 07:229, 07:387, 12:131, 14:39, 16:42, 16:56, B*07:243, B*08:98, B*35:202 *03:155, B*35:252, B*39:114 *01:125, 03:236, 03:351, 04:106, 07:293, 07:519, B*18:64, B*35:183, B*40:138 |
| 24 | 105 bp 150 bp | *08:56, 08:89N *08:37, 08:53, 08:74 | *04:179 *02:14:01-02:14:02, 02:107, 04:42:01-04:42:02, 04:220, 04:239, 05:43, 06:05, 07:02:09, 12:16, 12:147, 12:195:02, 12:217, 15:23, 15:63, 15:138, 16:21, 16:80 |
| 25 | 115 bp 225 bp 265 bp 290 bp | *08:39 *08:09, 08:11, 08:59, 08:113, 08:152 *08:62, 08:82, 08:144 *08:34 | *05:12, 05:151, 07:487, A*29:10:01-29:10:02, B*18:83, B*44:148, B*58:76 *05:04:01-05:04:02, 05:103:01-05:103:02, 05:135, 06:129, 07:68, 07:260:01-07:260:02, 07:302, B*15:337, B*18:83, B*58:76 *03:251, 03:314, 05:05:01-05:05:02, 05:135, 05:147-05:148, A*02:425, A*02:519, A*29:10:01-29:10:02, A*68:69, B*14:32, B*15:337, B*18:83, B*44:148 |
| 27 | 125 bp 265 bp | *08:19:01-08:19:02, 08:101, 08:143 *08:55N | *04:223:01, 05:64:01-05:64:02 *05:92N |
| 28 | 155 bp 185 bp 290 bp | *08:53 *08:01:07, 08:02:07, 08:33:02 *08:34 | *03:251, 03:314, 04:120, 05:148 |
| 29 | 185 bp 210 bp | *08:128 *08:38, 08:52N | *03:206, 03:212, 04:84 |
| 30 | 65 bp 270 bp 405 bp 470 bp | *08:99 *08:110 *08:28, 08:137 *08:20, 08:40 | *04:223:01, 05:25, 05:42, 07:01:48, 07:02:35, 07:41, A*01:01:06 *03:171, 03:211:01, 04:144, 05:93, 06:73, 12:109 |
| 37 | 205 bp 265 bp | *08:127N *08:141Q |  |
| 38 | 205 bp 265 bp | *08:129N *08:141Q |  |
| 40 | 125 bp 200 bp | *08:42 *08:107 | *04:229 |

4The following HLA-C*08 alleles can be distinguished by the different sizes of the HLA-specific PCR product:

| Alleles | Primer mix | Alleles | Primer mix |
| --- | --- | --- | --- |
| C*08:20, 08:99 | 30 | C*08:36N, 08:78 | 23 |
| C*08:24, 08:88N | 9 | C*08:69, 08:70Q | 23 |
| C*08:30, 08:32 | 19 |

‘w’, might be weakly amplified.