# Gel Documentation Form and Worksheet

# HLA-C*18 (101.629-06/06u)	                                         Lot: 9L2                                     Expiry Date:   2025-02-01

# Name:____________________

# Sample ID:________________

# DNA Conc.(ng/ul):___________

# Test Date: _______________

# Tested By: _______________

# Review Date:_______________

# Reviewed By:_______________

# Interpretation:___________                         Failed lanes: ____________                         Comments:________________

Gel Picture

## PHOTO DOCUMENT

Abbreviations

ICB: Internal Control Band

AmpS: Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

HLA-specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

Primer mix 4 may give rise to a lower yield of HLA-specific PCR product than the other C*18 primer mixes.

Primer mix 8 contains a negative control, which will amplify the majority of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 200 base pairs.

1HLA-C*18 alleles in bold lettering are listed as confirmed alleles on the IMGT/HLA web page www.ebi.ac.uk/imgt/hla, release 3.35.0, 23 January 2019.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.

# 3The following HLA-C*18 primer mixes have two or more product sizes:

| Primer Mix | Size of spec. PCR product | Amplified HLA-C*18 alleles | Other amplified HLA Class I alleles |  |
| --- | --- | --- | --- | --- |
| 5 | 110 bp 165 bp | *18:06 *18:03 |  | *02:22, 02:118, 04:94:01-04:94:02, 05:08, 05:52, 05:89, 05:106:01-05:106:02, 06:09:01-06:09:02, 06:144, 08:27, 08:29, 08:31, 08:160, 12:31:01-12:31:02, 12:144, B*15:137, B*15:488, B*37:66, B*50:47 |
| 7 | 85 bp 480 bp | *18:07N *18:05 |  | *04:123N *03:08, 03:29, 03:31, 03:246, 04:112, 04:169, 07:141:03, 07:857, 14:73, 15:77 |

Abbreviations

?: nucleotide sequence information not available for the primer matching sequence.