PAGE  
[image: image1.emf]Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324

KIR allele

1

2DL1*001-025 1

2DL2*0010101-010

2

2

2DL3*0010101-017 3

2DL4*00101-022 4

2DL5A*0010101-00105, 

0050101-005010104, 01201-

01202, 014-015

5 6

2DL5B*0020101-004, 00601-

011, 01301-01303, 016

5 7

2DS1*001 8 21

2DS1*0020101-008

3

8 22

2DS2*0010101-008 9

2DS3*00101-005 10

2DS4*0010101-00104, 01101-

01102, 014, 015

11

2DS4*0030101-0030104, 

0040101-0040102, 0060101-

0060102, 007-010, 012, 013

12

2DS5*001-011 13

3DL1*0010101-003, 0050101-

009, 01501-018, 020, 022-035, 

038, 040-044, 051-054, 057, 

059-068, 073

14

3DL1*00401-00403, 019, 021, 

036, 037, 039, 056, 072

14 23

3DL2*0010101-062 15

3DL3*00101-055 16

3DS1*010-014, 045-049N, 050, 

055, 058

17

2DP1*00101-010 18

3DP1*001-002, 004, 007, 

0090101-00902

3

19 22

3DP1*0030101-0030402, 005, 

006, 008, 010

1920

Well No. 1 2 3 4 5 6 7 8 9 101112131415161718192021222324

Neg. Control

[image: image2.emf]Well No. 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

ICB 800 1070107010701070 430 515 1070107010701070107010701070107010701070107010701070107010701070

145 65 100 200 155 16501650 100 205 130 215 200 110 135 200 115 130 165 125 235 145 95 210

150 520 235

225

Well No. 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24

Specific 

Reaction

AmpS

NC

[image: image3.png]


                                                                                 KIR Genotyping
May 2016 
104.101-12/12u 
Rev. No: 02                                                                 
97X

Gel Documentation Form and Worksheet

KIR Genotyping (104.101-12/12u) 
Lot No: 97X
Expiry Date: 2017-July-01
Name:___________________
Sample ID:_______________ 

DNA Conc.(ng/ul):_________
Test  Date:____________

Tested By:____________

Review Date:_______________

Reviewed By:_______________ 

Interpretation:___________                          Failed lanes: ____________                         Comments:________________       
Gel Picture
	PHOTO DOCUMENT




‘ICB’ Internal Control Band, 
‘AmpS’ Amplicon size
Notes:
Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

Specific PCR products shorter than 125 base pairs have a lower intensity and are less sharp than longer PCR products.

The specific PCR product generated by primer mixes 6 and 7 are longer than the internal positive control band and the positive control band may be weaker than for other KIR primer mixes.

Primer mixes 5 and 24 have a tendency to giving rise to primer oligomer formation.

Primer mixes 2, 3 and 13 may have tendencies of unspecific amplifications.

Primer mix 7 may give rise to a lower yield of specific PCR product than the other KIR primer mixes.

Well 24 contains negative control primer pairs, that will produce exon 4 and/or exon 5 amplicons for more than 97% of applicable KIR alleles as well as amplicons generated by positive control primer pairs. 

 
1KIR alleles listed on the IPD KIR web page 2011-April-15, release 2.4.0, www.ebi.ac.uk/ipd/kir.

2The 2DL2*004 and the 2DL2*0010101-010 alleles may be distinguished by the different sizes of the specific PCR product in primer mix 2; three specific PCR fragments of 65, 150 and 225 bp in the 2DL2*004 allele and one specific PCR fragment of 150 bp in the 2DL2*0010101-00304 and 005-010  alleles. 

3The 2DS1 and the 3DP1 amplicons in primer mix 22 are differentiated by amplicon size; a specific PCR fragment of 95 bp in the 2DS1*0020101-008 alleles and a specific PCR fragment of 235 bp in the 3DP1*001-002, 004, 007 and 0090101-00902 alleles. 
Changes in revision R01 compared to R00:

1. Primer mix 1 contains the 800 base pair positive control primer pair. This has been corrected in the Specificity and Primer Specification Tables.

Change in revision R05 compared to R02:

1. Primer mix 2 may give rise to a PCR product of 225 base pairs, in addition to product sizes of 65 and 150 base pairs. 

Olerup SSP AB

In U.S.: For Research Use Only.
Franzengatan 5

Not For Use in Diagnostic Procedures.

SE-112 51 Stockholm

Sweden


Page 1 of 3

